## Data Export
ID | Date Analyzed | Run # | Sample ID | Volume | Type | peak area | δ13C (PDB) | δ13C error (1σ) | Analyst | Researcher | Reaction Temperature (°C) | Reaction Time (hours) | Notes | Notes II
DI | 2013-10-15 | 3 | DI | 0.4 |  |  |  | 0.15854 | Peter Carlson |  | 40 | 8
DI | 2013-10-15 | 4 | DI | 0.4 |  |  |  | 0.15854 | Peter Carlson |  | 40 | 8
IS DI 10.12.13 | 2013-10-15 | 17 | IS DI 10.12.13 | 0.4 |  | 3.541 | -19.8598 | 0.15854 | Peter Carlson |  | 40 | 8
ISST IND 2 10.12.13 | 2013-10-15 | 18 | ISST IND 2 10.12.13 | 0.4 |  | 13.665 | -7.7487 | 0.15854 | Peter Carlson |  | 40 | 8
ISSR 7 2 10.12.13 | 2013-10-15 | 19 | ISSR 7 2 10.12.13 | 0.4 |  | 14.795 | -11.4421 | 0.15854 | Peter Carlson |  | 40 | 8
ISLM 10.12.13 | 2013-10-15 | 20 | ISLM 10.12.13 | 0.4 |  | 16.26 | -12.0536 | 0.15854 | Peter Carlson |  | 40 | 8
ISST IND 1 10.12.13 | 2013-10-15 | 21 | ISST IND 1 10.12.13 | 0.4 |  | 17.601 | -8.0278 | 0.15854 | Peter Carlson |  | 40 | 8
ISSR 7 1 10.12.13 | 2013-10-15 | 22 | ISSR 7 1 10.12.13 | 0.4 |  | 17.234 | -10.4282 | 0.15854 | Peter Carlson |  | 40 | 8
Toti 1 | 2013-10-15 | 24 | Toti 1 |  |  | 164.74 | 1.1841 | 0.15854 | Peter Carlson |  | 40 | 8
Toti 2 | 2013-10-15 | 25 | Toti 2 |  |  | 367.485 | -72.2678 | 0.15854 | Peter Carlson |  | 40 | 8
Toti 3 | 2013-10-15 | 26 | Toti 3 |  |  | 221.985 | 3.1829 | 0.15854 | Peter Carlson |  | 40 | 8
Toti 4 | 2013-10-15 | 27 | Toti 4 |  |  | 272.386 | -3.759 | 0.15854 | Peter Carlson |  | 40 | 8
Toti 5 | 2013-10-15 | 28 | Toti 5 |  |  |  |  | 0.15854 | Peter Carlson |  | 40 | 8
Toti 6 | 2013-10-15 | 30 | Toti 6 |  |  | 303.282 | -22.6837 | 0.15854 | Peter Carlson |  | 40 | 8
Toti 7 | 2013-10-15 | 31 | Toti 7 |  |  |  |  | 0.15854 | Peter Carlson |  | 40 | 8
Toti 8 | 2013-10-15 | 32 | Toti 8 |  |  | 265.069 | 0.70689 | 0.15854 | Peter Carlson |  | 40 | 8
Toti 9 | 2013-10-15 | 33 | Toti 9 |  |  | 291.108 | -18.1874 | 0.15854 | Peter Carlson |  | 40 | 8
Toti 10 | 2013-10-15 | 34 | Toti 10 |  |  | 194.573 | 5.0897 | 0.15854 | Peter Carlson |  | 40 | 8
Toti dup 1 | 2013-10-15 | 36 | Toti dup 1 |  |  | 222.174 | 3.2084 | 0.15854 | Peter Carlson |  | 40 | 8
Toti dup 2 | 2013-10-15 | 37 | Toti dup 2 |  |  | 265.621 | -0.70986 | 0.15854 | Peter Carlson |  | 40 | 8
Toti dup 3 | 2013-10-15 | 38 | Toti dup 3 |  |  | 277.758 | -6.3124 | 0.15854 | Peter Carlson |  | 40 | 8
ISCD IND 1 9.29.13 | 2013-10-15 | 39 | ISCD IND 1 9.29.13 | 0.4 |  | 9.083 | -10.9075 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISST IND 2 9.29.13 | 2013-10-15 | 40 | ISST IND 2 9.29.13 | 0.4 |  | 16.636 | -8.854 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISSR 3 2 9.29.13 | 2013-10-15 | 41 | ISSR 3 2 9.29.13 | 0.4 |  | 15.415 | -11.0872 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISSR 7 1 9.29.13 | 2013-10-15 | 43 | ISSR 7 1 9.29.13 | 0.4 |  | 13.328 | -10.922 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISSR 4 1 9.29.13 | 2013-10-15 | 44 | ISSR 4 1 9.29.13 | 0.4 |  | 14.72 | -9.7257 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISST IND 1 9.29.13 | 2013-10-15 | 45 | ISST IND 1 9.29.13 | 0.4 |  | 15.706 | -8.7041 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISSR 7 2 9.29.13 | 2013-10-15 | 46 | ISSR 7 2 9.29.13 | 0.4 |  | 1.959 | -16.7863 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISSR 8 2 9.29.13 | 2013-10-15 | 47 | ISSR 8 2 9.29.13 | 0.4 |  | 19.262 | -11.2655 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISCD DIR 2 9.29.13 | 2013-10-15 | 49 | ISCD DIR 2 9.29.13 | 0.4 |  | 10.301 | -11.4908 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
IS DI 9.29.13 | 2013-10-15 | 50 | IS DI 9.29.13 | 0.4 |  | 1.142 | -11.5547 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISLM 1 9.29.13 | 2013-10-15 | 51 | ISLM 1 9.29.13 | 0.4 |  | 14.189 | -12.1143 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISLM 2 9.29.13 | 2013-10-15 | 52 | ISLM 2 9.29.13 | 0.4 |  | 16.743 | -12.0545 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISSR 3 9.29.13 | 2013-10-15 | 53 | ISSR 3 9.29.13 | 0.4 |  | 16.265 | -10.5435 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISCD DIR 1 9.29.13 | 2013-10-15 | 55 | ISCD DIR 1 9.29.13 | 0.4 |  | 10.108 | -11.3659 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISST DIR 2 9.29.13 | 2013-10-15 | 56 | ISST DIR 2 9.29.13 | 0.4 |  | 20.178 | -10.3803 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISSR 4 2 9.29.13 | 2013-10-15 | 57 | ISSR 4 2 9.29.13 | 0.4 |  | 16.216 | -10.8569 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISST DIR 1 9.29.13 | 2013-10-15 | 58 | ISST DIR 1 9.29.13 | 0.4 |  | 17.427 | -10.193 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISSR 8 1 9.29.13 | 2013-10-15 | 59 | ISSR 8 1 9.29.13 | 0.4 |  | 15.774 | -9.7787 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples
ISCD IND 2 9.29.13 | 2013-10-15 | 60 | ISCD IND 2 9.29.13 | 0.4 |  | 8.863 | -11.2527 | 0.15854 | Peter Carlson |  | 40 | 8 | old samples

## Calibration
Gas Bench DIC Calibration
|  |  | Date: | 2013-10-15
|  |  | Operator: | Peter Carlson
Calibration Notes
|  |  | d13C max stdev: | 0.2
|  |  | Peaks used: | Last Two
|  |  | Blank Correction: | No (Auto)
|  |  | Linearity Correction: | Yes (Auto)
|  |  | Drift Correction: | Yes (Auto)
Standard
|  |  | Name | mg NaHCO3 | mL H2O | mmol/L NaHCO3 | mg/L C | mg/L HCO3 | µg C | Area 44 | δ13C
|  |  | A | 38.444 | 500 | 0.91526 | 10.9929 | 55.8463 | #DIV/0!
|  |  | B | 53.602 | 250 | 2.5523 | 30.6546 | 155.7317 | 12.2618 | 8.3751 | -19.1225
|  |  | C | 84.242 | 250 | 4.0112 | 48.1774 | 244.7512 | 19.271 | 13.2595 | -19.2432
|  |  | D | 96.146 | 250 | 4.578 | 54.9852 | 279.3363 | 21.9941 | 14.9867 | -19.212
|  |  | E | 197.752 | 250 | 9.416 | 113.093 | 574.5356 | 45.2372 | 31.0063 | -19.1177
|  |  | F | 29.376 | 250 | 1.3987 | 16.7999 | 85.3471 | 6.72 | 4.793 | -19.002
|  |  | Calibration | slope | intercept |  | linearity | drift | standard
|  |  | carbon | #DIV/0! | #DIV/0! |  | -0.010342 | 0.0020912 | -0.287
ALL | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | STD-Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
1 | Blank | 0.4 | 1254 | 5.986 | -4.5065 | 19.8865 | 0.054447 | 0.036062 | 5.986 | -4.5065 |  | -4.4446 | -4.4446 | -4.7316 | #DIV/0! | #DIV/0!
2 | Blank | 0.4 | [12 empty] | #DIV/0! | #DIV/0!
3 | DI | 0.4 | [12 empty] | #DIV/0! | #DIV/0!
4 | DI | 0.4 | [12 empty] | #DIV/0! | #DIV/0!
5 | A | 0.4 | 595 | 2.83 | -19.08 | 28.0445 | 0.13859 | 0.20577 | 2.83 | -19.08 |  | -19.0507 | -19.0591 | -19.3461 | #DIV/0! | #DIV/0!
6 | A | 0.4 | 650 | 3.056 | -19.1425 | 28.0245 | 0.0077782 | 0.051619 | 3.056 | -19.1425 |  | -19.1109 | -19.1214 | -19.4083 | #DIV/0! | #DIV/0!
7 | F | 0.4 | 1014 | 4.793 | -19.039 | 28.011 | 0.0084853 | 0.015556 | 4.793 | -19.039 |  | -18.9894 | -19.002 | -19.289 | #DIV/0! | #DIV/0!
8 | F | 0.4 | 991 | 4.678 | -19.125 | 28.1115 | 0.0028284 | 0.0021213 | 4.678 | -19.125 |  | -19.0766 | -19.0913 | -19.3783 | #DIV/0! | #DIV/0!
9 | B | 0.4 | 1763 | 8.302 | -19.3235 | 27.908 | 0.023335 | 0.022627 | 8.302 | -19.3235 |  | -19.2376 | -19.2544 | -19.5414 | #DIV/0! | #DIV/0!
10 | B | 0.4 | 1771 | 8.401 | -19.229 | 27.9295 | 0.052326 | 0.012021 | 8.401 | -19.229 |  | -19.1421 | -19.1609 | -19.4479 | #DIV/0! | #DIV/0!
11 | C | 0.4 | 2813 | 13.229 | -19.3295 | 27.913 | 0.053033 | 0.033941 | 13.229 | -19.3295 |  | -19.1927 | -19.2136 | -19.5006 | #DIV/0! | #DIV/0!
12 | C | 0.4 | 2772 | 13.259 | -19.313 | 27.9805 | 0.0098995 | 0.013435 | 13.259 | -19.313 |  | -19.1759 | -19.1989 | -19.4859 | #DIV/0! | #DIV/0!
13 | D | 0.4 | 3129 | 14.745 | -19.3475 | 27.86 | 0.026163 | 0.018385 | 14.745 | -19.3475 |  | -19.195 | -19.2201 | -19.5071 | #DIV/0! | #DIV/0!
14 | D | 0.4 | 3182 | 15.263 | -19.346 | 27.7875 | 0.039598 | 0.012021 | 15.263 | -19.346 |  | -19.1882 | -19.2153 | -19.5023 | #DIV/0! | #DIV/0!
15 | E | 0.4 | 6531 | 31.276 | -19.4015 | 27.8505 | 0.00070711 | 0.024749 | 31.276 | -19.4015 |  | -19.0781 | -19.1073 | -19.3943 | #DIV/0! | #DIV/0!
16 | E | 0.4 | 6681 | 32.477 | -19.374 | 27.897 | 0.011314 | 0.052326 | 32.477 | -19.374 |  | -19.0381 | -19.0695 | -19.3565 | #DIV/0! | #DIV/0!
17 | IS DI 10.12.13 | 0.4 | 1280 | 3.541 | -19.576 | 31.2 |  |  | 3.541 | -19.576 |  | -19.5394 | -19.5728 | -19.8598 | #DIV/0! | #DIV/0!
18 | ISST IND 2 10.12.13 | 0.4 | 2842 | 13.665 | -7.5675 | 22.868 | 0.0049497 | 0.0098995 | 13.665 | -7.5675 |  | -7.4262 | -7.4617 | -7.7487 | #DIV/0! | #DIV/0!
19 | ISSR 7 2 10.12.13 | 0.4 | 3113 | 14.795 | -11.2705 | 22.556 | 0.016263 | 0.015556 | 14.795 | -11.2705 |  | -11.1175 | -11.1551 | -11.4421 | #DIV/0! | #DIV/0!
20 | ISLM 10.12.13 | 0.4 | 3393 | 16.26 | -11.895 | 22.7345 | 0.0098995 | 0.11667 | 16.26 | -11.895 |  | -11.7268 | -11.7666 | -12.0536 | #DIV/0! | #DIV/0!
21 | ISST IND 1 10.12.13 | 0.4 | 3693 | 17.601 | -7.881 | 22.7355 | 0 | 0.03182 | 17.601 | -7.881 |  | -7.699 | -7.7408 | -8.0278 | #DIV/0! | #DIV/0!
22 | ISSR 7 1 10.12.13 | 0.4 | 3608 | 17.234 | -10.2755 | 22.727 | 0.006364 | 0.0028284 | 17.234 | -10.2755 |  | -10.0973 | -10.1412 | -10.4282 | #DIV/0! | #DIV/0!
23 | B | 0.4 | 1848 | 8.768 | -19.2935 | 27.633 | 0.033234 | 0.011314 | 8.768 | -19.2935 |  | -19.2028 | -19.2488 | -19.5358 | #DIV/0! | #DIV/0!
24 | Toti 1 |  | 29839 | 164.74 | -0.1845 | 10.9595 | 0.0021213 | 0.082731 | 164.74 | -0.1845 |  | 1.5192 | 1.4711 | 1.1841
25 | Toti 2 |  | 49849 | 367.485 | -75.731 | -120.9145 | 5.9185 | 7.3702 | 367.485 | -75.731 |  | -71.9306 | -71.9808 | -72.2678
26 | Toti 3 |  | 37437 | 221.985 | 1.2265 | 10.13 | 0.10819 | 2.7902 | 221.985 | 1.2265 |  | 3.5222 | 3.4699 | 3.1829
27 | Toti 4 |  | 43693 | 272.386 | -6.2345 | -33.9535 | 6.9007 | 11.8504 | 272.386 | -6.2345 |  | -3.4176 | -3.472 | -3.759
28 | Toti 5
29 | B | 0.4 | 1740 | 8.29 | -19.3115 | 27.555 | 0.00070711 | 0.057983 | 8.29 | -19.3115 |  | -19.2258 | -19.2843 | -19.5713 | #DIV/0! | #DIV/0!
30 | Toti 6 |  | 46641 | 303.282 | -25.4725 | -61.039 | 9.3204 | 11.6814 | 303.282 | -25.4725 |  | -22.3361 | -22.3967 | -22.6837
31 | Toti 7
32 | Toti 8 |  | 42358 | 265.069 | -1.6825 | -22.3265 | 3.5037 | 10.5451 | 265.069 | -1.6825 |  | 1.0587 | 0.99389 | 0.70689
33 | Toti 9 |  | 46111 | 291.108 | -20.844 | -56.2185 | 9.9264 | 13.0638 | 291.108 | -20.844 |  | -17.8335 | -17.9004 | -18.1874
34 | Toti 10 |  | 33805 | 194.573 | 3.4335 | 11.83 | 0.0035355 | 0.024042 | 194.573 | 3.4335 |  | 5.4457 | 5.3767 | 5.0897
35 | B | 0.4 | 1694 | 8.104 | -19.1245 | 27.355 | 0.0049497 | 0.059397 | 8.104 | -19.1245 |  | -19.0407 | -19.1118 | -19.3988 | #DIV/0! | #DIV/0!
36 | Toti dup 1 |  | 37406 | 222.174 | 1.271 | 10.0595 | 0.082024 | 2.5732 | 222.174 | 1.271 |  | 3.5686 | 3.4954 | 3.2084
37 | Toti dup 2 |  | 43110 | 265.621 | -3.0945 | -29.245 | 5.7509 | 11.4933 | 265.621 | -3.0945 |  | -0.34758 | -0.42286 | -0.70986
38 | Toti dup 3 |  | 44127 | 277.758 | -8.8205 | -38.2325 | 7.4706 | 11.8094 | 277.758 | -8.8205 |  | -5.9481 | -6.0254 | -6.3124
39 | ISCD IND 1 9.29.13 | 0.4 | 1910 | 9.083 | -10.635 | 21.426 | 0.079196 | 0.0056569 | 9.083 | -10.635 |  | -10.5411 | -10.6205 | -10.9075 | #DIV/0! | #DIV/0!
40 | ISST IND 2 9.29.13 | 0.4 | 3485 | 16.636 | -8.6575 | 22.2445 | 0.05869 | 0.071418 | 16.636 | -8.6575 |  | -8.4855 | -8.567 | -8.854 | #DIV/0! | #DIV/0!
41 | ISSR 3 2 9.29.13 | 0.4 | 3245 | 15.415 | -10.876 | 22.4695 | 0.029698 | 0.057276 | 15.415 | -10.876 |  | -10.7166 | -10.8002 | -11.0872 | #DIV/0! | #DIV/0!
42 | B | 0.4 | 1799 | 8.557 | -18.95 | 27.5035 | 0.062225 | 0.013435 | 8.557 | -18.95 |  | -18.8615 | -18.9472 | -19.2342 | #DIV/0! | #DIV/0!
43 | ISSR 7 1 9.29.13 | 0.4 | 2827 | 13.328 | -10.685 | 21.918 | 0.0056569 | 0.024042 | 13.328 | -10.685 |  | -10.5472 | -10.635 | -10.922 | #DIV/0! | #DIV/0!
44 | ISSR 4 1 9.29.13 | 0.4 | 3076 | 14.72 | -9.501 | 22.5675 | 0.033941 | 0.037477 | 14.72 | -9.501 |  | -9.3488 | -9.4387 | -9.7257 | #DIV/0! | #DIV/0!
45 | ISST IND 1 9.29.13 | 0.4 | 3331 | 15.706 | -8.4875 | 22.389 | 0.051619 | 0.021213 | 15.706 | -8.4875 |  | -8.3251 | -8.4171 | -8.7041 | #DIV/0! | #DIV/0!
46 | ISSR 7 2 9.29.13 | 0.4 | 413 | 1.959 | -16.4255 | 23.7795 | 0.0077782 | 0.37972 | 1.959 | -16.4255 |  | -16.4052 | -16.4993 | -16.7863 | #DIV/0! | #DIV/0!
47 | ISSR 8 2 9.29.13 | 0.4 | 4051 | 19.262 | -11.0815 | 22.076 | 0.028991 | 0.13576 | 19.262 | -11.0815 |  | -10.8823 | -10.9785 | -11.2655 | #DIV/0! | #DIV/0!
48 | B | 0.4 | 1791 | 8.567 | -19.094 | 27.5525 | 0.066468 | 0.0021213 | 8.567 | -19.094 |  | -19.0054 | -19.1037 | -19.3907 | #DIV/0! | #DIV/0!
49 | ISCD DIR 2 9.29.13 | 0.4 | 2180 | 10.301 | -11.21 | 21.427 | 0.016971 | 0.046669 | 10.301 | -11.21 |  | -11.1035 | -11.2039 | -11.4908 | #DIV/0! | #DIV/0!
50 | IS DI 9.29.13 | 0.4 | 419 | 1.142 | -11.177 | 22.45 |  |  | 1.142 | -11.177 |  | -11.1652 | -11.2677 | -11.5547 | #DIV/0! | #DIV/0!
51 | ISLM 1 9.29.13 | 0.4 | 2986 | 14.189 | -11.8695 | 22.6405 | 0.045962 | 0.00070711 | 14.189 | -11.8695 |  | -11.7228 | -11.8273 | -12.1143 | #DIV/0! | #DIV/0!
52 | ISLM 2 9.29.13 | 0.4 | 3484 | 16.743 | -11.834 | 22.648 | 0.012728 | 0.024042 | 16.743 | -11.834 |  | -11.6609 | -11.7675 | -12.0545 | #DIV/0! | #DIV/0!
53 | ISSR 3 9.29.13 | 0.4 | 3413 | 16.265 | -10.316 | 22.464 | 0.0042426 | 0.056569 | 16.265 | -10.316 |  | -10.1478 | -10.2565 | -10.5435 | #DIV/0! | #DIV/0!
54 | B | 0.4 | 1613 | 7.646 | -18.527 | 27.5135 | 0.029698 | 0.016263 | 7.646 | -18.527 |  | -18.4479 | -18.5588 | -18.8458 | #DIV/0! | #DIV/0!
55 | ISCD DIR 1 9.29.13 | 0.4 | 2125 | 10.108 | -11.0705 | 21.5795 | 0.03182 | 0.019092 | 10.108 | -11.0705 |  | -10.966 | -11.0789 | -11.3659 | #DIV/0! | #DIV/0!
56 | ISST DIR 2 9.29.13 | 0.4 | 4253 | 20.178 | -10.187 | 22.331 | 0.048083 | 0.096167 | 20.178 | -10.187 |  | -9.9783 | -10.0933 | -10.3803 | #DIV/0! | #DIV/0!
57 | ISSR 4 2 9.29.13 | 0.4 | 3391 | 16.216 | -10.6205 | 22.53 | 0.027577 | 0.032527 | 16.216 | -10.6205 |  | -10.4528 | -10.5699 | -10.8569 | #DIV/0! | #DIV/0!
58 | ISST DIR 1 9.29.13 | 0.4 | 3691 | 17.427 | -9.967 | 22.219 | 0.0070711 | 0.024042 | 17.427 | -9.967 |  | -9.7868 | -9.906 | -10.193 | #DIV/0! | #DIV/0!
59 | ISSR 8 1 9.29.13 | 0.4 | 3290 | 15.774 | -9.5335 | 22.1095 | 0.03182 | 0.027577 | 15.774 | -9.5335 |  | -9.3704 | -9.4917 | -9.7787 | #DIV/0! | #DIV/0!
60 | ISCD IND 2 9.29.13 | 0.4 | 1885 | 8.863 | -10.934 | 21.2285 | 0.066468 | 0.030406 | 8.863 | -10.934 |  | -10.8423 | -10.9657 | -11.2527 | #DIV/0! | #DIV/0!
61 | B | 0.4 | 1790 | 8.569 | -19.2215 | 27.247 | 0.037477 | 0.15415 | 8.569 | -19.2215 |  | -19.1329 | -19.2584 | -19.5454 | #DIV/0! | #DIV/0!
62 | B | 0.4 | 1814 | 8.547 | -19.258 | 27.473 | 0.03677 | 0.029698 | 8.547 | -19.258 |  | -19.1696 | -19.2972 | -19.5842 | #DIV/0! | #DIV/0!
63 | C | 0.4 | 2724 | 13.083 | -19.2965 | 27.3485 | 0.03182 | 0.04879 | 13.083 | -19.2965 |  | -19.1612 | -19.2909 | -19.5779 | #DIV/0! | #DIV/0!
64 | C | 0.4 | 2842 | 13.467 | -19.277 | 27.4585 | 0.0028284 | 0.03182 | 13.467 | -19.277 |  | -19.1377 | -19.2695 | -19.5565 | #DIV/0! | #DIV/0!
65 | D | 0.4 | 3142 | 15.122 | -19.2415 | 27.7255 | 0.00070711 | 0.0077782 | 15.122 | -19.2415 |  | -19.0851 | -19.219 | -19.5059 | #DIV/0! | #DIV/0!
66 | D | 0.4 | 3119 | 14.817 | -19.211 | 27.6325 | 0.0084853 | 0.0035355 | 14.817 | -19.211 |  | -19.0578 | -19.1937 | -19.4807 | #DIV/0! | #DIV/0!
67 | E | 0.4 | 6233 | 30.173 | -19.324 | 27.4615 | 0.024042 | 0.010607 | 30.173 | -19.324 |  | -19.012 | -19.15 | -19.437 | #DIV/0! | #DIV/0!
68 | E | 0.4 | 6263 | 30.099 | -19.315 | 27.5205 | 0.012728 | 0.0091924 | 30.099 | -19.315 |  | -19.0037 | -19.1438 | -19.4308 | #DIV/0! | #DIV/0!
BLANKS | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
1 | Blank | 0.4 | 1254 | 5.986 | -4.5065 | 19.8865 | 0.054447 | 0.036062 | 5.986 | -4.5065 |  | -4.4446 | -4.4446 | -4.7316 | #DIV/0! | #DIV/0!
Used Standards | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
9 | B | 0.4 | 1763 | 8.302 | -19.3235 | 27.908 | 0.023335 | 0.022627 | 8.302 | -19.3235 |  | -19.2376 | -19.2544 | -19.5414 | #DIV/0! | #DIV/0!
10 | B | 0.4 | 1771 | 8.401 | -19.229 | 27.9295 | 0.052326 | 0.012021 | 8.401 | -19.229 |  | -19.1421 | -19.1609 | -19.4479 | #DIV/0! | #DIV/0!
23 | B | 0.4 | 1848 | 8.768 | -19.2935 | 27.633 | 0.033234 | 0.011314 | 8.768 | -19.2935 |  | -19.2028 | -19.2488 | -19.5358 | #DIV/0! | #DIV/0!
29 | B | 0.4 | 1740 | 8.29 | -19.3115 | 27.555 | 0.00070711 | 0.057983 | 8.29 | -19.3115 |  | -19.2258 | -19.2843 | -19.5713 | #DIV/0! | #DIV/0!
35 | B | 0.4 | 1694 | 8.104 | -19.1245 | 27.355 | 0.0049497 | 0.059397 | 8.104 | -19.1245 |  | -19.0407 | -19.1118 | -19.3988 | #DIV/0! | #DIV/0!
42 | B | 0.4 | 1799 | 8.557 | -18.95 | 27.5035 | 0.062225 | 0.013435 | 8.557 | -18.95 |  | -18.8615 | -18.9472 | -19.2342 | #DIV/0! | #DIV/0!
48 | B | 0.4 | 1791 | 8.567 | -19.094 | 27.5525 | 0.066468 | 0.0021213 | 8.567 | -19.094 |  | -19.0054 | -19.1037 | -19.3907 | #DIV/0! | #DIV/0!
54 | B | 0.4 | 1613 | 7.646 | -18.527 | 27.5135 | 0.029698 | 0.016263 | 7.646 | -18.527 |  | -18.4479 | -18.5588 | -18.8458 | #DIV/0! | #DIV/0!
61 | B | 0.4 | 1790 | 8.569 | -19.2215 | 27.247 | 0.037477 | 0.15415 | 8.569 | -19.2215 |  | -19.1329 | -19.2584 | -19.5454 | #DIV/0! | #DIV/0!
62 | B | 0.4 | 1814 | 8.547 | -19.258 | 27.473 | 0.03677 | 0.029698 | 8.547 | -19.258 |  | -19.1696 | -19.2972 | -19.5842 | #DIV/0! | #DIV/0!
11 | C | 0.4 | 2813 | 13.229 | -19.3295 | 27.913 | 0.053033 | 0.033941 | 13.229 | -19.3295 |  | -19.1927 | -19.2136 | -19.5006 | #DIV/0! | #DIV/0!
12 | C | 0.4 | 2772 | 13.259 | -19.313 | 27.9805 | 0.0098995 | 0.013435 | 13.259 | -19.313 |  | -19.1759 | -19.1989 | -19.4859 | #DIV/0! | #DIV/0!
63 | C | 0.4 | 2724 | 13.083 | -19.2965 | 27.3485 | 0.03182 | 0.04879 | 13.083 | -19.2965 |  | -19.1612 | -19.2909 | -19.5779 | #DIV/0! | #DIV/0!
64 | C | 0.4 | 2842 | 13.467 | -19.277 | 27.4585 | 0.0028284 | 0.03182 | 13.467 | -19.277 |  | -19.1377 | -19.2695 | -19.5565 | #DIV/0! | #DIV/0!
13 | D | 0.4 | 3129 | 14.745 | -19.3475 | 27.86 | 0.026163 | 0.018385 | 14.745 | -19.3475 |  | -19.195 | -19.2201 | -19.5071 | #DIV/0! | #DIV/0!
14 | D | 0.4 | 3182 | 15.263 | -19.346 | 27.7875 | 0.039598 | 0.012021 | 15.263 | -19.346 |  | -19.1882 | -19.2153 | -19.5023 | #DIV/0! | #DIV/0!
65 | D | 0.4 | 3142 | 15.122 | -19.2415 | 27.7255 | 0.00070711 | 0.0077782 | 15.122 | -19.2415 |  | -19.0851 | -19.219 | -19.5059 | #DIV/0! | #DIV/0!
66 | D | 0.4 | 3119 | 14.817 | -19.211 | 27.6325 | 0.0084853 | 0.0035355 | 14.817 | -19.211 |  | -19.0578 | -19.1937 | -19.4807 | #DIV/0! | #DIV/0!
15 | E | 0.4 | 6531 | 31.276 | -19.4015 | 27.8505 | 0.00070711 | 0.024749 | 31.276 | -19.4015 |  | -19.0781 | -19.1073 | -19.3943 | #DIV/0! | #DIV/0!
16 | E | 0.4 | 6681 | 32.477 | -19.374 | 27.897 | 0.011314 | 0.052326 | 32.477 | -19.374 |  | -19.0381 | -19.0695 | -19.3565 | #DIV/0! | #DIV/0!
67 | E | 0.4 | 6233 | 30.173 | -19.324 | 27.4615 | 0.024042 | 0.010607 | 30.173 | -19.324 |  | -19.012 | -19.15 | -19.437 | #DIV/0! | #DIV/0!
68 | E | 0.4 | 6263 | 30.099 | -19.315 | 27.5205 | 0.012728 | 0.0091924 | 30.099 | -19.315 |  | -19.0037 | -19.1438 | -19.4308 | #DIV/0! | #DIV/0!
7 | F | 0.4 | 1014 | 4.793 | -19.039 | 28.011 | 0.0084853 | 0.015556 | 4.793 | -19.039 |  | -18.9894 | -19.002 | -19.289 | #DIV/0! | #DIV/0!

## Run Log
Row | Sample | Volume | Notes | Var5 | Var6 | Var7 | Var8 | Var9 | Var10 | Var11 | Var12
1 | Blank | 0.4
2 | Blank | 0.4
3 | DI | 0.4
4 | DI | 0.4
5 | A | 0.4
6 | A | 0.4
7 | F | 0.4
8 | F | 0.4 |  | Var10: Standards; Var11: Weight; Var12: Volume
9 | B | 0.4 |  | Var10: A; Var11: 38.444; Var12: 500
10 | B | 0.4 |  | Var10: B; Var11: 53.602; Var12: 250
11 | C | 0.4 |  | Var10: C; Var11: 84.242; Var12: 250
12 | C | 0.4 |  | Var10: D; Var11: 96.146; Var12: 250
13 | D | 0.4 |  | Var10: E; Var11: 197.752; Var12: 250
14 | D | 0.4 |  | Var10: F; Var11: 29.376; Var12: 250
15 | E | 0.4
16 | E | 0.4
17 | IS DI 10.12.13 | 0.4
18 | ISST IND 2 10.12.13 | 0.4
19 | ISSR 7 2 10.12.13 | 0.4
20 | ISLM 10.12.13 | 0.4
21 | ISST IND 1 10.12.13 | 0.4
22 | ISSR 7 1 10.12.13 | 0.4
23 | B | 0.4
24 | Toti 1
25 | Toti 2
26 | Toti 3
27 | Toti 4
28 | Toti 5
29 | B | 0.4
30 | Toti 6
31 | Toti 7
32 | Toti 8
33 | Toti 9
34 | Toti 10
35 | B | 0.4
36 | Toti dup 1
37 | Toti dup 2
38 | Toti dup 3
39 | ISCD IND 1 9.29.13 | 0.4 | old samples
40 | ISST IND 2 9.29.13 | 0.4 | old samples
41 | ISSR 3 2 9.29.13 | 0.4 | old samples
42 | B | 0.4
43 | ISSR 7 1 9.29.13 | 0.4 | old samples
44 | ISSR 4 1 9.29.13 | 0.4 | old samples
45 | ISST IND 1 9.29.13 | 0.4 | old samples
46 | ISSR 7 2 9.29.13 | 0.4 | old samples
47 | ISSR 8 2 9.29.13 | 0.4 | old samples
48 | B | 0.4
49 | ISCD DIR 2 9.29.13 | 0.4 | old samples
50 | IS DI 9.29.13 | 0.4 | old samples
51 | ISLM 1 9.29.13 | 0.4 | old samples
52 | ISLM 2 9.29.13 | 0.4 | old samples
53 | ISSR 3 9.29.13 | 0.4 | old samples
54 | B | 0.4
55 | ISCD DIR 1 9.29.13 | 0.4 | old samples
56 | ISST DIR 2 9.29.13 | 0.4 | old samples
57 | ISSR 4 2 9.29.13 | 0.4 | old samples
58 | ISST DIR 1 9.29.13 | 0.4 | old samples
59 | ISSR 8 1 9.29.13 | 0.4 | old samples
60 | ISCD IND 2 9.29.13 | 0.4 | old samples
61 | B | 0.4
62 | B | 0.4
63 | C | 0.4
64 | C | 0.4
65 | D | 0.4
66 | D | 0.4
67 | E | 0.4
68 | E | 0.4

## gasbenchCO2template.wke
Row | Identifier1 | Ampl44 | Area44 | d13C_12C | d18O_16O
1 | Blank | 3801 | 53.93 | -4.569 | 19.729
1 | Blank | 3799 | 54.647 | -4.57 | 19.67
1 | Blank | 3797 | 54.674 | -4.592 | 19.654
1 | Blank | 3796 | 54.616 | -4.591 | 19.695
1 | Blank | 3797 | 54.645 | -4.584 | 19.688
1 | Blank | 599 | 1.649 | -4.507 | 19.93
1 | Blank | 1920 | 9.332 | -4.484 | 19.908
1 | Blank | 1810 | 8.705 | -4.542 | 19.91
1 | Blank | 1717 | 8.241 | -4.484 | 19.905
1 | Blank | 1626 | 7.809 | -4.468 | 19.81
1 | Blank | 1543 | 7.403 | -4.492 | 19.929
1 | Blank | 1463 | 7.022 | -4.547 | 19.934
1 | Blank | 1390 | 6.658 | -4.522 | 19.869
1 | Blank | 1321 | 6.312 | -4.475 | 19.862
1 | Blank | 1254 | 5.986 | -4.468 | 19.861
1 | Blank | 1190 | 5.676 | -4.545 | 19.912
2 | Blank | 3797 | 53.829 | -4.592 | 19.751
2 | Blank | 3792 | 54.578 | -4.57 | 19.67
2 | Blank | 3796 | 54.61 | -4.579 | 19.649
2 | Blank | 3791 | 54.576 | -4.624 | 19.68
2 | Blank | 3794 | 54.599 | -4.584 | 19.654
3 | DI | 3800 | 53.939 | -4.565 | 19.728
3 | DI | 3799 | 54.683 | -4.57 | 19.67
3 | DI | 3801 | 54.723 | -4.562 | 19.658
3 | DI | 3800 | 54.696 | -4.576 | 19.653
3 | DI | 3804 | 54.73 | -4.576 | 19.658
4 | DI | 3801 | 53.924 | -4.565 | 19.768
4 | DI | 3801 | 54.695 | -4.57 | 19.67
4 | DI | 3802 | 54.712 | -4.567 | 19.689
4 | DI | 3802 | 54.709 | -4.598 | 19.699
4 | DI | 3802 | 54.74 | -4.595 | 19.712
5 | A | 3810 | 54.073 | -4.593 | 19.736
5 | A | 3804 | 54.788 | -4.57 | 19.67
5 | A | 3808 | 54.81 | -4.576 | 19.662
5 | A | 3807 | 54.772 | -4.556 | 19.67
5 | A | 3806 | 54.79 | -4.558 | 19.647
5 | A | 305 | 0.833 | -19.38 | 29.612
5 | A | 975 | 4.565 | -19.159 | 28.084
5 | A | 911 | 4.265 | -19.11 | 27.996
5 | A | 857 | 4.022 | -19.285 | 27.984
5 | A | 807 | 3.798 | -19.247 | 28.03
5 | A | 760 | 3.584 | -19.085 | 28.032
5 | A | 714 | 3.378 | -19.118 | 27.859
5 | A | 672 | 3.187 | -19.223 | 27.984
5 | A | 632 | 3.005 | -19.11 | 27.838
5 | A | 595 | 2.83 | -18.982 | 28.19
5 | A | 560 | 2.666 | -19.178 | 27.899
6 | A | 3813 | 54.062 | -4.571 | 19.746
6 | A | 3808 | 54.835 | -4.57 | 19.67
6 | A | 3807 | 54.831 | -4.589 | 19.67
6 | A | 3808 | 54.817 | -4.58 | 19.648
6 | A | 3808 | 54.812 | -4.573 | 19.701
6 | A | 321 | 0.874 | -18.949 | 31.571
6 | A | 1037 | 4.914 | -19.035 | 28.057
6 | A | 970 | 4.602 | -19.084 | 28.133
6 | A | 916 | 4.341 | -18.966 | 28.02
6 | A | 865 | 4.091 | -19.068 | 28.019
6 | A | 816 | 3.858 | -19.037 | 28.212
6 | A | 771 | 3.639 | -19.157 | 27.85
6 | A | 728 | 3.434 | -19.028 | 28.088
6 | A | 688 | 3.24 | -18.943 | 28.21
6 | A | 650 | 3.056 | -19.148 | 28.061
6 | A | 614 | 2.887 | -19.137 | 27.988
7 | F | 3816 | 54.194 | -4.587 | 19.778
7 | F | 3814 | 54.89 | -4.57 | 19.67
7 | F | 3813 | 54.884 | -4.595 | 19.696
7 | F | 3815 | 54.907 | -4.58 | 19.712
7 | F | 3814 | 54.897 | -4.592 | 19.73
7 | F | 502 | 1.366 | -19.086 | 29.54
7 | F | 1626 | 7.609 | -19.101 | 27.99
7 | F | 1521 | 7.118 | -19.047 | 27.997
7 | F | 1441 | 6.745 | -19.011 | 28.084
7 | F | 1363 | 6.374 | -19.073 | 27.999
7 | F | 1287 | 6.026 | -19.009 | 28.038
7 | F | 1212 | 5.694 | -19.027 | 28.046
7 | F | 1143 | 5.377 | -18.942 | 28.113
7 | F | 1077 | 5.077 | -19.031 | 27.986
7 | F | 1014 | 4.793 | -19.045 | 28
7 | F | 954 | 4.524 | -19.033 | 28.022
8 | F | 3819 | 54.192 | -4.546 | 19.771
8 | F | 3819 | 54.956 | -4.57 | 19.67
8 | F | 3819 | 54.987 | -4.558 | 19.7
8 | F | 3818 | 54.96 | -4.588 | 19.708
8 | F | 3820 | 55.004 | -4.554 | 19.686
8 | F | 496 | 1.356 | -19.189 | 28.822
8 | F | 1593 | 7.586 | -19.171 | 28.162
8 | F | 1483 | 7.059 | -19.112 | 28.151
8 | F | 1400 | 6.652 | -19.169 | 28.022
8 | F | 1319 | 6.27 | -19.227 | 28.1
8 | F | 1247 | 5.914 | -19.178 | 27.92
8 | F | 1178 | 5.586 | -19.167 | 28.053
8 | F | 1113 | 5.259 | -19.122 | 28.122
8 | F | 1049 | 4.96 | -19.096 | 28.058
8 | F | 991 | 4.678 | -19.127 | 28.113
8 | F | 936 | 4.411 | -19.123 | 28.11
9 | B | 3830 | 54.372 | -4.57 | 19.685
9 | B | 3828 | 55.102 | -4.57 | 19.67
9 | B | 3825 | 55.111 | -4.566 | 19.62
9 | B | 3827 | 55.123 | -4.571 | 19.696
9 | B | 3828 | 55.122 | -4.582 | 19.696
9 | B | 890 | 2.443 | -19.386 | 28.808
9 | B | 2799 | 13.209 | -19.292 | 27.988
9 | B | 2612 | 12.309 | -19.313 | 27.902
9 | B | 2474 | 11.638 | -19.312 | 27.909
9 | B | 2336 | 10.974 | -19.339 | 27.876
9 | B | 2211 | 10.371 | -19.305 | 27.916
9 | B | 2090 | 9.795 | -19.296 | 28.012
9 | B | 1977 | 9.278 | -19.269 | 27.918
9 | B | 1868 | 8.772 | -19.309 | 27.925
9 | B | 1763 | 8.302 | -19.307 | 27.924
9 | B | 1661 | 7.843 | -19.34 | 27.892
10 | B | 3839 | 54.456 | -4.559 | 19.719
10 | B | 3836 | 55.22 | -4.57 | 19.67
10 | B | 3836 | 55.225 | -4.574 | 19.68
10 | B | 3835 | 55.157 | -4.593 | 19.71
10 | B | 3835 | 55.202 | -4.587 | 19.67
10 | B | 879 | 2.416 | -19.448 | 28.55
10 | B | 2844 | 13.654 | -19.26 | 27.905
10 | B | 2656 | 12.738 | -19.201 | 27.904
10 | B | 2503 | 11.996 | -19.277 | 27.919
10 | B | 2367 | 11.321 | -19.242 | 27.973
10 | B | 2233 | 10.669 | -19.223 | 27.989
10 | B | 2107 | 10.052 | -19.222 | 27.875
10 | B | 1989 | 9.464 | -19.301 | 27.956
10 | B | 1875 | 8.915 | -19.19 | 27.879
10 | B | 1771 | 8.401 | -19.266 | 27.921
10 | B | 1670 | 7.917 | -19.192 | 27.938
11 | C | 3848 | 54.627 | -4.571 | 19.704
11 | C | 3844 | 55.358 | -4.57 | 19.67
11 | C | 3844 | 55.36 | -4.582 | 19.659
11 | C | 3846 | 55.345 | -4.584 | 19.678
11 | C | 3844 | 55.372 | -4.595 | 19.705
11 | C | 1386 | 3.827 | -19.389 | 28.504
11 | C | 4436 | 21.118 | -19.333 | 27.942
11 | C | 4158 | 19.777 | -19.364 | 27.86
11 | C | 3932 | 18.672 | -19.365 | 27.938
11 | C | 3718 | 17.614 | -19.318 | 27.965
11 | C | 3513 | 16.62 | -19.373 | 27.896
11 | C | 3327 | 15.697 | -19.358 | 27.875
11 | C | 3147 | 14.808 | -19.395 | 27.868
11 | C | 2979 | 13.994 | -19.352 | 27.875
11 | C | 2813 | 13.229 | -19.367 | 27.937
11 | C | 2659 | 12.502 | -19.292 | 27.889
12 | C | 3850 | 54.657 | -4.566 | 19.704
12 | C | 3851 | 55.428 | -4.57 | 19.67
12 | C | 3850 | 55.422 | -4.592 | 19.652
12 | C | 3851 | 55.42 | -4.58 | 19.677
12 | C | 3851 | 55.417 | -4.591 | 19.683
12 | C | 1383 | 3.827 | -19.407 | 28.411
12 | C | 4458 | 21.489 | -19.34 | 28.008
12 | C | 4152 | 20.022 | -19.373 | 27.955
12 | C | 3909 | 18.857 | -19.313 | 27.836
12 | C | 3690 | 17.773 | -19.294 | 27.903
12 | C | 3486 | 16.772 | -19.306 | 27.907
12 | C | 3292 | 15.809 | -19.346 | 27.929
12 | C | 3112 | 14.909 | -19.345 | 27.893
12 | C | 2939 | 14.062 | -19.359 | 27.943
12 | C | 2772 | 13.259 | -19.306 | 27.971
12 | C | 2622 | 12.51 | -19.32 | 27.99
13 | D | 3856 | 54.782 | -4.579 | 19.786
13 | D | 3853 | 55.469 | -4.57 | 19.67
13 | D | 3856 | 55.524 | -4.596 | 19.683
13 | D | 3854 | 55.503 | -4.577 | 19.679
13 | D | 3858 | 55.528 | -4.584 | 19.689
13 | D | 1548 | 4.283 | -19.455 | 28.341
13 | D | 4954 | 23.726 | -19.333 | 27.922
13 | D | 4630 | 22.119 | -19.335 | 27.79
13 | D | 4378 | 20.856 | -19.345 | 27.899
13 | D | 4144 | 19.72 | -19.337 | 27.824
13 | D | 3916 | 18.606 | -19.324 | 27.852
13 | D | 3701 | 17.551 | -19.314 | 27.83
13 | D | 3496 | 16.558 | -19.332 | 27.845
13 | D | 3309 | 15.616 | -19.352 | 27.889
13 | D | 3129 | 14.745 | -19.366 | 27.847
13 | D | 2958 | 13.923 | -19.329 | 27.873
14 | D | 3868 | 54.868 | -4.576 | 19.744
14 | D | 3862 | 55.634 | -4.57 | 19.67
14 | D | 3865 | 55.628 | -4.587 | 19.598
14 | D | 3867 | 55.618 | -4.591 | 19.662
14 | D | 3866 | 55.672 | -4.578 | 19.631
14 | D | 1556 | 4.312 | -19.345 | 28.694
14 | D | 5132 | 24.668 | -19.31 | 27.767
14 | D | 4775 | 22.978 | -19.404 | 27.714
14 | D | 4495 | 21.676 | -19.358 | 27.774
14 | D | 4240 | 20.454 | -19.377 | 27.751
14 | D | 4002 | 19.298 | -19.388 | 27.721
14 | D | 3781 | 18.245 | -19.351 | 27.789
14 | D | 3566 | 17.175 | -19.344 | 27.788
14 | D | 3366 | 16.182 | -19.395 | 27.782
14 | D | 3182 | 15.263 | -19.374 | 27.779
14 | D | 3007 | 14.404 | -19.318 | 27.796
15 | E | 3872 | 54.985 | -4.567 | 19.747
15 | E | 3872 | 55.728 | -4.57 | 19.67
15 | E | 3871 | 55.726 | -4.574 | 19.665
15 | E | 3872 | 55.708 | -4.584 | 19.655
15 | E | 3870 | 55.704 | -4.553 | 19.71
15 | E | 3258 | 9.183 | -19.431 | 28.743
15 | E | 10436 | 51.089 | -19.328 | 27.868
15 | E | 9765 | 47.661 | -19.374 | 27.827
15 | E | 9228 | 44.859 | -19.382 | 27.832
15 | E | 8707 | 42.22 | -19.389 | 27.829
15 | E | 8224 | 39.765 | -19.353 | 27.862
15 | E | 7761 | 37.453 | -19.412 | 27.861
15 | E | 7335 | 35.277 | -19.368 | 27.863
15 | E | 6919 | 33.215 | -19.402 | 27.852
15 | E | 6531 | 31.276 | -19.402 | 27.833
15 | E | 6172 | 29.457 | -19.401 | 27.868
16 | E | 3882 | 55.072 | -4.554 | 19.714
16 | E | 3881 | 55.835 | -4.57 | 19.67
16 | E | 3879 | 55.844 | -4.589 | 19.664
16 | E | 3879 | 55.82 | -4.577 | 19.65
16 | E | 3880 | 55.833 | -4.591 | 19.667
16 | E | 3215 | 9.063 | -19.296 | 28.355
16 | E | 10765 | 52.395 | -19.383 | 27.826
16 | E | 10012 | 48.797 | -19.403 | 27.74
16 | E | 9451 | 46.038 | -19.397 | 27.798
16 | E | 8912 | 43.455 | -19.415 | 27.77
16 | E | 8397 | 40.972 | -19.362 | 27.82
16 | E | 7919 | 38.666 | -19.367 | 27.849
16 | E | 7488 | 36.496 | -19.399 | 27.875
16 | E | 7067 | 34.424 | -19.387 | 27.911
16 | E | 6681 | 32.477 | -19.366 | 27.86
16 | E | 6310 | 30.632 | -19.382 | 27.934
17 | IS DI 10.12.13 | 3883 | 55.119 | -4.574 | 19.723
17 | IS DI 10.12.13 | 3883 | 55.853 | -4.57 | 19.67
17 | IS DI 10.12.13 | 3885 | 55.902 | -4.582 | 19.652
17 | IS DI 10.12.13 | 3880 | 55.851 | -4.557 | 19.649
17 | IS DI 10.12.13 | 3882 | 55.861 | -4.58 | 19.679
17 | IS DI 10.12.13 | 1280 | 3.541 | -19.576 | 31.2
17 | IS DI 10.12.13 | 68 | 0.313 | -16.747 | 24.167
18 | ISST IND 2 10.12.13 | 3890 | 55.182 | -4.571 | 19.767
18 | ISST IND 2 10.12.13 | 3888 | 55.931 | -4.57 | 19.67
18 | ISST IND 2 10.12.13 | 3887 | 55.972 | -4.574 | 19.664
18 | ISST IND 2 10.12.13 | 3886 | 55.958 | -4.579 | 19.665
18 | ISST IND 2 10.12.13 | 3889 | 55.955 | -4.577 | 19.687
18 | ISST IND 2 10.12.13 | 4670 | 22.049 | -7.544 | 22.958
18 | ISST IND 2 10.12.13 | 4314 | 20.428 | -7.591 | 22.843
18 | ISST IND 2 10.12.13 | 4068 | 19.321 | -7.588 | 22.831
18 | ISST IND 2 10.12.13 | 3837 | 18.278 | -7.616 | 22.886
18 | ISST IND 2 10.12.13 | 3620 | 17.254 | -7.632 | 22.82
18 | ISST IND 2 10.12.13 | 3406 | 16.283 | -7.599 | 22.885
18 | ISST IND 2 10.12.13 | 3207 | 15.364 | -7.552 | 22.854
18 | ISST IND 2 10.12.13 | 3018 | 14.495 | -7.581 | 22.908
18 | ISST IND 2 10.12.13 | 2842 | 13.665 | -7.564 | 22.875
18 | ISST IND 2 10.12.13 | 2683 | 12.898 | -7.571 | 22.861
19 | ISSR 7 2 10.12.13 | 3889 | 55.237 | -4.542 | 19.765
19 | ISSR 7 2 10.12.13 | 3887 | 55.965 | -4.57 | 19.67
19 | ISSR 7 2 10.12.13 | 3888 | 55.985 | -4.561 | 19.679
19 | ISSR 7 2 10.12.13 | 3889 | 56.024 | -4.562 | 19.65
19 | ISSR 7 2 10.12.13 | 3889 | 56.007 | -4.585 | 19.683
19 | ISSR 7 2 10.12.13 | 656 | 1.803 | -9.677 | 23.223
19 | ISSR 7 2 10.12.13 | 4961 | 23.841 | -11.271 | 22.692
19 | ISSR 7 2 10.12.13 | 4605 | 22.12 | -11.277 | 22.641
19 | ISSR 7 2 10.12.13 | 4350 | 20.875 | -11.263 | 22.59
19 | ISSR 7 2 10.12.13 | 4114 | 19.724 | -11.261 | 22.559
19 | ISSR 7 2 10.12.13 | 3892 | 18.609 | -11.25 | 22.564
19 | ISSR 7 2 10.12.13 | 3683 | 17.585 | -11.283 | 22.608
19 | ISSR 7 2 10.12.13 | 3482 | 16.599 | -11.257 | 22.594
19 | ISSR 7 2 10.12.13 | 3291 | 15.673 | -11.262 | 22.605
19 | ISSR 7 2 10.12.13 | 3113 | 14.795 | -11.282 | 22.567
19 | ISSR 7 2 10.12.13 | 2946 | 13.979 | -11.259 | 22.545
20 | ISLM 10.12.13 | 3899 | 55.274 | -4.53 | 19.716
20 | ISLM 10.12.13 | 3894 | 56.058 | -4.57 | 19.67
20 | ISLM 10.12.13 | 3895 | 56.076 | -4.551 | 19.694
20 | ISLM 10.12.13 | 3894 | 56.042 | -4.538 | 19.669
20 | ISLM 10.12.13 | 3894 | 56.063 | -4.555 | 19.702
20 | ISLM 10.12.13 | 1722 | 4.769 | -12.238 | 27.35
20 | ISLM 10.12.13 | 5411 | 25.735 | -11.885 | 22.781
20 | ISLM 10.12.13 | 5062 | 24.054 | -11.917 | 22.685
20 | ISLM 10.12.13 | 4783 | 22.702 | -11.938 | 22.661
20 | ISLM 10.12.13 | 4527 | 21.502 | -11.942 | 22.684
20 | ISLM 10.12.13 | 4278 | 20.351 | -11.95 | 22.709
20 | ISLM 10.12.13 | 4042 | 19.258 | -11.901 | 22.678
20 | ISLM 10.12.13 | 3814 | 18.203 | -11.908 | 22.729
20 | ISLM 10.12.13 | 3598 | 17.204 | -11.917 | 22.613
20 | ISLM 10.12.13 | 3393 | 16.26 | -11.888 | 22.652
20 | ISLM 10.12.13 | 3199 | 15.365 | -11.902 | 22.817
21 | ISST IND 1 10.12.13 | 3898 | 55.339 | -4.546 | 19.726
21 | ISST IND 1 10.12.13 | 3897 | 56.102 | -4.57 | 19.67
21 | ISST IND 1 10.12.13 | 3897 | 56.105 | -4.559 | 19.648
21 | ISST IND 1 10.12.13 | 3897 | 56.068 | -4.557 | 19.654
21 | ISST IND 1 10.12.13 | 3898 | 56.088 | -4.578 | 19.684
21 | ISST IND 1 10.12.13 | 639 | 1.749 | -12.008 | 23.676
21 | ISST IND 1 10.12.13 | 5932 | 28.661 | -7.848 | 22.854
21 | ISST IND 1 10.12.13 | 5499 | 26.53 | -7.877 | 22.735
21 | ISST IND 1 10.12.13 | 5192 | 25.025 | -7.899 | 22.686
21 | ISST IND 1 10.12.13 | 4902 | 23.598 | -7.907 | 22.748
21 | ISST IND 1 10.12.13 | 4633 | 22.252 | -7.88 | 22.79
21 | ISST IND 1 10.12.13 | 4379 | 20.979 | -7.88 | 22.719
21 | ISST IND 1 10.12.13 | 4129 | 19.764 | -7.907 | 22.694
21 | ISST IND 1 10.12.13 | 3908 | 18.658 | -7.934 | 22.747
21 | ISST IND 1 10.12.13 | 3693 | 17.601 | -7.881 | 22.713
21 | ISST IND 1 10.12.13 | 3489 | 16.612 | -7.881 | 22.758
22 | ISSR 7 1 10.12.13 | 3900 | 55.327 | -4.499 | 19.747
22 | ISSR 7 1 10.12.13 | 3899 | 56.092 | -4.57 | 19.67
22 | ISSR 7 1 10.12.13 | 3899 | 56.085 | -4.579 | 19.685
22 | ISSR 7 1 10.12.13 | 3896 | 56.074 | -4.569 | 19.682
22 | ISSR 7 1 10.12.13 | 3901 | 56.082 | -4.563 | 19.668
22 | ISSR 7 1 10.12.13 | 1460 | 4.03 | -9.845 | 24.049
22 | ISSR 7 1 10.12.13 | 5846 | 27.812 | -10.272 | 22.773
22 | ISSR 7 1 10.12.13 | 5422 | 25.797 | -10.315 | 22.702
22 | ISSR 7 1 10.12.13 | 5134 | 24.368 | -10.307 | 22.648
22 | ISSR 7 1 10.12.13 | 4849 | 23 | -10.301 | 22.715
22 | ISSR 7 1 10.12.13 | 4576 | 21.723 | -10.291 | 22.689
22 | ISSR 7 1 10.12.13 | 4322 | 20.531 | -10.301 | 22.666
22 | ISSR 7 1 10.12.13 | 4078 | 19.366 | -10.322 | 22.68
22 | ISSR 7 1 10.12.13 | 3833 | 18.256 | -10.325 | 22.722
22 | ISSR 7 1 10.12.13 | 3608 | 17.234 | -10.28 | 22.729
22 | ISSR 7 1 10.12.13 | 3397 | 16.257 | -10.271 | 22.725
23 | B | 3894 | 55.287 | -4.557 | 19.75
23 | B | 3894 | 56.022 | -4.57 | 19.67
23 | B | 3893 | 56.045 | -4.587 | 19.663
23 | B | 3895 | 56.024 | -4.547 | 19.656
23 | B | 3895 | 56.064 | -4.566 | 19.678
23 | B | 924 | 2.538 | -19.043 | 28.852
23 | B | 2961 | 14.214 | -19.272 | 27.794
23 | B | 2735 | 13.117 | -19.311 | 27.619
23 | B | 2589 | 12.405 | -19.326 | 27.561
23 | B | 2451 | 11.725 | -19.301 | 27.519
23 | B | 2314 | 11.042 | -19.339 | 27.633
23 | B | 2187 | 10.43 | -19.321 | 27.508
23 | B | 2067 | 9.834 | -19.291 | 27.579
23 | B | 1953 | 9.287 | -19.272 | 27.628
23 | B | 1848 | 8.768 | -19.27 | 27.641
23 | B | 1747 | 8.276 | -19.317 | 27.625
24 | Toti 1 | 3896 | 55.279 | -4.559 | 19.753
24 | Toti 1 | 3891 | 56.026 | -4.57 | 19.67
24 | Toti 1 | 3893 | 56.059 | -4.586 | 19.648
24 | Toti 1 | 3898 | 56.047 | -4.587 | 19.685
24 | Toti 1 | 3897 | 56.049 | -4.592 | 19.682
24 | Toti 1 | 13669 | 47.243 | 0.003 | 11.84
24 | Toti 1 | 42050 | 263.659 | -2.621 | -27.266
24 | Toti 1 | 40039 | 246.284 | 0.581 | -10.472
24 | Toti 1 | 38453 | 232.343 | 0.162 | 1.276
24 | Toti 1 | 36899 | 219.352 | -0.133 | 9.483
24 | Toti 1 | 35410 | 207.136 | -0.182 | 10.62
24 | Toti 1 | 33942 | 195.559 | -0.158 | 10.68
24 | Toti 1 | 32579 | 184.648 | -0.201 | 10.774
24 | Toti 1 | 31220 | 174.428 | -0.178 | 10.871
24 | Toti 1 | 29839 | 164.74 | -0.186 | 10.901
24 | Toti 1 | 28518 | 155.554 | -0.183 | 11.018
25 | Toti 2 | 3902 | 55.382 | -4.553 | 19.742
25 | Toti 2 | 3900 | 56.111 | -4.57 | 19.67
25 | Toti 2 | 3900 | 56.113 | -4.556 | 19.673
25 | Toti 2 | 3898 | 56.085 | -4.564 | 19.675
25 | Toti 2 | 3899 | 56.123 | -4.567 | 19.722
25 | Toti 2 | 24732 | 104.733 | -0.075 | 12.079
25 | Toti 2 | 49923 | 518.42 | -114.787 | -173.922
25 | Toti 2 | 49876 | 494.025 | -111.949 | -169.886
25 | Toti 2 | 49866 | 474.868 | -108.87 | -165.433
25 | Toti 2 | 49863 | 456.399 | -105.509 | -160.575
25 | Toti 2 | 49860 | 438.283 | -101.65 | -155.175
25 | Toti 2 | 49858 | 420.636 | -97.468 | -149.389
25 | Toti 2 | 49856 | 402.45 | -92.519 | -142.609
25 | Toti 2 | 49853 | 385.062 | -86.844 | -135.113
25 | Toti 2 | 49849 | 367.485 | -79.916 | -126.126
25 | Toti 2 | 49842 | 349.573 | -71.546 | -115.703
26 | Toti 3 | 3898 | 55.307 | -4.557 | 19.736
26 | Toti 3 | 3896 | 56.081 | -4.57 | 19.67
26 | Toti 3 | 3899 | 56.095 | -4.584 | 19.658
26 | Toti 3 | 3898 | 56.105 | -4.584 | 19.628
26 | Toti 3 | 3896 | 56.108 | -4.575 | 19.665
26 | Toti 3 | 17037 | 63.346 | 1.299 | 13.119
26 | Toti 3 | 49856 | 355.037 | -70.306 | -113.817
26 | Toti 3 | 49598 | 332.768 | -55.814 | -96.781
26 | Toti 3 | 47577 | 313.587 | -39.226 | -77.846
26 | Toti 3 | 45700 | 296.321 | -24.949 | -60.584
26 | Toti 3 | 43965 | 279.784 | -12.469 | -44.052
26 | Toti 3 | 42208 | 263.787 | -2.395 | -28.137
26 | Toti 3 | 40625 | 249.346 | 2.126 | -14.53
26 | Toti 3 | 39019 | 235.093 | 1.672 | -1.715
26 | Toti 3 | 37437 | 221.985 | 1.303 | 8.157
26 | Toti 3 | 35944 | 209.691 | 1.15 | 12.103
27 | Toti 4 | 3901 | 55.385 | -4.558 | 19.739
27 | Toti 4 | 3900 | 56.131 | -4.57 | 19.67
27 | Toti 4 | 3900 | 56.15 | -4.578 | 19.645
27 | Toti 4 | 3901 | 56.127 | -4.594 | 19.638
27 | Toti 4 | 3901 | 56.154 | -4.567 | 19.704
27 | Toti 4 | 19712 | 75.93 | 0.355 | 12.596
27 | Toti 4 | 49873 | 414.463 | -96.09 | -147.947
27 | Toti 4 | 49870 | 394.258 | -90.331 | -140.16
27 | Toti 4 | 49861 | 376.613 | -84.23 | -132.139
27 | Toti 4 | 49854 | 360.372 | -77.644 | -123.792
27 | Toti 4 | 49844 | 343.217 | -68.735 | -112.709
27 | Toti 4 | 49595 | 325.358 | -55.959 | -97.742
27 | Toti 4 | 47571 | 306.223 | -39.594 | -78.986
27 | Toti 4 | 45587 | 288.826 | -24.243 | -60.273
27 | Toti 4 | 43693 | 272.386 | -11.114 | -42.333
27 | Toti 4 | 41875 | 256.847 | -1.355 | -25.574
28 | Toti 5 | 3900 | 55.31 | -4.536 | 19.708
28 | Toti 5 | 3897 | 56.087 | -4.57 | 19.67
28 | Toti 5 | 3897 | 56.078 | -4.572 | 19.675
28 | Toti 5 | 3898 | 56.088 | -4.543 | 19.617
28 | Toti 5 | 3896 | 56.117 | -4.566 | 19.64
28 | Toti 5 | 193 | 0.524 | 0.115 | 15.817
28 | Toti 5 | 88 | 0.41 | -1.117 | 10.687
29 | B | 3901 | 55.372 | -4.553 | 19.774
29 | B | 3901 | 56.116 | -4.57 | 19.67
29 | B | 3896 | 56.107 | -4.589 | 19.695
29 | B | 3899 | 56.078 | -4.568 | 19.677
29 | B | 3899 | 56.093 | -4.563 | 19.731
29 | B | 849 | 2.348 | -19.434 | 29.177
29 | B | 2779 | 13.331 | -19.25 | 27.656
29 | B | 2600 | 12.476 | -19.227 | 27.559
29 | B | 2450 | 11.76 | -19.25 | 27.574
29 | B | 2312 | 11.088 | -19.252 | 27.589
29 | B | 2183 | 10.465 | -19.23 | 27.672
29 | B | 2062 | 9.873 | -19.269 | 27.54
29 | B | 1950 | 9.313 | -19.252 | 27.537
29 | B | 1841 | 8.783 | -19.287 | 27.607
29 | B | 1740 | 8.29 | -19.312 | 27.514
29 | B | 1644 | 7.821 | -19.311 | 27.596
30 | Toti 6 | 3895 | 55.268 | -4.542 | 19.787
30 | Toti 6 | 3894 | 56.042 | -4.57 | 19.67
30 | Toti 6 | 3896 | 56.075 | -4.598 | 19.714
30 | Toti 6 | 3895 | 56.054 | -4.596 | 19.688
30 | Toti 6 | 3896 | 56.049 | -4.584 | 19.717
30 | Toti 6 | 21199 | 85.708 | 1.013 | 12.103
30 | Toti 6 | 49917 | 451.761 | -102.186 | -155.173
30 | Toti 6 | 49877 | 429.197 | -97.479 | -148.862
30 | Toti 6 | 49866 | 411.623 | -92.794 | -142.521
30 | Toti 6 | 49860 | 394.157 | -87.314 | -135.215
30 | Toti 6 | 49854 | 376.65 | -80.49 | -126.493
30 | Toti 6 | 49848 | 359.116 | -72.671 | -116.67
30 | Toti 6 | 49832 | 341.012 | -62.583 | -104.454
30 | Toti 6 | 48564 | 321.585 | -47.326 | -87.212
30 | Toti 6 | 46641 | 303.282 | -32.063 | -69.299
30 | Toti 6 | 44882 | 286.265 | -18.882 | -52.779
31 | Toti 7 | 3897 | 55.317 | -4.554 | 19.726
31 | Toti 7 | 3895 | 56.043 | -4.57 | 19.67
31 | Toti 7 | 3895 | 56.077 | -4.566 | 19.635
31 | Toti 7 | 3895 | 56.032 | -4.583 | 19.697
31 | Toti 7 | 3893 | 56.059 | -4.545 | 19.685
31 | Toti 7 | 89 | 0.239 | -3.577 | 22.428
31 | Toti 7 | 179 | 0.848 | -6.412 | 20.035
31 | Toti 7 | 128 | 0.606 | -8.279 | 22.701
31 | Toti 7 | 113 | 0.532 | -8.637 | 24.085
31 | Toti 7 | 103 | 0.488 | -8.917 | 24.494
31 | Toti 7 | 96 | 0.453 | -8.616 | 23.943
31 | Toti 7 | 90 | 0.425 | -8.605 | 24.502
31 | Toti 7 | 85 | 0.398 | -9.53 | 24.983
31 | Toti 7 | 80 | 0.375 | -9.163 | 24.125
31 | Toti 7 | 75 | 0.352 | -8.61 | 24.288
31 | Toti 7 | 71 | 0.333 | -9.071 | 26.651
32 | Toti 8 | 3893 | 55.269 | -4.544 | 19.729
32 | Toti 8 | 3894 | 56.009 | -4.57 | 19.67
32 | Toti 8 | 3892 | 56.018 | -4.623 | 19.645
32 | Toti 8 | 3893 | 56.013 | -4.617 | 19.672
32 | Toti 8 | 3893 | 56.014 | -4.587 | 19.683
32 | Toti 8 | 19445 | 75.56 | 0.046 | 12.223
32 | Toti 8 | 49909 | 412.219 | -93.623 | -143.178
32 | Toti 8 | 49873 | 390.038 | -87.248 | -134.852
32 | Toti 8 | 49862 | 372.04 | -80.182 | -125.738
32 | Toti 8 | 49851 | 354.438 | -71.948 | -115.434
32 | Toti 8 | 49829 | 336.699 | -61.102 | -102.373
32 | Toti 8 | 48170 | 317.294 | -44.735 | -83.726
32 | Toti 8 | 46119 | 298.749 | -28.963 | -64.941
32 | Toti 8 | 44207 | 281.351 | -14.947 | -46.608
32 | Toti 8 | 42358 | 265.069 | -4.16 | -29.783
32 | Toti 8 | 40646 | 249.862 | 0.795 | -14.87
33 | Toti 9 | 3897 | 55.342 | -4.569 | 19.76
33 | Toti 9 | 3894 | 56.052 | -4.57 | 19.67
33 | Toti 9 | 3896 | 56.064 | -4.559 | 19.659
33 | Toti 9 | 3897 | 56.074 | -4.566 | 19.638
33 | Toti 9 | 3897 | 56.084 | -4.556 | 19.677
33 | Toti 9 | 20858 | 83.459 | 0.268 | 11.617
33 | Toti 9 | 49872 | 438.552 | -100.805 | -154.26
33 | Toti 9 | 49873 | 416.837 | -95.891 | -147.592
33 | Toti 9 | 49865 | 398.954 | -91.41 | -141.71
33 | Toti 9 | 49861 | 381.379 | -86.136 | -134.845
33 | Toti 9 | 49854 | 363.998 | -79.631 | -126.584
33 | Toti 9 | 49847 | 346.68 | -71.586 | -116.561
33 | Toti 9 | 49825 | 328.687 | -60.582 | -103.513
33 | Toti 9 | 48124 | 309.159 | -43.702 | -84.381
33 | Toti 9 | 46111 | 291.108 | -27.863 | -65.456
33 | Toti 9 | 44146 | 273.976 | -13.825 | -46.981
34 | Toti 10 | 3903 | 55.354 | -4.556 | 19.752
34 | Toti 10 | 3897 | 56.109 | -4.57 | 19.67
34 | Toti 10 | 3901 | 56.14 | -4.587 | 19.66
34 | Toti 10 | 3901 | 56.133 | -4.555 | 19.633
34 | Toti 10 | 3900 | 56.175 | -4.564 | 19.636
34 | Toti 10 | 15684 | 55.944 | 3.596 | 12.77
34 | Toti 10 | 48813 | 319.382 | -47.662 | -89.69
34 | Toti 10 | 46342 | 297.43 | -27.956 | -66.703
34 | Toti 10 | 44369 | 279.842 | -13.336 | -48.124
34 | Toti 10 | 42362 | 263.189 | -1.312 | -30.099
34 | Toti 10 | 40548 | 247.832 | 4.354 | -14.047
34 | Toti 10 | 38771 | 233.328 | 3.873 | -0.349
34 | Toti 10 | 37088 | 219.616 | 3.514 | 9.62
34 | Toti 10 | 35385 | 206.659 | 3.438 | 11.691
34 | Toti 10 | 33805 | 194.573 | 3.431 | 11.813
34 | Toti 10 | 32273 | 183.055 | 3.436 | 11.847
35 | B | 3904 | 55.409 | -4.561 | 19.657
35 | B | 3904 | 56.168 | -4.57 | 19.67
35 | B | 3904 | 56.193 | -4.571 | 19.613
35 | B | 3903 | 56.179 | -4.565 | 19.613
35 | B | 3903 | 56.179 | -4.553 | 19.614
35 | B | 891 | 2.44 | -18.714 | 27.924
35 | B | 2783 | 13.167 | -18.843 | 27.222
35 | B | 2585 | 12.208 | -19.088 | 27.239
35 | B | 2430 | 11.491 | -19.103 | 27.184
35 | B | 2291 | 10.844 | -19.18 | 27.319
35 | B | 2156 | 10.244 | -19.138 | 27.316
35 | B | 2031 | 9.68 | -19.133 | 27.304
35 | B | 1911 | 9.118 | -19.156 | 27.221
35 | B | 1797 | 8.593 | -19.153 | 27.285
35 | B | 1694 | 8.104 | -19.121 | 27.313
35 | B | 1597 | 7.643 | -19.128 | 27.397
36 | Toti dup 1 | 3909 | 55.458 | -4.581 | 19.717
36 | Toti dup 1 | 3909 | 56.239 | -4.57 | 19.67
36 | Toti dup 1 | 3907 | 56.247 | -4.589 | 19.62
36 | Toti dup 1 | 3908 | 56.254 | -4.587 | 19.656
36 | Toti dup 1 | 3908 | 56.244 | -4.585 | 19.688
36 | Toti dup 1 | 17280 | 63.56 | 1.384 | 12.824
36 | Toti dup 1 | 49869 | 360.374 | -76.586 | -122.252
36 | Toti dup 1 | 49854 | 339.676 | -65.18 | -108.194
36 | Toti dup 1 | 48882 | 319.918 | -49.653 | -90.538
36 | Toti dup 1 | 46793 | 301.01 | -32.75 | -70.811
36 | Toti dup 1 | 44744 | 283.253 | -17.635 | -51.819
36 | Toti dup 1 | 42835 | 266.61 | -5.354 | -33.85
36 | Toti dup 1 | 40918 | 250.67 | 2.13 | -17.186
36 | Toti dup 1 | 39159 | 236.101 | 1.739 | -2.959
36 | Toti dup 1 | 37406 | 222.174 | 1.329 | 8.24
36 | Toti dup 1 | 35736 | 209.112 | 1.213 | 11.879
37 | Toti dup 2 | 3914 | 55.565 | -4.567 | 19.73
37 | Toti dup 2 | 3912 | 56.319 | -4.57 | 19.67
37 | Toti dup 2 | 3914 | 56.326 | -4.595 | 19.684
37 | Toti dup 2 | 3916 | 56.335 | -4.598 | 19.743
37 | Toti dup 2 | 3919 | 56.387 | -4.588 | 19.688
37 | Toti dup 2 | 19370 | 75.983 | 0.622 | 12.262
37 | Toti dup 2 | 49906 | 413.148 | -92.079 | -141.932
37 | Toti dup 2 | 49869 | 389.962 | -86.01 | -134.114
37 | Toti dup 2 | 49860 | 372.138 | -79.956 | -126.441
37 | Toti dup 2 | 49852 | 354.559 | -72.764 | -117.544
37 | Toti dup 2 | 49836 | 336.853 | -63.311 | -106.254
37 | Toti dup 2 | 48764 | 318.102 | -49.147 | -90.334
37 | Toti dup 2 | 46879 | 299.432 | -33.804 | -72.504
37 | Toti dup 2 | 45055 | 282.238 | -19.824 | -55.104
37 | Toti dup 2 | 43110 | 265.621 | -7.161 | -37.372
37 | Toti dup 2 | 41333 | 250.143 | 0.972 | -21.118
38 | Toti dup 3 | 3919 | 55.587 | -4.514 | 19.738
38 | Toti dup 3 | 3918 | 56.387 | -4.57 | 19.67
38 | Toti dup 3 | 3916 | 56.372 | -4.56 | 19.68
38 | Toti dup 3 | 3919 | 56.387 | -4.561 | 19.646
38 | Toti dup 3 | 3917 | 56.381 | -4.559 | 19.661
38 | Toti dup 3 | 19990 | 77.54 | 0.285 | 11.263
38 | Toti dup 3 | 49875 | 422.043 | -98.124 | -150.257
38 | Toti dup 3 | 49872 | 399.96 | -92.171 | -142.122
38 | Toti dup 3 | 49863 | 382.645 | -86.376 | -134.543
38 | Toti dup 3 | 49856 | 365.754 | -79.543 | -125.72
38 | Toti dup 3 | 49847 | 349.032 | -71.197 | -115.389
38 | Toti dup 3 | 49819 | 331.457 | -59.835 | -101.842
38 | Toti dup 3 | 48118 | 312.947 | -44.103 | -84.046
38 | Toti dup 3 | 46073 | 294.651 | -28.075 | -64.85
38 | Toti dup 3 | 44127 | 277.758 | -14.103 | -46.583
38 | Toti dup 3 | 42298 | 262.089 | -3.538 | -29.882
39 | ISCD IND 1 9.29.13 | 3920 | 55.678 | -4.555 | 19.725
39 | ISCD IND 1 9.29.13 | 3919 | 56.39 | -4.57 | 19.67
39 | ISCD IND 1 9.29.13 | 3921 | 56.372 | -4.584 | 19.63
39 | ISCD IND 1 9.29.13 | 3922 | 56.398 | -4.577 | 19.644
39 | ISCD IND 1 9.29.13 | 3923 | 56.465 | -4.581 | 19.693
39 | ISCD IND 1 9.29.13 | 1056 | 2.898 | -9.832 | 21.697
39 | ISCD IND 1 9.29.13 | 3103 | 14.681 | -10.495 | 21.242
39 | ISCD IND 1 9.29.13 | 2868 | 13.528 | -10.618 | 21.298
39 | ISCD IND 1 9.29.13 | 2705 | 12.746 | -10.728 | 21.302
39 | ISCD IND 1 9.29.13 | 2555 | 12.031 | -10.634 | 21.383
39 | ISCD IND 1 9.29.13 | 2415 | 11.377 | -10.656 | 21.361
39 | ISCD IND 1 9.29.13 | 2276 | 10.759 | -10.639 | 21.332
39 | ISCD IND 1 9.29.13 | 2151 | 10.176 | -10.595 | 21.362
39 | ISCD IND 1 9.29.13 | 2027 | 9.613 | -10.63 | 21.467
39 | ISCD IND 1 9.29.13 | 1910 | 9.083 | -10.691 | 21.422
39 | ISCD IND 1 9.29.13 | 1799 | 8.575 | -10.579 | 21.43
40 | ISST IND 2 9.29.13 | 3920 | 55.642 | -4.561 | 19.779
40 | ISST IND 2 9.29.13 | 3920 | 56.415 | -4.57 | 19.67
40 | ISST IND 2 9.29.13 | 3919 | 56.428 | -4.589 | 19.635
40 | ISST IND 2 9.29.13 | 3919 | 56.409 | -4.599 | 19.612
40 | ISST IND 2 9.29.13 | 3918 | 56.421 | -4.606 | 19.674
40 | ISST IND 2 9.29.13 | 1187 | 3.268 | -8.594 | 26.351
40 | ISST IND 2 9.29.13 | 5617 | 27.148 | -8.672 | 22.294
40 | ISST IND 2 9.29.13 | 5217 | 25.212 | -8.704 | 22.22
40 | ISST IND 2 9.29.13 | 4919 | 23.727 | -8.662 | 22.219
40 | ISST IND 2 9.29.13 | 4641 | 22.34 | -8.665 | 22.265
40 | ISST IND 2 9.29.13 | 4384 | 21.066 | -8.665 | 22.247
40 | ISST IND 2 9.29.13 | 4140 | 19.868 | -8.638 | 22.246
40 | ISST IND 2 9.29.13 | 3911 | 18.707 | -8.697 | 22.249
40 | ISST IND 2 9.29.13 | 3686 | 17.63 | -8.688 | 22.243
40 | ISST IND 2 9.29.13 | 3485 | 16.636 | -8.699 | 22.295
40 | ISST IND 2 9.29.13 | 3292 | 15.684 | -8.616 | 22.194
41 | ISSR 3 2 9.29.13 | 3921 | 55.616 | -4.564 | 19.775
41 | ISSR 3 2 9.29.13 | 3924 | 56.455 | -4.57 | 19.67
41 | ISSR 3 2 9.29.13 | 3923 | 56.462 | -4.568 | 19.664
41 | ISSR 3 2 9.29.13 | 3923 | 56.43 | -4.597 | 19.69
41 | ISSR 3 2 9.29.13 | 3923 | 56.452 | -4.611 | 19.694
41 | ISSR 3 2 9.29.13 | 1665 | 4.612 | -10.954 | 23.788
41 | ISSR 3 2 9.29.13 | 5201 | 24.786 | -10.843 | 22.511
41 | ISSR 3 2 9.29.13 | 4870 | 23.175 | -10.881 | 22.477
41 | ISSR 3 2 9.29.13 | 4595 | 21.815 | -10.878 | 22.389
41 | ISSR 3 2 9.29.13 | 4341 | 20.57 | -10.866 | 22.413
41 | ISSR 3 2 9.29.13 | 4104 | 19.422 | -10.854 | 22.418
41 | ISSR 3 2 9.29.13 | 3875 | 18.336 | -10.875 | 22.419
41 | ISSR 3 2 9.29.13 | 3660 | 17.306 | -10.839 | 22.446
41 | ISSR 3 2 9.29.13 | 3446 | 16.329 | -10.877 | 22.464
41 | ISSR 3 2 9.29.13 | 3245 | 15.415 | -10.897 | 22.51
41 | ISSR 3 2 9.29.13 | 3055 | 14.536 | -10.855 | 22.429
42 | B | 3920 | 55.64 | -4.565 | 19.768
42 | B | 3917 | 56.389 | -4.57 | 19.67
42 | B | 3914 | 56.371 | -4.582 | 19.69
42 | B | 3918 | 56.388 | -4.541 | 19.673
42 | B | 3918 | 56.397 | -4.535 | 19.696
42 | B | 884 | 2.434 | -18.947 | 29.068
42 | B | 2879 | 13.87 | -18.966 | 27.58
42 | B | 2678 | 12.877 | -18.957 | 27.507
42 | B | 2530 | 12.147 | -18.97 | 27.504
42 | B | 2391 | 11.465 | -18.892 | 27.45
42 | B | 2260 | 10.816 | -18.957 | 27.479
42 | B | 2135 | 10.205 | -18.952 | 27.468
42 | B | 2015 | 9.621 | -18.904 | 27.429
42 | B | 1906 | 9.071 | -19.025 | 27.477
42 | B | 1799 | 8.557 | -18.994 | 27.513
42 | B | 1702 | 8.078 | -18.906 | 27.494
43 | ISSR 7 1 9.29.13 | 3918 | 55.592 | -4.557 | 19.762
43 | ISSR 7 1 9.29.13 | 3918 | 56.362 | -4.57 | 19.67
43 | ISSR 7 1 9.29.13 | 3917 | 56.377 | -4.56 | 19.667
43 | ISSR 7 1 9.29.13 | 3915 | 56.369 | -4.575 | 19.654
43 | ISSR 7 1 9.29.13 | 3915 | 56.369 | -4.568 | 19.68
43 | ISSR 7 1 9.29.13 | 1421 | 3.92 | -10.854 | 23.383
43 | ISSR 7 1 9.29.13 | 4488 | 21.413 | -10.675 | 22.034
43 | ISSR 7 1 9.29.13 | 4201 | 20.009 | -10.653 | 21.916
43 | ISSR 7 1 9.29.13 | 3971 | 18.872 | -10.7 | 22.019
43 | ISSR 7 1 9.29.13 | 3751 | 17.799 | -10.707 | 21.919
43 | ISSR 7 1 9.29.13 | 3548 | 16.799 | -10.695 | 21.973
43 | ISSR 7 1 9.29.13 | 3353 | 15.841 | -10.697 | 21.979
43 | ISSR 7 1 9.29.13 | 3171 | 14.958 | -10.692 | 21.88
43 | ISSR 7 1 9.29.13 | 2997 | 14.116 | -10.702 | 21.878
43 | ISSR 7 1 9.29.13 | 2827 | 13.328 | -10.681 | 21.901
43 | ISSR 7 1 9.29.13 | 2670 | 12.594 | -10.689 | 21.935
44 | ISSR 4 1 9.29.13 | 3916 | 55.565 | -4.551 | 19.671
44 | ISSR 4 1 9.29.13 | 3915 | 56.343 | -4.57 | 19.67
44 | ISSR 4 1 9.29.13 | 3918 | 56.369 | -4.568 | 19.64
44 | ISSR 4 1 9.29.13 | 3916 | 56.32 | -4.565 | 19.607
44 | ISSR 4 1 9.29.13 | 3910 | 56.343 | -4.572 | 19.67
44 | ISSR 4 1 9.29.13 | 1502 | 4.163 | -9.517 | 23.078
44 | ISSR 4 1 9.29.13 | 4965 | 23.988 | -9.474 | 22.62
44 | ISSR 4 1 9.29.13 | 4603 | 22.284 | -9.476 | 22.481
44 | ISSR 4 1 9.29.13 | 4345 | 21.012 | -9.504 | 22.485
44 | ISSR 4 1 9.29.13 | 4102 | 19.806 | -9.509 | 22.52
44 | ISSR 4 1 9.29.13 | 3868 | 18.649 | -9.506 | 22.57
44 | ISSR 4 1 9.29.13 | 3656 | 17.593 | -9.517 | 22.588
44 | ISSR 4 1 9.29.13 | 3454 | 16.582 | -9.499 | 22.604
44 | ISSR 4 1 9.29.13 | 3256 | 15.613 | -9.554 | 22.625
44 | ISSR 4 1 9.29.13 | 3076 | 14.72 | -9.525 | 22.541
44 | ISSR 4 1 9.29.13 | 2905 | 13.877 | -9.477 | 22.594
45 | ISST IND 1 9.29.13 | 3917 | 55.606 | -4.554 | 19.794
45 | ISST IND 1 9.29.13 | 3917 | 56.334 | -4.57 | 19.67
45 | ISST IND 1 9.29.13 | 3917 | 56.343 | -4.553 | 19.715
45 | ISST IND 1 9.29.13 | 3918 | 56.371 | -4.559 | 19.7
45 | ISST IND 1 9.29.13 | 3914 | 56.35 | -4.565 | 19.723
45 | ISST IND 1 9.29.13 | 947 | 2.59 | -8.883 | 23.162
45 | ISST IND 1 9.29.13 | 5318 | 25.441 | -8.477 | 22.508
45 | ISST IND 1 9.29.13 | 4924 | 23.527 | -8.472 | 22.358
45 | ISST IND 1 9.29.13 | 4653 | 22.209 | -8.49 | 22.365
45 | ISST IND 1 9.29.13 | 4396 | 20.952 | -8.451 | 22.379
45 | ISST IND 1 9.29.13 | 4154 | 19.768 | -8.447 | 22.387
45 | ISST IND 1 9.29.13 | 3929 | 18.658 | -8.496 | 22.39
45 | ISST IND 1 9.29.13 | 3718 | 17.609 | -8.485 | 22.388
45 | ISST IND 1 9.29.13 | 3519 | 16.62 | -8.514 | 22.402
45 | ISST IND 1 9.29.13 | 3331 | 15.706 | -8.451 | 22.404
45 | ISST IND 1 9.29.13 | 3147 | 14.835 | -8.524 | 22.374
46 | ISSR 7 2 9.29.13 | 3920 | 55.618 | -4.513 | 19.74
46 | ISSR 7 2 9.29.13 | 3920 | 56.362 | -4.57 | 19.67
46 | ISSR 7 2 9.29.13 | 3917 | 56.363 | -4.531 | 19.635
46 | ISSR 7 2 9.29.13 | 3918 | 56.359 | -4.523 | 19.65
46 | ISSR 7 2 9.29.13 | 3915 | 56.369 | -4.534 | 19.676
46 | ISSR 7 2 9.29.13 | 203 | 0.554 | -15.588 | 25.623
46 | ISSR 7 2 9.29.13 | 641 | 3.046 | -15.994 | 23.593
46 | ISSR 7 2 9.29.13 | 597 | 2.847 | -15.924 | 23.717
46 | ISSR 7 2 9.29.13 | 564 | 2.691 | -15.893 | 23.762
46 | ISSR 7 2 9.29.13 | 534 | 2.548 | -16.033 | 23.654
46 | ISSR 7 2 9.29.13 | 506 | 2.414 | -16.056 | 23.827
46 | ISSR 7 2 9.29.13 | 480 | 2.289 | -15.989 | 23.655
46 | ISSR 7 2 9.29.13 | 457 | 2.172 | -16.073 | 23.81
46 | ISSR 7 2 9.29.13 | 434 | 2.062 | -16.304 | 23.845
46 | ISSR 7 2 9.29.13 | 413 | 1.959 | -16.431 | 23.511
46 | ISSR 7 2 9.29.13 | 393 | 1.864 | -16.42 | 24.048
47 | ISSR 8 2 9.29.13 | 3916 | 55.524 | -4.556 | 19.744
47 | ISSR 8 2 9.29.13 | 3914 | 56.329 | -4.57 | 19.67
47 | ISSR 8 2 9.29.13 | 3915 | 56.347 | -4.572 | 19.674
47 | ISSR 8 2 9.29.13 | 3917 | 56.339 | -4.572 | 19.713
47 | ISSR 8 2 9.29.13 | 3915 | 56.355 | -4.582 | 19.68
47 | ISSR 8 2 9.29.13 | 92 | 0.278 | -18.614 | 367.045
47 | ISSR 8 2 9.29.13 | 6395 | 30.868 | -10.981 | 22.093
47 | ISSR 8 2 9.29.13 | 5961 | 28.776 | -11 | 22.082
47 | ISSR 8 2 9.29.13 | 5633 | 27.167 | -11.045 | 22.042
47 | ISSR 8 2 9.29.13 | 5327 | 25.658 | -11.026 | 22.053
47 | ISSR 8 2 9.29.13 | 5045 | 24.237 | -11.057 | 22.047
47 | ISSR 8 2 9.29.13 | 4776 | 22.894 | -11.057 | 22.081
47 | ISSR 8 2 9.29.13 | 4522 | 21.605 | -11.039 | 22.057
47 | ISSR 8 2 9.29.13 | 4277 | 20.404 | -11.076 | 22.039
47 | ISSR 8 2 9.29.13 | 4051 | 19.262 | -11.061 | 21.98
47 | ISSR 8 2 9.29.13 | 3834 | 18.204 | -11.102 | 22.172
48 | B | 3918 | 55.607 | -4.543 | 19.779
48 | B | 3916 | 56.389 | -4.57 | 19.67
48 | B | 3923 | 56.432 | -4.579 | 19.674
48 | B | 3920 | 56.373 | -4.578 | 19.716
48 | B | 3919 | 56.407 | -4.572 | 19.731
48 | B | 907 | 2.495 | -18.933 | 28.17
48 | B | 2911 | 13.857 | -19.068 | 27.606
48 | B | 2714 | 12.963 | -19.044 | 27.583
48 | B | 2552 | 12.219 | -19.028 | 27.605
48 | B | 2402 | 11.52 | -19.05 | 27.537
48 | B | 2261 | 10.855 | -19.083 | 27.563
48 | B | 2131 | 10.234 | -19.081 | 27.536
48 | B | 2009 | 9.641 | -19.034 | 27.535
48 | B | 1896 | 9.087 | -19.073 | 27.574
48 | B | 1791 | 8.567 | -19.047 | 27.551
48 | B | 1691 | 8.081 | -19.141 | 27.554
49 | ISCD DIR 2 9.29.13 | 3916 | 55.581 | -4.576 | 19.736
49 | ISCD DIR 2 9.29.13 | 3912 | 56.291 | -4.57 | 19.67
49 | ISCD DIR 2 9.29.13 | 3914 | 56.325 | -4.567 | 19.643
49 | ISCD DIR 2 9.29.13 | 3913 | 56.323 | -4.569 | 19.713
49 | ISCD DIR 2 9.29.13 | 3914 | 56.335 | -4.554 | 19.687
49 | ISCD DIR 2 9.29.13 | 341 | 0.933 | -19.438 | 29.388
49 | ISCD DIR 2 9.29.13 | 3504 | 16.675 | -11.175 | 21.568
49 | ISCD DIR 2 9.29.13 | 3249 | 15.479 | -11.187 | 21.419
49 | ISCD DIR 2 9.29.13 | 3061 | 14.574 | -11.222 | 21.431
49 | ISCD DIR 2 9.29.13 | 2894 | 13.769 | -11.247 | 21.409
49 | ISCD DIR 2 9.29.13 | 2735 | 12.994 | -11.208 | 21.508
49 | ISCD DIR 2 9.29.13 | 2584 | 12.264 | -11.146 | 21.439
49 | ISCD DIR 2 9.29.13 | 2442 | 11.569 | -11.199 | 21.462
49 | ISCD DIR 2 9.29.13 | 2308 | 10.913 | -11.25 | 21.483
49 | ISCD DIR 2 9.29.13 | 2180 | 10.301 | -11.198 | 21.46
49 | ISCD DIR 2 9.29.13 | 2060 | 9.713 | -11.222 | 21.394
50 | IS DI 9.29.13 | 3913 | 55.617 | -4.533 | 19.768
50 | IS DI 9.29.13 | 3915 | 56.324 | -4.57 | 19.67
50 | IS DI 9.29.13 | 3916 | 56.346 | -4.552 | 19.684
50 | IS DI 9.29.13 | 3918 | 56.352 | -4.553 | 19.694
50 | IS DI 9.29.13 | 3914 | 56.347 | -4.537 | 19.709
50 | IS DI 9.29.13 | 419 | 1.142 | -11.177 | 22.45
50 | IS DI 9.29.13 | 94 | 0.432 | -12.615 | 27.369
50 | IS DI 9.29.13 | 82 | 0.38 | -11.494 | 27.746
50 | IS DI 9.29.13 | 76 | 0.356 | -12.233 | 26.86
50 | IS DI 9.29.13 | 72 | 0.336 | -11.891 | 27.527
50 | IS DI 9.29.13 | 68 | 0.316 | -11.36 | 28.117
50 | IS DI 9.29.13 | 63 | 0.298 | -11.293 | 27.928
50 | IS DI 9.29.13 | 60 | 0.281 | -12.003 | 25.567
50 | IS DI 9.29.13 | 56 | 0.265 | -12.565 | 28.285
50 | IS DI 9.29.13 | 53 | 0.25 | -11.542 | 27.869
50 | IS DI 9.29.13 | 50 | 0.236 | -11.929 | 28.978
51 | ISLM 1 9.29.13 | 3912 | 55.548 | -4.537 | 19.716
51 | ISLM 1 9.29.13 | 3911 | 56.309 | -4.57 | 19.67
51 | ISLM 1 9.29.13 | 3911 | 56.291 | -4.532 | 19.64
51 | ISLM 1 9.29.13 | 3912 | 56.303 | -4.547 | 19.666
51 | ISLM 1 9.29.13 | 3915 | 56.347 | -4.523 | 19.663
51 | ISLM 1 9.29.13 | 4801 | 23.006 | -11.853 | 22.679
51 | ISLM 1 9.29.13 | 4450 | 21.348 | -11.865 | 22.641
51 | ISLM 1 9.29.13 | 4199 | 20.13 | -11.923 | 22.647
51 | ISLM 1 9.29.13 | 3964 | 18.982 | -11.896 | 22.662
51 | ISLM 1 9.29.13 | 3752 | 17.921 | -11.875 | 22.613
51 | ISLM 1 9.29.13 | 3546 | 16.921 | -11.856 | 22.652
51 | ISLM 1 9.29.13 | 3348 | 15.934 | -11.902 | 22.524
51 | ISLM 1 9.29.13 | 3162 | 15.032 | -11.836 | 22.599
51 | ISLM 1 9.29.13 | 2986 | 14.189 | -11.902 | 22.641
51 | ISLM 1 9.29.13 | 2826 | 13.39 | -11.837 | 22.64
52 | ISLM 2 9.29.13 | 3921 | 55.619 | -4.542 | 19.769
52 | ISLM 2 9.29.13 | 3914 | 56.326 | -4.57 | 19.67
52 | ISLM 2 9.29.13 | 3917 | 56.37 | -4.563 | 19.633
52 | ISLM 2 9.29.13 | 3918 | 56.373 | -4.573 | 19.659
52 | ISLM 2 9.29.13 | 3917 | 56.34 | -4.566 | 19.711
52 | ISLM 2 9.29.13 | 632 | 1.73 | -11.69 | 23.873
52 | ISLM 2 9.29.13 | 5660 | 26.85 | -11.782 | 22.703
52 | ISLM 2 9.29.13 | 5280 | 25.069 | -11.812 | 22.61
52 | ISLM 2 9.29.13 | 4980 | 23.673 | -11.883 | 22.65
52 | ISLM 2 9.29.13 | 4700 | 22.356 | -11.807 | 22.64
52 | ISLM 2 9.29.13 | 4422 | 21.114 | -11.856 | 22.688
52 | ISLM 2 9.29.13 | 4173 | 19.93 | -11.866 | 22.705
52 | ISLM 2 9.29.13 | 3929 | 18.797 | -11.835 | 22.693
52 | ISLM 2 9.29.13 | 3701 | 17.747 | -11.824 | 22.713
52 | ISLM 2 9.29.13 | 3484 | 16.743 | -11.825 | 22.631
52 | ISLM 2 9.29.13 | 3281 | 15.781 | -11.843 | 22.665
53 | ISSR 3 9.29.13 | 3916 | 55.562 | -4.535 | 19.674
53 | ISSR 3 9.29.13 | 3914 | 56.328 | -4.57 | 19.67
53 | ISSR 3 9.29.13 | 3914 | 56.32 | -4.556 | 19.643
53 | ISSR 3 9.29.13 | 3915 | 56.323 | -4.558 | 19.64
53 | ISSR 3 9.29.13 | 3910 | 56.283 | -4.541 | 19.636
53 | ISSR 3 9.29.13 | 660 | 1.819 | -12.211 | 30.916
53 | ISSR 3 9.29.13 | 5531 | 26.697 | -10.289 | 22.405
53 | ISSR 3 9.29.13 | 5146 | 24.831 | -10.332 | 22.386
53 | ISSR 3 9.29.13 | 4851 | 23.351 | -10.311 | 22.376
53 | ISSR 3 9.29.13 | 4570 | 21.978 | -10.284 | 22.409
53 | ISSR 3 9.29.13 | 4306 | 20.685 | -10.333 | 22.405
53 | ISSR 3 9.29.13 | 4066 | 19.479 | -10.354 | 22.456
53 | ISSR 3 9.29.13 | 3841 | 18.349 | -10.36 | 22.405
53 | ISSR 3 9.29.13 | 3618 | 17.279 | -10.37 | 22.395
53 | ISSR 3 9.29.13 | 3413 | 16.265 | -10.319 | 22.424
53 | ISSR 3 9.29.13 | 3222 | 15.324 | -10.313 | 22.504
54 | B | 3914 | 55.566 | -4.523 | 19.75
54 | B | 3913 | 56.313 | -4.57 | 19.67
54 | B | 3914 | 56.331 | -4.563 | 19.625
54 | B | 3914 | 56.331 | -4.586 | 19.669
54 | B | 3917 | 56.335 | -4.561 | 19.693
54 | B | 805 | 2.204 | -18.692 | 28.145
54 | B | 2555 | 12.107 | -18.509 | 27.514
54 | B | 2398 | 11.309 | -18.537 | 27.439
54 | B | 2274 | 10.694 | -18.569 | 27.538
54 | B | 2153 | 10.116 | -18.533 | 27.586
54 | B | 2035 | 9.561 | -18.553 | 27.41
54 | B | 1925 | 9.05 | -18.564 | 27.49
54 | B | 1817 | 8.571 | -18.545 | 27.478
54 | B | 1710 | 8.094 | -18.538 | 27.491
54 | B | 1613 | 7.646 | -18.548 | 27.502
54 | B | 1518 | 7.222 | -18.506 | 27.525
55 | ISCD DIR 1 9.29.13 | 3917 | 55.546 | -4.556 | 19.784
55 | ISCD DIR 1 9.29.13 | 3918 | 56.353 | -4.57 | 19.67
55 | ISCD DIR 1 9.29.13 | 3916 | 56.356 | -4.573 | 19.674
55 | ISCD DIR 1 9.29.13 | 3916 | 56.342 | -4.584 | 19.701
55 | ISCD DIR 1 9.29.13 | 3916 | 56.366 | -4.581 | 19.704
55 | ISCD DIR 1 9.29.13 | 300 | 0.817 | -18.687 | 28.946
55 | ISCD DIR 1 9.29.13 | 3389 | 16.281 | -11.091 | 21.617
55 | ISCD DIR 1 9.29.13 | 3154 | 15.163 | -11.056 | 21.531
55 | ISCD DIR 1 9.29.13 | 2985 | 14.328 | -10.992 | 21.576
55 | ISCD DIR 1 9.29.13 | 2822 | 13.529 | -11.053 | 21.554
55 | ISCD DIR 1 9.29.13 | 2668 | 12.776 | -11.039 | 21.663
55 | ISCD DIR 1 9.29.13 | 2522 | 12.052 | -11.066 | 21.658
55 | ISCD DIR 1 9.29.13 | 2381 | 11.36 | -11.014 | 21.602
55 | ISCD DIR 1 9.29.13 | 2250 | 10.713 | -11.041 | 21.648
55 | ISCD DIR 1 9.29.13 | 2125 | 10.108 | -11.048 | 21.566
55 | ISCD DIR 1 9.29.13 | 2007 | 9.529 | -11.093 | 21.593
56 | ISST DIR 2 9.29.13 | 3927 | 55.717 | -4.544 | 19.699
56 | ISST DIR 2 9.29.13 | 3922 | 56.452 | -4.57 | 19.67
56 | ISST DIR 2 9.29.13 | 3921 | 56.435 | -4.557 | 19.628
56 | ISST DIR 2 9.29.13 | 3928 | 56.47 | -4.571 | 19.627
56 | ISST DIR 2 9.29.13 | 3925 | 56.49 | -4.577 | 19.674
56 | ISST DIR 2 9.29.13 | 413 | 1.131 | -12.059 | 63.24
56 | ISST DIR 2 9.29.13 | 6852 | 32.938 | -10.085 | 22.443
56 | ISST DIR 2 9.29.13 | 6293 | 30.209 | -10.176 | 22.243
56 | ISST DIR 2 9.29.13 | 5929 | 28.405 | -10.215 | 22.3
56 | ISST DIR 2 9.29.13 | 5598 | 26.782 | -10.208 | 22.226
56 | ISST DIR 2 9.29.13 | 5309 | 25.296 | -10.177 | 22.257
56 | ISST DIR 2 9.29.13 | 5030 | 23.908 | -10.189 | 22.266
56 | ISST DIR 2 9.29.13 | 4760 | 22.579 | -10.229 | 22.255
56 | ISST DIR 2 9.29.13 | 4496 | 21.345 | -10.21 | 22.291
56 | ISST DIR 2 9.29.13 | 4253 | 20.178 | -10.153 | 22.263
56 | ISST DIR 2 9.29.13 | 4011 | 19.086 | -10.221 | 22.399
57 | ISSR 4 2 9.29.13 | 3917 | 55.513 | -4.573 | 19.757
57 | ISSR 4 2 9.29.13 | 3913 | 56.315 | -4.57 | 19.67
57 | ISSR 4 2 9.29.13 | 3914 | 56.317 | -4.592 | 19.672
57 | ISSR 4 2 9.29.13 | 3914 | 56.317 | -4.61 | 19.681
57 | ISSR 4 2 9.29.13 | 3914 | 56.317 | -4.548 | 19.65
57 | ISSR 4 2 9.29.13 | 793 | 2.186 | -10.454 | 23.31
57 | ISSR 4 2 9.29.13 | 5457 | 26.398 | -10.584 | 22.555
57 | ISSR 4 2 9.29.13 | 5046 | 24.427 | -10.608 | 22.436
57 | ISSR 4 2 9.29.13 | 4757 | 23.026 | -10.58 | 22.422
57 | ISSR 4 2 9.29.13 | 4498 | 21.736 | -10.616 | 22.489
57 | ISSR 4 2 9.29.13 | 4250 | 20.497 | -10.585 | 22.493
57 | ISSR 4 2 9.29.13 | 4018 | 19.337 | -10.6 | 22.562
57 | ISSR 4 2 9.29.13 | 3798 | 18.235 | -10.617 | 22.504
57 | ISSR 4 2 9.29.13 | 3586 | 17.195 | -10.642 | 22.486
57 | ISSR 4 2 9.29.13 | 3391 | 16.216 | -10.601 | 22.553
57 | ISSR 4 2 9.29.13 | 3201 | 15.295 | -10.64 | 22.507
58 | ISST DIR 1 9.29.13 | 3921 | 55.663 | -4.527 | 19.752
58 | ISST DIR 1 9.29.13 | 3922 | 56.438 | -4.57 | 19.67
58 | ISST DIR 1 9.29.13 | 3919 | 56.387 | -4.585 | 19.656
58 | ISST DIR 1 9.29.13 | 3918 | 56.37 | -4.568 | 19.651
58 | ISST DIR 1 9.29.13 | 3918 | 56.409 | -4.579 | 19.713
58 | ISST DIR 1 9.29.13 | 1844 | 5.13 | -9.967 | 23.185
58 | ISST DIR 1 9.29.13 | 5791 | 27.766 | -9.939 | 22.202
58 | ISST DIR 1 9.29.13 | 5449 | 26.075 | -9.976 | 22.148
58 | ISST DIR 1 9.29.13 | 5152 | 24.619 | -9.96 | 22.189
58 | ISST DIR 1 9.29.13 | 4871 | 23.235 | -9.962 | 22.187
58 | ISST DIR 1 9.29.13 | 4602 | 21.909 | -9.956 | 22.22
58 | ISST DIR 1 9.29.13 | 4353 | 20.693 | -9.936 | 22.194
58 | ISST DIR 1 9.29.13 | 4128 | 19.547 | -9.976 | 22.218
58 | ISST DIR 1 9.29.13 | 3904 | 18.447 | -9.923 | 22.152
58 | ISST DIR 1 9.29.13 | 3691 | 17.427 | -9.972 | 22.202
58 | ISST DIR 1 9.29.13 | 3496 | 16.5 | -9.962 | 22.236
59 | ISSR 8 1 9.29.13 | 3918 | 55.578 | -4.579 | 19.747
59 | ISSR 8 1 9.29.13 | 3914 | 56.363 | -4.57 | 19.67
59 | ISSR 8 1 9.29.13 | 3914 | 56.341 | -4.599 | 19.612
59 | ISSR 8 1 9.29.13 | 3915 | 56.341 | -4.58 | 19.658
59 | ISSR 8 1 9.29.13 | 3915 | 56.34 | -4.606 | 19.691
59 | ISSR 8 1 9.29.13 | 1636 | 4.561 | -9.638 | 23.042
59 | ISSR 8 1 9.29.13 | 5240 | 25.345 | -9.53 | 22.078
59 | ISSR 8 1 9.29.13 | 4911 | 23.726 | -9.548 | 22.038
59 | ISSR 8 1 9.29.13 | 4623 | 22.37 | -9.515 | 22.043
59 | ISSR 8 1 9.29.13 | 4365 | 21.096 | -9.526 | 22.041
59 | ISSR 8 1 9.29.13 | 4118 | 19.899 | -9.532 | 22.011
59 | ISSR 8 1 9.29.13 | 3891 | 18.779 | -9.572 | 22.072
59 | ISSR 8 1 9.29.13 | 3681 | 17.723 | -9.504 | 22.054
59 | ISSR 8 1 9.29.13 | 3477 | 16.71 | -9.512 | 22.059
59 | ISSR 8 1 9.29.13 | 3290 | 15.774 | -9.556 | 22.09
59 | ISSR 8 1 9.29.13 | 3112 | 14.884 | -9.511 | 22.129
60 | ISCD IND 2 9.29.13 | 3920 | 55.648 | -4.594 | 19.774
60 | ISCD IND 2 9.29.13 | 3918 | 56.374 | -4.57 | 19.67
60 | ISCD IND 2 9.29.13 | 3920 | 56.408 | -4.582 | 19.699
60 | ISCD IND 2 9.29.13 | 3920 | 56.426 | -4.6 | 19.694
60 | ISCD IND 2 9.29.13 | 3917 | 56.399 | -4.574 | 19.69
60 | ISCD IND 2 9.29.13 | 951 | 2.611 | -10.997 | 22.486
60 | ISCD IND 2 9.29.13 | 2991 | 14.238 | -10.954 | 21.413
60 | ISCD IND 2 9.29.13 | 2798 | 13.301 | -10.937 | 21.239
60 | ISCD IND 2 9.29.13 | 2645 | 12.557 | -10.888 | 21.288
60 | ISCD IND 2 9.29.13 | 2499 | 11.843 | -10.898 | 21.235
60 | ISCD IND 2 9.29.13 | 2359 | 11.162 | -10.938 | 21.279
60 | ISCD IND 2 9.29.13 | 2230 | 10.542 | -10.906 | 21.181
60 | ISCD IND 2 9.29.13 | 2106 | 9.939 | -10.97 | 21.274
60 | ISCD IND 2 9.29.13 | 1993 | 9.389 | -10.875 | 21.276
60 | ISCD IND 2 9.29.13 | 1885 | 8.863 | -10.981 | 21.25
60 | ISCD IND 2 9.29.13 | 1783 | 8.376 | -10.887 | 21.207
61 | B | 3923 | 55.657 | -4.533 | 19.718
61 | B | 3920 | 56.407 | -4.57 | 19.67
61 | B | 3921 | 56.437 | -4.554 | 19.583
61 | B | 3923 | 56.471 | -4.585 | 19.661
61 | B | 3921 | 56.428 | -4.582 | 19.664
61 | B | 888 | 2.461 | -19.511 | 36.726
61 | B | 2877 | 13.749 | -19.162 | 27.235
61 | B | 2658 | 12.724 | -19.272 | 27.126
61 | B | 2502 | 12.006 | -19.269 | 27.08
61 | B | 2362 | 11.341 | -19.176 | 27.12
61 | B | 2235 | 10.737 | -19.195 | 27.195
61 | B | 2111 | 10.155 | -19.25 | 27.114
61 | B | 1999 | 9.591 | -19.208 | 27.324
61 | B | 1890 | 9.063 | -19.215 | 27.153
61 | B | 1790 | 8.569 | -19.248 | 27.138
61 | B | 1692 | 8.086 | -19.195 | 27.356
62 | B | 3923 | 55.689 | -4.574 | 19.717
62 | B | 3922 | 56.412 | -4.57 | 19.67
62 | B | 3922 | 56.429 | -4.578 | 19.674
62 | B | 3921 | 56.412 | -4.583 | 19.651
62 | B | 3919 | 56.497 | -4.604 | 19.634
62 | B | 903 | 2.482 | -19.416 | 28.391
62 | B | 2879 | 13.705 | -19.215 | 27.469
62 | B | 2675 | 12.73 | -19.31 | 27.395
62 | B | 2528 | 12.012 | -19.306 | 27.368
62 | B | 2397 | 11.375 | -19.288 | 27.35
62 | B | 2269 | 10.752 | -19.268 | 27.436
62 | B | 2142 | 10.153 | -19.308 | 27.451
62 | B | 2029 | 9.584 | -19.288 | 27.415
62 | B | 1918 | 9.051 | -19.254 | 27.416
62 | B | 1814 | 8.547 | -19.284 | 27.452
62 | B | 1719 | 8.085 | -19.232 | 27.494
63 | C | 3926 | 55.67 | -4.544 | 19.794
63 | C | 3923 | 56.452 | -4.57 | 19.67
63 | C | 3924 | 56.469 | -4.548 | 19.668
63 | C | 3922 | 56.442 | -4.558 | 19.68
63 | C | 3923 | 56.452 | -4.565 | 19.701
63 | C | 1352 | 3.737 | -19.424 | 28.074
63 | C | 4349 | 20.737 | -19.279 | 27.372
63 | C | 4045 | 19.327 | -19.365 | 27.294
63 | C | 3826 | 18.294 | -19.336 | 27.248
63 | C | 3614 | 17.327 | -19.36 | 27.333
63 | C | 3415 | 16.413 | -19.274 | 27.284
63 | C | 3229 | 15.534 | -19.253 | 27.349
63 | C | 3049 | 14.664 | -19.28 | 27.353
63 | C | 2880 | 13.85 | -19.266 | 27.389
63 | C | 2724 | 13.083 | -19.319 | 27.314
63 | C | 2583 | 12.387 | -19.274 | 27.383
64 | C | 3926 | 55.724 | -4.555 | 19.749
64 | C | 3925 | 56.485 | -4.57 | 19.67
64 | C | 3925 | 56.495 | -4.592 | 19.699
64 | C | 3926 | 56.483 | -4.588 | 19.678
64 | C | 3926 | 56.508 | -4.569 | 19.68
64 | C | 1393 | 3.855 | -19.189 | 28.227
64 | C | 4486 | 21.489 | -19.205 | 27.486
64 | C | 4173 | 19.982 | -19.275 | 27.458
64 | C | 3954 | 18.902 | -19.292 | 27.385
64 | C | 3744 | 17.864 | -19.31 | 27.424
64 | C | 3547 | 16.903 | -19.253 | 27.374
64 | C | 3356 | 15.985 | -19.239 | 27.408
64 | C | 3174 | 15.092 | -19.27 | 27.395
64 | C | 3004 | 14.248 | -19.293 | 27.329
64 | C | 2842 | 13.467 | -19.275 | 27.436
64 | C | 2690 | 12.731 | -19.279 | 27.481
65 | D | 3922 | 55.628 | -4.571 | 19.758
65 | D | 3918 | 56.389 | -4.57 | 19.67
65 | D | 3920 | 56.418 | -4.581 | 19.661
65 | D | 3919 | 56.413 | -4.557 | 19.669
65 | D | 3920 | 56.383 | -4.573 | 19.689
65 | D | 1593 | 4.416 | -19.333 | 28.57
65 | D | 5083 | 24.213 | -19.253 | 27.674
65 | D | 4738 | 22.61 | -19.251 | 27.64
65 | D | 4487 | 21.405 | -19.199 | 27.647
65 | D | 4229 | 20.236 | -19.271 | 27.66
65 | D | 3982 | 19.1 | -19.257 | 27.628
65 | D | 3748 | 18.007 | -19.267 | 27.652
65 | D | 3533 | 16.991 | -19.263 | 27.712
65 | D | 3331 | 16.032 | -19.259 | 27.64
65 | D | 3142 | 15.122 | -19.242 | 27.731
65 | D | 2966 | 14.268 | -19.241 | 27.72
66 | D | 3924 | 55.707 | -4.577 | 19.744
66 | D | 3923 | 56.452 | -4.57 | 19.67
66 | D | 3924 | 56.469 | -4.573 | 19.661
66 | D | 3926 | 56.49 | -4.593 | 19.643
66 | D | 3927 | 56.484 | -4.583 | 19.697
66 | D | 1548 | 4.277 | -19.272 | 28.601
66 | D | 4916 | 23.704 | -19.176 | 27.688
66 | D | 4602 | 22.14 | -19.2 | 27.638
66 | D | 4354 | 20.882 | -19.204 | 27.623
66 | D | 4120 | 19.723 | -19.244 | 27.583
66 | D | 3900 | 18.638 | -19.222 | 27.592
66 | D | 3687 | 17.594 | -19.193 | 27.615
66 | D | 3482 | 16.595 | -19.175 | 27.566
66 | D | 3296 | 15.682 | -19.229 | 27.601
66 | D | 3119 | 14.817 | -19.205 | 27.63
66 | D | 2947 | 13.975 | -19.217 | 27.635
67 | E | 3924 | 55.692 | -4.554 | 19.751
67 | E | 3923 | 56.469 | -4.57 | 19.67
67 | E | 3925 | 56.479 | -4.556 | 19.658
67 | E | 3927 | 56.506 | -4.607 | 19.665
67 | E | 3925 | 56.518 | -4.591 | 19.707
67 | E | 3104 | 8.745 | -19.448 | 28.07
67 | E | 9893 | 47.963 | -19.345 | 27.415
67 | E | 9285 | 44.836 | -19.386 | 27.412
67 | E | 8789 | 42.381 | -19.372 | 27.419
67 | E | 8322 | 40.128 | -19.36 | 27.424
67 | E | 7865 | 37.93 | -19.356 | 27.458
67 | E | 7425 | 35.851 | -19.366 | 27.463
67 | E | 7009 | 33.846 | -19.345 | 27.466
67 | E | 6610 | 31.961 | -19.327 | 27.451
67 | E | 6233 | 30.173 | -19.341 | 27.454
67 | E | 5873 | 28.453 | -19.307 | 27.469
68 | E | 3930 | 55.763 | -4.576 | 19.783
68 | E | 3927 | 56.499 | -4.57 | 19.67
68 | E | 3928 | 56.507 | -4.569 | 19.684
68 | E | 3928 | 56.498 | -4.561 | 19.677
68 | E | 3929 | 56.512 | -4.564 | 19.712
68 | E | 3061 | 8.598 | -19.377 | 27.997
68 | E | 9833 | 48.331 | -19.294 | 27.478
68 | E | 9229 | 45.148 | -19.342 | 27.483
68 | E | 8726 | 42.565 | -19.31 | 27.465
68 | E | 8256 | 40.141 | -19.309 | 27.483
68 | E | 7816 | 37.899 | -19.323 | 27.492
68 | E | 7394 | 35.741 | -19.33 | 27.48
68 | E | 6988 | 33.7 | -19.274 | 27.498
68 | E | 6618 | 31.87 | -19.296 | 27.557
68 | E | 6263 | 30.099 | -19.324 | 27.514
68 | E | 5916 | 28.373 | -19.306 | 27.527