## Data Export
ID | Date Analyzed | Run # | Sample ID | Volume | Type | peak area | δ13C (PDB) | δ13C error (1σ) | Analyst | Researcher | Reaction Temperature (°C) | Reaction Time (hours) | Notes | Notes II
time delay | 2013-04-25 | 1 | time delay | 0 |  |  |  | 0.68826 | Peter Carlson |  | 40 | 8 | wait
ISST indirect 1 0.4 mL 4/21/13 | 2013-04-25 | 16 | ISST indirect 1 0.4 mL 4/21/13 | 0.4 |  | 35.367 | -7.8034 | 0.68826 | Peter Carlson |  | 40 | 8
ISST indirect 2 0.4 ml 4/21/13 | 2013-04-25 | 17 | ISST indirect 2 0.4 ml 4/21/13 | 0.4 |  | 36.759 | -7.6712 | 0.68826 | Peter Carlson |  | 40 | 8
IS Blank 0.4 ml 4/21/13 | 2013-04-25 | 18 | IS Blank 0.4 ml 4/21/13 | 0.4 |  | 1.43 | -8.7928 | 0.68826 | Peter Carlson |  | 40 | 8
ISLM 0.4 ml 4/21/13 | 2013-04-25 | 19 | ISLM 0.4 ml 4/21/13 | 0.4 |  | 53.31 | -12.2996 | 0.68826 | Peter Carlson |  | 40 | 8
ISSR 7 1 0.4 ml 4/21/13 | 2013-04-25 | 20 | ISSR 7 1 0.4 ml 4/21/13 | 0.4 |  | 34.834 | -11.5689 | 0.68826 | Peter Carlson |  | 40 | 8
ISSR 7 2 0.4 ml 4/21/13 | 2013-04-25 | 21 | ISSR 7 2 0.4 ml 4/21/13 | 0.4 |  | 39.627 | -10.8308 | 0.68826 | Peter Carlson |  | 40 | 8
NBWS 1 0.4 ml 4/14/13 | 2013-04-25 | 23 | NBWS 1 0.4 ml 4/14/13 | 0.4 |  | 72.862 | -13.025 | 0.68826 | Peter Carlson |  | 40 | 8
NBWS 2 0.4 ml 4/14/13 | 2013-04-25 | 24 | NBWS 2 0.4 ml 4/14/13 | 0.4 |  | 65.16 | -13.5549 | 0.68826 | Peter Carlson |  | 40 | 8
NBBC 1 0.4 ml 4/14/13 | 2013-04-25 | 25 | NBBC 1 0.4 ml 4/14/13 | 0.4 |  | 59.401 | -9.098 | 0.68826 | Peter Carlson |  | 40 | 8
NBBC 2 0.4 ml 4/14/13 | 2013-04-25 | 26 | NBBC 2 0.4 ml 4/14/13 | 0.4 |  | 54.512 | -9.3619 | 0.68826 | Peter Carlson |  | 40 | 8
NBCT 1 0.4 ml 4/14/13 | 2013-04-25 | 27 | NBCT 1 0.4 ml 4/14/13 | 0.4 |  | 31.801 | -8.2603 | 0.68826 | Peter Carlson |  | 40 | 8
NBCT 2 0.4 ml 4/14/13 | 2013-04-25 | 28 | NBCT 2 0.4 ml 4/14/13 | 0.4 |  | 31.126 | -8.4167 | 0.68826 | Peter Carlson |  | 40 | 8
NB blank 0.4 ml 4/14/13 | 2013-04-25 | 29 | NB blank 0.4 ml 4/14/13 | 0.4 |  | 1.032 | -18.1132 | 0.68826 | Peter Carlson |  | 40 | 8
WC6 0.3 ml 4/23/13 | 2013-04-25 | 31 | WC6 0.3 ml 4/23/13 | 0.3 |  | 52.404 | -12.3677 | 0.68826 | Peter Carlson |  | 40 | 8
WC16 1 0.4 ml 4/23/13 | 2013-04-25 | 32 | WC16 1 0.4 ml 4/23/13 | 0.4 |  | 86.095 | -11.3947 | 0.68826 | Peter Carlson |  | 40 | 8
WC16 2 0.4 ml 4/23/13 | 2013-04-25 | 33 | WC16 2 0.4 ml 4/23/13 | 0.4 |  | 86.781 | -11.5896 | 0.68826 | Peter Carlson |  | 40 | 8
WC15 0.3 ml 4/23/13 | 2013-04-25 | 34 | WC15 0.3 ml 4/23/13 | 0.3 |  | 70.628 | -11.8477 | 0.68826 | Peter Carlson |  | 40 | 8
WC Blank 0.4 ml 4/23/13 | 2013-04-25 | 35 | WC Blank 0.4 ml 4/23/13 | 0.4 |  | 6.229 | -12.7745 | 0.68826 | Peter Carlson |  | 40 | 8

## Calibration
Gas Bench DIC Calibration
|  |  | Date: | 2013-04-25
|  |  | Operator: | Peter Carlson
Calibration Notes
|  |  | d13C max stdev: | 0.2
|  |  | Peaks used: | Last Two
|  |  | Blank Correction: | No (Auto)
|  |  | Linearity Correction: | Yes (Auto)
|  |  | Drift Correction: | Yes (Auto)
Standard
|  |  | Name | mg NaHCO3 | mL H2O | mmol/L NaHCO3 | mg/L C | mg/L HCO3 | µg C | Area 44 | δ13C
|  |  | A | 40.24 | 500 | 0.95802 | 11.5065 | 58.4553 | 4.6026 | 13.102 | -16.3535
|  |  | B | 47.734 | 250 | 2.2729 | 27.2987 | 138.6832 | 10.9195 | 27.7527 | -18.6423
|  |  | C | 75.7 | 250 | 3.6045 | 43.2923 | 219.9338 | 17.3169 | 43.5603 | -18.5229
|  |  | D | 109.608 | 250 | 5.219 | 62.684 | 318.4479 | 25.0736 | 62.868 | -18.5182
|  |  | E | 200.422 | 250 | 9.5432 | 114.6199 | 582.2929 | 45.848 | 112.875 | -17.9635
|  |  | F | 30.572 | 250 | 1.4557 | 17.4839 | 88.8219 | 6.9936 | 17.203 | -18.782
|  |  | Calibration | slope | intercept |  | linearity | drift | standard
|  |  | carbon | 0.40954 | -0.4725 |  | -0.0099636 | -0.010825 | -1.1301
ALL | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | STD-Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
1 | time delay | 0 | [12 empty] | #DIV/0! | #DIV/0!
2 | blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
3 | blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
4 | A | 0.4 | 2483 | 13.102 | -16.5165 | 27.8555 | 0.02192 | 0.033234 | 13.102 | -16.5165 |  | -16.386 | -16.3535 | -17.4836 | 12.2331 | 62.1465
5 | A | 0.4 | 2036 | 10.894 | -18.633 | 28.2895 | 0.42851 | 0.43911 | 10.894 | -18.633 |  | -18.5245 | -18.4812 | -19.6113 | 9.9724 | 50.662
6 | F | 0.4 | 3248 | 17.203 | -19.0075 | 28.181 | 0.0077782 | 0.014142 | 17.203 | -19.0075 |  | -18.8361 | -18.782 | -19.9121 | 16.4318 | 83.4771
7 | F | 0.4 | 3294 | 17.614 | -19.142 | 28.385 | 0.48225 | 0.42426 | 17.614 | -19.142 |  | -18.9665 | -18.9016 | -20.0317 | 16.8526 | 85.6148
8 | B | 0.4 | 5109 | 27.175 | -19.222 | 28.0585 | 0.0014142 | 0.033234 | 27.175 | -19.222 |  | -18.9512 | -18.8755 | -20.0056 | 26.6415 | 135.3446
9 | B | 0.4 | 5257 | 27.91 | -19.193 | 28.091 | 0.033941 | 0.0098995 | 27.91 | -19.193 |  | -18.9149 | -18.8283 | -19.9584 | 27.3941 | 139.1675
10 | C | 0.4 | 8100 | 43.376 | -19.222 | 28.075 | 0.011314 | 0.031113 | 43.376 | -19.222 |  | -18.7898 | -18.6924 | -19.8225 | 43.2288 | 219.611
11 | C | 0.4 | 8133 | 43.136 | -19.1255 | 27.949 | 0.051619 | 0.0042426 | 43.136 | -19.1255 |  | -18.6957 | -18.5875 | -19.7176 | 42.983 | 218.3627
12 | D | 0.4 | 11280 | 60.431 | -19.486 | 28.2895 | 0.29981 | 0.53245 | 60.431 | -19.486 |  | -18.8839 | -18.7648 | -19.8949 | 60.6903 | 308.3194
13 | D | 0.4 | 11883 | 62.868 | -19.2745 | 28.064 | 0.047376 | 0.0070711 | 62.868 | -19.2745 |  | -18.6481 | -18.5182 | -19.6483 | 63.1854 | 320.995
14 | E | 0.4 | 20569 | 110.879 | -19.6985 | 28.1965 | 0.4971 | 0.53669 | 110.879 | -19.6985 |  | -18.5937 | -18.453 | -19.5831 | 112.3409 | 570.7151
15 | E | 0.4 | 22556 | 119.835 | -19.362 | 27.7685 | 0.025456 | 0.006364 | 119.835 | -19.362 |  | -18.168 | -18.0165 | -19.1466 | 121.5104 | 617.298
16 | ISST indirect 1 0.4 mL 4/21/13 | 0.4 | 6603 | 35.367 | -7.188 | 23.2435 | 0.30688 | 0.18173 | 35.367 | -7.188 |  | -6.8356 | -6.6732 | -7.8034 | 35.0288 | 177.9537
17 | ISST indirect 2 0.4 ml 4/21/13 | 0.4 | 6991 | 36.759 | -7.0805 | 23.1205 | 0.02192 | 0.026163 | 36.759 | -7.0805 |  | -6.7142 | -6.5411 | -7.6712 | 36.454 | 185.1939
18 | IS Blank 0.4 ml 4/21/13 | 0.4 | 516 | 1.43 | -7.861 | 23.65 |  |  | 1.43 | -7.861 |  | -7.8468 | -7.6627 | -8.7928 | 0.28283 | 1.4368
19 | ISLM 0.4 ml 4/21/13 | 0.4 | 10073 | 53.31 | -11.8955 | 22.763 | 0.0091924 | 0.029698 | 53.31 | -11.8955 |  | -11.3643 | -11.1695 | -12.2996 | 53.3996 | 271.2808
20 | ISSR 7 1 0.4 ml 4/21/13 | 0.4 | 6471 | 34.834 | -10.9915 | 23.3125 | 0.23688 | 0.19587 | 34.834 | -10.9915 |  | -10.6444 | -10.4388 | -11.5689 | 34.4831 | 175.1814
21 | ISSR 7 2 0.4 ml 4/21/13 | 0.4 | 7475 | 39.627 | -10.312 | 22.958 | 0.011314 | 0.0098995 | 39.627 | -10.312 |  | -9.9172 | -9.7007 | -10.8308 | 39.3904 | 200.1113
22 | B | 0.4 | 5146 | 27.661 | -19.2275 | 28.074 | 0.26234 | 0.1994 | 27.661 | -19.2275 |  | -18.9519 | -18.7246 | -19.8547 | 27.1391 | 137.8724
23 | NBWS 1 0.4 ml 4/14/13 | 0.4 | 13652 | 72.862 | -12.859 | 23.0225 | 0.0084853 | 0.0091924 | 72.862 | -12.859 |  | -12.133 | -11.8949 | -13.025 | 73.4177 | 372.9769
24 | NBWS 2 0.4 ml 4/14/13 | 0.4 | 12077 | 65.16 | -13.323 | 23.125 | 0.2885 | 0.40871 | 65.16 | -13.323 |  | -12.6738 | -12.4248 | -13.5549 | 65.5321 | 332.9164
25 | NBBC 1 0.4 ml 4/14/13 | 0.4 | 11123 | 59.401 | -8.8195 | 23.13 | 0.020506 | 0.0042426 | 59.401 | -8.8195 |  | -8.2277 | -7.9679 | -9.098 | 59.6358 | 302.962
26 | NBBC 2 0.4 ml 4/14/13 | 0.4 | 10173 | 54.512 | -9.0455 | 23.673 | 0.29486 | 0.48083 | 54.512 | -9.0455 |  | -8.5024 | -8.2317 | -9.3619 | 54.6302 | 277.5328
27 | NBCT 1 0.4 ml 4/14/13 | 0.4 | 5976 | 31.801 | -7.7285 | 23.023 | 0.0021213 | 0.031113 | 31.801 | -7.7285 |  | -7.4116 | -7.1302 | -8.2603 | 31.3778 | 159.4058
28 | NBCT 2 0.4 ml 4/14/13 | 0.4 | 5877 | 31.126 | -7.889 | 22.9835 | 0.0028284 | 0.016263 | 31.126 | -7.889 |  | -7.5789 | -7.2866 | -8.4167 | 30.6867 | 155.895
29 | NB blank 0.4 ml 4/14/13 | 0.4 | 195 | 1.032 | -17.2965 | 27.591 | 0.25668 | 0.26446 | 1.032 | -17.2965 |  | -17.2862 | -16.9831 | -18.1132 | -0.12466 | -0.63329
30 | B | 0.4 | 5176 | 27.304 | -19.1385 | 28.091 | 0.00070711 | 0.022627 | 27.304 | -19.1385 |  | -18.8665 | -18.5525 | -19.6826 | 26.7736 | 136.0155
31 | WC6 0.3 ml 4/23/13 | 0.3 | 9807 | 52.404 | -12.0845 | 23.734 | 0.19587 | 0.64347 | 52.404 | -12.0845 |  | -11.5624 | -11.2376 | -12.3677 | 69.9626 | 355.4246
32 | WC16 1 0.4 ml 4/23/13 | 0.4 | 16230 | 86.095 | -11.458 | 22.655 | 0.035355 | 0.024042 | 86.095 | -11.458 |  | -10.6002 | -10.2646 | -11.3947 | 86.9661 | 441.8058
33 | WC16 2 0.4 ml 4/23/13 | 0.4 | 16155 | 86.781 | -11.6705 | 22.9415 | 0.21991 | 0.72054 | 86.781 | -11.6705 |  | -10.8058 | -10.4595 | -11.5896 | 87.6685 | 445.3739
34 | WC15 0.3 ml 4/23/13 | 0.3 | 13360 | 70.628 | -11.7785 | 22.6425 | 0.014849 | 0.0035355 | 70.628 | -11.7785 |  | -11.0748 | -10.7176 | -11.8477 | 94.8405 | 481.8095
35 | WC Blank 0.4 ml 4/23/13 | 0.4 | 1175 | 6.229 | -12.0745 | 27.521 | 0.35426 | 0.14708 | 6.229 | -12.0745 |  | -12.0124 | -11.6444 | -12.7745 | 5.1962 | 26.3979
36 | B | 0.4 | 5457 | 28.622 | -18.977 | 27.9445 | 0.012728 | 0.02192 | 28.622 | -18.977 |  | -18.6918 | -18.313 | -19.4431 | 28.123 | 142.8709
37 | B | 0.4 | 5198 | 27.781 | -19.312 | 28.264 | 0.25314 | 0.46245 | 27.781 | -19.312 |  | -19.0352 | -18.6455 | -19.7756 | 27.262 | 138.4966
38 | C | 0.4 | 8391 | 44.169 | -19.1295 | 27.866 | 0.010607 | 0.016971 | 44.169 | -19.1295 |  | -18.6894 | -18.2889 | -19.419 | 44.0407 | 223.7357
39 | D | 0.4 | 11880 | 63.912 | -19.43 | 27.9835 | 0.28709 | 0.44477 | 63.912 | -19.43 |  | -18.7932 | -18.3819 | -19.512 | 64.2543 | 326.4251
40 | E | 0.4 | 19969 | 105.915 | -19.388 | 27.5635 | 0.015556 | 0.00070711 | 105.915 | -19.388 |  | -18.3327 | -17.9105 | -19.0406 | 107.2586 | 544.8958
41 | blank | 0 | 1009 | 5.362 | -7.007 | 28.365 | 0.25032 | 0.40164 | 5.362 | -7.007 |  | -6.9536 | -6.5206 | -7.6507 | #DIV/0! | #DIV/0!
BLANKS | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
41 | blank | 0 | 1009 | 5.362 | -7.007 | 28.365 | 0.25032 | 0.40164 | 5.362 | -7.007 |  | -6.9536 | -6.5206 | -7.6507 | #DIV/0! | #DIV/0!
Used Standards | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
4 | A | 0.4 | 2483 | 13.102 | -16.5165 | 27.8555 | 0.02192 | 0.033234 | 13.102 | -16.5165 |  | -16.386 | -16.3535 | -17.4836 | 12.2331 | 62.1465
8 | B | 0.4 | 5109 | 27.175 | -19.222 | 28.0585 | 0.0014142 | 0.033234 | 27.175 | -19.222 |  | -18.9512 | -18.8755 | -20.0056 | 26.6415 | 135.3446
9 | B | 0.4 | 5257 | 27.91 | -19.193 | 28.091 | 0.033941 | 0.0098995 | 27.91 | -19.193 |  | -18.9149 | -18.8283 | -19.9584 | 27.3941 | 139.1675
30 | B | 0.4 | 5176 | 27.304 | -19.1385 | 28.091 | 0.00070711 | 0.022627 | 27.304 | -19.1385 |  | -18.8665 | -18.5525 | -19.6826 | 26.7736 | 136.0155
36 | B | 0.4 | 5457 | 28.622 | -18.977 | 27.9445 | 0.012728 | 0.02192 | 28.622 | -18.977 |  | -18.6918 | -18.313 | -19.4431 | 28.123 | 142.8709
10 | C | 0.4 | 8100 | 43.376 | -19.222 | 28.075 | 0.011314 | 0.031113 | 43.376 | -19.222 |  | -18.7898 | -18.6924 | -19.8225 | 43.2288 | 219.611
11 | C | 0.4 | 8133 | 43.136 | -19.1255 | 27.949 | 0.051619 | 0.0042426 | 43.136 | -19.1255 |  | -18.6957 | -18.5875 | -19.7176 | 42.983 | 218.3627
38 | C | 0.4 | 8391 | 44.169 | -19.1295 | 27.866 | 0.010607 | 0.016971 | 44.169 | -19.1295 |  | -18.6894 | -18.2889 | -19.419 | 44.0407 | 223.7357
13 | D | 0.4 | 11883 | 62.868 | -19.2745 | 28.064 | 0.047376 | 0.0070711 | 62.868 | -19.2745 |  | -18.6481 | -18.5182 | -19.6483 | 63.1854 | 320.995
15 | E | 0.4 | 22556 | 119.835 | -19.362 | 27.7685 | 0.025456 | 0.006364 | 119.835 | -19.362 |  | -18.168 | -18.0165 | -19.1466 | 121.5104 | 617.298
40 | E | 0.4 | 19969 | 105.915 | -19.388 | 27.5635 | 0.015556 | 0.00070711 | 105.915 | -19.388 |  | -18.3327 | -17.9105 | -19.0406 | 107.2586 | 544.8958
6 | F | 0.4 | 3248 | 17.203 | -19.0075 | 28.181 | 0.0077782 | 0.014142 | 17.203 | -19.0075 |  | -18.8361 | -18.782 | -19.9121 | 16.4318 | 83.4771

## Run Log
Row | SampleID | Volume | Notes | Var5 | Var6 | Var7 | Var8 | Var9 | Var10
1 | time delay | 0 | wait
2 | blank | 0
3 | blank | 0 |  | Var8: Standard; Var9: Mass; Var10: Volume
4 | A | 0.4 |  | Var8: A; Var9: 40.24; Var10: 500
5 | A | 0.4 |  | Var8: B; Var9: 47.734; Var10: 250
6 | F | 0.4 |  | Var8: C; Var9: 75.7; Var10: 250
7 | F | 0.4 |  | Var8: D; Var9: 109.608; Var10: 250
8 | B | 0.4 |  | Var8: E; Var9: 200.422; Var10: 250
9 | B | 0.4 |  | Var8: F; Var9: 30.572; Var10: 250
10 | C | 0.4
11 | C | 0.4
12 | D | 0.4
13 | D | 0.4
14 | E | 0.4
15 | E | 0.4
16 | ISST indirect 1 0.4 mL 4/21/13 | 0.4
17 | ISST indirect 2 0.4 ml 4/21/13 | 0.4
18 | IS Blank 0.4 ml 4/21/13 | 0.4
19 | ISLM 0.4 ml 4/21/13 | 0.4
20 | ISSR 7 1 0.4 ml 4/21/13 | 0.4
21 | ISSR 7 2 0.4 ml 4/21/13 | 0.4
22 | B | 0.4
23 | NBWS 1 0.4 ml 4/14/13 | 0.4
24 | NBWS 2 0.4 ml 4/14/13 | 0.4
25 | NBBC 1 0.4 ml 4/14/13 | 0.4
26 | NBBC 2 0.4 ml 4/14/13 | 0.4
27 | NBCT 1 0.4 ml 4/14/13 | 0.4
28 | NBCT 2 0.4 ml 4/14/13 | 0.4
29 | NB blank 0.4 ml 4/14/13 | 0.4
30 | B | 0.4
31 | WC6 0.3 ml 4/23/13 | 0.3
32 | WC16 1 0.4 ml 4/23/13 | 0.4
33 | WC16 2 0.4 ml 4/23/13 | 0.4
34 | WC15 0.3 ml 4/23/13 | 0.3
35 | WC Blank 0.4 ml 4/23/13 | 0.4
36 | B | 0.4
37 | B | 0.4
38 | C | 0.4
39 | D | 0.4
40 | E | 0.4
41 | blank | 0

## gasbenchCO2template.wke
Row | Identifier1 | Ampl44 | Area44 | d13C_12C | d18O_16O | Var7 | Var8
1 | time delay | 4192 | 59.616 | -0.006 | 0.024
1 | time delay | 4195 | 60.183 | 0 | 0
1 | time delay | 4197 | 60.233 | -0.029 | -0.009
1 | time delay | 4197 | 60.265 | -0.017 | -0.005
1 | time delay | 4197 | 60.266 | -0.019 | 0.015
2 | blank | 4182 | 59.557 | -4.533 | 19.674
2 | blank | 4184 | 60.001 | -4.57 | 19.67
2 | blank | 4186 | 60.055 | -4.594 | 19.664
2 | blank | 4189 | 60.092 | -4.588 | 19.692
2 | blank | 4189 | 60.058 | -4.606 | 19.696
2 | blank | 81 | 0.434 | -16.769 | 27.031
2 | blank | 79 | 0.418 | -17.305 | 27.106
2 | blank | 77 | 0.406 | -17.67 | 27.93
2 | blank | 75 | 0.396 | -17.756 | 26.598
2 | blank | 74 | 0.387 | -17.259 | 27.178
2 | blank | 72 | 0.377 | -17.742 | 27.705
2 | blank | 70 | 0.368 | -17.439 | 27.325
2 | blank | 69 | 0.359 | -17.256 | 27.506
2 | blank | 67 | 0.349 | -17.995 | 28.716
3 | blank | 4188 | 59.568 | -4.553 | 19.709
3 | blank | 4189 | 60.082 | -4.57 | 19.67
3 | blank | 4191 | 60.13 | -4.583 | 19.677
3 | blank | 4192 | 60.151 | -4.572 | 19.69
3 | blank | 4192 | 60.19 | -4.588 | 19.689
3 | blank | 50 | 0.263 | -12.227 | 27.438
4 | A | 4189 | 59.725 | -4.55 | 19.66
4 | A | 4189 | 60.124 | -4.57 | 19.67
4 | A | 4189 | 60.134 | -4.582 | 19.674
4 | A | 4189 | 60.123 | -4.568 | 19.669
4 | A | 4190 | 60.152 | -4.562 | 19.651
4 | A | 684 | 1.88 | -16.617 | 28.25
4 | A | 2986 | 15.918 | -16.471 | 27.942
4 | A | 2875 | 15.286 | -16.529 | 27.834
4 | A | 2805 | 14.889 | -16.493 | 27.906
4 | A | 2740 | 14.527 | -16.526 | 27.886
4 | A | 2676 | 14.173 | -16.508 | 27.855
4 | A | 2611 | 13.811 | -16.49 | 27.99
4 | A | 2547 | 13.452 | -16.543 | 27.919
4 | A | 2483 | 13.102 | -16.501 | 27.879
4 | A | 2423 | 12.766 | -16.532 | 27.832
5 | A | 4190 | 59.657 | -4.535 | 19.689
5 | A | 4188 | 60.076 | -4.57 | 19.67
5 | A | 4188 | 60.105 | -4.575 | 19.697
5 | A | 4188 | 60.096 | -4.565 | 19.687
5 | A | 4189 | 60.124 | -4.572 | 19.68
5 | A | 572 | 1.571 | -18.802 | 27.33
5 | A | 2519 | 13.171 | -18.439 | 27.906
5 | A | 2452 | 12.817 | -18.407 | 27.959
5 | A | 2401 | 12.561 | -18.406 | 27.977
5 | A | 2345 | 12.314 | -18.368 | 27.954
5 | A | 2288 | 12.074 | -18.364 | 27.987
5 | A | 2227 | 11.792 | -18.372 | 28.018
5 | A | 2163 | 11.501 | -18.286 | 27.952
5 | A | 2097 | 11.2 | -18.341 | 28.032
5 | A | 2036 | 10.894 | -18.33 | 27.979
5 | A | 1978 | 9.761 | -18.936 | 28.6
6 | F | 4190 | 59.736 | -4.546 | 19.764
6 | F | 4187 | 60.095 | -4.57 | 19.67
6 | F | 4187 | 60.115 | -4.563 | 19.701
6 | F | 4188 | 60.083 | -4.578 | 19.738
6 | F | 4189 | 60.132 | -4.586 | 19.72
6 | F | 883 | 2.434 | -18.816 | 29.758
6 | F | 3881 | 20.772 | -19.032 | 28.141
6 | F | 3774 | 20.13 | -19.036 | 28.205
6 | F | 3680 | 19.612 | -19.038 | 28.158
6 | F | 3590 | 19.113 | -19.073 | 28.224
6 | F | 3502 | 18.618 | -19.043 | 28.21
6 | F | 3415 | 18.14 | -19.031 | 28.225
6 | F | 3330 | 17.659 | -19.043 | 28.209
6 | F | 3248 | 17.203 | -19.013 | 28.171
6 | F | 3168 | 16.745 | -19.002 | 28.191
7 | F | 4190 | 59.7 | -4.556 | 19.664
7 | F | 4187 | 60.108 | -4.57 | 19.67
7 | F | 4188 | 60.122 | -4.587 | 19.658
7 | F | 4188 | 60.111 | -4.572 | 19.678
7 | F | 4188 | 60.131 | -4.565 | 19.678
7 | F | 911 | 2.499 | -19.319 | 27.552
7 | F | 4031 | 21.123 | -18.829 | 28.063
7 | F | 3926 | 20.538 | -18.851 | 28.06
7 | F | 3851 | 20.143 | -18.855 | 28.045
7 | F | 3772 | 19.793 | -18.831 | 28.034
7 | F | 3689 | 19.432 | -18.857 | 28.071
7 | F | 3596 | 18.997 | -18.839 | 28.142
7 | F | 3495 | 18.544 | -18.8 | 28.078
7 | F | 3395 | 18.096 | -18.835 | 28.15
7 | F | 3294 | 17.614 | -18.801 | 28.085
7 | F | 3198 | 15.481 | -19.483 | 28.685
8 | B | 4188 | 59.718 | -4.549 | 19.713
8 | B | 4186 | 60.078 | -4.57 | 19.67
8 | B | 4187 | 60.093 | -4.568 | 19.69
8 | B | 4185 | 60.088 | -4.562 | 19.704
8 | B | 4184 | 60.02 | -4.542 | 19.703
8 | B | 1387 | 3.833 | -19.268 | 28.557
8 | B | 6094 | 32.809 | -19.219 | 28.037
8 | B | 5920 | 31.768 | -19.207 | 28.052
8 | B | 5779 | 30.945 | -19.208 | 28.066
8 | B | 5642 | 30.186 | -19.193 | 28.085
8 | B | 5506 | 29.431 | -19.223 | 28.069
8 | B | 5372 | 28.666 | -19.215 | 28.077
8 | B | 5239 | 27.911 | -19.224 | 28.059
8 | B | 5109 | 27.175 | -19.223 | 28.035
8 | B | 4983 | 26.46 | -19.221 | 28.082
9 | B | 4189 | 59.658 | -4.521 | 19.674
9 | B | 4185 | 60.067 | -4.57 | 19.67
9 | B | 4187 | 60.084 | -4.574 | 19.659
9 | B | 4186 | 60.084 | -4.54 | 19.666
9 | B | 4186 | 60.102 | -4.55 | 19.636
9 | B | 1398 | 3.847 | -19.53 | 27.57
9 | B | 6120 | 32.276 | -19.242 | 28.088
9 | B | 5989 | 31.486 | -19.223 | 28.065
9 | B | 5881 | 30.864 | -19.223 | 28.084
9 | B | 5778 | 30.315 | -19.212 | 28.077
9 | B | 5656 | 29.741 | -19.184 | 28.117
9 | B | 5532 | 29.144 | -19.206 | 28.048
9 | B | 5398 | 28.554 | -19.21 | 28.089
9 | B | 5257 | 27.91 | -19.217 | 28.084
9 | B | 5108 | 27.245 | -19.169 | 28.098
10 | C | 4188 | 59.738 | -4.586 | 19.695
10 | C | 4188 | 60.089 | -4.57 | 19.67
10 | C | 4186 | 60.122 | -4.586 | 19.67
10 | C | 4188 | 60.094 | -4.554 | 19.67
10 | C | 4187 | 60.13 | -4.566 | 19.681
10 | C | 2276 | 6.302 | -18.409 | 31.009
10 | C | 9709 | 52.699 | -19.254 | 28.018
10 | C | 9422 | 50.903 | -19.246 | 28.036
10 | C | 9186 | 49.545 | -19.251 | 28.057
10 | C | 8967 | 48.296 | -19.245 | 28.029
10 | C | 8751 | 47.061 | -19.252 | 28.052
10 | C | 8529 | 45.816 | -19.226 | 28.048
10 | C | 8309 | 44.588 | -19.24 | 28.042
10 | C | 8100 | 43.376 | -19.23 | 28.053
10 | C | 7898 | 42.188 | -19.214 | 28.097
11 | C | 4196 | 59.803 | -4.538 | 19.704
11 | C | 4194 | 60.212 | -4.57 | 19.67
11 | C | 4193 | 60.202 | -4.544 | 19.665
11 | C | 4192 | 60.189 | -4.55 | 19.673
11 | C | 4192 | 60.198 | -4.542 | 19.688
11 | C | 2172 | 6.007 | -19.282 | 27.71
11 | C | 9464 | 50.212 | -19.143 | 27.887
11 | C | 9210 | 48.648 | -19.135 | 27.894
11 | C | 9036 | 47.608 | -19.157 | 27.916
11 | C | 8871 | 46.698 | -19.163 | 27.938
11 | C | 8699 | 45.789 | -19.138 | 27.913
11 | C | 8518 | 44.887 | -19.146 | 27.962
11 | C | 8336 | 44.041 | -19.111 | 27.988
11 | C | 8133 | 43.136 | -19.162 | 27.946
11 | C | 7919 | 42.102 | -19.089 | 27.952
12 | D | 4191 | 59.776 | -4.544 | 19.711
12 | D | 4189 | 60.124 | -4.57 | 19.67
12 | D | 4188 | 60.139 | -4.529 | 19.69
12 | D | 4189 | 60.148 | -4.554 | 19.691
12 | D | 4188 | 60.133 | -4.558 | 19.668
12 | D | 3159 | 8.789 | -19.235 | 28.313
12 | D | 13931 | 75.67 | -19.273 | 27.948
12 | D | 13490 | 73.014 | -19.264 | 27.914
12 | D | 13138 | 71.024 | -19.281 | 27.935
12 | D | 12822 | 69.206 | -19.275 | 27.922
12 | D | 12490 | 67.365 | -19.284 | 27.977
12 | D | 12186 | 65.568 | -19.278 | 27.913
12 | D | 11875 | 63.814 | -19.294 | 27.936
12 | D | 11571 | 62.116 | -19.282 | 27.9
12 | D | 11280 | 60.431 | -19.274 | 27.913
12 | D | 10997 | 52.575 | -19.698 | 28.666
13 | D | 4190 | 59.713 | -4.545 | 19.725
13 | D | 4188 | 60.116 | -4.57 | 19.67
13 | D | 4189 | 60.141 | -4.578 | 19.675
13 | D | 4189 | 60.13 | -4.564 | 19.71
13 | D | 4189 | 60.14 | -4.577 | 19.702
13 | D | 3166 | 8.784 | -19.337 | 28.128
13 | D | 13776 | 73.599 | -19.261 | 28.108
13 | D | 13396 | 71.216 | -19.265 | 28.1
13 | D | 13112 | 69.522 | -19.273 | 28.105
13 | D | 12867 | 68.11 | -19.29 | 28.075
13 | D | 12628 | 66.741 | -19.282 | 28.096
13 | D | 12392 | 65.437 | -19.284 | 28.104
13 | D | 12147 | 64.128 | -19.304 | 28.099
13 | D | 11883 | 62.868 | -19.308 | 28.059
13 | D | 11625 | 61.521 | -19.241 | 28.069
14 | E | 4190 | 59.775 | -4.561 | 19.727
14 | E | 4188 | 60.13 | -4.57 | 19.67
14 | E | 4188 | 60.16 | -4.569 | 19.674
14 | E | 4186 | 60.098 | -4.575 | 19.709
14 | E | 4187 | 60.136 | -4.568 | 19.667
14 | E | 5648 | 15.901 | -19.142 | 28.285
14 | E | 25398 | 139.191 | -19.314 | 27.825
14 | E | 24532 | 133.952 | -19.335 | 27.775
14 | E | 23907 | 130.229 | -19.352 | 27.776
14 | E | 23334 | 126.972 | -19.346 | 27.804
14 | E | 22744 | 123.604 | -19.349 | 27.801
14 | E | 22187 | 120.348 | -19.34 | 27.806
14 | E | 21629 | 117.133 | -19.369 | 27.787
14 | E | 21079 | 113.992 | -19.34 | 27.822
14 | E | 20569 | 110.879 | -19.347 | 27.817
14 | E | 20062 | 99.413 | -20.05 | 28.576
15 | E | 4188 | 59.723 | -4.559 | 19.679
15 | E | 4187 | 60.103 | -4.57 | 19.67
15 | E | 4189 | 60.142 | -4.58 | 19.657
15 | E | 4186 | 60.12 | -4.588 | 19.65
15 | E | 4187 | 60.125 | -4.572 | 19.671
15 | E | 6137 | 17.222 | -19.281 | 28.159
15 | E | 26658 | 143.751 | -19.319 | 27.784
15 | E | 25764 | 138.441 | -19.339 | 27.773
15 | E | 25063 | 134.474 | -19.352 | 27.75
15 | E | 24509 | 131.21 | -19.343 | 27.759
15 | E | 23982 | 128.187 | -19.321 | 27.779
15 | E | 23501 | 125.237 | -19.369 | 27.769
15 | E | 23021 | 122.471 | -19.372 | 27.756
15 | E | 22556 | 119.835 | -19.38 | 27.764
15 | E | 22088 | 117.196 | -19.344 | 27.773
16 | ISST indirect 1 0.4 mL 4/21/13 | 4190 | 59.78 | -4.556 | 19.74
16 | ISST indirect 1 0.4 mL 4/21/13 | 4190 | 60.132 | -4.57 | 19.67
16 | ISST indirect 1 0.4 mL 4/21/13 | 4189 | 60.16 | -4.579 | 19.725
16 | ISST indirect 1 0.4 mL 4/21/13 | 4189 | 60.152 | -4.593 | 19.742
16 | ISST indirect 1 0.4 mL 4/21/13 | 4189 | 60.173 | -4.565 | 19.712
16 | ISST indirect 1 0.4 mL 4/21/13 | 1962 | 5.444 | -7.067 | 24.077
16 | ISST indirect 1 0.4 mL 4/21/13 | 8254 | 44.632 | -7.041 | 23.099
16 | ISST indirect 1 0.4 mL 4/21/13 | 7948 | 42.925 | -7.012 | 23.043
16 | ISST indirect 1 0.4 mL 4/21/13 | 7716 | 41.679 | -7.008 | 23.087
16 | ISST indirect 1 0.4 mL 4/21/13 | 7518 | 40.592 | -6.99 | 23.112
16 | ISST indirect 1 0.4 mL 4/21/13 | 7330 | 39.522 | -6.998 | 23.168
16 | ISST indirect 1 0.4 mL 4/21/13 | 7140 | 38.441 | -6.993 | 23.147
16 | ISST indirect 1 0.4 mL 4/21/13 | 6955 | 37.382 | -6.998 | 23.069
16 | ISST indirect 1 0.4 mL 4/21/13 | 6776 | 36.363 | -6.964 | 23.116
16 | ISST indirect 1 0.4 mL 4/21/13 | 6603 | 35.367 | -6.971 | 23.115
16 | ISST indirect 1 0.4 mL 4/21/13 | 6433 | 31.899 | -7.405 | 23.372
17 | ISST indirect 2 0.4 ml 4/21/13 | 4192 | 59.748 | -4.574 | 19.646
17 | ISST indirect 2 0.4 ml 4/21/13 | 4189 | 60.135 | -4.57 | 19.67
17 | ISST indirect 2 0.4 ml 4/21/13 | 4190 | 60.16 | -4.578 | 19.608
17 | ISST indirect 2 0.4 ml 4/21/13 | 4189 | 60.147 | -4.577 | 19.632
17 | ISST indirect 2 0.4 ml 4/21/13 | 4189 | 60.159 | -4.571 | 19.635
17 | ISST indirect 2 0.4 ml 4/21/13 | 1883 | 5.198 | -7.131 | 23.048
17 | ISST indirect 2 0.4 ml 4/21/13 | 8292 | 44.174 | -7.056 | 23.152
17 | ISST indirect 2 0.4 ml 4/21/13 | 8035 | 42.721 | -7.066 | 23.119
17 | ISST indirect 2 0.4 ml 4/21/13 | 7839 | 41.635 | -7.09 | 23.11
17 | ISST indirect 2 0.4 ml 4/21/13 | 7654 | 40.603 | -7.054 | 23.102
17 | ISST indirect 2 0.4 ml 4/21/13 | 7471 | 39.553 | -7.065 | 23.113
17 | ISST indirect 2 0.4 ml 4/21/13 | 7297 | 38.561 | -7.085 | 23.127
17 | ISST indirect 2 0.4 ml 4/21/13 | 7140 | 37.626 | -7.073 | 23.135
17 | ISST indirect 2 0.4 ml 4/21/13 | 6991 | 36.759 | -7.096 | 23.102
17 | ISST indirect 2 0.4 ml 4/21/13 | 6857 | 35.968 | -7.065 | 23.139
18 | IS Blank 0.4 ml 4/21/13 | 4191 | 59.767 | -4.572 | 19.732
18 | IS Blank 0.4 ml 4/21/13 | 4188 | 60.121 | -4.57 | 19.67
18 | IS Blank 0.4 ml 4/21/13 | 4187 | 60.124 | -4.589 | 19.675
18 | IS Blank 0.4 ml 4/21/13 | 4186 | 60.117 | -4.572 | 19.673
18 | IS Blank 0.4 ml 4/21/13 | 4187 | 60.144 | -4.583 | 19.695
18 | IS Blank 0.4 ml 4/21/13 | 516 | 1.43 | -7.861 | 23.65
18 | IS Blank 0.4 ml 4/21/13 | 87 | 0.461 | -11.258 | 26.656
18 | IS Blank 0.4 ml 4/21/13 | 77 | 0.406 | -11.209 | 28.445
18 | IS Blank 0.4 ml 4/21/13 | 73 | 0.388 | -11.593 | 28.316
18 | IS Blank 0.4 ml 4/21/13 | 71 | 0.376 | -12.235 | 28.558
18 | IS Blank 0.4 ml 4/21/13 | 69 | 0.366 | -10.977 | 28.236
18 | IS Blank 0.4 ml 4/21/13 | 67 | 0.356 | -11.015 | 27.927
18 | IS Blank 0.4 ml 4/21/13 | 65 | 0.347 | -11.467 | 28.529
18 | IS Blank 0.4 ml 4/21/13 | 64 | 0.338 | -11.775 | 29.13
18 | IS Blank 0.4 ml 4/21/13 | 62 | 0.33 | -11.426 | 27.29
18 | IS Blank 0.4 ml 4/21/13 | 61 | 0.302 | -11.584 | 29.086
19 | ISLM 0.4 ml 4/21/13 | 4187 | 59.646 | -4.55 | 19.687
19 | ISLM 0.4 ml 4/21/13 | 4186 | 60.076 | -4.57 | 19.67
19 | ISLM 0.4 ml 4/21/13 | 4185 | 60.101 | -4.568 | 19.66
19 | ISLM 0.4 ml 4/21/13 | 4185 | 60.098 | -4.583 | 19.668
19 | ISLM 0.4 ml 4/21/13 | 4184 | 60.111 | -4.563 | 19.662
19 | ISLM 0.4 ml 4/21/13 | 2619 | 7.252 | -11.669 | 23.313
19 | ISLM 0.4 ml 4/21/13 | 12057 | 64.495 | -11.873 | 22.79
19 | ISLM 0.4 ml 4/21/13 | 11665 | 62.296 | -11.914 | 22.779
19 | ISLM 0.4 ml 4/21/13 | 11381 | 60.729 | -11.908 | 22.761
19 | ISLM 0.4 ml 4/21/13 | 11112 | 59.21 | -11.889 | 22.731
19 | ISLM 0.4 ml 4/21/13 | 10839 | 57.687 | -11.912 | 22.782
19 | ISLM 0.4 ml 4/21/13 | 10571 | 56.196 | -11.921 | 22.764
19 | ISLM 0.4 ml 4/21/13 | 10311 | 54.72 | -11.914 | 22.796
19 | ISLM 0.4 ml 4/21/13 | 10073 | 53.31 | -11.902 | 22.742
19 | ISLM 0.4 ml 4/21/13 | 9847 | 51.968 | -11.889 | 22.784
20 | ISSR 7 1 0.4 ml 4/21/13 | 4189 | 59.754 | -4.564 | 19.703
20 | ISSR 7 1 0.4 ml 4/21/13 | 4187 | 60.118 | -4.57 | 19.67
20 | ISSR 7 1 0.4 ml 4/21/13 | 4187 | 60.12 | -4.584 | 19.63
20 | ISSR 7 1 0.4 ml 4/21/13 | 4187 | 60.107 | -4.567 | 19.728
20 | ISSR 7 1 0.4 ml 4/21/13 | 4186 | 60.117 | -4.566 | 19.647
20 | ISSR 7 1 0.4 ml 4/21/13 | 1863 | 5.178 | -10.605 | 24
20 | ISSR 7 1 0.4 ml 4/21/13 | 8128 | 43.421 | -10.872 | 23.182
20 | ISSR 7 1 0.4 ml 4/21/13 | 7835 | 41.878 | -10.874 | 23.14
20 | ISSR 7 1 0.4 ml 4/21/13 | 7610 | 40.809 | -10.834 | 23.121
20 | ISSR 7 1 0.4 ml 4/21/13 | 7395 | 39.791 | -10.858 | 23.132
20 | ISSR 7 1 0.4 ml 4/21/13 | 7193 | 38.773 | -10.873 | 23.135
20 | ISSR 7 1 0.4 ml 4/21/13 | 6997 | 37.754 | -10.876 | 23.149
20 | ISSR 7 1 0.4 ml 4/21/13 | 6810 | 36.753 | -10.868 | 23.18
20 | ISSR 7 1 0.4 ml 4/21/13 | 6639 | 35.79 | -10.845 | 23.127
20 | ISSR 7 1 0.4 ml 4/21/13 | 6471 | 34.834 | -10.824 | 23.174
20 | ISSR 7 1 0.4 ml 4/21/13 | 6310 | 32.049 | -11.159 | 23.451
21 | ISSR 7 2 0.4 ml 4/21/13 | 4188 | 59.702 | -4.563 | 19.694
21 | ISSR 7 2 0.4 ml 4/21/13 | 4186 | 60.089 | -4.57 | 19.67
21 | ISSR 7 2 0.4 ml 4/21/13 | 4185 | 60.107 | -4.574 | 19.66
21 | ISSR 7 2 0.4 ml 4/21/13 | 4185 | 60.079 | -4.577 | 19.642
21 | ISSR 7 2 0.4 ml 4/21/13 | 4184 | 60.1 | -4.578 | 19.697
21 | ISSR 7 2 0.4 ml 4/21/13 | 2078 | 5.75 | -10.263 | 23.121
21 | ISSR 7 2 0.4 ml 4/21/13 | 8958 | 48.027 | -10.344 | 22.94
21 | ISSR 7 2 0.4 ml 4/21/13 | 8701 | 46.445 | -10.304 | 22.894
21 | ISSR 7 2 0.4 ml 4/21/13 | 8476 | 45.163 | -10.316 | 22.95
21 | ISSR 7 2 0.4 ml 4/21/13 | 8277 | 44.039 | -10.343 | 22.958
21 | ISSR 7 2 0.4 ml 4/21/13 | 8069 | 42.914 | -10.309 | 22.971
21 | ISSR 7 2 0.4 ml 4/21/13 | 7865 | 41.794 | -10.321 | 22.922
21 | ISSR 7 2 0.4 ml 4/21/13 | 7667 | 40.697 | -10.332 | 22.968
21 | ISSR 7 2 0.4 ml 4/21/13 | 7475 | 39.627 | -10.32 | 22.951
21 | ISSR 7 2 0.4 ml 4/21/13 | 7286 | 38.554 | -10.304 | 22.965
22 | B | 4187 | 59.73 | -4.541 | 19.674
22 | B | 4184 | 60.069 | -4.57 | 19.67
22 | B | 4182 | 60.083 | -4.568 | 19.662
22 | B | 4184 | 60.058 | -4.573 | 19.698
22 | B | 4184 | 60.115 | -4.558 | 19.685
22 | B | 1508 | 4.155 | -18.932 | 28.043
22 | B | 6499 | 34.243 | -19.096 | 27.885
22 | B | 6289 | 33.189 | -19.076 | 27.873
22 | B | 6120 | 32.414 | -19.082 | 27.941
22 | B | 5952 | 31.69 | -19.059 | 27.921
22 | B | 5778 | 30.869 | -19.06 | 27.924
22 | B | 5611 | 30.062 | -19.08 | 27.885
22 | B | 5448 | 29.254 | -19.038 | 27.874
22 | B | 5288 | 28.443 | -19.08 | 27.95
22 | B | 5146 | 27.661 | -19.042 | 27.933
22 | B | 5004 | 25.283 | -19.413 | 28.215
23 | NBWS 1 0.4 ml 4/14/13 | 4186 | 59.665 | -4.574 | 19.704
23 | NBWS 1 0.4 ml 4/14/13 | 4183 | 60.049 | -4.57 | 19.67
23 | NBWS 1 0.4 ml 4/14/13 | 4183 | 60.077 | -4.588 | 19.666
23 | NBWS 1 0.4 ml 4/14/13 | 4184 | 60.056 | -4.594 | 19.712
23 | NBWS 1 0.4 ml 4/14/13 | 4182 | 60.073 | -4.581 | 19.693
23 | NBWS 1 0.4 ml 4/14/13 | 854 | 2.347 | -19.08 | 28.422
23 | NBWS 1 0.4 ml 4/14/13 | 16472 | 88.517 | -12.834 | 23.067
23 | NBWS 1 0.4 ml 4/14/13 | 15979 | 85.898 | -12.852 | 23.016
23 | NBWS 1 0.4 ml 4/14/13 | 15527 | 83.309 | -12.862 | 22.988
23 | NBWS 1 0.4 ml 4/14/13 | 15119 | 81.046 | -12.884 | 22.982
23 | NBWS 1 0.4 ml 4/14/13 | 14741 | 78.945 | -12.876 | 23.025
23 | NBWS 1 0.4 ml 4/14/13 | 14360 | 76.8 | -12.888 | 22.988
23 | NBWS 1 0.4 ml 4/14/13 | 14005 | 74.834 | -12.857 | 23.005
23 | NBWS 1 0.4 ml 4/14/13 | 13652 | 72.862 | -12.865 | 23.029
23 | NBWS 1 0.4 ml 4/14/13 | 13310 | 70.875 | -12.853 | 23.016
24 | NBWS 2 0.4 ml 4/14/13 | 4189 | 59.751 | -4.546 | 19.657
24 | NBWS 2 0.4 ml 4/14/13 | 4188 | 60.125 | -4.57 | 19.67
24 | NBWS 2 0.4 ml 4/14/13 | 4187 | 60.123 | -4.55 | 19.636
24 | NBWS 2 0.4 ml 4/14/13 | 4186 | 60.121 | -4.578 | 19.651
24 | NBWS 2 0.4 ml 4/14/13 | 4189 | 60.131 | -4.535 | 19.674
24 | NBWS 2 0.4 ml 4/14/13 | 2262 | 6.24 | -12.951 | 22.252
24 | NBWS 2 0.4 ml 4/14/13 | 15232 | 80.315 | -13.131 | 22.94
24 | NBWS 2 0.4 ml 4/14/13 | 14678 | 77.573 | -13.137 | 22.852
24 | NBWS 2 0.4 ml 4/14/13 | 14333 | 75.954 | -13.168 | 22.867
24 | NBWS 2 0.4 ml 4/14/13 | 13974 | 74.27 | -13.157 | 22.852
24 | NBWS 2 0.4 ml 4/14/13 | 13593 | 72.443 | -13.182 | 22.853
24 | NBWS 2 0.4 ml 4/14/13 | 13215 | 70.754 | -13.147 | 22.836
24 | NBWS 2 0.4 ml 4/14/13 | 12820 | 68.873 | -13.15 | 22.876
24 | NBWS 2 0.4 ml 4/14/13 | 12441 | 67.021 | -13.137 | 22.856
24 | NBWS 2 0.4 ml 4/14/13 | 12077 | 65.16 | -13.119 | 22.836
24 | NBWS 2 0.4 ml 4/14/13 | 11711 | 58.142 | -13.527 | 23.414
25 | NBBC 1 0.4 ml 4/14/13 | 4193 | 59.765 | -4.571 | 19.696
25 | NBBC 1 0.4 ml 4/14/13 | 4191 | 60.17 | -4.57 | 19.67
25 | NBBC 1 0.4 ml 4/14/13 | 4190 | 60.185 | -4.58 | 19.647
25 | NBBC 1 0.4 ml 4/14/13 | 4189 | 60.165 | -4.601 | 19.651
25 | NBBC 1 0.4 ml 4/14/13 | 4189 | 60.185 | -4.572 | 19.637
25 | NBBC 1 0.4 ml 4/14/13 | 2047 | 5.663 | -12.698 | 24.283
25 | NBBC 1 0.4 ml 4/14/13 | 13453 | 72.448 | -8.843 | 23.186
25 | NBBC 1 0.4 ml 4/14/13 | 12945 | 69.635 | -8.866 | 23.148
25 | NBBC 1 0.4 ml 4/14/13 | 12624 | 67.828 | -8.859 | 23.085
25 | NBBC 1 0.4 ml 4/14/13 | 12312 | 66.082 | -8.857 | 23.102
25 | NBBC 1 0.4 ml 4/14/13 | 12005 | 64.355 | -8.838 | 23.133
25 | NBBC 1 0.4 ml 4/14/13 | 11706 | 62.673 | -8.84 | 23.174
25 | NBBC 1 0.4 ml 4/14/13 | 11413 | 61.032 | -8.829 | 23.105
25 | NBBC 1 0.4 ml 4/14/13 | 11123 | 59.401 | -8.834 | 23.127
25 | NBBC 1 0.4 ml 4/14/13 | 10839 | 57.778 | -8.805 | 23.133
26 | NBBC 2 0.4 ml 4/14/13 | 4194 | 59.845 | -4.573 | 19.702
26 | NBBC 2 0.4 ml 4/14/13 | 4193 | 60.208 | -4.57 | 19.67
26 | NBBC 2 0.4 ml 4/14/13 | 4192 | 60.219 | -4.576 | 19.679
26 | NBBC 2 0.4 ml 4/14/13 | 4193 | 60.192 | -4.567 | 19.674
26 | NBBC 2 0.4 ml 4/14/13 | 4192 | 60.212 | -4.569 | 19.663
26 | NBBC 2 0.4 ml 4/14/13 | 1828 | 5.031 | -9.011 | 23.044
26 | NBBC 2 0.4 ml 4/14/13 | 12522 | 66.063 | -8.834 | 23.408
26 | NBBC 2 0.4 ml 4/14/13 | 12107 | 63.888 | -8.846 | 23.358
26 | NBBC 2 0.4 ml 4/14/13 | 11836 | 62.425 | -8.86 | 23.324
26 | NBBC 2 0.4 ml 4/14/13 | 11577 | 61.093 | -8.857 | 23.342
26 | NBBC 2 0.4 ml 4/14/13 | 11328 | 59.847 | -8.867 | 23.321
26 | NBBC 2 0.4 ml 4/14/13 | 11058 | 58.671 | -8.856 | 23.322
26 | NBBC 2 0.4 ml 4/14/13 | 10772 | 57.328 | -8.864 | 23.342
26 | NBBC 2 0.4 ml 4/14/13 | 10471 | 55.937 | -8.857 | 23.345
26 | NBBC 2 0.4 ml 4/14/13 | 10173 | 54.512 | -8.837 | 23.333
26 | NBBC 2 0.4 ml 4/14/13 | 9878 | 47.023 | -9.254 | 24.013
27 | NBCT 1 0.4 ml 4/14/13 | 4192 | 59.743 | -4.569 | 19.657
27 | NBCT 1 0.4 ml 4/14/13 | 4192 | 60.147 | -4.57 | 19.67
27 | NBCT 1 0.4 ml 4/14/13 | 4190 | 60.175 | -4.568 | 19.658
27 | NBCT 1 0.4 ml 4/14/13 | 4192 | 60.166 | -4.573 | 19.666
27 | NBCT 1 0.4 ml 4/14/13 | 4191 | 60.192 | -4.569 | 19.662
27 | NBCT 1 0.4 ml 4/14/13 | 1644 | 4.542 | -8.822 | 23.647
27 | NBCT 1 0.4 ml 4/14/13 | 7246 | 38.937 | -7.69 | 23.102
27 | NBCT 1 0.4 ml 4/14/13 | 6962 | 37.356 | -7.723 | 23.047
27 | NBCT 1 0.4 ml 4/14/13 | 6792 | 36.375 | -7.728 | 23.028
27 | NBCT 1 0.4 ml 4/14/13 | 6618 | 35.404 | -7.714 | 23.052
27 | NBCT 1 0.4 ml 4/14/13 | 6448 | 34.471 | -7.703 | 23.041
27 | NBCT 1 0.4 ml 4/14/13 | 6287 | 33.556 | -7.707 | 23.016
27 | NBCT 1 0.4 ml 4/14/13 | 6131 | 32.65 | -7.738 | 23.017
27 | NBCT 1 0.4 ml 4/14/13 | 5976 | 31.801 | -7.727 | 23.001
27 | NBCT 1 0.4 ml 4/14/13 | 5827 | 30.95 | -7.73 | 23.045
28 | NBCT 2 0.4 ml 4/14/13 | 4193 | 59.806 | -4.561 | 19.706
28 | NBCT 2 0.4 ml 4/14/13 | 4191 | 60.166 | -4.57 | 19.67
28 | NBCT 2 0.4 ml 4/14/13 | 4190 | 60.163 | -4.572 | 19.679
28 | NBCT 2 0.4 ml 4/14/13 | 4189 | 60.144 | -4.591 | 19.703
28 | NBCT 2 0.4 ml 4/14/13 | 4190 | 60.17 | -4.581 | 19.706
28 | NBCT 2 0.4 ml 4/14/13 | 980 | 2.69 | -8.084 | 21.856
28 | NBCT 2 0.4 ml 4/14/13 | 6951 | 36.629 | -7.842 | 23.051
28 | NBCT 2 0.4 ml 4/14/13 | 6707 | 35.258 | -7.917 | 23.007
28 | NBCT 2 0.4 ml 4/14/13 | 6574 | 34.502 | -7.939 | 22.981
28 | NBCT 2 0.4 ml 4/14/13 | 6445 | 33.834 | -7.915 | 23.026
28 | NBCT 2 0.4 ml 4/14/13 | 6311 | 33.142 | -7.906 | 23.045
28 | NBCT 2 0.4 ml 4/14/13 | 6177 | 32.487 | -7.878 | 23.022
28 | NBCT 2 0.4 ml 4/14/13 | 6032 | 31.843 | -7.871 | 23.012
28 | NBCT 2 0.4 ml 4/14/13 | 5877 | 31.126 | -7.891 | 22.972
28 | NBCT 2 0.4 ml 4/14/13 | 5715 | 30.373 | -7.887 | 22.995
29 | NB blank 0.4 ml 4/14/13 | 4194 | 59.781 | -4.559 | 19.724
29 | NB blank 0.4 ml 4/14/13 | 4192 | 60.186 | -4.57 | 19.67
29 | NB blank 0.4 ml 4/14/13 | 4191 | 60.199 | -4.579 | 19.662
29 | NB blank 0.4 ml 4/14/13 | 4192 | 60.141 | -4.58 | 19.692
29 | NB blank 0.4 ml 4/14/13 | 4191 | 60.191 | -4.59 | 19.694
29 | NB blank 0.4 ml 4/14/13 | 938 | 2.585 | -7.854 | 23.431
29 | NB blank 0.4 ml 4/14/13 | 242 | 1.275 | -16.787 | 27.028
29 | NB blank 0.4 ml 4/14/13 | 218 | 1.154 | -17.346 | 27.552
29 | NB blank 0.4 ml 4/14/13 | 211 | 1.118 | -17.51 | 27.683
29 | NB blank 0.4 ml 4/14/13 | 206 | 1.089 | -17.345 | 27.753
29 | NB blank 0.4 ml 4/14/13 | 200 | 1.059 | -17.583 | 28.202
29 | NB blank 0.4 ml 4/14/13 | 195 | 1.032 | -17.478 | 27.778
29 | NB blank 0.4 ml 4/14/13 | 190 | 1.003 | -17.115 | 27.404
29 | NB blank 0.4 ml 4/14/13 | 186 | 0.979 | -17.431 | 27.88
29 | NB blank 0.4 ml 4/14/13 | 181 | 0.953 | -16.999 | 27.559
30 | B | 4193 | 59.83 | -4.523 | 19.735
30 | B | 4192 | 60.176 | -4.57 | 19.67
30 | B | 4191 | 60.187 | -4.558 | 19.7
30 | B | 4191 | 60.165 | -4.561 | 19.723
30 | B | 4192 | 60.188 | -4.549 | 19.746
30 | B | 1414 | 3.89 | -19.235 | 28.007
30 | B | 6078 | 32.103 | -19.129 | 28.133
30 | B | 5875 | 30.877 | -19.153 | 28.049
30 | B | 5766 | 30.233 | -19.162 | 28.041
30 | B | 5661 | 29.654 | -19.153 | 28.059
30 | B | 5545 | 29.051 | -19.159 | 28.071
30 | B | 5426 | 28.484 | -19.113 | 28.086
30 | B | 5306 | 27.929 | -19.131 | 28.083
30 | B | 5176 | 27.304 | -19.139 | 28.075
30 | B | 5036 | 26.657 | -19.138 | 28.107
31 | WC6 0.3 ml 4/23/13 | 4195 | 59.775 | -4.583 | 19.679
31 | WC6 0.3 ml 4/23/13 | 4194 | 60.206 | -4.57 | 19.67
31 | WC6 0.3 ml 4/23/13 | 4193 | 60.207 | -4.577 | 19.612
31 | WC6 0.3 ml 4/23/13 | 4192 | 60.172 | -4.608 | 19.663
31 | WC6 0.3 ml 4/23/13 | 4193 | 60.206 | -4.588 | 19.634
31 | WC6 0.3 ml 4/23/13 | 2780 | 7.729 | -11.844 | 23.64
31 | WC6 0.3 ml 4/23/13 | 12082 | 65.563 | -11.919 | 23.319
31 | WC6 0.3 ml 4/23/13 | 11691 | 63.166 | -11.924 | 23.261
31 | WC6 0.3 ml 4/23/13 | 11393 | 61.429 | -11.947 | 23.281
31 | WC6 0.3 ml 4/23/13 | 11114 | 59.876 | -11.959 | 23.281
31 | WC6 0.3 ml 4/23/13 | 10846 | 58.338 | -11.926 | 23.281
31 | WC6 0.3 ml 4/23/13 | 10574 | 56.802 | -11.948 | 23.313
31 | WC6 0.3 ml 4/23/13 | 10307 | 55.299 | -11.944 | 23.294
31 | WC6 0.3 ml 4/23/13 | 10055 | 53.854 | -11.941 | 23.265
31 | WC6 0.3 ml 4/23/13 | 9807 | 52.404 | -11.946 | 23.279
31 | WC6 0.3 ml 4/23/13 | 9549 | 45.624 | -12.223 | 24.189
32 | WC16 1 0.4 ml 4/23/13 | 4198 | 59.856 | -4.57 | 19.711
32 | WC16 1 0.4 ml 4/23/13 | 4196 | 60.239 | -4.57 | 19.67
32 | WC16 1 0.4 ml 4/23/13 | 4194 | 60.245 | -4.578 | 19.665
32 | WC16 1 0.4 ml 4/23/13 | 4195 | 60.234 | -4.587 | 19.666
32 | WC16 1 0.4 ml 4/23/13 | 4195 | 60.249 | -4.594 | 19.651
32 | WC16 1 0.4 ml 4/23/13 | 4370 | 12.167 | -11.373 | 22.785
32 | WC16 1 0.4 ml 4/23/13 | 18938 | 101.288 | -11.428 | 22.669
32 | WC16 1 0.4 ml 4/23/13 | 18343 | 97.665 | -11.465 | 22.657
32 | WC16 1 0.4 ml 4/23/13 | 17948 | 95.252 | -11.469 | 22.635
32 | WC16 1 0.4 ml 4/23/13 | 17577 | 93.235 | -11.45 | 22.669
32 | WC16 1 0.4 ml 4/23/13 | 17253 | 91.309 | -11.465 | 22.652
32 | WC16 1 0.4 ml 4/23/13 | 16924 | 89.587 | -11.45 | 22.677
32 | WC16 1 0.4 ml 4/23/13 | 16587 | 87.895 | -11.476 | 22.695
32 | WC16 1 0.4 ml 4/23/13 | 16230 | 86.095 | -11.483 | 22.638
32 | WC16 1 0.4 ml 4/23/13 | 15839 | 84.134 | -11.433 | 22.672
33 | WC16 2 0.4 ml 4/23/13 | 4202 | 59.887 | -4.557 | 19.706
33 | WC16 2 0.4 ml 4/23/13 | 4200 | 60.295 | -4.57 | 19.67
33 | WC16 2 0.4 ml 4/23/13 | 4200 | 60.3 | -4.598 | 19.666
33 | WC16 2 0.4 ml 4/23/13 | 4200 | 60.297 | -4.577 | 19.685
33 | WC16 2 0.4 ml 4/23/13 | 4199 | 60.305 | -4.588 | 19.688
33 | WC16 2 0.4 ml 4/23/13 | 4501 | 12.589 | -11.366 | 22.818
33 | WC16 2 0.4 ml 4/23/13 | 19992 | 108.84 | -11.526 | 22.438
33 | WC16 2 0.4 ml 4/23/13 | 19323 | 104.968 | -11.524 | 22.414
33 | WC16 2 0.4 ml 4/23/13 | 18827 | 102.1 | -11.534 | 22.415
33 | WC16 2 0.4 ml 4/23/13 | 18353 | 99.448 | -11.532 | 22.419
33 | WC16 2 0.4 ml 4/23/13 | 17888 | 96.807 | -11.533 | 22.432
33 | WC16 2 0.4 ml 4/23/13 | 17442 | 94.22 | -11.537 | 22.421
33 | WC16 2 0.4 ml 4/23/13 | 16991 | 91.71 | -11.516 | 22.424
33 | WC16 2 0.4 ml 4/23/13 | 16572 | 89.226 | -11.536 | 22.442
33 | WC16 2 0.4 ml 4/23/13 | 16155 | 86.781 | -11.515 | 22.432
33 | WC16 2 0.4 ml 4/23/13 | 15732 | 77.195 | -11.826 | 23.451
34 | WC15 0.3 ml 4/23/13 | 4203 | 59.95 | -4.543 | 19.68
34 | WC15 0.3 ml 4/23/13 | 4203 | 60.332 | -4.57 | 19.67
34 | WC15 0.3 ml 4/23/13 | 4201 | 60.338 | -4.547 | 19.641
34 | WC15 0.3 ml 4/23/13 | 4201 | 60.316 | -4.564 | 19.661
34 | WC15 0.3 ml 4/23/13 | 4202 | 60.348 | -4.564 | 19.647
34 | WC15 0.3 ml 4/23/13 | 3628 | 10.085 | -11.74 | 22.578
34 | WC15 0.3 ml 4/23/13 | 15631 | 83.672 | -11.762 | 22.624
34 | WC15 0.3 ml 4/23/13 | 15118 | 80.597 | -11.768 | 22.632
34 | WC15 0.3 ml 4/23/13 | 14763 | 78.522 | -11.754 | 22.625
34 | WC15 0.3 ml 4/23/13 | 14460 | 76.694 | -11.782 | 22.616
34 | WC15 0.3 ml 4/23/13 | 14172 | 75.033 | -11.749 | 22.582
34 | WC15 0.3 ml 4/23/13 | 13901 | 73.512 | -11.76 | 22.624
34 | WC15 0.3 ml 4/23/13 | 13634 | 72.047 | -11.777 | 22.627
34 | WC15 0.3 ml 4/23/13 | 13360 | 70.628 | -11.789 | 22.64
34 | WC15 0.3 ml 4/23/13 | 13090 | 69.144 | -11.768 | 22.645
35 | WC Blank 0.4 ml 4/23/13 | 4205 | 59.92 | -4.564 | 19.723
35 | WC Blank 0.4 ml 4/23/14 | 4203 | 60.32 | -4.57 | 19.67
35 | WC Blank 0.4 ml 4/23/15 | 4203 | 60.349 | -4.564 | 19.726
35 | WC Blank 0.4 ml 4/23/16 | 4202 | 60.334 | -4.557 | 19.695
35 | WC Blank 0.4 ml 4/23/17 | 4202 | 60.348 | -4.543 | 19.71
35 | WC Blank 0.4 ml 4/23/18 | 495 | 1.366 | -11.591 | 28.153
35 | WC Blank 0.4 ml 4/23/19 | 1464 | 7.824 | -11.792 | 27.271
35 | WC Blank 0.4 ml 4/23/20 | 1407 | 7.514 | -11.87 | 27.465
35 | WC Blank 0.4 ml 4/23/21 | 1368 | 7.308 | -11.824 | 27.379
35 | WC Blank 0.4 ml 4/23/22 | 1333 | 7.116 | -11.843 | 27.437
35 | WC Blank 0.4 ml 4/23/23 | 1300 | 6.932 | -11.833 | 27.434
35 | WC Blank 0.4 ml 4/23/24 | 1268 | 6.749 | -11.811 | 27.542
35 | WC Blank 0.4 ml 4/23/25 | 1236 | 6.571 | -11.817 | 27.426
35 | WC Blank 0.4 ml 4/23/26 | 1205 | 6.4 | -11.832 | 27.36
35 | WC Blank 0.4 ml 4/23/27 | 1175 | 6.229 | -11.824 | 27.417
35 | WC Blank 0.4 ml 4/23/28 | 1145 | 5.611 | -12.325 | 27.625
36 | B | 4204 | 59.939 | -4.533 | 19.658
36 | B | 4202 | 60.313 | -4.57 | 19.67
36 | B | 4202 | 60.321 | -4.561 | 19.635
36 | B | 4200 | 60.318 | -4.55 | 19.646
36 | B | 4200 | 60.335 | -4.547 | 19.664
36 | B | 1436 | 3.956 | -18.908 | 27.643
36 | B | 6427 | 34.129 | -18.977 | 27.92
36 | B | 6228 | 32.991 | -18.996 | 27.93
36 | B | 6080 | 32.152 | -18.971 | 27.931
36 | B | 5944 | 31.389 | -18.975 | 27.975
36 | B | 5813 | 30.619 | -18.978 | 27.945
36 | B | 5684 | 29.899 | -18.95 | 27.997
36 | B | 5568 | 29.236 | -18.978 | 27.924
36 | B | 5457 | 28.622 | -18.986 | 27.929
36 | B | 5345 | 28.02 | -18.968 | 27.96
37 | B | 4203 | 59.936 | -4.542 | 19.697
37 | B | 4201 | 60.311 | -4.57 | 19.67
37 | B | 4200 | 60.319 | -4.572 | 19.67
37 | B | 4202 | 60.316 | -4.563 | 19.663
37 | B | 4202 | 60.345 | -4.56 | 19.667
37 | B | 1467 | 4.075 | -19.028 | 28.639
37 | B | 6471 | 34.844 | -19.155 | 27.957
37 | B | 6250 | 33.631 | -19.151 | 27.931
37 | B | 6073 | 32.732 | -19.149 | 27.964
37 | B | 5918 | 31.878 | -19.17 | 27.911
37 | B | 5767 | 31.022 | -19.168 | 27.991
37 | B | 5619 | 30.18 | -19.134 | 27.94
37 | B | 5477 | 29.373 | -19.177 | 27.979
37 | B | 5338 | 28.573 | -19.17 | 27.896
37 | B | 5198 | 27.781 | -19.133 | 27.937
37 | B | 5064 | 25.002 | -19.491 | 28.591
38 | C | 4205 | 59.984 | -4.561 | 19.717
38 | C | 4202 | 60.323 | -4.57 | 19.67
38 | C | 4203 | 60.353 | -4.559 | 19.648
38 | C | 4202 | 60.342 | -4.593 | 19.677
38 | C | 4203 | 60.349 | -4.587 | 19.682
38 | C | 2225 | 6.162 | -19.066 | 27.94
38 | C | 9877 | 52.675 | -19.103 | 27.877
38 | C | 9541 | 50.767 | -19.14 | 27.807
38 | C | 9317 | 49.48 | -19.139 | 27.818
38 | C | 9107 | 48.286 | -19.144 | 27.857
38 | C | 8921 | 47.202 | -19.158 | 27.833
38 | C | 8739 | 46.156 | -19.109 | 27.849
38 | C | 8562 | 45.132 | -19.14 | 27.89
38 | C | 8391 | 44.169 | -19.122 | 27.854
38 | C | 8229 | 43.238 | -19.137 | 27.878
39 | D | 4205 | 59.914 | -4.559 | 19.743
39 | D | 4202 | 60.328 | -4.57 | 19.67
39 | D | 4204 | 60.37 | -4.577 | 19.681
39 | D | 4204 | 60.363 | -4.58 | 19.695
39 | D | 4203 | 60.363 | -4.586 | 19.69
39 | D | 3344 | 9.326 | -18.82 | 28.587
39 | D | 14879 | 80.406 | -19.225 | 27.691
39 | D | 14311 | 77.357 | -19.257 | 27.645
39 | D | 13929 | 75.36 | -19.235 | 27.627
39 | D | 13543 | 73.407 | -19.256 | 27.65
39 | D | 13192 | 71.411 | -19.224 | 27.647
39 | D | 12842 | 69.431 | -19.252 | 27.657
39 | D | 12515 | 67.544 | -19.249 | 27.65
39 | D | 12200 | 65.73 | -19.266 | 27.625
39 | D | 11880 | 63.912 | -19.227 | 27.669
39 | D | 11585 | 57.475 | -19.633 | 28.298
40 | E | 4208 | 60.03 | -4.575 | 19.653
40 | E | 4205 | 60.387 | -4.57 | 19.67
40 | E | 4206 | 60.373 | -4.591 | 19.655
40 | E | 4205 | 60.365 | -4.597 | 19.622
40 | E | 4205 | 60.379 | -4.586 | 19.649
40 | E | 2374 | 6.569 | -19.545 | 26.631
40 | E | 23758 | 127.825 | -19.349 | 27.601
40 | E | 22915 | 122.951 | -19.375 | 27.553
40 | E | 22366 | 119.802 | -19.387 | 27.544
40 | E | 21827 | 116.815 | -19.387 | 27.539
40 | E | 21295 | 113.767 | -19.396 | 27.542
40 | E | 20809 | 110.889 | -19.389 | 27.536
40 | E | 20369 | 108.273 | -19.394 | 27.558
40 | E | 19969 | 105.915 | -19.399 | 27.563
40 | E | 19607 | 103.725 | -19.377 | 27.564
41 | blank | 4207 | 59.974 | -4.534 | 19.736
41 | blank | 4207 | 60.39 | -4.57 | 19.67
41 | blank | 4206 | 60.396 | -4.574 | 19.69
41 | blank | 4205 | 60.38 | -4.584 | 19.724
41 | blank | 4205 | 60.386 | -4.575 | 19.719
41 | blank | 3335 | 9.328 | -18.8 | 28.808
41 | blank | 1291 | 6.845 | -7.075 | 28.203
41 | blank | 1222 | 6.499 | -6.843 | 28.059
41 | blank | 1184 | 6.306 | -6.812 | 28.08
41 | blank | 1150 | 6.136 | -6.807 | 27.9
41 | blank | 1119 | 5.969 | -6.796 | 28.05
41 | blank | 1089 | 5.809 | -6.874 | 28.101
41 | blank | 1062 | 5.654 | -6.757 | 28.078
41 | blank | 1035 | 5.508 | -6.74 | 28.122
41 | blank | 1009 | 5.362 | -6.83 | 28.081
41 | blank | 983 | 4.866 | -7.184 | 28.649