## Data Export
ID | Date Analyzed | Run # | Sample ID | Volume | Type | peak area | δ13C (PDB) | δ13C error (1σ) | Analyst | Researcher | Reaction Temperature (°C) | Reaction Time (hours) | Notes | Notes II
DI | 2013-09-19 | 3 | DI | 0.4 |  |  |  | 0.13882 | Peter Carlson |  | 40 | 8
DI | 2013-09-19 | 4 | DI | 0.4 |  |  |  | 0.13882 | Peter Carlson |  | 40 | 8
DI -6-17-13 | 2013-09-19 | 17 | DI -6-17-13 | 0.4 |  | 2.459 | -20.6834 | 0.13882 | Peter Carlson |  | 40 | 8 | old
A -6-17-13 | 2013-09-19 | 18 | A -6-17-13 | 0.4 |  | 2.996 | -19.9382 | 0.13882 | Peter Carlson |  | 40 | 8 | old
F -6-17-13 | 2013-09-19 | 19 | F -6-17-13 | 0.4 |  | 3.85 | -20.1612 | 0.13882 | Peter Carlson |  | 40 | 8 | old
B -6-17-13 | 2013-09-19 | 20 | B -6-17-13 | 0.4 |  | 6.544 | -20.0589 | 0.13882 | Peter Carlson |  | 40 | 8 | old
C -6-17-13 | 2013-09-19 | 21 | C -6-17-13 | 0.4 |  | 10.475 | -19.9532 | 0.13882 | Peter Carlson |  | 40 | 8 | old
D -6-17-13 | 2013-09-19 | 22 | D -6-17-13 | 0.4 |  | 12.567 | -19.8451 | 0.13882 | Peter Carlson |  | 40 | 8 | old
E -6-17-13 | 2013-09-19 | 23 | E -6-17-13 | 0.4 |  | 25.392 | -19.5276 | 0.13882 | Peter Carlson |  | 40 | 8 | old
WC Spring 2 91313 | 2013-09-19 | 24 | WC Spring 2 91313 | 0.4 |  | 21.98 | -10.8793 | 0.13882 | Peter Carlson |  | 40 | 8
WC6 2 91313 | 2013-09-19 | 25 | WC6 2 91313 | 0.4 |  | 15.48 | -10.3698 | 0.13882 | Peter Carlson |  | 40 | 8
WC3 2 91313 | 2013-09-19 | 26 | WC3 2 91313 | 0.4 |  | 22.823 | -10.9997 | 0.13882 | Peter Carlson |  | 40 | 8
WC1 1 91313 | 2013-09-19 | 27 | WC1 1 91313 | 0.4 |  | 1.253 | -12.8353 | 0.13882 | Peter Carlson |  | 40 | 8
WC6 1 91313 | 2013-09-19 | 28 | WC6 1 91313 | 0.4 |  | 20.848 | -10.056 | 0.13882 | Peter Carlson |  | 40 | 8
WC DI 91313 | 2013-09-19 | 29 | WC DI 91313 | 0.4 |  |  |  | 0.13882 | Peter Carlson |  | 40 | 8
WC3 1 91313 | 2013-09-19 | 30 | WC3 1 91313 | 0.4 |  | 1.153 | -13.325 | 0.13882 | Peter Carlson |  | 40 | 8
WC1 1 91313 | 2013-09-19 | 31 | WC1 1 91313 | 0.4 |  | 4.529 | -12.1811 | 0.13882 | Peter Carlson |  | 40 | 8
WC Spring 1 91313 | 2013-09-19 | 33 | WC Spring 1 91313 | 0.4 |  | 26.703 | -11.7022 | 0.13882 | Peter Carlson |  | 40 | 8
NBBC 1 91513 | 2013-09-19 | 34 | NBBC 1 91513 | 0.4 |  | 1.286 | -12.1072 | 0.13882 | Peter Carlson |  | 40 | 8
NBWS 2 91513 | 2013-09-19 | 35 | NBWS 2 91513 | 0.4 |  | 1.676 | -14.1113 | 0.13882 | Peter Carlson |  | 40 | 8
NBWS 1 91513 | 2013-09-19 | 36 | NBWS 1 91513 | 0.4 |  | 1.341 | -13.9723 | 0.13882 | Peter Carlson |  | 40 | 8
NB Blank 91513 | 2013-09-19 | 37 | NB Blank 91513 | 0.4 |  |  |  | 0.13882 | Peter Carlson |  | 40 | 8
NBBC 2 91513 | 2013-09-19 | 38 | NBBC 2 91513 | 0.4 |  | 15.023 | -10.9317 | 0.13882 | Peter Carlson |  | 40 | 8
NBCT 2 91313 | 2013-09-19 | 39 | NBCT 2 91313 | 0.4 |  | 2.006 | -12.8568 | 0.13882 | Peter Carlson |  | 40 | 8
NBCT 1 91313 | 2013-09-19 | 40 | NBCT 1 91313 | 0.4 |  | 15.636 | -12.0874 | 0.13882 | Peter Carlson |  | 40 | 8

## Calibration
Gas Bench DIC Calibration
|  |  | Date: | 2013-09-19
|  |  | Operator: | Peter Carlson
Calibration Notes
|  |  | d13C max stdev: | 0.2
|  |  | Peaks used: | Last Two
|  |  | Blank Correction: | No (No Peaks)
|  |  | Linearity Correction: | Yes (Auto)
|  |  | Drift Correction: | Yes (Auto)
Standard
|  |  | Name | mg NaHCO3 | mL H2O | mmol/L NaHCO3 | mg/L C | mg/L HCO3 | µg C | Area 44 | δ13C
|  |  | A | 43.136 | 500 | 1.027 | 12.3346 | 62.6622 | #DIV/0!
|  |  | B | 53.28 | 250 | 2.5369 | 30.4705 | 154.7962 | 12.1882 | 6.9023 | -19.1436
|  |  | C | 73.948 | 250 | 3.5211 | 42.2903 | 214.8436 | 16.9161 | 8.1515 | -19.3921
|  |  | D | 102.688 | 250 | 4.8895 | 58.7265 | 298.343 | 23.4906 | 11.276 | -19.4449
|  |  | E | 198.678 | 250 | 9.4601 | 113.6225 | 577.226 | 45.449 | 28.161 | -19.3163
|  |  | F | 30.792 | 250 | 1.4662 | 17.6097 | 89.461 | 7.0439 | 4.744 | -19.2969
|  |  | Calibration | slope | intercept |  | linearity | drift | standard
|  |  | carbon | #DIV/0! | #DIV/0! |  | -0.01858 | 0.0072948 | -0.13538
ALL | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | STD-Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
1 | Blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
2 | Blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
3 | DI | 0.4 | [12 empty] | #DIV/0! | #DIV/0!
4 | DI | 0.4 | [12 empty] | #DIV/0! | #DIV/0!
5 | A | 0.4 | 653 | 3.081 | -18.847 | 26.887 | 0.070711 | 0.20365 | 3.081 | -18.847 |  | -18.7898 | -18.8189 | -18.9543 | #DIV/0! | #DIV/0!
6 | A | 0.4 | 614 | 2.937 | -18.7515 | 27.001 | 0.15061 | 0.0042426 | 2.937 | -18.7515 |  | -18.6969 | -18.7334 | -18.8688 | #DIV/0! | #DIV/0!
7 | F | 0.4 | 886 | 4.13 | -19.054 | 27.0165 | 0.021213 | 0.12233 | 4.13 | -19.054 |  | -18.9773 | -19.021 | -19.1564 | #DIV/0! | #DIV/0!
8 | F | 0.4 | 1004 | 4.744 | -19.334 | 27.0645 | 0.062225 | 0.25668 | 4.744 | -19.334 |  | -19.2459 | -19.2969 | -19.4323 | #DIV/0! | #DIV/0!
9 | B | 0.4 | 931 | 3.519 | -19.116 | 26.6155 | 0.015556 | 0.56922 | 3.519 | -19.116 |  | -19.0506 | -19.109 | -19.2444 | #DIV/0! | #DIV/0!
10 | B | 0.4 | 1413 | 6.367 | -19.053 | 27.293 | 0.011314 | 0.060811 | 6.367 | -19.053 |  | -18.9347 | -19.0004 | -19.1357 | #DIV/0! | #DIV/0!
11 | C | 0.4 | 1864 | 7.815 | -19.4175 | 27.115 | 0.060104 | 0.029698 | 7.815 | -19.4175 |  | -19.2723 | -19.3452 | -19.4806 | #DIV/0! | #DIV/0!
12 | C | 0.4 | 2010 | 8.488 | -19.5165 | 27.1025 | 0.03182 | 0.019092 | 8.488 | -19.5165 |  | -19.3588 | -19.439 | -19.5744 | #DIV/0! | #DIV/0!
13 | D | 0.4 | 2540 | 10.773 | -19.547 | 27.134 | 0.016971 | 0.031113 | 10.773 | -19.547 |  | -19.3468 | -19.4344 | -19.5698 | #DIV/0! | #DIV/0!
14 | D | 0.4 | 2443 | 11.779 | -19.5795 | 27.0835 | 0.030406 | 0.070004 | 11.779 | -19.5795 |  | -19.3607 | -19.4555 | -19.5909 | #DIV/0! | #DIV/0!
15 | E | 0.4 | 5147 | 25.025 | -19.6555 | 26.9925 | 0.0035355 | 0.024749 | 25.025 | -19.6555 |  | -19.1905 | -19.2927 | -19.4281 | #DIV/0! | #DIV/0!
16 | E | 0.4 | 6248 | 30.314 | -19.6735 | 27.0805 | 0.027577 | 0.019092 | 30.314 | -19.6735 |  | -19.1103 | -19.2197 | -19.3551 | #DIV/0! | #DIV/0!
17 | DI -6-17-13 | 0.4 | 871 | 2.459 | -20.477 | 27.187 |  |  | 2.459 | -20.477 |  | -20.4313 | -20.548 | -20.6834 | #DIV/0! | #DIV/0!
18 | A -6-17-13 | 0.4 | 636 | 2.996 | -19.7345 | 26.352 | 0.061518 | 0.0014142 | 2.996 | -19.7345 |  | -19.6788 | -19.8028 | -19.9382 | #DIV/0! | #DIV/0!
19 | F -6-17-13 | 0.4 | 801 | 3.85 | -19.966 | 26.308 | 0.021213 | 0.050912 | 3.85 | -19.966 |  | -19.8945 | -20.0258 | -20.1612 | #DIV/0! | #DIV/0!
20 | B -6-17-13 | 0.4 | 1379 | 6.544 | -19.9065 | 26.589 | 0.019092 | 0.035355 | 6.544 | -19.9065 |  | -19.7849 | -19.9235 | -20.0589 | #DIV/0! | #DIV/0!
21 | C -6-17-13 | 0.4 | 2164 | 10.475 | -19.8665 | 26.4185 | 0.0091924 | 0.038891 | 10.475 | -19.8665 |  | -19.6719 | -19.8178 | -19.9532 | #DIV/0! | #DIV/0!
22 | D -6-17-13 | 0.4 | 2628 | 12.567 | -19.79 | 26.507 | 0.021213 | 0.014142 | 12.567 | -19.79 |  | -19.5565 | -19.7097 | -19.8451 | #DIV/0! | #DIV/0!
23 | E -6-17-13 | 0.4 | 5167 | 25.392 | -19.7035 | 26.6895 | 0.044548 | 0.006364 | 25.392 | -19.7035 |  | -19.2317 | -19.3922 | -19.5276 | #DIV/0! | #DIV/0!
24 | WC Spring 2 91313 | 0.4 | 4547 | 21.98 | -10.9845 | 21.4025 | 0.012021 | 0.03182 | 21.98 | -10.9845 |  | -10.5761 | -10.7439 | -10.8793 | #DIV/0! | #DIV/0!
25 | WC6 2 91313 | 0.4 | 3191 | 15.48 | -10.347 | 21.6525 | 0.012728 | 0.020506 | 15.48 | -10.347 |  | -10.0594 | -10.2345 | -10.3698 | #DIV/0! | #DIV/0!
26 | WC3 2 91313 | 0.4 | 4709 | 22.823 | -11.106 | 21.653 | 0.022627 | 0.093338 | 22.823 | -11.106 |  | -10.682 | -10.8643 | -10.9997 | #DIV/0! | #DIV/0!
27 | WC1 1 91313 | 0.4 | 353 | 1.253 | -12.5335 | 21.4275 | 0.25951 | 0.19728 | 1.253 | -12.5335 |  | -12.5102 | -12.6999 | -12.8353 | #DIV/0! | #DIV/0!
28 | WC6 1 91313 | 0.4 | 4485 | 20.848 | -10.111 | 21.858 | 0.014142 | 0.019799 | 20.848 | -10.111 |  | -9.7237 | -9.9206 | -10.056 | #DIV/0! | #DIV/0!
29 | WC DI 91313 | 0.4 | [12 empty] | #DIV/0! | #DIV/0!
30 | WC3 1 91313 | 0.4 | 322 | 1.153 | -12.9995 | 21.589 | 0.054447 | 0.39598 | 1.153 | -12.9995 |  | -12.9781 | -13.1896 | -13.325 | #DIV/0! | #DIV/0!
31 | WC1 1 91313 | 0.4 | 1226 | 4.529 | -11.911 | 22.6585 | 0.014142 | 0.18597 | 4.529 | -11.911 |  | -11.8269 | -12.0457 | -12.1811 | #DIV/0! | #DIV/0!
32 | B | 0.4 | 966 | 3.702 | -19.0845 | 26.5565 | 0.10112 | 0.24537 | 3.702 | -19.0845 |  | -19.0157 | -19.2419 | -19.3772 | #DIV/0! | #DIV/0!
33 | WC Spring 1 91313 | 0.4 | 5716 | 26.703 | -11.8295 | 21.4645 | 0.0021213 | 0.0035355 | 26.703 | -11.8295 |  | -11.3334 | -11.5668 | -11.7022 | #DIV/0! | #DIV/0!
34 | NBBC 1 91513 | 0.4 | 360 | 1.286 | -11.755 | 20.9925 | 0.27153 | 0.28072 | 1.286 | -11.755 |  | -11.7311 | -11.9718 | -12.1072 | #DIV/0! | #DIV/0!
35 | NBWS 2 91513 | 0.4 | 474 | 1.676 | -13.759 | 21.11 | 0.14849 | 0.2984 | 1.676 | -13.759 |  | -13.7279 | -13.9759 | -14.1113 | #DIV/0! | #DIV/0!
36 | NBWS 1 91513 | 0.4 | 375 | 1.341 | -13.6065 | 21.1765 | 0.20153 | 0.25527 | 1.341 | -13.6065 |  | -13.5816 | -13.8369 | -13.9723 | #DIV/0! | #DIV/0!
37 | NB Blank 91513 | 0.4 | [12 empty] | #DIV/0! | #DIV/0!
38 | NBBC 2 91513 | 0.4 | 3404 | 15.023 | -10.8055 | 22.0945 | 0.11526 | 0.20011 | 15.023 | -10.8055 |  | -10.5264 | -10.7963 | -10.9317 | #DIV/0! | #DIV/0!
39 | NBCT 2 91313 | 0.4 | 567 | 2.006 | -12.4815 | 21.024 | 0.14354 | 0.18102 | 2.006 | -12.4815 |  | -12.4442 | -12.7214 | -12.8568 | #DIV/0! | #DIV/0!
40 | NBCT 1 91313 | 0.4 | 3227 | 15.636 | -11.958 | 21.635 | 0.031113 | 0.060811 | 15.636 | -11.958 |  | -11.6675 | -11.952 | -12.0874 | #DIV/0! | #DIV/0!
41 | B | 0.4 | 1501 | 7.174 | -19.0555 | 26.8945 | 0.034648 | 0.050205 | 7.174 | -19.0555 |  | -18.9222 | -19.214 | -19.3494 | #DIV/0! | #DIV/0!
42 | B | 0.4 | 1505 | 7.166 | -19.0505 | 26.8865 | 0.017678 | 0.00070711 | 7.166 | -19.0505 |  | -18.9174 | -19.2164 | -19.3518 | #DIV/0! | #DIV/0!
43 | C | 0.4 | 733 | 2.654 | -19.725 | 26.7465 | 0.32668 | 0.023335 | 2.654 | -19.725 |  | -19.6757 | -19.9821 | -20.1175 | #DIV/0! | #DIV/0!
44 | C | 0.4 | 598 | 2.117 | -20.0265 | 26.444 | 0.24961 | 0.38467 | 2.117 | -20.0265 |  | -19.9872 | -20.3008 | -20.4362 | #DIV/0! | #DIV/0!
45 | D | 0.4 | 533 | 1.896 | -20.0245 | 26.5055 | 0.13364 | 0.088388 | 1.896 | -20.0245 |  | -19.9893 | -20.3102 | -20.4456 | #DIV/0! | #DIV/0!
46 | D | 0.4 | 671 | 2.376 | -19.637 | 27.214 | 0.14001 | 0.17536 | 2.376 | -19.637 |  | -19.5929 | -19.9211 | -20.0565 | #DIV/0! | #DIV/0!
47 | E | 0.4 | 5980 | 29.144 | -19.6425 | 27.091 | 0.030406 | 0.032527 | 29.144 | -19.6425 |  | -19.101 | -19.4366 | -19.572 | #DIV/0! | #DIV/0!
48 | E | 0.4 | 433 | 1.533 | -20.4015 | 26.424 | 0.22415 | 0.23476 | 1.533 | -20.4015 |  | -20.373 | -20.7159 | -20.8513 | #DIV/0! | #DIV/0!
BLANKS | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
Used Standards | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
10 | B | 0.4 | 1413 | 6.367 | -19.053 | 27.293 | 0.011314 | 0.060811 | 6.367 | -19.053 |  | -18.9347 | -19.0004 | -19.1357 | #DIV/0! | #DIV/0!
41 | B | 0.4 | 1501 | 7.174 | -19.0555 | 26.8945 | 0.034648 | 0.050205 | 7.174 | -19.0555 |  | -18.9222 | -19.214 | -19.3494 | #DIV/0! | #DIV/0!
42 | B | 0.4 | 1505 | 7.166 | -19.0505 | 26.8865 | 0.017678 | 0.00070711 | 7.166 | -19.0505 |  | -18.9174 | -19.2164 | -19.3518 | #DIV/0! | #DIV/0!
11 | C | 0.4 | 1864 | 7.815 | -19.4175 | 27.115 | 0.060104 | 0.029698 | 7.815 | -19.4175 |  | -19.2723 | -19.3452 | -19.4806 | #DIV/0! | #DIV/0!
12 | C | 0.4 | 2010 | 8.488 | -19.5165 | 27.1025 | 0.03182 | 0.019092 | 8.488 | -19.5165 |  | -19.3588 | -19.439 | -19.5744 | #DIV/0! | #DIV/0!
13 | D | 0.4 | 2540 | 10.773 | -19.547 | 27.134 | 0.016971 | 0.031113 | 10.773 | -19.547 |  | -19.3468 | -19.4344 | -19.5698 | #DIV/0! | #DIV/0!
14 | D | 0.4 | 2443 | 11.779 | -19.5795 | 27.0835 | 0.030406 | 0.070004 | 11.779 | -19.5795 |  | -19.3607 | -19.4555 | -19.5909 | #DIV/0! | #DIV/0!
15 | E | 0.4 | 5147 | 25.025 | -19.6555 | 26.9925 | 0.0035355 | 0.024749 | 25.025 | -19.6555 |  | -19.1905 | -19.2927 | -19.4281 | #DIV/0! | #DIV/0!
16 | E | 0.4 | 6248 | 30.314 | -19.6735 | 27.0805 | 0.027577 | 0.019092 | 30.314 | -19.6735 |  | -19.1103 | -19.2197 | -19.3551 | #DIV/0! | #DIV/0!
47 | E | 0.4 | 5980 | 29.144 | -19.6425 | 27.091 | 0.030406 | 0.032527 | 29.144 | -19.6425 |  | -19.101 | -19.4366 | -19.572 | #DIV/0! | #DIV/0!
8 | F | 0.4 | 1004 | 4.744 | -19.334 | 27.0645 | 0.062225 | 0.25668 | 4.744 | -19.334 |  | -19.2459 | -19.2969 | -19.4323 | #DIV/0! | #DIV/0!

## Run Log
Row | Name | Volume | Notes | Var5 | Var6 | Var7 | Var8 | Var9
1 | Blank | 0
2 | Blank | 0
3 | DI | 0.4
4 | DI | 0.4
5 | A | 0.4
6 | A | 0.4 |  |  |  | Standard | Mass | Volume
7 | F | 0.4 |  |  |  | A | 43.136 | 500
8 | F | 0.4 |  |  |  | B | 53.28 | 250
9 | B | 0.4 |  |  |  | C | 73.948 | 250
10 | B | 0.4 |  |  |  | D | 102.688 | 250
11 | C | 0.4 |  |  |  | E | 198.678 | 250
12 | C | 0.4 |  |  |  | F | 30.792 | 250
13 | D | 0.4
14 | D | 0.4
15 | E | 0.4
16 | E | 0.4
17 | DI -6-17-13 | 0.4 | old
18 | A -6-17-13 | 0.4 | old
19 | F -6-17-13 | 0.4 | old
20 | B -6-17-13 | 0.4 | old
21 | C -6-17-13 | 0.4 | old
22 | D -6-17-13 | 0.4 | old
23 | E -6-17-13 | 0.4 | old
24 | WC Spring 2 9.13.13 | 0.4
25 | WC6 2 9.13.13 | 0.4
26 | WC3 2 9.13.13 | 0.4
27 | WC1 1 9.13.13 | 0.4
28 | WC6 1 9.13.13 | 0.4
29 | WC DI 9.13.13 | 0.4
30 | WC3 1 9.13.13 | 0.4
31 | WC1 1 9.13.13 | 0.4
32 | B | 0.4
33 | WC Spring 1 9.13.13 | 0.4
34 | NBBC 1 9.15.13 | 0.4
35 | NBWS 2 9.15.13 | 0.4
36 | NBWS 1 9.15.13 | 0.4
37 | NB Blank 9.15.13 | 0.4
38 | NBBC 2 9.15.13 | 0.4
39 | NBCT 2 9.13.13 | 0.4
40 | NBCT 1 9.13.13 | 0.4
41 | B | 0.4
42 | B | 0.4
43 | C | 0.4
44 | C | 0.4
45 | D | 0.4
46 | D | 0.4
47 | E | 0.4
48 | E | 0.4

## gasbenchCO2template.wke
Row | Identifier1 | Ampl44 | Area44 | d13C_12C | d18O_16O
1 | Blank | 4157 | 59.05 | -4.421 | 19.716
1 | Blank | 4157 | 59.856 | -4.57 | 19.67
1 | Blank | 4155 | 59.831 | -4.77 | 19.647
1 | Blank | 4152 | 59.778 | -4.899 | 19.678
1 | Blank | 4153 | 59.771 | -5.038 | 19.704
2 | Blank | 4130 | 58.589 | -4.535 | 19.701
2 | Blank | 4130 | 59.404 | -4.57 | 19.67
2 | Blank | 4125 | 59.362 | -4.596 | 19.63
2 | Blank | 4124 | 59.355 | -4.61 | 19.643
2 | Blank | 4124 | 59.382 | -4.616 | 19.693
3 | DI | 4121 | 58.468 | -4.537 | 19.715
3 | DI | 4117 | 59.236 | -4.57 | 19.67
3 | DI | 4121 | 59.269 | -4.561 | 19.675
3 | DI | 4117 | 59.244 | -4.567 | 19.66
3 | DI | 4116 | 59.236 | -4.565 | 19.638
4 | DI | 4123 | 58.438 | -4.576 | 19.727
4 | DI | 4120 | 59.244 | -4.57 | 19.67
4 | DI | 4118 | 59.238 | -4.596 | 19.651
4 | DI | 4117 | 59.25 | -4.601 | 19.672
4 | DI | 4115 | 59.237 | -4.589 | 19.668
5 | A | 4120 | 58.438 | -4.573 | 19.749
5 | A | 4118 | 59.207 | -4.57 | 19.67
5 | A | 4116 | 59.224 | -4.592 | 19.669
5 | A | 4116 | 59.228 | -4.602 | 19.682
5 | A | 4115 | 59.198 | -4.598 | 19.68
5 | A | 237 | 0.661 | -18.823 | 29.204
5 | A | 815 | 3.892 | -18.784 | 27.097
5 | A | 790 | 3.763 | -18.823 | 26.903
5 | A | 768 | 3.655 | -18.852 | 27.245
5 | A | 747 | 3.553 | -18.841 | 26.971
5 | A | 727 | 3.451 | -18.732 | 26.852
5 | A | 707 | 3.353 | -18.697 | 27.138
5 | A | 689 | 3.259 | -18.827 | 27.058
5 | A | 671 | 3.167 | -18.866 | 27.096
5 | A | 653 | 3.081 | -18.797 | 27.031
5 | A | 635 | 2.997 | -18.897 | 26.743
6 | A | 4123 | 58.441 | -4.559 | 19.751
6 | A | 4123 | 59.276 | -4.57 | 19.67
6 | A | 4118 | 59.267 | -4.558 | 19.69
6 | A | 4118 | 59.269 | -4.575 | 19.685
6 | A | 4120 | 59.269 | -4.571 | 19.673
6 | A | 195 | 0.544 | -19.06 | 28.578
6 | A | 682 | 3.304 | -18.907 | 27.186
6 | A | 676 | 3.251 | -18.883 | 27.055
6 | A | 666 | 3.205 | -18.826 | 27.448
6 | A | 658 | 3.164 | -18.762 | 26.996
6 | A | 648 | 3.117 | -18.829 | 27.001
6 | A | 640 | 3.071 | -18.876 | 27.028
6 | A | 631 | 3.024 | -18.847 | 26.998
6 | A | 622 | 2.981 | -18.862 | 26.945
6 | A | 614 | 2.937 | -18.645 | 27.004
6 | A | 605 | 2.893 | -18.858 | 26.998
7 | F | 4122 | 58.497 | -4.566 | 19.735
7 | F | 4120 | 59.265 | -4.57 | 19.67
7 | F | 4121 | 59.293 | -4.56 | 19.711
7 | F | 4120 | 59.262 | -4.553 | 19.696
7 | F | 4118 | 59.279 | -4.572 | 19.666
7 | F | 282 | 0.786 | -19.469 | 28.521
7 | F | 969 | 4.678 | -19.098 | 27.039
7 | F | 961 | 4.58 | -19.258 | 26.894
7 | F | 952 | 4.523 | -19.101 | 26.961
7 | F | 931 | 4.379 | -19.07 | 26.961
7 | F | 912 | 4.251 | -19.043 | 27.181
7 | F | 899 | 4.176 | -19.041 | 27.287
7 | F | 893 | 4.153 | -19.124 | 27
7 | F | 892 | 4.157 | -19.099 | 27.185
7 | F | 886 | 4.13 | -19.069 | 27.103
7 | F | 879 | 4.089 | -19.039 | 26.93
8 | F | 4126 | 58.461 | -4.549 | 19.751
8 | F | 4124 | 59.311 | -4.57 | 19.67
8 | F | 4119 | 59.265 | -4.576 | 19.73
8 | F | 4122 | 59.288 | -4.592 | 19.722
8 | F | 4124 | 59.33 | -4.58 | 19.727
8 | F | 301 | 0.841 | -19.757 | 28.456
8 | F | 1045 | 5.03 | -19.272 | 27.06
8 | F | 1036 | 4.958 | -19.195 | 27.182
8 | F | 1004 | 4.744 | -19.29 | 27.246
8 | F | 504 | 1.896 | -19.378 | 26.883
8 | F | 221 | 0.786 | -19.361 | 26.993
8 | F | 184 | 0.653 | -19.957 | 27.088
8 | F | 171 | 0.605 | -19.762 | 26.526
8 | F | 167 | 0.592 | -19.481 | 27.653
8 | F | 167 | 0.592 | -19.266 | 27.025
8 | F | 168 | 0.593 | -19.598 | 27.687
9 | B | 4129 | 58.552 | -4.542 | 19.733
9 | B | 4126 | 59.341 | -4.57 | 19.67
9 | B | 4122 | 59.34 | -4.587 | 19.68
9 | B | 4127 | 59.335 | -4.566 | 19.67
9 | B | 4121 | 59.334 | -4.576 | 19.671
9 | B | 515 | 1.441 | -19.44 | 28.174
9 | B | 1770 | 8.57 | -19.074 | 26.986
9 | B | 1754 | 8.414 | -19.076 | 27.073
9 | B | 1724 | 8.184 | -19.079 | 27.197
9 | B | 931 | 3.519 | -19.127 | 27.018
9 | B | 394 | 1.393 | -19.105 | 26.213
9 | B | 219 | 0.768 | -19.564 | 26.528
9 | B | 149 | 0.521 | -19.436 | 25.517
9 | B | 115 | 0.405 | -19.261 | 26.478
9 | B | 97 | 0.339 | -20.032 | 26
9 | B | 82 | 0.289 | -19.145 | 26.118
10 | B | 4129 | 58.527 | -4.565 | 19.753
10 | B | 4127 | 59.363 | -4.57 | 19.67
10 | B | 4125 | 59.374 | -4.6 | 19.667
10 | B | 4125 | 59.326 | -4.588 | 19.691
10 | B | 4124 | 59.35 | -4.588 | 19.681
10 | B | 498 | 1.395 | -19.575 | 28.151
10 | B | 1715 | 8.205 | -19.101 | 27.1
10 | B | 1701 | 8.088 | -19.135 | 27.2
10 | B | 1668 | 7.885 | -18.99 | 27.171
10 | B | 1553 | 7.087 | -19.055 | 27.274
10 | B | 1477 | 6.606 | -18.995 | 27.306
10 | B | 1459 | 6.539 | -19.054 | 27.259
10 | B | 1445 | 6.492 | -19.044 | 27.257
10 | B | 1430 | 6.441 | -19.03 | 27.164
10 | B | 1413 | 6.367 | -19.045 | 27.336
10 | B | 1400 | 6.296 | -19.061 | 27.25
11 | C | 4130 | 58.574 | -4.552 | 19.695
11 | C | 4127 | 59.366 | -4.57 | 19.67
11 | C | 4129 | 59.405 | -4.574 | 19.689
11 | C | 4125 | 59.338 | -4.569 | 19.684
11 | C | 4127 | 59.396 | -4.578 | 19.678
11 | C | 727 | 2.037 | -19.836 | 27.657
11 | C | 2502 | 12.148 | -19.371 | 27.098
11 | C | 2480 | 11.923 | -19.416 | 27.145
11 | C | 2333 | 10.839 | -19.376 | 27.184
11 | C | 2047 | 8.844 | -19.421 | 27.126
11 | C | 1952 | 8.267 | -19.381 | 27.221
11 | C | 1916 | 8.073 | -19.393 | 27.078
11 | C | 1882 | 7.889 | -19.34 | 27.142
11 | C | 1879 | 7.882 | -19.424 | 27.127
11 | C | 1864 | 7.815 | -19.375 | 27.094
11 | C | 1837 | 7.675 | -19.46 | 27.136
12 | C | 4130 | 58.558 | -4.545 | 19.68
12 | C | 4126 | 59.375 | -4.57 | 19.67
12 | C | 4133 | 59.411 | -4.563 | 19.676
12 | C | 4126 | 59.38 | -4.553 | 19.646
12 | C | 4130 | 59.416 | -4.551 | 19.667
12 | C | 811 | 2.271 | -19.895 | 27.99
12 | C | 2761 | 13.205 | -19.48 | 27.132
12 | C | 2731 | 12.994 | -19.858 | 26.703
12 | C | 2485 | 11.192 | -19.377 | 27.098
12 | C | 2205 | 9.395 | -19.455 | 27.104
12 | C | 2098 | 8.803 | -19.482 | 27.071
12 | C | 2074 | 8.695 | -19.502 | 27.124
12 | C | 2057 | 8.653 | -19.503 | 27.106
12 | C | 2032 | 8.552 | -19.42 | 27.036
12 | C | 2010 | 8.488 | -19.494 | 27.116
12 | C | 1989 | 8.403 | -19.539 | 27.089
13 | D | 4134 | 58.598 | -4.583 | 19.717
13 | D | 4129 | 59.399 | -4.57 | 19.67
13 | D | 4129 | 59.363 | -4.572 | 19.699
13 | D | 4128 | 59.402 | -4.594 | 19.682
13 | D | 4130 | 59.384 | -4.602 | 19.672
13 | D | 971 | 2.732 | -19.93 | 27.538
13 | D | 3350 | 16.387 | -19.531 | 27.017
13 | D | 3311 | 16.03 | -19.548 | 27.113
13 | D | 3192 | 15.112 | -19.52 | 27.046
13 | D | 2784 | 12.191 | -19.606 | 27.13
13 | D | 2645 | 11.334 | -19.487 | 27.118
13 | D | 2607 | 11.107 | -19.566 | 27.066
13 | D | 2583 | 11.006 | -19.508 | 27.107
13 | D | 2556 | 10.84 | -19.534 | 27.092
13 | D | 2540 | 10.773 | -19.535 | 27.156
13 | D | 2525 | 10.723 | -19.559 | 27.112
14 | D | 4138 | 58.612 | -4.557 | 19.691
14 | D | 4132 | 59.431 | -4.57 | 19.67
14 | D | 4133 | 59.468 | -4.597 | 19.688
14 | D | 4137 | 59.495 | -4.57 | 19.64
14 | D | 4128 | 59.432 | -4.587 | 19.658
14 | D | 1063 | 2.989 | -19.95 | 27.695
14 | D | 3615 | 17.529 | -19.532 | 27.159
14 | D | 3444 | 16.559 | -19.585 | 27.125
14 | D | 3242 | 15.554 | -19.581 | 27.175
14 | D | 3104 | 14.873 | -19.561 | 27.066
14 | D | 2968 | 14.215 | -19.581 | 27.138
14 | D | 2831 | 13.575 | -19.571 | 27.063
14 | D | 2699 | 12.957 | -19.546 | 26.993
14 | D | 2571 | 12.373 | -19.551 | 27.08
14 | D | 2443 | 11.779 | -19.601 | 27.133
14 | D | 2327 | 11.248 | -19.558 | 27.034
15 | E | 4139 | 58.712 | -4.564 | 19.676
15 | E | 4137 | 59.475 | -4.57 | 19.67
15 | E | 4135 | 59.509 | -4.563 | 19.671
15 | E | 4133 | 59.493 | -4.579 | 19.628
15 | E | 4138 | 59.518 | -4.56 | 19.677
15 | E | 2000 | 5.7 | -19.845 | 27.385
15 | E | 6830 | 34.073 | -19.584 | 27.058
15 | E | 6770 | 33.454 | -19.624 | 27.036
15 | E | 6447 | 31.791 | -19.645 | 27.017
15 | E | 6122 | 30.168 | -19.664 | 26.989
15 | E | 5841 | 28.691 | -19.662 | 27.038
15 | E | 5574 | 27.333 | -19.682 | 26.961
15 | E | 5367 | 26.198 | -19.654 | 26.99
15 | E | 5273 | 25.672 | -19.664 | 27.025
15 | E | 5147 | 25.025 | -19.653 | 27.01
15 | E | 5034 | 24.415 | -19.658 | 26.975
16 | E | 4136 | 58.627 | -4.568 | 19.724
16 | E | 4132 | 59.443 | -4.57 | 19.67
16 | E | 4132 | 59.445 | -4.599 | 19.677
16 | E | 4133 | 59.439 | -4.568 | 19.686
16 | E | 4135 | 59.486 | -4.561 | 19.673
16 | E | 2171 | 6.226 | -19.956 | 27.41
16 | E | 7416 | 36.572 | -19.664 | 27.119
16 | E | 7152 | 35.044 | -19.658 | 27.061
16 | E | 6949 | 33.913 | -19.653 | 27.08
16 | E | 6771 | 32.943 | -19.682 | 27.128
16 | E | 6681 | 32.418 | -19.673 | 27.101
16 | E | 6597 | 31.969 | -19.671 | 27.088
16 | E | 6485 | 31.393 | -19.644 | 27.09
16 | E | 6365 | 30.837 | -19.659 | 27.074
16 | E | 6248 | 30.314 | -19.693 | 27.067
16 | E | 6130 | 29.796 | -19.654 | 27.094
17 | DI -6-17-13 | 4140 | 58.689 | -4.569 | 19.768
17 | DI -6-17-13 | 4135 | 59.5 | -4.57 | 19.67
17 | DI -6-17-13 | 4135 | 59.512 | -4.581 | 19.712
17 | DI -6-17-13 | 4134 | 59.447 | -4.571 | 19.706
17 | DI -6-17-13 | 4140 | 59.538 | -4.582 | 19.705
17 | DI -6-17-13 | 871 | 2.459 | -20.477 | 27.187
17 | DI -6-17-13 | 90 | 0.424 | -22.601 | 24.93
17 | DI -6-17-13 | 74 | 0.35 | -22.574 | 25.777
17 | DI -6-17-13 | 70 | 0.331 | -22.421 | 25.877
17 | DI -6-17-13 | 67 | 0.321 | -23.146 | 25.895
17 | DI -6-17-13 | 65 | 0.309 | -22.46 | 25.731
17 | DI -6-17-13 | 63 | 0.3 | -22.557 | 26.151
17 | DI -6-17-13 | 62 | 0.292 | -22.308 | 26.715
17 | DI -6-17-13 | 60 | 0.283 | -23.173 | 25.171
17 | DI -6-17-13 | 58 | 0.274 | -22.633 | 25.906
17 | DI -6-17-13 | 57 | 0.266 | -23.495 | 27.093
18 | A -6-17-13 | 4145 | 58.714 | -4.553 | 19.751
18 | A -6-17-13 | 4140 | 59.563 | -4.57 | 19.67
18 | A -6-17-13 | 4142 | 59.585 | -4.584 | 19.685
18 | A -6-17-13 | 4140 | 59.572 | -4.56 | 19.687
18 | A -6-17-13 | 4141 | 59.55 | -4.551 | 19.635
18 | A -6-17-13 | 240 | 0.671 | -20.19 | 29.52
18 | A -6-17-13 | 813 | 3.881 | -19.634 | 26.444
18 | A -6-17-13 | 780 | 3.712 | -19.71 | 26.561
18 | A -6-17-13 | 757 | 3.597 | -19.67 | 26.397
18 | A -6-17-13 | 734 | 3.478 | -19.775 | 26.298
18 | A -6-17-13 | 712 | 3.372 | -19.845 | 26.447
18 | A -6-17-13 | 692 | 3.271 | -19.726 | 26.371
18 | A -6-17-13 | 672 | 3.17 | -19.667 | 26.223
18 | A -6-17-13 | 656 | 3.09 | -19.802 | 26.206
18 | A -6-17-13 | 636 | 2.996 | -19.778 | 26.353
18 | A -6-17-13 | 617 | 2.906 | -19.691 | 26.351
19 | F -6-17-13 | 4143 | 58.764 | -4.556 | 19.757
19 | F -6-17-13 | 4139 | 59.544 | -4.57 | 19.67
19 | F -6-17-13 | 4139 | 59.572 | -4.566 | 19.72
19 | F -6-17-13 | 4139 | 59.538 | -4.568 | 19.736
19 | F -6-17-13 | 4139 | 59.549 | -4.558 | 19.69
19 | F -6-17-13 | 331 | 0.93 | -20.085 | 27.874
19 | F -6-17-13 | 1135 | 5.53 | -19.912 | 26.333
19 | F -6-17-13 | 1086 | 5.259 | -19.906 | 26.307
19 | F -6-17-13 | 1047 | 5.064 | -19.94 | 26.324
19 | F -6-17-13 | 998 | 4.824 | -19.922 | 26.346
19 | F -6-17-13 | 955 | 4.611 | -19.974 | 26.534
19 | F -6-17-13 | 913 | 4.41 | -19.839 | 26.291
19 | F -6-17-13 | 874 | 4.214 | -19.931 | 26.203
19 | F -6-17-13 | 837 | 4.025 | -19.925 | 26.352
19 | F -6-17-13 | 801 | 3.85 | -19.951 | 26.272
19 | F -6-17-13 | 767 | 3.68 | -19.981 | 26.344
20 | B -6-17-13 | 4146 | 58.763 | -4.546 | 19.723
20 | B -6-17-13 | 4142 | 59.593 | -4.57 | 19.67
20 | B -6-17-13 | 4143 | 59.588 | -4.557 | 19.693
20 | B -6-17-13 | 4141 | 59.588 | -4.582 | 19.697
20 | B -6-17-13 | 4141 | 59.606 | -4.572 | 19.67
20 | B -6-17-13 | 544 | 1.519 | -20.184 | 27.457
20 | B -6-17-13 | 1851 | 8.926 | -19.898 | 26.512
20 | B -6-17-13 | 1780 | 8.547 | -19.872 | 26.462
20 | B -6-17-13 | 1718 | 8.225 | -19.911 | 26.468
20 | B -6-17-13 | 1657 | 7.917 | -19.884 | 26.461
20 | B -6-17-13 | 1597 | 7.621 | -19.929 | 26.432
20 | B -6-17-13 | 1538 | 7.329 | -19.894 | 26.498
20 | B -6-17-13 | 1482 | 7.058 | -19.928 | 26.451
20 | B -6-17-13 | 1430 | 6.793 | -19.893 | 26.478
20 | B -6-17-13 | 1379 | 6.544 | -19.893 | 26.564
20 | B -6-17-13 | 1331 | 6.308 | -19.92 | 26.614
21 | C -6-17-13 | 4145 | 58.805 | -4.582 | 19.683
21 | C -6-17-13 | 4144 | 59.597 | -4.57 | 19.67
21 | C -6-17-13 | 4143 | 59.626 | -4.582 | 19.673
21 | C -6-17-13 | 4140 | 59.571 | -4.603 | 19.65
21 | C -6-17-13 | 4142 | 59.608 | -4.573 | 19.674
21 | C -6-17-13 | 835 | 2.349 | -20.416 | 27.218
21 | C -6-17-13 | 2858 | 13.893 | -19.876 | 26.521
21 | C -6-17-13 | 2751 | 13.311 | -19.878 | 26.429
21 | C -6-17-13 | 2654 | 12.847 | -19.89 | 26.462
21 | C -6-17-13 | 2561 | 12.414 | -19.888 | 26.393
21 | C -6-17-13 | 2472 | 11.999 | -19.861 | 26.441
21 | C -6-17-13 | 2389 | 11.589 | -19.906 | 26.47
21 | C -6-17-13 | 2312 | 11.206 | -19.841 | 26.493
21 | C -6-17-13 | 2238 | 10.842 | -19.855 | 26.495
21 | C -6-17-13 | 2164 | 10.475 | -19.873 | 26.391
21 | C -6-17-13 | 2098 | 10.142 | -19.86 | 26.446
22 | D -6-17-13 | 4149 | 58.777 | -4.535 | 19.727
22 | D -6-17-13 | 4144 | 59.616 | -4.57 | 19.67
22 | D -6-17-13 | 4144 | 59.624 | -4.561 | 19.687
22 | D -6-17-13 | 4147 | 59.604 | -4.566 | 19.693
22 | D -6-17-13 | 4143 | 59.594 | -4.548 | 19.644
22 | D -6-17-13 | 971 | 2.73 | -20.064 | 27.255
22 | D -6-17-13 | 3320 | 16.219 | -19.724 | 26.536
22 | D -6-17-13 | 3224 | 15.604 | -19.765 | 26.552
22 | D -6-17-13 | 3128 | 15.1 | -19.761 | 26.518
22 | D -6-17-13 | 3039 | 14.633 | -19.76 | 26.452
22 | D -6-17-13 | 2954 | 14.203 | -19.767 | 26.562
22 | D -6-17-13 | 2868 | 13.769 | -19.785 | 26.486
22 | D -6-17-13 | 2783 | 13.352 | -19.785 | 26.48
22 | D -6-17-13 | 2705 | 12.968 | -19.788 | 26.55
22 | D -6-17-13 | 2628 | 12.567 | -19.775 | 26.497
22 | D -6-17-13 | 2553 | 12.2 | -19.805 | 26.517
23 | E -6-17-13 | 4149 | 58.832 | -4.536 | 19.752
23 | E -6-17-13 | 4142 | 59.623 | -4.57 | 19.67
23 | E -6-17-13 | 4144 | 59.625 | -4.562 | 19.724
23 | E -6-17-13 | 4142 | 59.629 | -4.554 | 19.702
23 | E -6-17-13 | 4142 | 59.627 | -4.544 | 19.718
23 | E -6-17-13 | 2106 | 6.01 | -20.217 | 27.013
23 | E -6-17-13 | 7186 | 35.555 | -19.673 | 26.768
23 | E -6-17-13 | 6918 | 33.922 | -19.703 | 26.747
23 | E -6-17-13 | 6649 | 32.593 | -19.693 | 26.731
23 | E -6-17-13 | 6378 | 31.279 | -19.715 | 26.719
23 | E -6-17-13 | 6109 | 30.004 | -19.722 | 26.752
23 | E -6-17-13 | 5855 | 28.791 | -19.684 | 26.7
23 | E -6-17-13 | 5614 | 27.604 | -19.737 | 26.688
23 | E -6-17-13 | 5382 | 26.469 | -19.68 | 26.729
23 | E -6-17-13 | 5167 | 25.392 | -19.672 | 26.694
23 | E -6-17-13 | 4957 | 24.326 | -19.735 | 26.685
24 | WC Spring 2 91313 | 4148 | 58.794 | -4.571 | 19.73
24 | WC Spring 2 91313 | 4145 | 59.62 | -4.57 | 19.67
24 | WC Spring 2 91313 | 4145 | 59.623 | -4.586 | 19.705
24 | WC Spring 2 91313 | 4145 | 59.628 | -4.577 | 19.671
24 | WC Spring 2 91313 | 4145 | 59.638 | -4.569 | 19.695
24 | WC Spring 2 91313 | 1695 | 4.805 | -11.25 | 21.764
24 | WC Spring 2 91313 | 5755 | 28.309 | -10.96 | 21.421
24 | WC Spring 2 91313 | 5710 | 27.916 | -10.941 | 21.437
24 | WC Spring 2 91313 | 5508 | 26.897 | -10.927 | 21.377
24 | WC Spring 2 91313 | 5338 | 26.007 | -10.964 | 21.407
24 | WC Spring 2 91313 | 5173 | 25.146 | -10.965 | 21.377
24 | WC Spring 2 91313 | 5005 | 24.323 | -10.974 | 21.377
24 | WC Spring 2 91313 | 4843 | 23.515 | -10.969 | 21.392
24 | WC Spring 2 91313 | 4695 | 22.739 | -10.993 | 21.398
24 | WC Spring 2 91313 | 4547 | 21.98 | -10.976 | 21.38
24 | WC Spring 2 91313 | 4401 | 21.262 | -10.993 | 21.425
25 | WC6 2 91313 | 4147 | 58.787 | -4.574 | 19.75
25 | WC6 2 91313 | 4145 | 59.626 | -4.57 | 19.67
25 | WC6 2 91313 | 4142 | 59.604 | -4.588 | 19.685
25 | WC6 2 91313 | 4143 | 59.593 | -4.594 | 19.663
25 | WC6 2 91313 | 4145 | 59.615 | -4.56 | 19.64
25 | WC6 2 91313 | 1173 | 3.314 | -10.66 | 22.129
25 | WC6 2 91313 | 3987 | 19.397 | -10.309 | 21.61
25 | WC6 2 91313 | 3962 | 19.018 | -10.33 | 21.68
25 | WC6 2 91313 | 3892 | 18.649 | -10.314 | 21.66
25 | WC6 2 91313 | 3758 | 18.041 | -10.362 | 21.619
25 | WC6 2 91313 | 3637 | 17.497 | -10.356 | 21.603
25 | WC6 2 91313 | 3520 | 16.994 | -10.368 | 21.604
25 | WC6 2 91313 | 3409 | 16.474 | -10.309 | 21.554
25 | WC6 2 91313 | 3299 | 15.985 | -10.364 | 21.602
25 | WC6 2 91313 | 3191 | 15.48 | -10.338 | 21.667
25 | WC6 2 91313 | 3087 | 14.992 | -10.356 | 21.638
26 | WC3 2 91313 | 4146 | 58.754 | -4.557 | 19.718
26 | WC3 2 91313 | 4141 | 59.589 | -4.57 | 19.67
26 | WC3 2 91313 | 4145 | 59.596 | -4.552 | 19.673
26 | WC3 2 91313 | 4141 | 59.567 | -4.577 | 19.719
26 | WC3 2 91313 | 4140 | 59.612 | -4.572 | 19.644
26 | WC3 2 91313 | 1522 | 4.323 | -11.65 | 24.41
26 | WC3 2 91313 | 5198 | 25.71 | -11.06 | 21.595
26 | WC3 2 91313 | 5160 | 25.222 | -11.097 | 21.542
26 | WC3 2 91313 | 5122 | 24.915 | -11.053 | 21.632
26 | WC3 2 91313 | 3331 | 13.314 | -11.094 | 21.599
26 | WC3 2 91313 | 4566 | 20.709 | -11.024 | 21.797
26 | WC3 2 91313 | 4948 | 23.653 | -11.046 | 21.712
26 | WC3 2 91313 | 4947 | 24.022 | -11.103 | 21.587
26 | WC3 2 91313 | 4822 | 23.376 | -11.099 | 21.647
26 | WC3 2 91313 | 4709 | 22.823 | -11.09 | 21.587
26 | WC3 2 91313 | 4597 | 22.247 | -11.122 | 21.719
27 | WC1 1 91313 | 4143 | 58.799 | -4.528 | 19.733
27 | WC1 1 91313 | 4138 | 59.58 | -4.57 | 19.67
27 | WC1 1 91313 | 4143 | 59.62 | -4.568 | 19.732
27 | WC1 1 91313 | 4145 | 59.614 | -4.556 | 19.695
27 | WC1 1 91313 | 4144 | 59.632 | -4.564 | 19.699
27 | WC1 1 91313 | 1610 | 4.575 | -12.072 | 23.012
27 | WC1 1 91313 | 5482 | 26.484 | -11.746 | 21.779
27 | WC1 1 91313 | 5444 | 26.202 | -11.789 | 21.791
27 | WC1 1 91313 | 4642 | 20.412 | -11.741 | 21.91
27 | WC1 1 91313 | 1829 | 6.627 | -11.982 | 21.652
27 | WC1 1 91313 | 895 | 3.163 | -12.091 | 21.34
27 | WC1 1 91313 | 572 | 2.026 | -12.393 | 21.19
27 | WC1 1 91313 | 433 | 1.534 | -12.041 | 21.567
27 | WC1 1 91313 | 353 | 1.253 | -12.35 | 21.288
27 | WC1 1 91313 | 296 | 1.057 | -12.717 | 21.567
27 | WC1 1 91313 | 265 | 0.949 | -12.333 | 21.397
28 | WC6 1 91313 | 4145 | 58.737 | -4.536 | 19.761
28 | WC6 1 91313 | 4142 | 59.579 | -4.57 | 19.67
28 | WC6 1 91313 | 4141 | 59.599 | -4.565 | 19.709
28 | WC6 1 91313 | 4143 | 59.563 | -4.54 | 19.677
28 | WC6 1 91313 | 4144 | 59.616 | -4.559 | 19.689
28 | WC6 1 91313 | 1443 | 4.086 | -10.574 | 22.269
28 | WC6 1 91313 | 4976 | 24.528 | -10.15 | 21.651
28 | WC6 1 91313 | 4946 | 24.184 | -10.204 | 21.693
28 | WC6 1 91313 | 4870 | 23.592 | -10.162 | 21.789
28 | WC6 1 91313 | 4335 | 19.566 | -10.155 | 21.82
28 | WC6 1 91313 | 4364 | 19.825 | -10.14 | 21.821
28 | WC6 1 91313 | 4573 | 21.444 | -10.132 | 21.861
28 | WC6 1 91313 | 4479 | 20.777 | -10.191 | 21.888
28 | WC6 1 91313 | 4438 | 20.468 | -10.149 | 21.795
28 | WC6 1 91313 | 4485 | 20.848 | -10.121 | 21.844
28 | WC6 1 91313 | 4452 | 20.726 | -10.101 | 21.872
29 | WC DI 91313 | 4148 | 58.798 | -4.558 | 19.732
29 | WC DI 91313 | 4141 | 59.587 | -4.57 | 19.67
29 | WC DI 91313 | 4139 | 59.585 | -4.571 | 19.674
29 | WC DI 91313 | 4141 | 59.602 | -4.565 | 19.665
29 | WC DI 91313 | 4140 | 59.603 | -4.585 | 19.664
29 | WC DI 91313 | 55 | 0.261 | -13.88 | 25.353
29 | WC DI 91313 | 53 | 0.247 | -13.01 | 25.33
29 | WC DI 91313 | 52 | 0.231 | -13.725 | 25.939
30 | WC3 1 91313 | 4142 | 58.689 | -4.538 | 19.745
30 | WC3 1 91313 | 4141 | 59.553 | -4.57 | 19.67
30 | WC3 1 91313 | 4142 | 59.592 | -4.572 | 19.708
30 | WC3 1 91313 | 4139 | 59.567 | -4.579 | 19.674
30 | WC3 1 91313 | 4141 | 59.593 | -4.576 | 19.693
30 | WC3 1 91313 | 1705 | 4.875 | -12.98 | 26.224
30 | WC3 1 91313 | 5893 | 29.286 | -12.451 | 21.841
30 | WC3 1 91313 | 5852 | 28.838 | -12.501 | 21.828
30 | WC3 1 91313 | 5740 | 27.996 | -12.486 | 21.95
30 | WC3 1 91313 | 3044 | 11.729 | -12.542 | 21.976
30 | WC3 1 91313 | 1251 | 4.489 | -12.745 | 21.777
30 | WC3 1 91313 | 707 | 2.515 | -13.042 | 21.519
30 | WC3 1 91313 | 488 | 1.739 | -13.21 | 21.322
30 | WC3 1 91313 | 322 | 1.153 | -13.038 | 21.309
30 | WC3 1 91313 | 313 | 1.12 | -12.961 | 21.869
30 | WC3 1 91313 | 259 | 0.926 | -12.902 | 21.627
31 | WC1 1 91313 | 4147 | 58.834 | -4.556 | 19.744
31 | WC1 1 91313 | 4141 | 59.582 | -4.57 | 19.67
31 | WC1 1 91313 | 4143 | 59.592 | -4.555 | 19.723
31 | WC1 1 91313 | 4140 | 59.599 | -4.554 | 19.679
31 | WC1 1 91313 | 4144 | 59.646 | -4.563 | 19.673
31 | WC1 1 91313 | 1071 | 3.016 | -12.539 | 23.605
31 | WC1 1 91313 | 3616 | 17.674 | -12.08 | 22.234
31 | WC1 1 91313 | 3593 | 17.317 | -12.03 | 22.227
31 | WC1 1 91313 | 3578 | 17.152 | -12.006 | 22.233
31 | WC1 1 91313 | 2579 | 10.542 | -12.057 | 22.417
31 | WC1 1 91313 | 1019 | 3.656 | -12.422 | 22.042
31 | WC1 1 91313 | 525 | 1.85 | -12.423 | 21.703
31 | WC1 1 91313 | 345 | 1.219 | -12.478 | 21.799
31 | WC1 1 91313 | 282 | 0.993 | -12.312 | 21.886
31 | WC1 1 91313 | 1226 | 4.529 | -11.901 | 22.79
31 | WC1 1 91313 | 2487 | 10.144 | -11.921 | 22.527
32 | B | 4145 | 58.728 | -4.56 | 19.698
32 | B | 4141 | 59.553 | -4.57 | 19.67
32 | B | 4143 | 59.595 | -4.573 | 19.686
32 | B | 4141 | 59.554 | -4.562 | 19.646
32 | B | 4138 | 59.549 | -4.55 | 19.64
32 | B | 517 | 1.455 | -19.458 | 27.76
32 | B | 1806 | 8.819 | -18.943 | 26.811
32 | B | 1786 | 8.644 | -18.925 | 26.769
32 | B | 1759 | 8.453 | -18.938 | 26.88
32 | B | 966 | 3.702 | -19.156 | 26.73
32 | B | 413 | 1.478 | -19.013 | 26.383
32 | B | 240 | 0.854 | -19.305 | 26.21
32 | B | 168 | 0.597 | -18.982 | 26.104
32 | B | 133 | 0.472 | -19.42 | 26.566
32 | B | 112 | 0.397 | -19.434 | 26.16
32 | B | 97 | 0.342 | -19.689 | 26.464
33 | WC Spring 1 91313 | 4144 | 58.77 | -4.564 | 19.736
33 | WC Spring 1 91313 | 4141 | 59.55 | -4.57 | 19.67
33 | WC Spring 1 91313 | 4137 | 59.554 | -4.569 | 19.691
33 | WC Spring 1 91313 | 4137 | 59.545 | -4.57 | 19.706
33 | WC Spring 1 91313 | 4140 | 59.562 | -4.546 | 19.691
33 | WC Spring 1 91313 | 1844 | 5.252 | -12.377 | 22.221
33 | WC Spring 1 91313 | 6449 | 31.526 | -11.801 | 21.335
33 | WC Spring 1 91313 | 6319 | 30.636 | -11.826 | 21.375
33 | WC Spring 1 91313 | 5771 | 26.485 | -11.783 | 21.492
33 | WC Spring 1 91313 | 5665 | 25.873 | -11.795 | 21.472
33 | WC Spring 1 91313 | 5727 | 26.449 | -11.775 | 21.472
33 | WC Spring 1 91313 | 5755 | 26.776 | -11.813 | 21.472
33 | WC Spring 1 91313 | 5752 | 26.791 | -11.811 | 21.422
33 | WC Spring 1 91313 | 5741 | 26.815 | -11.832 | 21.468
33 | WC Spring 1 91313 | 5716 | 26.703 | -11.831 | 21.467
33 | WC Spring 1 91313 | 5699 | 26.646 | -11.828 | 21.462
34 | NBBC 1 91513 | 4147 | 58.747 | -4.559 | 19.731
34 | NBBC 1 91513 | 4143 | 59.585 | -4.57 | 19.67
34 | NBBC 1 91513 | 4145 | 59.594 | -4.592 | 19.643
34 | NBBC 1 91513 | 4140 | 59.573 | -4.583 | 19.674
34 | NBBC 1 91513 | 4140 | 59.606 | -4.57 | 19.62
34 | NBBC 1 91513 | 1535 | 4.361 | -11.516 | 22.393
34 | NBBC 1 91513 | 5249 | 25.674 | -11.108 | 21.766
34 | NBBC 1 91513 | 5212 | 25.462 | -11.086 | 21.805
34 | NBBC 1 91513 | 4886 | 23.026 | -11.06 | 21.904
34 | NBBC 1 91513 | 2280 | 8.561 | -11.171 | 21.811
34 | NBBC 1 91513 | 973 | 3.488 | -11.412 | 21.265
34 | NBBC 1 91513 | 560 | 1.996 | -11.595 | 21.425
34 | NBBC 1 91513 | 360 | 1.286 | -11.563 | 21.191
34 | NBBC 1 91513 | 289 | 1.036 | -11.947 | 20.794
34 | NBBC 1 91513 | 256 | 0.916 | -11.737 | 20.908
34 | NBBC 1 91513 | 233 | 0.835 | -11.87 | 21.667
35 | NBWS 2 91513 | 4143 | 58.791 | -4.55 | 19.741
35 | NBWS 2 91513 | 4143 | 59.565 | -4.57 | 19.67
35 | NBWS 2 91513 | 4140 | 59.591 | -4.555 | 19.701
35 | NBWS 2 91513 | 4144 | 59.604 | -4.549 | 19.629
35 | NBWS 2 91513 | 4146 | 59.619 | -4.562 | 19.664
35 | NBWS 2 91513 | 1411 | 3.987 | -13.677 | 22.332
35 | NBWS 2 91513 | 4778 | 23.355 | -13.368 | 21.784
35 | NBWS 2 91513 | 4748 | 23.024 | -13.368 | 21.82
35 | NBWS 2 91513 | 4458 | 20.814 | -13.28 | 21.946
35 | NBWS 2 91513 | 2011 | 7.469 | -13.425 | 21.904
35 | NBWS 2 91513 | 854 | 3.031 | -13.819 | 21.548
35 | NBWS 2 91513 | 474 | 1.676 | -13.654 | 21.321
35 | NBWS 2 91513 | 334 | 1.184 | -13.864 | 20.899
35 | NBWS 2 91513 | 269 | 0.954 | -13.873 | 21.31
35 | NBWS 2 91513 | 229 | 0.814 | -14.122 | 21.203
35 | NBWS 2 91513 | 212 | 0.751 | -13.767 | 20.956
36 | NBWS 1 91513 | 4144 | 58.709 | -4.544 | 19.724
36 | NBWS 1 91513 | 4139 | 59.535 | -4.57 | 19.67
36 | NBWS 1 91513 | 4141 | 59.562 | -4.54 | 19.691
36 | NBWS 1 91513 | 4142 | 59.567 | -4.56 | 19.668
36 | NBWS 1 91513 | 4141 | 59.575 | -4.549 | 19.678
36 | NBWS 1 91513 | 1339 | 3.79 | -13.443 | 22.486
36 | NBWS 1 91513 | 4556 | 22.154 | -13.056 | 21.407
36 | NBWS 1 91513 | 4521 | 21.862 | -13.024 | 21.497
36 | NBWS 1 91513 | 4398 | 21.048 | -12.98 | 21.537
36 | NBWS 1 91513 | 2214 | 8.427 | -13.084 | 21.488
36 | NBWS 1 91513 | 903 | 3.238 | -13.188 | 21.208
36 | NBWS 1 91513 | 518 | 1.848 | -13.509 | 21.08
36 | NBWS 1 91513 | 375 | 1.341 | -13.464 | 21.357
36 | NBWS 1 91513 | 295 | 1.061 | -13.749 | 20.996
36 | NBWS 1 91513 | 252 | 0.901 | -13.361 | 20.93
36 | NBWS 1 91513 | 218 | 0.783 | -13.363 | 21.546
37 | NB Blank 91513 | 4143 | 58.712 | -4.584 | 19.771
37 | NB Blank 91513 | 4142 | 59.562 | -4.57 | 19.67
37 | NB Blank 91513 | 4139 | 59.564 | -4.559 | 19.693
37 | NB Blank 91513 | 4143 | 59.565 | -4.574 | 19.704
37 | NB Blank 91513 | 4150 | 59.645 | -4.566 | 19.718
37 | NB Blank 91513 | 97 | 0.467 | -16.716 | 25.975
37 | NB Blank 91513 | 96 | 0.454 | -16.976 | 26.66
37 | NB Blank 91513 | 96 | 0.45 | -16.679 | 26.308
37 | NB Blank 91513 | 57 | 0.221 | -16.516 | 26.49
38 | NBBC 2 91513 | 4132 | 58.562 | -4.554 | 19.737
38 | NBBC 2 91513 | 4130 | 59.371 | -4.57 | 19.67
38 | NBBC 2 91513 | 4131 | 59.406 | -4.566 | 19.72
38 | NBBC 2 91513 | 4132 | 59.422 | -4.577 | 19.721
38 | NBBC 2 91513 | 4129 | 59.411 | -4.554 | 19.714
38 | NBBC 2 91513 | 1364 | 3.853 | -11.31 | 22.259
38 | NBBC 2 91513 | 4640 | 22.565 | -10.889 | 21.906
38 | NBBC 2 91513 | 4596 | 22.134 | -10.926 | 21.825
38 | NBBC 2 91513 | 4538 | 21.816 | -10.904 | 21.934
38 | NBBC 2 91513 | 2895 | 11.508 | -10.998 | 21.945
38 | NBBC 2 91513 | 1204 | 4.333 | -11.171 | 21.851
38 | NBBC 2 91513 | 618 | 2.2 | -11.627 | 21.553
38 | NBBC 2 91513 | 416 | 1.484 | -11.293 | 21.63
38 | NBBC 2 91513 | 327 | 1.17 | -11.577 | 21.113
38 | NBBC 2 91513 | 3404 | 15.023 | -10.724 | 22.236
38 | NBBC 2 91513 | 4373 | 21.256 | -10.887 | 21.953
39 | NBCT 2 91313 | 4142 | 58.713 | -4.551 | 19.701
39 | NBCT 2 91313 | 4139 | 59.504 | -4.57 | 19.67
39 | NBCT 2 91313 | 4133 | 59.502 | -4.578 | 19.705
39 | NBCT 2 91313 | 4136 | 59.488 | -4.558 | 19.672
39 | NBCT 2 91313 | 4134 | 59.513 | -4.575 | 19.67
39 | NBCT 2 91313 | 1050 | 2.962 | -12.614 | 23.048
39 | NBCT 2 91313 | 3625 | 17.63 | -12.057 | 21.572
39 | NBCT 2 91313 | 3591 | 17.365 | -12.053 | 21.663
39 | NBCT 2 91313 | 3004 | 13.115 | -12.056 | 21.785
39 | NBCT 2 91313 | 1239 | 4.505 | -12.213 | 21.662
39 | NBCT 2 91313 | 567 | 2.006 | -12.583 | 21.152
39 | NBCT 2 91313 | 352 | 1.245 | -12.38 | 20.896
39 | NBCT 2 91313 | 262 | 0.931 | -12.589 | 20.934
39 | NBCT 2 91313 | 215 | 0.765 | -12.565 | 21.055
39 | NBCT 2 91313 | 183 | 0.652 | -12.524 | 20.843
39 | NBCT 2 91313 | 169 | 0.6 | -12.714 | 21.448
40 | NBCT 1 91313 | 4143 | 58.683 | -4.572 | 19.742
40 | NBCT 1 91313 | 4140 | 59.516 | -4.57 | 19.67
40 | NBCT 1 91313 | 4137 | 59.518 | -4.575 | 19.643
40 | NBCT 1 91313 | 4139 | 59.524 | -4.586 | 19.674
40 | NBCT 1 91313 | 4140 | 59.562 | -4.592 | 19.674
40 | NBCT 1 91313 | 1106 | 3.11 | -12.369 | 22.327
40 | NBCT 1 91313 | 3743 | 17.959 | -11.961 | 21.671
40 | NBCT 1 91313 | 3708 | 17.695 | -11.913 | 21.612
40 | NBCT 1 91313 | 3430 | 15.669 | -11.908 | 21.74
40 | NBCT 1 91313 | 3127 | 13.62 | -11.896 | 21.671
40 | NBCT 1 91313 | 3623 | 17.272 | -11.977 | 21.767
40 | NBCT 1 91313 | 3514 | 16.892 | -11.965 | 21.646
40 | NBCT 1 91313 | 3419 | 16.476 | -11.974 | 21.595
40 | NBCT 1 91313 | 3323 | 16.051 | -11.982 | 21.579
40 | NBCT 1 91313 | 3227 | 15.636 | -11.98 | 21.592
40 | NBCT 1 91313 | 3137 | 15.215 | -11.936 | 21.678
41 | B | 4143 | 58.704 | -4.566 | 19.775
41 | B | 4138 | 59.53 | -4.57 | 19.67
41 | B | 4140 | 59.539 | -4.571 | 19.731
41 | B | 4140 | 59.539 | -4.564 | 19.74
41 | B | 4140 | 59.567 | -4.574 | 19.726
41 | B | 479 | 1.341 | -19.329 | 28.103
41 | B | 1659 | 8.12 | -19.074 | 26.973
41 | B | 1648 | 7.946 | -18.996 | 26.975
41 | B | 1637 | 7.85 | -19.045 | 26.955
41 | B | 1231 | 5.11 | -18.989 | 26.919
41 | B | 872 | 3.309 | -19.203 | 26.844
41 | B | 1588 | 7.511 | -18.935 | 26.98
41 | B | 1574 | 7.533 | -19.061 | 26.898
41 | B | 1536 | 7.348 | -18.977 | 26.85
41 | B | 1501 | 7.174 | -19.031 | 26.93
41 | B | 1467 | 7.004 | -19.08 | 26.859
42 | B | 4143 | 58.697 | -4.576 | 19.725
42 | B | 4140 | 59.531 | -4.57 | 19.67
42 | B | 4140 | 59.539 | -4.544 | 19.677
42 | B | 4140 | 59.527 | -4.566 | 19.672
42 | B | 4138 | 59.548 | -4.568 | 19.673
42 | B | 506 | 1.414 | -19.646 | 28.294
42 | B | 1738 | 8.363 | -19.087 | 26.997
42 | B | 1719 | 8.174 | -19.036 | 26.931
42 | B | 1683 | 7.975 | -19.038 | 26.923
42 | B | 1653 | 7.821 | -19.052 | 26.837
42 | B | 1624 | 7.689 | -19.078 | 26.956
42 | B | 1594 | 7.55 | -19.062 | 26.955
42 | B | 1566 | 7.426 | -19.077 | 26.87
42 | B | 1536 | 7.295 | -19.096 | 26.877
42 | B | 1505 | 7.166 | -19.063 | 26.886
42 | B | 1473 | 7.035 | -19.038 | 26.887
43 | C | 4141 | 58.764 | -4.543 | 19.737
43 | C | 4137 | 59.535 | -4.57 | 19.67
43 | C | 4140 | 59.554 | -4.553 | 19.7
43 | C | 4140 | 59.548 | -4.555 | 19.664
43 | C | 4138 | 59.548 | -4.569 | 19.669
43 | C | 673 | 1.895 | -19.881 | 27.725
43 | C | 2332 | 11.499 | -19.373 | 27.036
43 | C | 2312 | 11.228 | -19.441 | 26.982
43 | C | 2300 | 11.099 | -19.414 | 27.021
43 | C | 1757 | 7.358 | -19.382 | 27.012
43 | C | 733 | 2.654 | -19.494 | 26.73
43 | C | 363 | 1.288 | -19.956 | 26.763
43 | C | 240 | 0.848 | -19.704 | 26.799
43 | C | 180 | 0.637 | -19.86 | 25.99
43 | C | 147 | 0.52 | -19.79 | 26.086
43 | C | 126 | 0.448 | -20.277 | 26.099
44 | C | 4141 | 58.675 | -4.562 | 19.73
44 | C | 4137 | 59.475 | -4.57 | 19.67
44 | C | 4136 | 59.541 | -4.561 | 19.669
44 | C | 4138 | 59.531 | -4.574 | 19.669
44 | C | 4139 | 59.54 | -4.592 | 19.68
44 | C | 749 | 2.102 | -20.168 | 28.268
44 | C | 2551 | 12.354 | -19.545 | 27.135
44 | C | 2529 | 12.105 | -19.546 | 27.148
44 | C | 2507 | 11.932 | -19.564 | 27.166
44 | C | 1486 | 5.73 | -19.619 | 27.054
44 | C | 598 | 2.117 | -19.85 | 26.716
44 | C | 316 | 1.112 | -20.203 | 26.172
44 | C | 214 | 0.754 | -20.046 | 26.441
44 | C | 171 | 0.601 | -20.381 | 26.242
44 | C | 144 | 0.508 | -19.766 | 26.995
44 | C | 122 | 0.43 | -20.251 | 25.438
45 | D | 4143 | 58.753 | -4.573 | 19.753
45 | D | 4139 | 59.534 | -4.57 | 19.67
45 | D | 4137 | 59.537 | -4.554 | 19.68
45 | D | 4137 | 59.52 | -4.582 | 19.687
45 | D | 4136 | 59.533 | -4.581 | 19.684
45 | D | 977 | 2.762 | -19.986 | 27.549
45 | D | 3371 | 16.649 | -19.513 | 26.979
45 | D | 3338 | 16.3 | -19.498 | 26.953
45 | D | 3323 | 16.13 | -19.559 | 27.031
45 | D | 2429 | 10.078 | -19.583 | 27.09
45 | D | 1027 | 3.729 | -19.705 | 26.859
45 | D | 533 | 1.896 | -20.119 | 26.443
45 | D | 346 | 1.229 | -19.93 | 26.568
45 | D | 260 | 0.925 | -20.123 | 26.191
45 | D | 213 | 0.757 | -20.203 | 26.11
45 | D | 183 | 0.65 | -20.248 | 25.924
46 | D | 4142 | 58.676 | -4.536 | 19.7
46 | D | 4139 | 59.556 | -4.57 | 19.67
46 | D | 4141 | 59.557 | -4.547 | 19.691
46 | D | 4140 | 59.558 | -4.562 | 19.705
46 | D | 4140 | 59.583 | -4.583 | 19.71
46 | D | 1091 | 3.08 | -20.042 | 27.679
46 | D | 3628 | 17.669 | -19.545 | 27.043
46 | D | 3597 | 17.328 | -19.508 | 27.095
46 | D | 3566 | 17.091 | -19.513 | 27.045
46 | D | 2268 | 8.928 | -19.579 | 26.994
46 | D | 983 | 3.516 | -19.767 | 26.857
46 | D | 546 | 1.925 | -19.934 | 26.785
46 | D | 377 | 1.327 | -20.037 | 26.394
46 | D | 287 | 1.01 | -20.058 | 26.114
46 | D | 671 | 2.376 | -19.736 | 27.09
46 | D | 1007 | 3.614 | -19.538 | 27.338
47 | E | 4146 | 58.801 | -4.571 | 19.704
47 | E | 4143 | 59.546 | -4.57 | 19.67
47 | E | 4140 | 59.545 | -4.572 | 19.699
47 | E | 4141 | 59.563 | -4.579 | 19.672
47 | E | 4140 | 59.555 | -4.577 | 19.683
47 | E | 1829 | 5.223 | -20 | 27.412
47 | E | 6287 | 31.352 | -19.676 | 26.997
47 | E | 6215 | 30.629 | -19.63 | 27.025
47 | E | 6161 | 30.275 | -19.63 | 27.043
47 | E | 4701 | 20.077 | -19.642 | 27.112
47 | E | 2015 | 7.401 | -19.791 | 27.035
47 | E | 1050 | 3.76 | -20.007 | 26.552
47 | E | 670 | 2.387 | -20.195 | 26.515
47 | E | 1083 | 3.877 | -19.765 | 27.093
47 | E | 5980 | 29.144 | -19.621 | 27.114
47 | E | 5924 | 29.051 | -19.664 | 27.068
48 | E | 4146 | 58.742 | -4.573 | 19.71
48 | E | 4142 | 59.566 | -4.57 | 19.67
48 | E | 4139 | 59.558 | -4.597 | 19.707
48 | E | 4140 | 59.562 | -4.575 | 19.668
48 | E | 4140 | 59.557 | -4.588 | 19.665
48 | E | 2443 | 7.037 | -19.862 | 27.541
48 | E | 8410 | 41.612 | -19.613 | 27.061
48 | E | 8299 | 40.818 | -19.607 | 27.126
48 | E | 4945 | 19.589 | -19.661 | 27.064
48 | E | 2146 | 7.738 | -19.854 | 26.884
48 | E | 1201 | 4.26 | -20.015 | 26.704
48 | E | 819 | 2.894 | -20.242 | 26.61
48 | E | 638 | 2.259 | -19.982 | 26.66
48 | E | 533 | 1.886 | -20.094 | 26.215
48 | E | 433 | 1.533 | -20.56 | 26.258
48 | E | 372 | 1.32 | -20.243 | 26.59