## Data Export
ID | Date Analyzed | Run # | Sample ID | Volume | Type | peak area | δ13C (PDB) | δ13C error (1σ) | Analyst | Researcher | Reaction Temperature (°C) | Reaction Time (hours) | Notes | Notes II
ISSR 6 1 12.16.13 | 2013-12-18 | 15 | ISSR 6 1 12.16.13 | 0.4 |  | 41.695 | -10.7926 | 0.097367 | Peter Carlson |  | 40 | 8
ISLM 2 12.16.13 | 2013-12-18 | 16 | ISLM 2 12.16.13 | 0.4 |  | 46.481 | -12.5899 | 0.097367 | Peter Carlson |  | 40 | 8
ISSR 7 1 12.16.13 | 2013-12-18 | 17 | ISSR 7 1 12.16.13 | 0.4 |  | 37.372 | -10.771 | 0.097367 | Peter Carlson |  | 40 | 8
ISST Dir 1 12.16.13 | 2013-12-18 | 18 | ISST Dir 1 12.16.13 | 0.4 |  | 42.141 | -9.9514 | 0.097367 | Peter Carlson |  | 40 | 8
ISSR 3 1 12.16.13 | 2013-12-18 | 19 | ISSR 3 1 12.16.13 | 0.4 |  | 40.553 | -10.485 | 0.097367 | Peter Carlson |  | 40 | 8
ISCD Ind 2 12.16.13 | 2013-12-18 | 20 | ISCD Ind 2 12.16.13 | 0.4 |  | 28.783 | -10.678 | 0.097367 | Peter Carlson |  | 40 | 8
ISSR 9 12.16.13 | 2013-12-18 | 22 | ISSR 9 12.16.13 | 0.4 |  | 38.932 | -10.0875 | 0.097367 | Peter Carlson |  | 40 | 8
ISSR 3 2 12.16.13 | 2013-12-18 | 23 | ISSR 3 2 12.16.13 | 0.4 |  | 38.28 | -10.5845 | 0.097367 | Peter Carlson |  | 40 | 8
ISSR 4 1 12.16.13 | 2013-12-18 | 24 | ISSR 4 1 12.16.13 | 0.4 |  | 43.684 | -10.388 | 0.097367 | Peter Carlson |  | 40 | 8
ISCD Dir 1 12.16.13 | 2013-12-18 | 25 | ISCD Dir 1 12.16.13 | 0.4 |  | 28.213 | -10.7558 | 0.097367 | Peter Carlson |  | 40 | 8
ISSR 6 2 12.16.13 | 2013-12-18 | 26 | ISSR 6 2 12.16.13 | 0.4 |  | 34.921 | -10.9433 | 0.097367 | Peter Carlson |  | 40 | 8
ISSR 8 1 12.16.13 | 2013-12-18 | 27 | ISSR 8 1 12.16.13 | 0.4 |  | 49.216 | -10.0209 | 0.097367 | Peter Carlson |  | 40 | 8
ISLM 1 12.16.13 | 2013-12-18 | 29 | ISLM 1 12.16.13 | 0.4 |  | 46.122 | -12.3805 | 0.097367 | Peter Carlson |  | 40 | 8
ISCD Dir 2 12.16.13 | 2013-12-18 | 30 | ISCD Dir 2 12.16.13 | 0.4 |  | 28.64 | -11.0808 | 0.097367 | Peter Carlson |  | 40 | 8
ISSR 8 2 12.16.13 | 2013-12-18 | 31 | ISSR 8 2 12.16.13 | 0.4 |  | 48.719 | -9.5934 | 0.097367 | Peter Carlson |  | 40 | 8
ISSR 7 2 12.16.13 | 2013-12-18 | 32 | ISSR 7 2 12.16.13 | 0.4 |  | 38.831 | -10.6757 | 0.097367 | Peter Carlson |  | 40 | 8
ISCD Ind 1 12.16.13 | 2013-12-18 | 33 | ISCD Ind 1 12.16.13 | 0.4 |  | 26.738 | -10.6004 | 0.097367 | Peter Carlson |  | 40 | 8
ISST Ind 2 12.16.13 | 2013-12-18 | 34 | ISST Ind 2 12.16.13 | 0.4 |  | 37.049 | -7.3863 | 0.097367 | Peter Carlson |  | 40 | 8
ISST Dir 2 12.16.13 | 2013-12-18 | 36 | ISST Dir 2 12.16.13 | 0.4 |  | 44.365 | -9.4396 | 0.097367 | Peter Carlson |  | 40 | 8
ISSR 4 2 12.16.13 | 2013-12-18 | 37 | ISSR 4 2 12.16.13 | 0.4 |  | 42.476 | -10.567 | 0.097367 | Peter Carlson |  | 40 | 8
ISST Ind 1 12.16.13 | 2013-12-18 | 38 | ISST Ind 1 12.16.13 | 0.4 |  | 31.6 | -6.022 | 0.097367 | Peter Carlson |  | 40 | 8
NBBC 1 12.17.13 | 2013-12-18 | 39 | NBBC 1 12.17.13 | 0.4 |  | 53.205 | -7.5731 | 0.097367 | Peter Carlson |  | 40 | 8
NBWS 1 12.17.13 | 2013-12-18 | 40 | NBWS 1 12.17.13 | 0.4 |  | 48.562 | -12.6326 | 0.097367 | Peter Carlson |  | 40 | 8
NBBC 2 12.17.13 | 2013-12-18 | 41 | NBBC 2 12.17.13 | 0.4 |  | 48.08 | -8.2613 | 0.097367 | Peter Carlson |  | 40 | 8
NBCT 1 12.17.13 | 2013-12-18 | 43 | NBCT 1 12.17.13 | 0.4 |  | 30.546 | -5.8658 | 0.097367 | Peter Carlson |  | 40 | 8
NBWS 2 12.17.13 | 2013-12-18 | 44 | NBWS 2 12.17.13 | 0.4 |  | 62.895 | -12.9119 | 0.097367 | Peter Carlson |  | 40 | 8
NB DI 12.17.13 | 2013-12-18 | 45 | NB DI 12.17.13 | 0.4 |  | 4.334 | -5.2517 | 0.097367 | Peter Carlson |  | 40 | 8
NBCT 2 12.17.13 | 2013-12-18 | 46 | NBCT 2 12.17.13 | 0.4 |  | 30.363 | -5.818 | 0.097367 | Peter Carlson |  | 40 | 8
WC Spring 2 bad vol 12.18.13 | 2013-12-18 | 47 | WC Spring 2 bad vol 12.18.13 | 0.4 |  | 85.261 | -12.4331 | 0.097367 | Peter Carlson |  | 40 | 8
WC6 2 12.18.13 | 2013-12-18 | 48 | WC6 2 12.18.13 | 0.4 |  | 79.893 | -10.4672 | 0.097367 | Peter Carlson |  | 40 | 8
WC1 12.18.13 | 2013-12-18 | 50 | WC1 12.18.13 | 0.4 |  | 89.999 | -11.1752 | 0.097367 | Peter Carlson |  | 40 | 8
WC 6 1 12.18.13 | 2013-12-18 | 51 | WC 6 1 12.18.13 | 0.4 |  | 73.075 | -10.6098 | 0.097367 | Peter Carlson |  | 40 | 8
WC3 2 12.18.13 | 2013-12-18 | 52 | WC3 2 12.18.13 | 0.4 |  | 84.093 | -10.7377 | 0.097367 | Peter Carlson |  | 40 | 8
WC DI 12.18.13 | 2013-12-18 | 53 | WC DI 12.18.13 | 0.4 |  | 2.51 | -9.4486 | 0.097367 | Peter Carlson |  | 40 | 8
WC Spring 1 12.18.13 | 2013-12-18 | 54 | WC Spring 1 12.18.13 | 0.4 |  | 96.871 | -12.3977 | 0.097367 | Peter Carlson |  | 40 | 8
WC3 1 12.18.13 | 2013-12-18 | 55 | WC3 1 12.18.13 | 0.4 |  | 78.304 | -11.1609 | 0.097367 | Peter Carlson |  | 40 | 8

## Calibration
Gas Bench DIC Calibration
|  |  | Date: | 2013-12-18
|  |  | Operator: | Peter Carlson
Calibration Notes
|  |  | d13C max stdev: | 0.2
|  |  | Peaks used: | Last Two
|  |  | Blank Correction: | No (No Peaks)
|  |  | Linearity Correction: | Yes (Auto)
|  |  | Drift Correction: | Yes (Auto)
Standard
|  |  | Name | mg NaHCO3 | mL H2O | mmol/L NaHCO3 | mg/L C | mg/L HCO3 | µg C | Area 44 | δ13C
|  |  | A | 38.864 | 500 | 0.92526 | 11.113 | 56.4565 | 11.113 | 22.5447 | -19.0458
|  |  | B | 50.684 | 250 | 2.4133 | 28.9858 | 147.254 | 28.9858 | 54.4094 | -19.1171
|  |  | C | 80.3 | 250 | 3.8235 | 45.923 | 233.2983 | 45.923 | 92.3687 | -19.0854
|  |  | D | 103.116 | 250 | 4.9099 | 58.9713 | 299.5864 | 58.9713 | 120.0107 | -19.0015
|  |  | E | 201.186 | 250 | 9.5795 | 115.0568 | 584.5126 | #DIV/0!
|  |  | F | 29.056 | 250 | 1.3835 | 16.6169 | 84.4174 | 16.6169 | 32.548 | -18.9239
|  |  | Calibration | slope | intercept |  | linearity | drift | standard
|  |  | carbon | #DIV/0! | #DIV/0! |  | -0.0022412 | 9.8016e-05 | -0.38465
ALL | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | STD-Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
1 | Blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
2 | Blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
3 | A | 1 | 5111 | 23.149 | -19.0885 | 23.8195 | 0.0049497 | 0.091217 | 23.149 | -19.0885 |  | -19.0366 | -19.0368 | -19.4215 | #DIV/0! | #DIV/0!
4 | A | 1 | 4983 | 22.006 | -19.0735 | 23.9265 | 0.062933 | 0.095459 | 22.006 | -19.0735 |  | -19.0242 | -19.0245 | -19.4091 | #DIV/0! | #DIV/0!
5 | F | 1 | 7243 | 32.794 | -18.9375 | 23.974 | 0.15203 | 0.26446 | 32.794 | -18.9375 |  | -18.864 | -18.8644 | -19.249 | #DIV/0! | #DIV/0!
6 | F | 1 | 7399 | 32.67 | -19.1315 | 23.877 | 0.010607 | 0.059397 | 32.67 | -19.1315 |  | -19.0583 | -19.0588 | -19.4434 | #DIV/0! | #DIV/0!
7 | B | 1 | 13199 | 59.697 | -19.2685 | 23.73 | 0.0077782 | 0.073539 | 59.697 | -19.2685 |  | -19.1347 | -19.1353 | -19.5199 | #DIV/0! | #DIV/0!
8 | B | 1 | 13028 | 57.475 | -19.2755 | 23.7475 | 0.026163 | 0.030406 | 57.475 | -19.2755 |  | -19.1467 | -19.1474 | -19.532 | #DIV/0! | #DIV/0!
9 | C | 1 | 20854 | 94.071 | -19.281 | 23.5525 | 0.021213 | 0.11809 | 94.071 | -19.281 |  | -19.0702 | -19.071 | -19.4556 | #DIV/0! | #DIV/0!
10 | C | 1 | 20800 | 91.609 | -19.324 | 23.6125 | 0.056569 | 0.10536 | 91.609 | -19.324 |  | -19.1187 | -19.1196 | -19.5042 | #DIV/0! | #DIV/0!
11 | D | 1 | 27169 | 122.519 | -19.184 | 23.0335 | 0.11314 | 0.1591 | 122.519 | -19.184 |  | -18.9094 | -18.9104 | -19.295 | #DIV/0! | #DIV/0!
12 | D | 1 | 27497 | 122.677 | -19.257 | 22.5105 | 0.02687 | 0.507 | 122.677 | -19.257 |  | -18.9821 | -18.9831 | -19.3678 | #DIV/0! | #DIV/0!
13 | E | 1 | 49881 | 240.167 | -85.752 | -124.6355 | 10.9927 | 14.1301 | 240.167 | -85.752 |  | -85.2137 | -85.2149 | -85.5996 | #DIV/0! | #DIV/0!
14 | E | 1 | 49882 | 235.098 | -85.866 | -123.33 | 9.5587 | 12.1283 | 235.098 | -85.866 |  | -85.3391 | -85.3404 | -85.725 | #DIV/0! | #DIV/0!
15 | ISSR 6 1 12.16.13 | 0.4 | 9259 | 41.695 | -10.5 | 20.774 | 0.050912 | 0.13011 | 41.695 | -10.5 |  | -10.4066 | -10.4079 | -10.7926 | #DIV/0! | #DIV/0!
16 | ISLM 2 12.16.13 | 0.4 | 10563 | 46.481 | -12.308 | 20.4705 | 0.0070711 | 0.028991 | 46.481 | -12.308 |  | -12.2038 | -12.2053 | -12.5899 | #DIV/0! | #DIV/0!
17 | ISSR 7 1 12.16.13 | 0.4 | 8316 | 37.372 | -10.4685 | 21.0225 | 0.010607 | 0.078489 | 37.372 | -10.4685 |  | -10.3847 | -10.3863 | -10.771 | #DIV/0! | #DIV/0!
18 | ISST Dir 1 12.16.13 | 0.4 | 9552 | 42.141 | -9.6595 | 20.565 | 0.010607 | 0.029698 | 42.141 | -9.6595 |  | -9.5651 | -9.5667 | -9.9514 | #DIV/0! | #DIV/0!
19 | ISSR 3 1 12.16.13 | 0.4 | 9039 | 40.553 | -10.1895 | 20.34 | 0.00070711 | 0.062225 | 40.553 | -10.1895 |  | -10.0986 | -10.1004 | -10.485 | #DIV/0! | #DIV/0!
20 | ISCD Ind 2 12.16.13 | 0.4 | 6509 | 28.783 | -10.356 | 20.7285 | 0.0070711 | 0.016263 | 28.783 | -10.356 |  | -10.2915 | -10.2934 | -10.678 | #DIV/0! | #DIV/0!
21 | B | 1 | 12771 | 57.221 | -19.273 | 23.046 | 0.0042426 | 0.046669 | 57.221 | -19.273 |  | -19.1448 | -19.1467 | -19.5314 | #DIV/0! | #DIV/0!
22 | ISSR 9 12.16.13 | 0.4 | 8769 | 38.932 | -9.788 | 19.664 | 0.031113 | 0.12728 | 38.932 | -9.788 |  | -9.7007 | -9.7028 | -10.0875 | #DIV/0! | #DIV/0!
23 | ISSR 3 2 12.16.13 | 0.4 | 8543 | 38.28 | -10.2835 | 20.6315 | 0.012021 | 0.023335 | 38.28 | -10.2835 |  | -10.1977 | -10.1999 | -10.5845 | #DIV/0! | #DIV/0!
24 | ISSR 4 1 12.16.13 | 0.4 | 9845 | 43.684 | -10.099 | 20.59 | 0.0014142 | 0.02687 | 43.684 | -10.099 |  | -10.0011 | -10.0033 | -10.388 | #DIV/0! | #DIV/0!
25 | ISCD Dir 1 12.16.13 | 0.4 | 6302 | 28.213 | -10.432 | 20.6555 | 0.0084853 | 0.023335 | 28.213 | -10.432 |  | -10.3688 | -10.3711 | -10.7558 | #DIV/0! | #DIV/0!
26 | ISSR 6 2 12.16.13 | 0.4 | 7890 | 34.921 | -10.6345 | 20.2105 | 0.034648 | 0.061518 | 34.921 | -10.6345 |  | -10.5562 | -10.5587 | -10.9433 | #DIV/0! | #DIV/0!
27 | ISSR 8 1 12.16.13 | 0.4 | 10988 | 49.216 | -9.744 | 20.331 | 0.0014142 | 0.022627 | 49.216 | -9.744 |  | -9.6337 | -9.6362 | -10.0209 | #DIV/0! | #DIV/0!
28 | B | 1 | 7104 | 31.502 | -19.241 | 23.589 | 0.0056569 | 0.0042426 | 31.502 | -19.241 |  | -19.1704 | -19.173 | -19.5577 | #DIV/0! | #DIV/0!
29 | ISLM 1 12.16.13 | 0.4 | 10315 | 46.122 | -12.0965 | 20.1165 | 0.024749 | 0.068589 | 46.122 | -12.0965 |  | -11.9931 | -11.9959 | -12.3805 | #DIV/0! | #DIV/0!
30 | ISCD Dir 2 12.16.13 | 0.4 | 6442 | 28.64 | -10.7575 | 20.4135 | 0.0077782 | 0.040305 | 28.64 | -10.7575 |  | -10.6933 | -10.6962 | -11.0808 | #DIV/0! | #DIV/0!
31 | ISSR 8 2 12.16.13 | 0.4 | 10914 | 48.719 | -9.315 | 20 | 0.0014142 | 0.045255 | 48.719 | -9.315 |  | -9.2058 | -9.2088 | -9.5934 | #DIV/0! | #DIV/0!
32 | ISSR 7 2 12.16.13 | 0.4 | 8718 | 38.831 | -10.375 | 20.2045 | 0.014142 | 0.0021213 | 38.831 | -10.375 |  | -10.288 | -10.291 | -10.6757 | #DIV/0! | #DIV/0!
33 | ISCD Ind 1 12.16.13 | 0.4 | 6005 | 26.738 | -10.2725 | 20.5675 | 0.027577 | 0.0021213 | 26.738 | -10.2725 |  | -10.2126 | -10.2157 | -10.6004 | #DIV/0! | #DIV/0!
34 | ISST Ind 2 12.16.13 | 0.4 | 8173 | 37.049 | -7.0815 | 18.69 | 0.23122 | 1.4665 | 37.049 | -7.0815 |  | -6.9985 | -7.0017 | -7.3863 | #DIV/0! | #DIV/0!
35 | B | 1 | 12883 | 57.416 | -19.2735 | 23.1365 | 0.00070711 | 0.045962 | 57.416 | -19.2735 |  | -19.1448 | -19.1482 | -19.5328 | #DIV/0! | #DIV/0!
36 | ISST Dir 2 12.16.13 | 0.4 | 9901 | 44.365 | -9.151 | 20.3185 | 0.043841 | 0.061518 | 44.365 | -9.151 |  | -9.0516 | -9.055 | -9.4396 | #DIV/0! | #DIV/0!
37 | ISSR 4 2 12.16.13 | 0.4 | 9539 | 42.476 | -10.274 | 20.5575 | 0.016971 | 0.037477 | 42.476 | -10.274 |  | -10.1788 | -10.1823 | -10.567 | #DIV/0! | #DIV/0!
38 | ISST Ind 1 12.16.13 | 0.4 | 7046 | 31.6 | -5.7045 | 20.144 | 0.028991 | 0.14849 | 31.6 | -5.7045 |  | -5.6337 | -5.6373 | -6.022 | #DIV/0! | #DIV/0!
39 | NBBC 1 12.17.13 | 0.4 | 11945 | 53.205 | -7.304 | 19.891 | 0.0070711 | 0.0042426 | 53.205 | -7.304 |  | -7.1848 | -7.1885 | -7.5731 | #DIV/0! | #DIV/0!
40 | NBWS 1 12.17.13 | 0.4 | 10813 | 48.562 | -12.353 | 20.173 | 0.014142 | 0.022627 | 48.562 | -12.353 |  | -12.2442 | -12.248 | -12.6326 | #DIV/0! | #DIV/0!
41 | NBBC 2 12.17.13 | 0.4 | 10809 | 48.08 | -7.9805 | 20.1165 | 0.0021213 | 0.054447 | 48.08 | -7.9805 |  | -7.8727 | -7.8767 | -8.2613 | #DIV/0! | #DIV/0!
42 | B | 1 | 13083 | 58.812 | -19.162 | 22.774 | 0.014142 | 0.077782 | 58.812 | -19.162 |  | -19.0302 | -19.0342 | -19.4189 | #DIV/0! | #DIV/0!
43 | NBCT 1 12.17.13 | 0.4 | 6880 | 30.546 | -5.5455 | 20.284 | 0.045962 | 0.10324 | 30.546 | -5.5455 |  | -5.477 | -5.4812 | -5.8658 | #DIV/0! | #DIV/0!
44 | NBWS 2 12.17.13 | 0.4 | 13954 | 62.895 | -12.664 | 20.301 | 0.0084853 | 0.059397 | 62.895 | -12.664 |  | -12.523 | -12.5273 | -12.9119 | #DIV/0! | #DIV/0!
45 | NB DI 12.17.13 | 0.4 | 989 | 4.334 | -4.8725 | 22.276 | 0.038891 | 0.2291 | 4.334 | -4.8725 |  | -4.8628 | -4.8671 | -5.2517 | #DIV/0! | #DIV/0!
46 | NBCT 2 12.17.13 | 0.4 | 6741 | 30.363 | -5.497 | 20.5155 | 0.0042426 | 0.020506 | 30.363 | -5.497 |  | -5.429 | -5.4334 | -5.818 | #DIV/0! | #DIV/0!
47 | WC Spring 2 bad vol 12.18.13 | 0.4 | 19236 | 85.261 | -12.235 | 19.7605 | 0.011314 | 0.023335 | 85.261 | -12.235 |  | -12.0439 | -12.0484 | -12.4331 | #DIV/0! | #DIV/0!
48 | WC6 2 12.18.13 | 0.4 | 17698 | 79.893 | -10.257 | 20.1965 | 0.015556 | 0.057276 | 79.893 | -10.257 |  | -10.0779 | -10.0826 | -10.4672 | #DIV/0! | #DIV/0!
49 | B | 1 | 12700 | 56.269 | -19.2935 | 23.5795 | 0.024749 | 0.051619 | 56.269 | -19.2935 |  | -19.1674 | -19.1721 | -19.5567 | #DIV/0! | #DIV/0!
50 | WC1 12.18.13 | 0.4 | 19917 | 89.999 | -10.9875 | 20.323 | 0.010607 | 0.12162 | 89.999 | -10.9875 |  | -10.7858 | -10.7906 | -11.1752 | #DIV/0! | #DIV/0!
51 | WC 6 1 12.18.13 | 0.4 | 16488 | 73.075 | -10.384 | 20.1075 | 0.0056569 | 0.0035355 | 73.075 | -10.384 |  | -10.2202 | -10.2251 | -10.6098 | #DIV/0! | #DIV/0!
52 | WC3 2 12.18.13 | 0.4 | 18568 | 84.093 | -10.5365 | 20.563 | 0.006364 | 0.049497 | 84.093 | -10.5365 |  | -10.348 | -10.353 | -10.7377 | #DIV/0! | #DIV/0!
53 | WC DI 12.18.13 | 0.4 | 573 | 2.51 | -9.0645 | 25.419 | 0.057276 | 0.089095 | 2.51 | -9.0645 |  | -9.0589 | -9.064 | -9.4486 | #DIV/0! | #DIV/0!
54 | WC Spring 1 12.18.13 | 0.4 | 21463 | 96.871 | -12.225 | 20.2425 | 0.0056569 | 0.054447 | 96.871 | -12.225 |  | -12.0079 | -12.0131 | -12.3977 | #DIV/0! | #DIV/0!
55 | WC3 1 12.18.13 | 0.4 | 16646 | 78.304 | -10.9465 | 18.8175 | 0.23405 | 1.726 | 78.304 | -10.9465 |  | -10.771 | -10.7763 | -11.1609 | #DIV/0! | #DIV/0!
56 | E | 1 | 49878 | 236.472 | -78.3215 | -115.813 | 15.7466 | 19.2375 | 236.472 | -78.3215 |  | -77.7915 | -77.7969 | -78.1816 | #DIV/0! | #DIV/0!
57 | D | 1 | 26035 | 114.836 | -19.363 | 23.311 | 0.033941 | 0.074953 | 114.836 | -19.363 |  | -19.1056 | -19.1111 | -19.4958 | #DIV/0! | #DIV/0!
58 | C | 1 | 20294 | 91.426 | -19.265 | 23.4195 | 0.035355 | 0.10677 | 91.426 | -19.265 |  | -19.0601 | -19.0657 | -19.4503 | #DIV/0! | #DIV/0!
59 | B | 1 | 12910 | 56.883 | -19.102 | 23.774 | 0.15698 | 0.18385 | 56.883 | -19.102 |  | -18.9745 | -18.9802 | -19.3648 | #DIV/0! | #DIV/0!
60 | F | 1 | 7150 | 32.18 | -18.915 | 23.639 | 0.0056569 | 0.052326 | 32.18 | -18.915 |  | -18.8429 | -18.8487 | -19.2333 | #DIV/0! | #DIV/0!
61 | A | 1 | 5123 | 22.479 | -19.1205 | 23.828 | 0.017678 | 0.069296 | 22.479 | -19.1205 |  | -19.0701 | -19.076 | -19.4606 | #DIV/0! | #DIV/0!
BLANKS | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
Used Standards | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
3 | A | 1 | 5111 | 23.149 | -19.0885 | 23.8195 | 0.0049497 | 0.091217 | 23.149 | -19.0885 |  | -19.0366 | -19.0368 | -19.4215 | #DIV/0! | #DIV/0!
4 | A | 1 | 4983 | 22.006 | -19.0735 | 23.9265 | 0.062933 | 0.095459 | 22.006 | -19.0735 |  | -19.0242 | -19.0245 | -19.4091 | #DIV/0! | #DIV/0!
61 | A | 1 | 5123 | 22.479 | -19.1205 | 23.828 | 0.017678 | 0.069296 | 22.479 | -19.1205 |  | -19.0701 | -19.076 | -19.4606 | #DIV/0! | #DIV/0!
7 | B | 1 | 13199 | 59.697 | -19.2685 | 23.73 | 0.0077782 | 0.073539 | 59.697 | -19.2685 |  | -19.1347 | -19.1353 | -19.5199 | #DIV/0! | #DIV/0!
8 | B | 1 | 13028 | 57.475 | -19.2755 | 23.7475 | 0.026163 | 0.030406 | 57.475 | -19.2755 |  | -19.1467 | -19.1474 | -19.532 | #DIV/0! | #DIV/0!
21 | B | 1 | 12771 | 57.221 | -19.273 | 23.046 | 0.0042426 | 0.046669 | 57.221 | -19.273 |  | -19.1448 | -19.1467 | -19.5314 | #DIV/0! | #DIV/0!
28 | B | 1 | 7104 | 31.502 | -19.241 | 23.589 | 0.0056569 | 0.0042426 | 31.502 | -19.241 |  | -19.1704 | -19.173 | -19.5577 | #DIV/0! | #DIV/0!
35 | B | 1 | 12883 | 57.416 | -19.2735 | 23.1365 | 0.00070711 | 0.045962 | 57.416 | -19.2735 |  | -19.1448 | -19.1482 | -19.5328 | #DIV/0! | #DIV/0!
42 | B | 1 | 13083 | 58.812 | -19.162 | 22.774 | 0.014142 | 0.077782 | 58.812 | -19.162 |  | -19.0302 | -19.0342 | -19.4189 | #DIV/0! | #DIV/0!
49 | B | 1 | 12700 | 56.269 | -19.2935 | 23.5795 | 0.024749 | 0.051619 | 56.269 | -19.2935 |  | -19.1674 | -19.1721 | -19.5567 | #DIV/0! | #DIV/0!
59 | B | 1 | 12910 | 56.883 | -19.102 | 23.774 | 0.15698 | 0.18385 | 56.883 | -19.102 |  | -18.9745 | -18.9802 | -19.3648 | #DIV/0! | #DIV/0!
9 | C | 1 | 20854 | 94.071 | -19.281 | 23.5525 | 0.021213 | 0.11809 | 94.071 | -19.281 |  | -19.0702 | -19.071 | -19.4556 | #DIV/0! | #DIV/0!
10 | C | 1 | 20800 | 91.609 | -19.324 | 23.6125 | 0.056569 | 0.10536 | 91.609 | -19.324 |  | -19.1187 | -19.1196 | -19.5042 | #DIV/0! | #DIV/0!
58 | C | 1 | 20294 | 91.426 | -19.265 | 23.4195 | 0.035355 | 0.10677 | 91.426 | -19.265 |  | -19.0601 | -19.0657 | -19.4503 | #DIV/0! | #DIV/0!
11 | D | 1 | 27169 | 122.519 | -19.184 | 23.0335 | 0.11314 | 0.1591 | 122.519 | -19.184 |  | -18.9094 | -18.9104 | -19.295 | #DIV/0! | #DIV/0!
12 | D | 1 | 27497 | 122.677 | -19.257 | 22.5105 | 0.02687 | 0.507 | 122.677 | -19.257 |  | -18.9821 | -18.9831 | -19.3678 | #DIV/0! | #DIV/0!
57 | D | 1 | 26035 | 114.836 | -19.363 | 23.311 | 0.033941 | 0.074953 | 114.836 | -19.363 |  | -19.1056 | -19.1111 | -19.4958 | #DIV/0! | #DIV/0!
5 | F | 1 | 7243 | 32.794 | -18.9375 | 23.974 | 0.15203 | 0.26446 | 32.794 | -18.9375 |  | -18.864 | -18.8644 | -19.249 | #DIV/0! | #DIV/0!
6 | F | 1 | 7399 | 32.67 | -19.1315 | 23.877 | 0.010607 | 0.059397 | 32.67 | -19.1315 |  | -19.0583 | -19.0588 | -19.4434 | #DIV/0! | #DIV/0!
60 | F | 1 | 7150 | 32.18 | -18.915 | 23.639 | 0.0056569 | 0.052326 | 32.18 | -18.915 |  | -18.8429 | -18.8487 | -19.2333 | #DIV/0! | #DIV/0!

## Run Log
Row | Name | Volume | Notes | Var5 | Var6 | Var7 | Var8 | Var9
1 | Blank | 0 | renumbered at start of DIC
2 | Blank | 0
3 | A | 1
4 | A | 1
5 | F | 1
6 | F | 1
7 | B | 1
8 | B | 1
9 | C | 1
10 | C | 1 |  |  |  | Standards | mg NaHCO3 | mL H2O
11 | D | 1 |  |  |  | A | 38.864 | 500
12 | D | 1 |  |  |  | B | 50.684 | 250
13 | E | 1 |  |  |  | C | 80.3 | 250
14 | E | 1 |  |  |  | D | 103.116 | 250
15 | ISSR 6 1 12.16.13 | 0.4 |  |  |  | E | 201.186 | 250
16 | ISLM 2 12.16.13 | 0.4 |  |  |  | F | 29.056 | 250
17 | ISSR 7 1 12.16.13 | 0.4
18 | ISST Dir 1 12.16.13 | 0.4
19 | ISSR 3 1 12.16.13 | 0.4
20 | ISCD Ind 2 12.16.13 | 0.4
21 | B | 1
22 | ISSR 9 12.16.13 | 0.4
23 | ISSR 3 2 12.16.13 | 0.4
24 | ISSR 4 1 12.16.13 | 0.4
25 | ISCD Dir 1 12.16.13 | 0.4
26 | ISSR 6 2 12.16.13 | 0.4
27 | ISSR 8 1 12.16.13 | 0.4
28 | B | 1
29 | ISLM 1 12.16.13 | 0.4
30 | ISCD Dir 2 12.16.13 | 0.4
31 | ISSR 8 2 12.16.13 | 0.4
32 | ISSR 7 2 12.16.13 | 0.4
33 | ISCD Ind 1 12.16.13 | 0.4
34 | ISST Ind 2 12.16.13 | 0.4
35 | B | 1
36 | ISST Dir 2 12.16.13 | 0.4
37 | ISSR 4 2 12.16.13 | 0.4
38 | ISST Ind 1 12.16.13 | 0.4
39 | NBBC 1 12.17.13 | 0.4
40 | NBWS 1 12.17.13 | 0.4
41 | NBBC 2 12.17.13 | 0.4
42 | B | 1
43 | NBCT 1 12.17.13 | 0.4
44 | NBWS 2 12.17.13 | 0.4
45 | NB DI 12.17.13 | 0.4
46 | NBCT 2 12.17.13 | 0.4
47 | WC Spring 2 bad vol 12.18.13 | 0.4
48 | WC6 2 12.18.13 | 0.4
49 | B | 1
50 | WC1 12.18.13 | 0.4
51 | WC 6 1 12.18.13 | 0.4
52 | WC3 2 12.18.13 | 0.4
53 | WC DI 12.18.13 | 0.4
54 | WC Spring 1 12.18.13 | 0.4
55 | WC3 1 12.18.13 | 0.4
56 | E | 1
57 | D | 1
58 | C | 1
59 | B | 1
60 | F | 1
61 | A | 1

## gasbenchCO2template.wke
Row | Identifier1 | Ampl44 | Area44 | d13C_12C | d18O_16O
1 | Blank | 3999 | 56.609 | -4.557 | 19.676
1 | Blank | 3989 | 57.397 | -4.57 | 19.67
1 | Blank | 3997 | 57.36 | -4.593 | 19.65
1 | Blank | 3993 | 57.341 | -4.599 | 19.621
2 | Blank | 3968 | 56.187 | -4.599 | 19.713
2 | Blank | 3968 | 56.951 | -4.57 | 19.67
2 | Blank | 3967 | 56.941 | -4.572 | 19.674
2 | Blank | 3963 | 56.906 | -4.586 | 19.644
3 | A | 3944 | 55.871 | -4.565 | 19.719
3 | A | 3944 | 56.625 | -4.57 | 19.67
3 | A | 3942 | 56.604 | -4.581 | 19.681
3 | A | 3939 | 56.559 | -4.581 | 19.697
3 | A | 3940 | 56.594 | -4.574 | 19.658
3 | A | 3125 | 7.384 | -19.182 | 25.06
3 | A | 9279 | 41.414 | -19.006 | 23.886
3 | A | 8630 | 38.617 | -19.031 | 23.904
3 | A | 8002 | 35.998 | -19.015 | 23.896
3 | A | 7411 | 33.488 | -19.015 | 23.853
3 | A | 6869 | 31.128 | -19.033 | 23.838
3 | A | 6365 | 28.895 | -19.067 | 23.814
3 | A | 5907 | 26.806 | -19.067 | 23.812
3 | A | 5487 | 24.899 | -19.051 | 23.734
3 | A | 5111 | 23.149 | -19.085 | 23.755
3 | A | 4765 | 21.527 | -19.092 | 23.884
4 | A | 3935 | 55.718 | -4.549 | 19.705
4 | A | 3932 | 56.501 | -4.57 | 19.67
4 | A | 3936 | 56.524 | -4.567 | 19.647
4 | A | 3937 | 56.522 | -4.58 | 19.637
4 | A | 3930 | 56.507 | -4.575 | 19.639
4 | A | 2955 | 6.949 | -19.24 | 24.622
4 | A | 8665 | 38.969 | -19.094 | 23.775
4 | A | 8105 | 36.333 | -19.072 | 23.81
4 | A | 7558 | 33.792 | -19.055 | 23.839
4 | A | 7046 | 31.464 | -19.061 | 23.792
4 | A | 6570 | 29.283 | -19.023 | 23.784
4 | A | 6127 | 27.265 | -19.079 | 23.801
4 | A | 5716 | 25.361 | -19.11 | 23.777
4 | A | 5334 | 23.621 | -19.11 | 23.741
4 | A | 4983 | 22.006 | -19.118 | 23.859
4 | A | 4659 | 20.524 | -19.029 | 23.994
5 | F | 3941 | 55.814 | -4.361 | 19.993
5 | F | 3941 | 56.558 | -4.57 | 19.67
5 | F | 3938 | 56.591 | -4.383 | 19.877
5 | F | 3942 | 56.581 | -4.584 | 19.652
5 | F | 3938 | 56.566 | -4.395 | 19.898
5 | F | 4388 | 10.385 | -18.994 | 25.159
5 | F | 12852 | 57.502 | -19.202 | 23.672
5 | F | 11893 | 53.277 | -19.191 | 23.597
5 | F | 11093 | 49.946 | -19.158 | 23.632
5 | F | 10353 | 46.806 | -19.146 | 23.646
5 | F | 9627 | 43.676 | -19.055 | 23.759
5 | F | 8946 | 40.657 | -19.025 | 23.786
5 | F | 8327 | 37.796 | -19.068 | 23.782
5 | F | 7762 | 35.198 | -19.038 | 23.725
5 | F | 7243 | 32.794 | -19.045 | 23.787
5 | F | 6756 | 30.536 | -18.83 | 24.161
6 | F | 3938 | 55.73 | -4.419 | 19.971
6 | F | 3935 | 56.502 | -4.57 | 19.67
6 | F | 3938 | 56.542 | -4.449 | 19.832
6 | F | 3937 | 56.525 | -4.555 | 19.655
6 | F | 3936 | 56.544 | -4.443 | 19.81
6 | F | 4408 | 10.381 | -18.869 | 25.22
6 | F | 13002 | 58.39 | -19.198 | 23.794
6 | F | 12025 | 53.854 | -19.168 | 23.713
6 | F | 11223 | 50.159 | -19.186 | 23.731
6 | F | 10437 | 46.577 | -19.2 | 23.737
6 | F | 9734 | 43.382 | -19.109 | 23.814
6 | F | 9075 | 40.401 | -19.096 | 23.828
6 | F | 8464 | 37.569 | -19.143 | 23.844
6 | F | 7904 | 35.014 | -19.141 | 23.841
6 | F | 7399 | 32.67 | -19.124 | 23.835
6 | F | 6938 | 30.569 | -19.139 | 23.919
7 | B | 3947 | 55.892 | -4.595 | 19.743
7 | B | 3940 | 56.567 | -4.57 | 19.67
7 | B | 3937 | 56.575 | -4.594 | 19.71
7 | B | 3932 | 56.526 | -4.589 | 19.634
7 | B | 3939 | 56.554 | -4.598 | 19.662
7 | B | 8027 | 19.169 | -19.212 | 24.862
7 | B | 23891 | 107.005 | -19.3 | 23.551
7 | B | 21935 | 98.479 | -19.316 | 23.526
7 | B | 20380 | 91.884 | -19.3 | 23.498
7 | B | 18893 | 85.507 | -19.293 | 23.542
7 | B | 17535 | 79.592 | -19.278 | 23.562
7 | B | 16295 | 73.961 | -19.261 | 23.581
7 | B | 15159 | 68.724 | -19.289 | 23.581
7 | B | 14152 | 64.134 | -19.261 | 23.641
7 | B | 13199 | 59.697 | -19.263 | 23.678
7 | B | 12314 | 55.577 | -19.274 | 23.782
8 | B | 3937 | 55.768 | -4.553 | 19.736
8 | B | 3940 | 56.533 | -4.57 | 19.67
8 | B | 3937 | 56.557 | -4.571 | 19.679
8 | B | 3939 | 56.526 | -4.59 | 19.665
8 | B | 3938 | 56.542 | -4.539 | 19.706
8 | B | 7658 | 18.167 | -19.184 | 24.889
8 | B | 22553 | 101.207 | -19.271 | 23.591
8 | B | 20928 | 93.604 | -19.289 | 23.592
8 | B | 19497 | 87.1 | -19.268 | 23.586
8 | B | 18187 | 81.114 | -19.264 | 23.606
8 | B | 16973 | 75.56 | -19.255 | 23.643
8 | B | 15888 | 70.625 | -19.247 | 23.669
8 | B | 14851 | 65.796 | -19.267 | 23.704
8 | B | 13908 | 61.47 | -19.277 | 23.688
8 | B | 13028 | 57.475 | -19.294 | 23.726
8 | B | 12229 | 53.871 | -19.257 | 23.769
9 | C | 3943 | 55.855 | -4.504 | 19.765
9 | C | 3940 | 56.579 | -4.57 | 19.67
9 | C | 3940 | 56.606 | -4.513 | 19.711
9 | C | 3940 | 56.578 | -4.562 | 19.612
9 | C | 3944 | 56.617 | -4.504 | 19.719
9 | C | 12613 | 30.446 | -19.12 | 24.689
9 | C | 37939 | 170.595 | -18.949 | 11.859
9 | C | 35060 | 157.895 | -19.379 | 23.197
9 | C | 32544 | 147.084 | -19.364 | 23.241
9 | C | 30151 | 136.515 | -19.356 | 23.306
9 | C | 27831 | 126.165 | -19.352 | 23.34
9 | C | 25876 | 117.447 | -19.339 | 23.374
9 | C | 24071 | 108.874 | -19.327 | 23.438
9 | C | 22402 | 101.177 | -19.317 | 23.46
9 | C | 20854 | 94.071 | -19.296 | 23.469
9 | C | 19439 | 87.533 | -19.266 | 23.636
10 | C | 3940 | 55.754 | -4.563 | 19.739
10 | C | 3933 | 56.513 | -4.57 | 19.67
10 | C | 3938 | 56.562 | -4.571 | 19.715
10 | C | 3938 | 56.556 | -4.611 | 19.647
10 | C | 3937 | 56.556 | -4.557 | 19.716
10 | C | 12252 | 29.336 | -19.155 | 24.843
10 | C | 36715 | 164.653 | -19.201 | 20.128
10 | C | 33669 | 150.203 | -19.363 | 23.283
10 | C | 31413 | 140.022 | -19.356 | 23.321
10 | C | 29312 | 130.323 | -19.365 | 23.358
10 | C | 27299 | 121.247 | -19.346 | 23.435
10 | C | 25447 | 112.895 | -19.323 | 23.479
10 | C | 23775 | 105.095 | -19.345 | 23.498
10 | C | 22225 | 98.044 | -19.367 | 23.54
10 | C | 20800 | 91.609 | -19.364 | 23.538
10 | C | 19499 | 85.897 | -19.284 | 23.687
11 | D | 3946 | 55.87 | -4.184 | 20.142
11 | D | 3944 | 56.626 | -4.57 | 19.67
11 | D | 3943 | 56.636 | -4.205 | 20.039
11 | D | 3945 | 56.647 | -4.595 | 19.622
11 | D | 3946 | 56.676 | -4.206 | 20.045
11 | D | 15800 | 38.336 | -18.902 | 24.172
11 | D | 49762 | 224.441 | -71.457 | -107.196
11 | D | 45924 | 207.415 | -39.508 | -68.213
11 | D | 42525 | 192.323 | -18.488 | -32.432
11 | D | 39284 | 178.085 | -18.495 | -0.707
11 | D | 36427 | 165.106 | -19.216 | 21.215
11 | D | 33814 | 153.265 | -19.257 | 22.73
11 | D | 31460 | 142.239 | -19.264 | 22.802
11 | D | 29267 | 132.104 | -19.256 | 22.892
11 | D | 27169 | 122.519 | -19.264 | 22.921
11 | D | 25313 | 113.901 | -19.104 | 23.146
12 | D | 3943 | 55.836 | -4.456 | 19.837
12 | D | 3938 | 56.518 | -4.57 | 19.67
12 | D | 3935 | 56.562 | -4.492 | 19.734
12 | D | 3938 | 56.551 | -4.566 | 19.608
12 | D | 3935 | 56.533 | -4.463 | 19.725
12 | D | 56 | 0.127 | -33.25 | 2701.613
12 | D | 178 | 0.875 | -116.176 | 1782.213
12 | D | 16000 | 39.967 | -21.757 | 59.469
12 | D | 48000 | 220.113 | -56.728 | -91.494
12 | D | 170 | 0.789 | -132.632 | 1759.467
12 | D | 44293 | 202.676 | -28.02 | -52.968
12 | D | 165 | 0.751 | -134.881 | 1764.892
12 | D | 41340 | 188.238 | -17.646 | -21.602
12 | D | 158 | 0.709 | -134.393 | 1780.218
12 | D | 38552 | 175.009 | -18.646 | 5.189
12 | D | 150 | 0.664 | -131.189 | 1815.7
12 | D | 35920 | 162.74 | -19.206 | 21.896
12 | D | 142 | 0.619 | -127.931 | 1856.57
12 | D | 33516 | 151.443 | -19.221 | 22.015
12 | D | 133 | 0.576 | -123.212 | 1894.896
12 | D | 31354 | 140.909 | -19.236 | 22.072
12 | D | 124 | 0.534 | -119.048 | 1942.313
12 | D | 29349 | 131.484 | -19.245 | 22.131
12 | D | 115 | 0.493 | -114.897 | 1986.878
12 | D | 27497 | 122.677 | -19.238 | 22.152
12 | D | 25762 | 114.816 | -19.276 | 22.869
13 | E | 3949 | 55.874 | -4.362 | 19.945
13 | E | 3941 | 56.609 | -4.57 | 19.67
13 | E | 3939 | 56.609 | -4.382 | 19.893
13 | E | 3939 | 56.54 | -4.541 | 19.684
13 | E | 3940 | 56.594 | -4.364 | 19.855
13 | E | 30537 | 76.91 | -18.986 | 24.147
13 | E | 49924 | 324.167 | -133.938 | -190.8
13 | E | 49916 | 312.997 | -131.131 | -186.925
13 | E | 49908 | 303.187 | -128.179 | -182.79
13 | E | 49904 | 293.431 | -124.85 | -178.096
13 | E | 49900 | 283.472 | -120.819 | -172.412
13 | E | 49897 | 273.238 | -116.095 | -165.755
13 | E | 49893 | 262.486 | -110.472 | -157.808
13 | E | 49889 | 251.673 | -103.272 | -147.795
13 | E | 49881 | 240.167 | -93.525 | -134.627
13 | E | 49860 | 227.091 | -77.979 | -114.644
14 | E | 3939 | 55.763 | -4.362 | 19.917
14 | E | 3937 | 56.522 | -4.57 | 19.67
14 | E | 3940 | 56.552 | -4.377 | 19.875
14 | E | 3939 | 56.567 | -4.556 | 19.64
14 | E | 3934 | 56.532 | -4.408 | 19.842
14 | E | 29856 | 74.634 | -18.984 | 24.005
14 | E | 49922 | 318.257 | -132.821 | -187.993
14 | E | 49915 | 305.722 | -129.659 | -183.306
14 | E | 49908 | 295.843 | -126.703 | -178.948
14 | E | 49904 | 286.007 | -123.234 | -173.865
14 | E | 49901 | 275.98 | -119.139 | -167.963
14 | E | 49898 | 265.983 | -114.379 | -161.277
14 | E | 49894 | 255.387 | -108.643 | -153.277
14 | E | 49889 | 245.545 | -101.78 | -143.998
14 | E | 49882 | 235.098 | -92.625 | -131.906
14 | E | 49864 | 224.118 | -79.107 | -114.754
15 | ISSR 6 1 12.16.13 | 3942 | 55.864 | -4.511 | 19.768
15 | ISSR 6 1 12.16.13 | 3942 | 56.573 | -4.57 | 19.67
15 | ISSR 6 1 12.16.13 | 3938 | 56.575 | -4.518 | 19.709
15 | ISSR 6 1 12.16.13 | 3936 | 56.514 | -4.563 | 19.634
15 | ISSR 6 1 12.16.13 | 3939 | 56.542 | -4.539 | 19.728
15 | ISSR 6 1 12.16.13 | 5470 | 13.081 | -10.489 | 21.373
15 | ISSR 6 1 12.16.13 | 16186 | 73.163 | -10.601 | 20.677
15 | ISSR 6 1 12.16.13 | 14859 | 67.367 | -10.588 | 20.589
15 | ISSR 6 1 12.16.13 | 13814 | 62.781 | -10.588 | 20.597
15 | ISSR 6 1 12.16.13 | 12866 | 58.511 | -10.582 | 20.545
15 | ISSR 6 1 12.16.13 | 12002 | 54.589 | -10.535 | 20.635
15 | ISSR 6 1 12.16.13 | 11246 | 51.025 | -10.547 | 20.623
15 | ISSR 6 1 12.16.13 | 10520 | 47.565 | -10.561 | 20.662
15 | ISSR 6 1 12.16.13 | 9872 | 44.55 | -10.567 | 20.635
15 | ISSR 6 1 12.16.13 | 9259 | 41.695 | -10.536 | 20.682
15 | ISSR 6 1 12.16.13 | 8683 | 39.043 | -10.464 | 20.866
16 | ISLM 2 12.16.13 | 3938 | 55.7 | -4.531 | 19.758
16 | ISLM 2 12.16.13 | 3935 | 56.498 | -4.57 | 19.67
16 | ISLM 2 12.16.13 | 3935 | 56.489 | -4.522 | 19.705
16 | ISLM 2 12.16.13 | 3938 | 56.511 | -4.573 | 19.64
16 | ISLM 2 12.16.13 | 3936 | 56.531 | -4.545 | 19.703
16 | ISLM 2 12.16.13 | 6356 | 15.087 | -11.96 | 22.187
16 | ISLM 2 12.16.13 | 17548 | 78.311 | -12.276 | 20.499
16 | ISLM 2 12.16.13 | 16057 | 71.623 | -12.357 | 20.339
16 | ISLM 2 12.16.13 | 15154 | 67.464 | -12.366 | 20.341
16 | ISLM 2 12.16.13 | 14249 | 63.283 | -12.344 | 20.389
16 | ISLM 2 12.16.13 | 13390 | 59.424 | -12.283 | 20.413
16 | ISLM 2 12.16.13 | 12601 | 55.783 | -12.277 | 20.391
16 | ISLM 2 12.16.13 | 11861 | 52.352 | -12.295 | 20.443
16 | ISLM 2 12.16.13 | 11193 | 49.292 | -12.313 | 20.452
16 | ISLM 2 12.16.13 | 10563 | 46.481 | -12.303 | 20.45
16 | ISLM 2 12.16.13 | 9953 | 43.836 | -12.313 | 20.491
17 | ISSR 7 1 12.16.13 | 3943 | 55.846 | -4.587 | 19.738
17 | ISSR 7 1 12.16.13 | 3938 | 56.55 | -4.57 | 19.67
17 | ISSR 7 1 12.16.13 | 3935 | 56.545 | -4.583 | 19.709
17 | ISSR 7 1 12.16.13 | 3937 | 56.523 | -4.586 | 19.622
17 | ISSR 7 1 12.16.13 | 3939 | 56.537 | -4.604 | 19.615
17 | ISSR 7 1 12.16.13 | 4923 | 11.723 | -10.321 | 21.741
17 | ISSR 7 1 12.16.13 | 14420 | 65.29 | -10.423 | 20.984
17 | ISSR 7 1 12.16.13 | 13238 | 60.092 | -10.45 | 20.85
17 | ISSR 7 1 12.16.13 | 12393 | 56.256 | -10.478 | 20.888
17 | ISSR 7 1 12.16.13 | 11603 | 52.702 | -10.44 | 20.939
17 | ISSR 7 1 12.16.13 | 10820 | 49.085 | -10.455 | 20.917
17 | ISSR 7 1 12.16.13 | 10122 | 45.863 | -10.454 | 20.956
17 | ISSR 7 1 12.16.13 | 9474 | 42.772 | -10.448 | 20.933
17 | ISSR 7 1 12.16.13 | 8874 | 39.98 | -10.476 | 20.999
17 | ISSR 7 1 12.16.13 | 8316 | 37.372 | -10.461 | 20.967
17 | ISSR 7 1 12.16.13 | 7797 | 34.971 | -10.476 | 21.078
18 | ISST Dir 1 12.16.13 | 3932 | 55.714 | -4.538 | 19.751
18 | ISST Dir 1 12.16.13 | 3934 | 56.484 | -4.57 | 19.67
18 | ISST Dir 1 12.16.13 | 3938 | 56.55 | -4.554 | 19.705
18 | ISST Dir 1 12.16.13 | 3935 | 56.485 | -4.571 | 19.643
18 | ISST Dir 1 12.16.13 | 3935 | 56.497 | -4.583 | 19.682
18 | ISST Dir 1 12.16.13 | 5568 | 13.191 | -9.433 | 21.687
18 | ISST Dir 1 12.16.13 | 15859 | 70.514 | -9.672 | 20.612
18 | ISST Dir 1 12.16.13 | 14677 | 65.343 | -9.67 | 20.528
18 | ISST Dir 1 12.16.13 | 13748 | 61.092 | -9.677 | 20.558
18 | ISST Dir 1 12.16.13 | 12911 | 57.23 | -9.654 | 20.542
18 | ISST Dir 1 12.16.13 | 12140 | 53.667 | -9.693 | 20.567
18 | ISST Dir 1 12.16.13 | 11417 | 50.417 | -9.68 | 20.603
18 | ISST Dir 1 12.16.13 | 10762 | 47.396 | -9.703 | 20.582
18 | ISST Dir 1 12.16.13 | 10144 | 44.694 | -9.654 | 20.547
18 | ISST Dir 1 12.16.13 | 9552 | 42.141 | -9.667 | 20.544
18 | ISST Dir 1 12.16.13 | 8986 | 39.771 | -9.652 | 20.586
19 | ISSR 3 1 12.16.13 | 3943 | 55.833 | -4.568 | 19.688
19 | ISSR 3 1 12.16.13 | 3938 | 56.572 | -4.57 | 19.67
19 | ISSR 3 1 12.16.13 | 3942 | 56.61 | -4.576 | 19.61
19 | ISSR 3 1 12.16.13 | 3940 | 56.568 | -4.572 | 19.613
19 | ISSR 3 1 12.16.13 | 3936 | 56.525 | -4.558 | 19.649
19 | ISSR 3 1 12.16.13 | 5376 | 12.778 | -9.927 | 21.204
19 | ISSR 3 1 12.16.13 | 15589 | 70.802 | -10.152 | 20.282
19 | ISSR 3 1 12.16.13 | 14318 | 65.114 | -10.186 | 20.211
19 | ISSR 3 1 12.16.13 | 13358 | 60.679 | -10.194 | 20.174
19 | ISSR 3 1 12.16.13 | 12498 | 56.663 | -10.172 | 20.225
19 | ISSR 3 1 12.16.13 | 11712 | 53.026 | -10.156 | 20.234
19 | ISSR 3 1 12.16.13 | 10977 | 49.596 | -10.149 | 20.239
19 | ISSR 3 1 12.16.13 | 10286 | 46.303 | -10.19 | 20.245
19 | ISSR 3 1 12.16.13 | 9636 | 43.322 | -10.191 | 20.29
19 | ISSR 3 1 12.16.13 | 9039 | 40.553 | -10.189 | 20.296
19 | ISSR 3 1 12.16.13 | 8473 | 37.955 | -10.19 | 20.384
20 | ISCD Ind 2 12.16.13 | 3940 | 55.749 | -4.547 | 19.744
20 | ISCD Ind 2 12.16.13 | 3933 | 56.524 | -4.57 | 19.67
20 | ISCD Ind 2 12.16.13 | 3935 | 56.547 | -4.572 | 19.641
20 | ISCD Ind 2 12.16.13 | 3935 | 56.497 | -4.585 | 19.652
20 | ISCD Ind 2 12.16.13 | 3934 | 56.507 | -4.567 | 19.665
20 | ISCD Ind 2 12.16.13 | 3811 | 9.019 | -10.207 | 21.913
20 | ISCD Ind 2 12.16.13 | 10684 | 47.466 | -10.285 | 20.721
20 | ISCD Ind 2 12.16.13 | 9813 | 43.553 | -10.359 | 20.613
20 | ISCD Ind 2 12.16.13 | 9223 | 40.836 | -10.332 | 20.618
20 | ISCD Ind 2 12.16.13 | 8679 | 38.363 | -10.358 | 20.641
20 | ISCD Ind 2 12.16.13 | 8216 | 36.219 | -10.37 | 20.677
20 | ISCD Ind 2 12.16.13 | 7754 | 34.158 | -10.33 | 20.685
20 | ISCD Ind 2 12.16.13 | 7319 | 32.218 | -10.338 | 20.739
20 | ISCD Ind 2 12.16.13 | 6908 | 30.481 | -10.369 | 20.665
20 | ISCD Ind 2 12.16.13 | 6509 | 28.783 | -10.361 | 20.717
20 | ISCD Ind 2 12.16.13 | 6122 | 27.155 | -10.351 | 20.74
21 | B | 3945 | 55.808 | -4.55 | 19.719
21 | B | 3937 | 56.546 | -4.57 | 19.67
21 | B | 3938 | 56.544 | -4.577 | 19.666
21 | B | 3935 | 56.525 | -4.567 | 19.636
21 | B | 3935 | 56.518 | -4.566 | 19.641
21 | B | 7363 | 17.575 | -19.216 | 23.655
21 | B | 22136 | 100.871 | -19.282 | 22.846
21 | B | 20575 | 93.474 | -19.287 | 22.883
21 | B | 19201 | 87.088 | -19.262 | 22.905
21 | B | 17945 | 81.229 | -19.267 | 22.928
21 | B | 16745 | 75.67 | -19.274 | 22.931
21 | B | 15630 | 70.534 | -19.269 | 22.945
21 | B | 14597 | 65.621 | -19.279 | 22.945
21 | B | 13649 | 61.182 | -19.267 | 23.009
21 | B | 12771 | 57.221 | -19.276 | 23.013
21 | B | 11930 | 53.385 | -19.27 | 23.079
22 | ISSR 9 12.16.13 | 3936 | 55.755 | -4.561 | 19.687
22 | ISSR 9 12.16.13 | 3937 | 56.534 | -4.57 | 19.67
22 | ISSR 9 12.16.13 | 3937 | 56.542 | -4.554 | 19.624
22 | ISSR 9 12.16.13 | 3938 | 56.5 | -4.563 | 19.611
22 | ISSR 9 12.16.13 | 3937 | 56.539 | -4.562 | 19.615
22 | ISSR 9 12.16.13 | 4970 | 11.824 | -9.931 | 23.154
22 | ISSR 9 12.16.13 | 14378 | 63.945 | -9.796 | 19.569
22 | ISSR 9 12.16.13 | 13329 | 59.165 | -9.806 | 19.526
22 | ISSR 9 12.16.13 | 12537 | 55.502 | -9.814 | 19.504
22 | ISSR 9 12.16.13 | 11806 | 52.215 | -9.806 | 19.522
22 | ISSR 9 12.16.13 | 11149 | 49.207 | -9.803 | 19.538
22 | ISSR 9 12.16.13 | 10514 | 46.403 | -9.827 | 19.561
22 | ISSR 9 12.16.13 | 9913 | 43.746 | -9.835 | 19.57
22 | ISSR 9 12.16.13 | 9338 | 41.31 | -9.821 | 19.564
22 | ISSR 9 12.16.13 | 8769 | 38.932 | -9.81 | 19.574
22 | ISSR 9 12.16.13 | 8233 | 36.713 | -9.766 | 19.754
23 | ISSR 3 2 12.16.13 | 3944 | 55.847 | -4.502 | 19.781
23 | ISSR 3 2 12.16.13 | 3943 | 56.594 | -4.57 | 19.67
23 | ISSR 3 2 12.16.13 | 3942 | 56.603 | -4.508 | 19.731
23 | ISSR 3 2 12.16.13 | 3941 | 56.579 | -4.557 | 19.649
23 | ISSR 3 2 12.16.13 | 3940 | 56.579 | -4.532 | 19.77
23 | ISSR 3 2 12.16.13 | 5137 | 12.198 | -9.979 | 21.535
23 | ISSR 3 2 12.16.13 | 14698 | 66.83 | -10.265 | 20.594
23 | ISSR 3 2 12.16.13 | 13492 | 61.281 | -10.32 | 20.513
23 | ISSR 3 2 12.16.13 | 12622 | 57.232 | -10.308 | 20.519
23 | ISSR 3 2 12.16.13 | 11819 | 53.487 | -10.312 | 20.533
23 | ISSR 3 2 12.16.13 | 11063 | 49.987 | -10.286 | 20.553
23 | ISSR 3 2 12.16.13 | 10363 | 46.745 | -10.277 | 20.573
23 | ISSR 3 2 12.16.13 | 9715 | 43.582 | -10.3 | 20.551
23 | ISSR 3 2 12.16.13 | 9112 | 40.89 | -10.301 | 20.597
23 | ISSR 3 2 12.16.13 | 8543 | 38.28 | -10.275 | 20.615
23 | ISSR 3 2 12.16.13 | 8018 | 35.828 | -10.292 | 20.648
24 | ISSR 4 1 12.16.13 | 3942 | 55.794 | -4.567 | 19.788
24 | ISSR 4 1 12.16.13 | 3938 | 56.557 | -4.57 | 19.67
24 | ISSR 4 1 12.16.13 | 3942 | 56.573 | -4.57 | 19.736
24 | ISSR 4 1 12.16.13 | 3940 | 56.541 | -4.591 | 19.725
24 | ISSR 4 1 12.16.13 | 3938 | 56.579 | -4.585 | 19.678
24 | ISSR 4 1 12.16.13 | 5673 | 13.42 | -10.021 | 21.412
24 | ISSR 4 1 12.16.13 | 16453 | 73.04 | -10.074 | 20.598
24 | ISSR 4 1 12.16.13 | 15187 | 67.296 | -10.111 | 20.506
24 | ISSR 4 1 12.16.13 | 14255 | 63.014 | -10.112 | 20.477
24 | ISSR 4 1 12.16.13 | 13392 | 59.082 | -10.123 | 20.507
24 | ISSR 4 1 12.16.13 | 12599 | 55.532 | -10.102 | 20.513
24 | ISSR 4 1 12.16.13 | 11861 | 52.27 | -10.118 | 20.516
24 | ISSR 4 1 12.16.13 | 11160 | 49.174 | -10.155 | 20.586
24 | ISSR 4 1 12.16.13 | 10492 | 46.351 | -10.132 | 20.538
24 | ISSR 4 1 12.16.13 | 9845 | 43.684 | -10.1 | 20.571
24 | ISSR 4 1 12.16.13 | 9232 | 41.169 | -10.098 | 20.609
25 | ISCD Dir 1 12.16.13 | 3943 | 55.772 | -4.562 | 19.778
25 | ISCD Dir 1 12.16.13 | 3939 | 56.574 | -4.57 | 19.67
25 | ISCD Dir 1 12.16.13 | 3943 | 56.596 | -4.575 | 19.674
25 | ISCD Dir 1 12.16.13 | 3941 | 56.559 | -4.57 | 19.681
25 | ISCD Dir 1 12.16.13 | 3939 | 56.57 | -4.565 | 19.662
25 | ISCD Dir 1 12.16.13 | 3646 | 8.651 | -10.293 | 21.222
25 | ISCD Dir 1 12.16.13 | 10618 | 48.278 | -10.414 | 20.642
25 | ISCD Dir 1 12.16.13 | 9774 | 44.46 | -10.413 | 20.538
25 | ISCD Dir 1 12.16.13 | 9179 | 41.674 | -10.414 | 20.548
25 | ISCD Dir 1 12.16.13 | 8616 | 39.033 | -10.424 | 20.57
25 | ISCD Dir 1 12.16.13 | 8108 | 36.667 | -10.419 | 20.547
25 | ISCD Dir 1 12.16.13 | 7612 | 34.366 | -10.372 | 20.631
25 | ISCD Dir 1 12.16.13 | 7152 | 32.143 | -10.434 | 20.596
25 | ISCD Dir 1 12.16.13 | 6706 | 30.111 | -10.419 | 20.622
25 | ISCD Dir 1 12.16.13 | 6302 | 28.213 | -10.426 | 20.639
25 | ISCD Dir 1 12.16.13 | 5911 | 26.423 | -10.438 | 20.672
26 | ISSR 6 2 12.16.13 | 3945 | 55.868 | -4.549 | 19.748
26 | ISSR 6 2 12.16.13 | 3945 | 56.641 | -4.57 | 19.67
26 | ISSR 6 2 12.16.13 | 3939 | 56.6 | -4.562 | 19.665
26 | ISSR 6 2 12.16.13 | 3941 | 56.6 | -4.539 | 19.662
26 | ISSR 6 2 12.16.13 | 3942 | 56.621 | -4.521 | 19.645
26 | ISSR 6 2 12.16.13 | 4560 | 10.767 | -10.628 | 22.014
26 | ISSR 6 2 12.16.13 | 13108 | 58.127 | -10.627 | 20.207
26 | ISSR 6 2 12.16.13 | 12034 | 53.369 | -10.649 | 20.088
26 | ISSR 6 2 12.16.13 | 11345 | 50.227 | -10.655 | 20.112
26 | ISSR 6 2 12.16.13 | 10671 | 47.164 | -10.658 | 20.174
26 | ISSR 6 2 12.16.13 | 10055 | 44.321 | -10.681 | 20.151
26 | ISSR 6 2 12.16.13 | 9463 | 41.69 | -10.658 | 20.22
26 | ISSR 6 2 12.16.13 | 8910 | 39.232 | -10.648 | 20.15
26 | ISSR 6 2 12.16.13 | 8389 | 37.019 | -10.666 | 20.197
26 | ISSR 6 2 12.16.13 | 7890 | 34.921 | -10.61 | 20.167
26 | ISSR 6 2 12.16.13 | 7410 | 32.926 | -10.659 | 20.254
27 | ISSR 8 1 12.16.13 | 3940 | 55.797 | -4.586 | 19.755
27 | ISSR 8 1 12.16.13 | 3938 | 56.574 | -4.57 | 19.67
27 | ISSR 8 1 12.16.13 | 3942 | 56.576 | -4.592 | 19.672
27 | ISSR 8 1 12.16.13 | 3939 | 56.562 | -4.581 | 19.668
27 | ISSR 8 1 12.16.13 | 3934 | 56.559 | -4.599 | 19.655
27 | ISSR 8 1 12.16.13 | 6338 | 15.091 | -9.661 | 20.892
27 | ISSR 8 1 12.16.13 | 18891 | 85.856 | -9.748 | 20.276
27 | ISSR 8 1 12.16.13 | 17443 | 79.273 | -9.771 | 20.231
27 | ISSR 8 1 12.16.13 | 16289 | 73.895 | -9.755 | 20.228
27 | ISSR 8 1 12.16.13 | 15248 | 69.049 | -9.763 | 20.281
27 | ISSR 8 1 12.16.13 | 14268 | 64.495 | -9.765 | 20.283
27 | ISSR 8 1 12.16.13 | 13349 | 60.268 | -9.746 | 20.265
27 | ISSR 8 1 12.16.13 | 12504 | 56.204 | -9.747 | 20.286
27 | ISSR 8 1 12.16.13 | 11708 | 52.592 | -9.754 | 20.318
27 | ISSR 8 1 12.16.13 | 10988 | 49.216 | -9.743 | 20.315
27 | ISSR 8 1 12.16.13 | 10299 | 46.087 | -9.745 | 20.347
28 | B | 3941 | 55.846 | -4.573 | 19.715
28 | B | 3942 | 56.607 | -4.57 | 19.67
28 | B | 3947 | 56.628 | -4.565 | 19.693
28 | B | 3943 | 56.567 | -4.586 | 19.658
28 | B | 3944 | 56.615 | -4.565 | 19.671
28 | B | 4065 | 9.652 | -19.395 | 24.497
28 | B | 11738 | 53.827 | -19.223 | 23.513
28 | B | 11047 | 49.291 | -19.241 | 23.56
28 | B | 10416 | 46.063 | -19.252 | 23.552
28 | B | 9791 | 43.19 | -19.226 | 23.577
28 | B | 9198 | 40.482 | -19.195 | 23.597
28 | B | 8642 | 38.063 | -19.231 | 23.542
28 | B | 8107 | 35.746 | -19.255 | 23.601
28 | B | 7595 | 33.56 | -19.242 | 23.551
28 | B | 7104 | 31.502 | -19.245 | 23.592
28 | B | 6639 | 29.515 | -19.237 | 23.586
29 | ISLM 1 12.16.13 | 3936 | 55.741 | -4.551 | 19.751
29 | ISLM 1 12.16.13 | 3935 | 56.511 | -4.57 | 19.67
29 | ISLM 1 12.16.13 | 3936 | 56.54 | -4.552 | 19.706
29 | ISLM 1 12.16.13 | 3937 | 56.51 | -4.564 | 19.68
29 | ISLM 1 12.16.13 | 3939 | 56.547 | -4.554 | 19.721
29 | ISLM 1 12.16.13 | 6089 | 14.484 | -11.858 | 20.704
29 | ISLM 1 12.16.13 | 17733 | 80.414 | -12.09 | 20.046
29 | ISLM 1 12.16.13 | 16300 | 73.928 | -12.157 | 19.948
29 | ISLM 1 12.16.13 | 15319 | 69.284 | -12.127 | 19.96
29 | ISLM 1 12.16.13 | 14312 | 64.674 | -12.135 | 19.951
29 | ISLM 1 12.16.13 | 13405 | 60.493 | -12.111 | 19.988
29 | ISLM 1 12.16.13 | 12582 | 56.628 | -12.113 | 20.018
29 | ISLM 1 12.16.13 | 11772 | 52.837 | -12.112 | 20.049
29 | ISLM 1 12.16.13 | 11027 | 49.386 | -12.113 | 20.065
29 | ISLM 1 12.16.13 | 10315 | 46.122 | -12.114 | 20.068
29 | ISLM 1 12.16.13 | 9660 | 43.154 | -12.079 | 20.165
30 | ISCD Dir 2 12.16.13 | 3942 | 55.824 | -4.551 | 19.721
30 | ISCD Dir 2 12.16.13 | 3938 | 56.56 | -4.57 | 19.67
30 | ISCD Dir 2 12.16.13 | 3941 | 56.57 | -4.564 | 19.692
30 | ISCD Dir 2 12.16.13 | 3941 | 56.637 | -4.58 | 19.67
30 | ISCD Dir 2 12.16.13 | 3941 | 56.598 | -4.547 | 19.708
30 | ISCD Dir 2 12.16.13 | 3876 | 9.121 | -10.563 | 21.655
30 | ISCD Dir 2 12.16.13 | 10732 | 47.541 | -10.748 | 20.371
30 | ISCD Dir 2 12.16.13 | 9921 | 43.856 | -10.767 | 20.292
30 | ISCD Dir 2 12.16.13 | 9324 | 41.171 | -10.806 | 20.279
30 | ISCD Dir 2 12.16.13 | 8781 | 38.7 | -10.776 | 20.299
30 | ISCD Dir 2 12.16.13 | 8267 | 36.418 | -10.794 | 20.29
30 | ISCD Dir 2 12.16.13 | 7778 | 34.306 | -10.766 | 20.307
30 | ISCD Dir 2 12.16.13 | 7338 | 32.397 | -10.788 | 20.365
30 | ISCD Dir 2 12.16.13 | 6880 | 30.493 | -10.768 | 20.383
30 | ISCD Dir 2 12.16.13 | 6442 | 28.64 | -10.763 | 20.385
30 | ISCD Dir 2 12.16.13 | 6026 | 26.944 | -10.752 | 20.442
31 | ISSR 8 2 12.16.13 | 3935 | 55.736 | -4.586 | 19.679
31 | ISSR 8 2 12.16.13 | 3932 | 56.469 | -4.57 | 19.67
31 | ISSR 8 2 12.16.13 | 3936 | 56.513 | -4.597 | 19.614
31 | ISSR 8 2 12.16.13 | 3935 | 56.464 | -4.574 | 19.632
31 | ISSR 8 2 12.16.13 | 3933 | 56.508 | -4.596 | 19.656
31 | ISSR 8 2 12.16.13 | 6420 | 15.27 | -9.126 | 20.649
31 | ISSR 8 2 12.16.13 | 18813 | 85.22 | -9.279 | 19.89
31 | ISSR 8 2 12.16.13 | 17311 | 78.349 | -9.32 | 19.822
31 | ISSR 8 2 12.16.13 | 16193 | 73.189 | -9.302 | 19.881
31 | ISSR 8 2 12.16.13 | 15169 | 68.423 | -9.307 | 19.888
31 | ISSR 8 2 12.16.13 | 14205 | 63.971 | -9.293 | 19.899
31 | ISSR 8 2 12.16.13 | 13297 | 59.775 | -9.297 | 19.924
31 | ISSR 8 2 12.16.13 | 12435 | 55.736 | -9.316 | 19.944
31 | ISSR 8 2 12.16.13 | 11656 | 52.098 | -9.292 | 19.979
31 | ISSR 8 2 12.16.13 | 10914 | 48.719 | -9.316 | 19.968
31 | ISSR 8 2 12.16.13 | 10215 | 45.549 | -9.314 | 20.032
32 | ISSR 7 2 12.16.13 | 3933 | 55.651 | -4.541 | 19.695
32 | ISSR 7 2 12.16.13 | 3932 | 56.455 | -4.57 | 19.67
32 | ISSR 7 2 12.16.13 | 3937 | 56.507 | -4.56 | 19.673
32 | ISSR 7 2 12.16.13 | 3932 | 56.505 | -4.553 | 19.609
32 | ISSR 7 2 12.16.13 | 3936 | 56.517 | -4.538 | 19.616
32 | ISSR 7 2 12.16.13 | 5294 | 12.492 | -10.08 | 21.598
32 | ISSR 7 2 12.16.13 | 14515 | 64.153 | -10.392 | 20.155
32 | ISSR 7 2 12.16.13 | 13493 | 59.554 | -10.39 | 20.082
32 | ISSR 7 2 12.16.13 | 12665 | 55.792 | -10.347 | 20.139
32 | ISSR 7 2 12.16.13 | 11926 | 52.482 | -10.379 | 20.123
32 | ISSR 7 2 12.16.13 | 11226 | 49.441 | -10.362 | 20.104
32 | ISSR 7 2 12.16.13 | 10555 | 46.577 | -10.364 | 20.145
32 | ISSR 7 2 12.16.13 | 9925 | 43.891 | -10.388 | 20.157
32 | ISSR 7 2 12.16.13 | 9307 | 41.304 | -10.386 | 20.179
32 | ISSR 7 2 12.16.13 | 8718 | 38.831 | -10.385 | 20.206
32 | ISSR 7 2 12.16.13 | 8149 | 36.468 | -10.365 | 20.203
33 | ISCD Ind 1 12.16.13 | 3939 | 55.82 | -4.545 | 19.724
33 | ISCD Ind 1 12.16.13 | 3938 | 56.527 | -4.57 | 19.67
33 | ISCD Ind 1 12.16.13 | 3941 | 56.576 | -4.569 | 19.654
33 | ISCD Ind 1 12.16.13 | 3942 | 56.581 | -4.563 | 19.622
33 | ISCD Ind 1 12.16.13 | 3939 | 56.591 | -4.554 | 19.629
33 | ISCD Ind 1 12.16.13 | 3514 | 8.293 | -10.193 | 21.139
33 | ISCD Ind 1 12.16.13 | 10120 | 45.798 | -10.24 | 20.567
33 | ISCD Ind 1 12.16.13 | 9267 | 41.885 | -10.32 | 20.456
33 | ISCD Ind 1 12.16.13 | 8716 | 39.34 | -10.332 | 20.444
33 | ISCD Ind 1 12.16.13 | 8206 | 36.946 | -10.295 | 20.484
33 | ISCD Ind 1 12.16.13 | 7717 | 34.672 | -10.297 | 20.54
33 | ISCD Ind 1 12.16.13 | 7250 | 32.514 | -10.3 | 20.519
33 | ISCD Ind 1 12.16.13 | 6807 | 30.419 | -10.295 | 20.579
33 | ISCD Ind 1 12.16.13 | 6397 | 28.54 | -10.285 | 20.533
33 | ISCD Ind 1 12.16.13 | 6005 | 26.738 | -10.292 | 20.566
33 | ISCD Ind 1 12.16.13 | 5639 | 25.099 | -10.253 | 20.569
34 | ISST Ind 2 12.16.13 | 3935 | 55.745 | -4.57 | 19.745
34 | ISST Ind 2 12.16.13 | 3936 | 56.508 | -4.57 | 19.67
34 | ISST Ind 2 12.16.13 | 3934 | 56.526 | -4.571 | 19.679
34 | ISST Ind 2 12.16.13 | 3935 | 56.484 | -4.583 | 19.658
34 | ISST Ind 2 12.16.13 | 3930 | 56.51 | -4.567 | 19.659
34 | ISST Ind 2 12.16.13 | 51 | 0.116 | -8.094 | 2227.636
34 | ISST Ind 2 12.16.13 | 159 | 0.788 | -79.879 | 1520.224
34 | ISST Ind 2 12.16.13 | 4780 | 12.556 | -16.221 | 106.09
34 | ISST Ind 2 12.16.13 | 13460 | 60.983 | -7.055 | 18.534
34 | ISST Ind 2 12.16.13 | 154 | 0.724 | -108.805 | 1485.281
34 | ISST Ind 2 12.16.13 | 12474 | 56.369 | -7.114 | 18.496
34 | ISST Ind 2 12.16.13 | 150 | 0.695 | -114.417 | 1495.655
34 | ISST Ind 2 12.16.13 | 11768 | 52.983 | -7.118 | 18.445
34 | ISST Ind 2 12.16.13 | 145 | 0.661 | -117.585 | 1522.596
34 | ISST Ind 2 12.16.13 | 11120 | 50.006 | -7.117 | 18.393
34 | ISST Ind 2 12.16.13 | 138 | 0.625 | -116.147 | 1552.279
34 | ISST Ind 2 12.16.13 | 10490 | 47.166 | -7.098 | 18.35
34 | ISST Ind 2 12.16.13 | 131 | 0.589 | -114.39 | 1591.871
34 | ISST Ind 2 12.16.13 | 9877 | 44.46 | -7.097 | 18.16
34 | ISST Ind 2 12.16.13 | 123 | 0.553 | -110.664 | 1629.85
34 | ISST Ind 2 12.16.13 | 9277 | 41.828 | -7.062 | 17.985
34 | ISST Ind 2 12.16.13 | 116 | 0.516 | -106.735 | 1680.614
34 | ISST Ind 2 12.16.13 | 8720 | 39.441 | -7.014 | 17.829
34 | ISST Ind 2 12.16.13 | 108 | 0.479 | -102.621 | 1723.829
34 | ISST Ind 2 12.16.13 | 8173 | 37.049 | -6.918 | 17.653
34 | ISST Ind 2 12.16.13 | 7648 | 34.772 | -7.245 | 19.727
35 | B | 3932 | 55.651 | -4.557 | 19.745
35 | B | 3929 | 56.454 | -4.57 | 19.67
35 | B | 3930 | 56.451 | -4.558 | 19.655
35 | B | 3932 | 56.466 | -4.564 | 19.64
35 | B | 3927 | 56.443 | -4.567 | 19.654
35 | B | 7455 | 17.795 | -19.21 | 23.69
35 | B | 22472 | 101.89 | -19.269 | 22.992
35 | B | 20910 | 94.566 | -19.281 | 22.989
35 | B | 19512 | 87.934 | -19.273 | 23.044
35 | B | 18183 | 81.867 | -19.255 | 23.061
35 | B | 16972 | 76.222 | -19.24 | 23.068
35 | B | 15825 | 71 | -19.267 | 23.099
35 | B | 14767 | 66.072 | -19.27 | 23.105
35 | B | 13795 | 61.568 | -19.273 | 23.142
35 | B | 12883 | 57.416 | -19.273 | 23.104
35 | B | 12029 | 53.547 | -19.274 | 23.169
36 | ISST Dir 2 12.16.13 | 3935 | 55.74 | -4.581 | 19.692
36 | ISST Dir 2 12.16.13 | 3932 | 56.464 | -4.57 | 19.67
36 | ISST Dir 2 12.16.13 | 3936 | 56.5 | -4.596 | 19.65
36 | ISST Dir 2 12.16.13 | 3935 | 56.47 | -4.574 | 19.655
36 | ISST Dir 2 12.16.13 | 3932 | 56.502 | -4.596 | 19.662
36 | ISST Dir 2 12.16.13 | 5748 | 13.63 | -9.153 | 21.407
36 | ISST Dir 2 12.16.13 | 16558 | 73.081 | -9.199 | 20.246
36 | ISST Dir 2 12.16.13 | 15365 | 67.684 | -9.211 | 20.207
36 | ISST Dir 2 12.16.13 | 14459 | 63.724 | -9.225 | 20.205
36 | ISST Dir 2 12.16.13 | 13615 | 60.001 | -9.208 | 20.217
36 | ISST Dir 2 12.16.13 | 12816 | 56.596 | -9.216 | 20.232
36 | ISST Dir 2 12.16.13 | 12051 | 53.366 | -9.217 | 20.229
36 | ISST Dir 2 12.16.13 | 11304 | 50.136 | -9.226 | 20.252
36 | ISST Dir 2 12.16.13 | 10589 | 47.157 | -9.21 | 20.26
36 | ISST Dir 2 12.16.13 | 9901 | 44.365 | -9.182 | 20.275
36 | ISST Dir 2 12.16.13 | 9265 | 41.659 | -9.12 | 20.362
37 | ISSR 4 2 12.16.13 | 3937 | 55.658 | -4.492 | 19.82
37 | ISSR 4 2 12.16.13 | 3929 | 56.48 | -4.57 | 19.67
37 | ISSR 4 2 12.16.13 | 3937 | 56.476 | -4.533 | 19.76
37 | ISSR 4 2 12.16.13 | 3930 | 56.428 | -4.547 | 19.711
37 | ISSR 4 2 12.16.13 | 3929 | 56.436 | -4.538 | 19.782
37 | ISSR 4 2 12.16.13 | 5550 | 13.146 | -10.09 | 21.361
37 | ISSR 4 2 12.16.13 | 16429 | 74.154 | -10.297 | 20.47
37 | ISSR 4 2 12.16.13 | 15120 | 68.325 | -10.32 | 20.373
37 | ISSR 4 2 12.16.13 | 14177 | 63.894 | -10.313 | 20.403
37 | ISSR 4 2 12.16.13 | 13277 | 59.748 | -10.317 | 20.426
37 | ISSR 4 2 12.16.13 | 12434 | 55.85 | -10.293 | 20.495
37 | ISSR 4 2 12.16.13 | 11627 | 52.164 | -10.263 | 20.511
37 | ISSR 4 2 12.16.13 | 10881 | 48.643 | -10.291 | 20.49
37 | ISSR 4 2 12.16.13 | 10191 | 45.471 | -10.296 | 20.483
37 | ISSR 4 2 12.16.13 | 9539 | 42.476 | -10.286 | 20.531
37 | ISSR 4 2 12.16.13 | 8930 | 39.736 | -10.262 | 20.584
38 | ISST Ind 1 12.16.13 | 3927 | 55.725 | -4.564 | 19.704
38 | ISST Ind 1 12.16.13 | 3927 | 56.413 | -4.57 | 19.67
38 | ISST Ind 1 12.16.13 | 3932 | 56.452 | -4.576 | 19.657
38 | ISST Ind 1 12.16.13 | 3932 | 56.417 | -4.562 | 19.671
38 | ISST Ind 1 12.16.13 | 3931 | 56.467 | -4.573 | 19.644
38 | ISST Ind 1 12.16.13 | 4125 | 9.754 | -5.808 | 23.692
38 | ISST Ind 1 12.16.13 | 11772 | 51.994 | -5.691 | 20.196
38 | ISST Ind 1 12.16.13 | 10848 | 47.872 | -5.761 | 20.047
38 | ISST Ind 1 12.16.13 | 10290 | 45.366 | -5.722 | 20.039
38 | ISST Ind 1 12.16.13 | 9645 | 42.624 | -5.731 | 20.056
38 | ISST Ind 1 12.16.13 | 9111 | 40.327 | -5.748 | 20.057
38 | ISST Ind 1 12.16.13 | 8548 | 37.947 | -5.715 | 19.992
38 | ISST Ind 1 12.16.13 | 8031 | 35.706 | -5.745 | 20.036
38 | ISST Ind 1 12.16.13 | 7537 | 33.658 | -5.684 | 20.042
38 | ISST Ind 1 12.16.13 | 7046 | 31.6 | -5.684 | 20.039
38 | ISST Ind 1 12.16.13 | 6583 | 29.631 | -5.725 | 20.249
39 | NBBC 1 12.17.13 | 3933 | 55.594 | -4.555 | 19.733
39 | NBBC 1 12.17.13 | 3929 | 56.377 | -4.57 | 19.67
39 | NBBC 1 12.17.13 | 3929 | 56.419 | -4.585 | 19.65
39 | NBBC 1 12.17.13 | 3927 | 56.401 | -4.568 | 19.653
39 | NBBC 1 12.17.13 | 3926 | 56.417 | -4.576 | 19.662
39 | NBBC 1 12.17.13 | 6949 | 16.536 | -7.096 | 20.855
39 | NBBC 1 12.17.13 | 20531 | 92.648 | -7.268 | 19.813
39 | NBBC 1 12.17.13 | 18818 | 84.897 | -7.339 | 19.684
39 | NBBC 1 12.17.13 | 17739 | 79.906 | -7.31 | 19.742
39 | NBBC 1 12.17.13 | 16554 | 74.321 | -7.296 | 19.752
39 | NBBC 1 12.17.13 | 15505 | 69.625 | -7.305 | 19.759
39 | NBBC 1 12.17.13 | 14541 | 65.169 | -7.296 | 19.794
39 | NBBC 1 12.17.13 | 13628 | 60.876 | -7.295 | 19.789
39 | NBBC 1 12.17.13 | 12759 | 56.905 | -7.253 | 19.858
39 | NBBC 1 12.17.13 | 11945 | 53.205 | -7.299 | 19.888
39 | NBBC 1 12.17.13 | 11185 | 49.83 | -7.309 | 19.894
40 | NBWS 1 12.17.13 | 3929 | 55.644 | -4.551 | 19.752
40 | NBWS 1 12.17.13 | 3929 | 56.426 | -4.57 | 19.67
40 | NBWS 1 12.17.13 | 3925 | 56.392 | -4.558 | 19.654
40 | NBWS 1 12.17.13 | 3930 | 56.408 | -4.57 | 19.688
40 | NBWS 1 12.17.13 | 3928 | 56.441 | -4.57 | 19.672
40 | NBWS 1 12.17.13 | 6728 | 15.912 | -12.066 | 21.441
40 | NBWS 1 12.17.13 | 18902 | 83.176 | -12.26 | 20.282
40 | NBWS 1 12.17.13 | 17478 | 77.02 | -12.307 | 20.204
40 | NBWS 1 12.17.13 | 16374 | 72.19 | -12.315 | 20.202
40 | NBWS 1 12.17.13 | 15348 | 67.749 | -12.296 | 20.205
40 | NBWS 1 12.17.13 | 14356 | 63.618 | -12.314 | 20.219
40 | NBWS 1 12.17.13 | 13400 | 59.607 | -12.307 | 20.179
40 | NBWS 1 12.17.13 | 12469 | 55.619 | -12.333 | 20.17
40 | NBWS 1 12.17.13 | 11619 | 51.986 | -12.324 | 20.184
40 | NBWS 1 12.17.13 | 10813 | 48.562 | -12.363 | 20.157
40 | NBWS 1 12.17.13 | 10071 | 45.401 | -12.343 | 20.189
41 | NBBC 2 12.17.13 | 3924 | 55.629 | -4.577 | 19.719
41 | NBBC 2 12.17.13 | 3927 | 56.375 | -4.57 | 19.67
41 | NBBC 2 12.17.13 | 3928 | 56.364 | -4.58 | 19.651
41 | NBBC 2 12.17.13 | 3930 | 56.411 | -4.574 | 19.65
41 | NBBC 2 12.17.13 | 3929 | 56.42 | -4.587 | 19.686
41 | NBBC 2 12.17.13 | 6608 | 15.666 | -7.771 | 20.99
41 | NBBC 2 12.17.13 | 18655 | 84.015 | -7.993 | 19.975
41 | NBBC 2 12.17.13 | 17302 | 77.791 | -7.996 | 19.994
41 | NBBC 2 12.17.13 | 16130 | 72.494 | -7.992 | 20.013
41 | NBBC 2 12.17.13 | 15074 | 67.623 | -7.973 | 20.028
41 | NBBC 2 12.17.13 | 14101 | 63.147 | -7.974 | 20.05
41 | NBBC 2 12.17.13 | 13188 | 58.98 | -7.98 | 20.081
41 | NBBC 2 12.17.13 | 12339 | 55.005 | -7.999 | 20.064
41 | NBBC 2 12.17.13 | 11545 | 51.398 | -7.95 | 20.069
41 | NBBC 2 12.17.13 | 10809 | 48.08 | -7.982 | 20.078
41 | NBBC 2 12.17.13 | 10129 | 44.972 | -7.979 | 20.155
42 | B | 3923 | 55.504 | -4.511 | 19.724
42 | B | 3923 | 56.307 | -4.57 | 19.67
42 | B | 3920 | 56.308 | -4.568 | 19.673
42 | B | 3922 | 56.259 | -4.554 | 19.691
42 | B | 3916 | 56.295 | -4.559 | 19.699
42 | B | 7748 | 18.364 | -19.159 | 24.214
42 | B | 22745 | 100.441 | -19.19 | 22.698
42 | B | 21230 | 93.524 | -19.178 | 22.682
42 | B | 19916 | 87.75 | -19.183 | 22.695
42 | B | 18632 | 82.322 | -19.164 | 22.685
42 | B | 17414 | 77.146 | -19.168 | 22.69
42 | B | 16245 | 72.368 | -19.164 | 22.738
42 | B | 15126 | 67.494 | -19.184 | 22.723
42 | B | 14054 | 62.989 | -19.196 | 22.736
42 | B | 13083 | 58.812 | -19.152 | 22.719
42 | B | 12157 | 54.832 | -19.172 | 22.829
43 | NBCT 1 12.17.13 | 3922 | 55.539 | -4.583 | 19.743
43 | NBCT 1 12.17.13 | 3923 | 56.339 | -4.57 | 19.67
43 | NBCT 1 12.17.13 | 3926 | 56.39 | -4.581 | 19.672
43 | NBCT 1 12.17.13 | 3928 | 56.343 | -4.56 | 19.664
43 | NBCT 1 12.17.13 | 3928 | 56.373 | -4.555 | 19.71
43 | NBCT 1 12.17.13 | 4230 | 9.993 | -5.506 | 21.04
43 | NBCT 1 12.17.13 | 11908 | 53.553 | -5.545 | 20.235
43 | NBCT 1 12.17.13 | 10997 | 49.41 | -5.574 | 20.2
43 | NBCT 1 12.17.13 | 10267 | 46.045 | -5.562 | 20.184
43 | NBCT 1 12.17.13 | 9590 | 42.963 | -5.579 | 20.173
43 | NBCT 1 12.17.13 | 8972 | 40.124 | -5.57 | 20.251
43 | NBCT 1 12.17.13 | 8392 | 37.453 | -5.527 | 20.207
43 | NBCT 1 12.17.13 | 7855 | 34.956 | -5.548 | 20.199
43 | NBCT 1 12.17.13 | 7350 | 32.672 | -5.569 | 20.24
43 | NBCT 1 12.17.13 | 6880 | 30.546 | -5.578 | 20.211
43 | NBCT 1 12.17.13 | 6448 | 28.574 | -5.513 | 20.357
44 | NBWS 2 12.17.13 | 3916 | 55.415 | -4.535 | 19.748
44 | NBWS 2 12.17.13 | 3918 | 56.212 | -4.57 | 19.67
44 | NBWS 2 12.17.13 | 3914 | 56.215 | -4.55 | 19.706
44 | NBWS 2 12.17.13 | 3915 | 56.21 | -4.583 | 19.661
44 | NBWS 2 12.17.13 | 3915 | 56.219 | -4.533 | 19.715
44 | NBWS 2 12.17.13 | 8485 | 20.187 | -12.454 | 22.054
44 | NBWS 2 12.17.13 | 24158 | 106.226 | -12.67 | 20.191
44 | NBWS 2 12.17.13 | 22308 | 98.333 | -12.712 | 20.121
44 | NBWS 2 12.17.13 | 20913 | 92.266 | -12.693 | 20.134
44 | NBWS 2 12.17.13 | 19640 | 87.031 | -12.705 | 20.165
44 | NBWS 2 12.17.13 | 18401 | 81.808 | -12.69 | 20.194
44 | NBWS 2 12.17.13 | 17176 | 76.702 | -12.677 | 20.231
44 | NBWS 2 12.17.13 | 16052 | 71.785 | -12.679 | 20.261
44 | NBWS 2 12.17.13 | 14978 | 67.272 | -12.662 | 20.24
44 | NBWS 2 12.17.13 | 13954 | 62.895 | -12.67 | 20.259
44 | NBWS 2 12.17.13 | 13017 | 58.768 | -12.658 | 20.343
45 | NB DI 12.17.13 | 3913 | 55.44 | -4.545 | 19.694
45 | NB DI 12.17.13 | 3912 | 56.16 | -4.57 | 19.67
45 | NB DI 12.17.13 | 3913 | 56.192 | -4.56 | 19.609
45 | NB DI 12.17.13 | 3909 | 56.155 | -4.555 | 19.633
45 | NB DI 12.17.13 | 3910 | 56.156 | -4.547 | 19.6
45 | NB DI 12.17.13 | 617 | 1.443 | -5.251 | 22.719
45 | NB DI 12.17.13 | 1703 | 7.576 | -4.699 | 22.279
45 | NB DI 12.17.13 | 1552 | 6.893 | -4.819 | 22.36
45 | NB DI 12.17.13 | 1449 | 6.427 | -4.828 | 22.175
45 | NB DI 12.17.13 | 1375 | 6.084 | -4.765 | 22.31
45 | NB DI 12.17.13 | 1282 | 5.667 | -4.73 | 22.245
45 | NB DI 12.17.13 | 1201 | 5.308 | -4.718 | 22.201
45 | NB DI 12.17.13 | 1126 | 4.953 | -4.833 | 22.14
45 | NB DI 12.17.13 | 1055 | 4.636 | -4.729 | 22.045
45 | NB DI 12.17.13 | 989 | 4.334 | -4.9 | 22.114
45 | NB DI 12.17.13 | 927 | 4.062 | -4.845 | 22.438
46 | NBCT 2 12.17.13 | 3909 | 55.302 | -4.541 | 19.705
46 | NBCT 2 12.17.13 | 3907 | 56.097 | -4.57 | 19.67
46 | NBCT 2 12.17.13 | 3910 | 56.129 | -4.552 | 19.669
46 | NBCT 2 12.17.13 | 3911 | 56.137 | -4.566 | 19.672
46 | NBCT 2 12.17.13 | 3910 | 56.154 | -4.567 | 19.678
46 | NBCT 2 12.17.13 | 4024 | 9.496 | -5.433 | 21.726
46 | NBCT 2 12.17.13 | 11534 | 50.709 | -5.456 | 20.583
46 | NBCT 2 12.17.13 | 10625 | 46.857 | -5.543 | 20.405
46 | NBCT 2 12.17.13 | 10020 | 44.279 | -5.52 | 20.387
46 | NBCT 2 12.17.13 | 9413 | 41.686 | -5.5 | 20.409
46 | NBCT 2 12.17.13 | 8827 | 39.265 | -5.49 | 20.456
46 | NBCT 2 12.17.13 | 8271 | 36.98 | -5.461 | 20.476
46 | NBCT 2 12.17.13 | 7720 | 34.604 | -5.468 | 20.472
46 | NBCT 2 12.17.13 | 7211 | 32.432 | -5.48 | 20.448
46 | NBCT 2 12.17.13 | 6741 | 30.363 | -5.5 | 20.501
46 | NBCT 2 12.17.13 | 6290 | 28.357 | -5.494 | 20.53
47 | WC Spring 2 bad vol 12.18.13 | 3909 | 55.383 | -4.6 | 19.749
47 | WC Spring 2 bad vol 12.18.13 | 3908 | 56.143 | -4.57 | 19.67
47 | WC Spring 2 bad vol 12.18.13 | 3912 | 56.167 | -4.581 | 19.672
47 | WC Spring 2 bad vol 12.18.13 | 3912 | 56.134 | -4.582 | 19.678
47 | WC Spring 2 bad vol 12.18.13 | 3906 | 56.155 | -4.571 | 19.663
47 | WC Spring 2 bad vol 12.18.13 | 11361 | 27.315 | -11.951 | 20.838
47 | WC Spring 2 bad vol 12.18.13 | 33286 | 149.125 | -12.241 | 19.474
47 | WC Spring 2 bad vol 12.18.13 | 30702 | 137.488 | -12.241 | 19.475
47 | WC Spring 2 bad vol 12.18.13 | 28641 | 128.096 | -12.259 | 19.523
47 | WC Spring 2 bad vol 12.18.13 | 26768 | 119.551 | -12.25 | 19.552
47 | WC Spring 2 bad vol 12.18.13 | 25041 | 111.603 | -12.252 | 19.614
47 | WC Spring 2 bad vol 12.18.13 | 23440 | 104.42 | -12.218 | 19.638
47 | WC Spring 2 bad vol 12.18.13 | 21919 | 97.413 | -12.243 | 19.634
47 | WC Spring 2 bad vol 12.18.13 | 20537 | 91.142 | -12.242 | 19.69
47 | WC Spring 2 bad vol 12.18.13 | 19236 | 85.261 | -12.243 | 19.744
47 | WC Spring 2 bad vol 12.18.13 | 18026 | 79.837 | -12.227 | 19.777
48 | WC6 2 12.18.13 | 3908 | 55.264 | -4.562 | 19.722
48 | WC6 2 12.18.13 | 3907 | 56.107 | -4.57 | 19.67
48 | WC6 2 12.18.13 | 3912 | 56.112 | -4.562 | 19.655
48 | WC6 2 12.18.13 | 3912 | 56.113 | -4.544 | 19.659
48 | WC6 2 12.18.13 | 3903 | 56.103 | -4.553 | 19.696
48 | WC6 2 12.18.13 | 10361 | 24.816 | -10.065 | 21.276
48 | WC6 2 12.18.13 | 30993 | 136.166 | -10.205 | 20.084
48 | WC6 2 12.18.13 | 28186 | 124.598 | -10.327 | 19.934
48 | WC6 2 12.18.13 | 26550 | 117.443 | -10.309 | 19.949
48 | WC6 2 12.18.13 | 25020 | 111.024 | -10.292 | 19.98
48 | WC6 2 12.18.13 | 23211 | 103.449 | -10.299 | 20.01
48 | WC6 2 12.18.13 | 21811 | 97.689 | -10.281 | 20.056
48 | WC6 2 12.18.13 | 20342 | 91.372 | -10.292 | 20.085
48 | WC6 2 12.18.13 | 18977 | 85.557 | -10.258 | 20.121
48 | WC6 2 12.18.13 | 17698 | 79.893 | -10.246 | 20.156
48 | WC6 2 12.18.13 | 16507 | 74.586 | -10.268 | 20.237
49 | B | 3912 | 55.394 | -4.599 | 19.715
49 | B | 3907 | 56.136 | -4.57 | 19.67
49 | B | 3912 | 56.153 | -4.582 | 19.697
49 | B | 3908 | 56.132 | -4.586 | 19.671
49 | B | 3911 | 56.142 | -4.581 | 19.692
49 | B | 7631 | 18.106 | -19.171 | 24.358
49 | B | 22394 | 100.847 | -19.263 | 23.458
49 | B | 20745 | 93.018 | -19.313 | 23.451
49 | B | 19327 | 86.478 | -19.279 | 23.481
49 | B | 18012 | 80.509 | -19.25 | 23.505
49 | B | 16797 | 74.984 | -19.283 | 23.499
49 | B | 15648 | 69.75 | -19.27 | 23.534
49 | B | 14592 | 64.847 | -19.292 | 23.546
49 | B | 13605 | 60.383 | -19.287 | 23.551
49 | B | 12700 | 56.269 | -19.276 | 23.543
49 | B | 11844 | 52.416 | -19.311 | 23.616
50 | WC1 12.18.13 | 3907 | 55.259 | -4.542 | 19.697
50 | WC1 12.18.13 | 3902 | 56.018 | -4.57 | 19.67
50 | WC1 12.18.13 | 3905 | 56.041 | -4.581 | 19.628
50 | WC1 12.18.13 | 3905 | 56.079 | -4.581 | 19.684
50 | WC1 12.18.13 | 3898 | 56.073 | -4.552 | 19.661
50 | WC1 12.18.13 | 11568 | 27.869 | -10.857 | 22.582
50 | WC1 12.18.13 | 34672 | 152.743 | -10.972 | 20.158
50 | WC1 12.18.13 | 32002 | 141.275 | -11.011 | 20.093
50 | WC1 12.18.13 | 29951 | 132.72 | -11.013 | 20.088
50 | WC1 12.18.13 | 28054 | 125.024 | -11.004 | 20.112
50 | WC1 12.18.13 | 26248 | 117.36 | -11.025 | 20.141
50 | WC1 12.18.13 | 24486 | 109.965 | -10.993 | 20.175
50 | WC1 12.18.13 | 22877 | 102.899 | -11.011 | 20.188
50 | WC1 12.18.13 | 21334 | 96.238 | -10.997 | 20.212
50 | WC1 12.18.13 | 19917 | 89.999 | -10.995 | 20.237
50 | WC1 12.18.13 | 18647 | 84.277 | -10.98 | 20.409
51 | WC 6 1 12.18.13 | 3907 | 55.329 | -4.561 | 19.776
51 | WC 6 1 12.18.13 | 3909 | 56.123 | -4.57 | 19.67
51 | WC 6 1 12.18.13 | 3909 | 56.101 | -4.576 | 19.732
51 | WC 6 1 12.18.13 | 3904 | 56.076 | -4.58 | 19.687
51 | WC 6 1 12.18.13 | 3902 | 56.047 | -4.542 | 19.698
51 | WC 6 1 12.18.13 | 9744 | 23.235 | -10.201 | 21.067
51 | WC 6 1 12.18.13 | 28634 | 128.232 | -10.366 | 19.933
51 | WC 6 1 12.18.13 | 26361 | 117.971 | -10.393 | 19.896
51 | WC 6 1 12.18.13 | 24609 | 109.989 | -10.387 | 19.932
51 | WC 6 1 12.18.13 | 22993 | 102.669 | -10.368 | 19.937
51 | WC 6 1 12.18.13 | 21493 | 95.839 | -10.373 | 19.961
51 | WC 6 1 12.18.13 | 20108 | 89.568 | -10.358 | 20.027
51 | WC 6 1 12.18.13 | 18827 | 83.639 | -10.37 | 20.041
51 | WC 6 1 12.18.13 | 17620 | 78.203 | -10.385 | 20.053
51 | WC 6 1 12.18.13 | 16488 | 73.075 | -10.38 | 20.105
51 | WC 6 1 12.18.13 | 15445 | 68.353 | -10.388 | 20.11
52 | WC3 2 12.18.13 | 3904 | 55.357 | -4.58 | 19.672
52 | WC3 2 12.18.13 | 3911 | 56.175 | -4.57 | 19.67
52 | WC3 2 12.18.13 | 3912 | 56.203 | -4.582 | 19.664
52 | WC3 2 12.18.13 | 3918 | 56.168 | -4.567 | 19.645
52 | WC3 2 12.18.13 | 3913 | 56.21 | -4.573 | 19.682
52 | WC3 2 12.18.13 | 10833 | 25.994 | -10.499 | 22.232
52 | WC3 2 12.18.13 | 32797 | 144.465 | -10.555 | 20.343
52 | WC3 2 12.18.13 | 30219 | 133.653 | -10.593 | 20.26
52 | WC3 2 12.18.13 | 28224 | 125.126 | -10.594 | 20.279
52 | WC3 2 12.18.13 | 26391 | 117.605 | -10.554 | 20.315
52 | WC3 2 12.18.13 | 24620 | 110.337 | -10.571 | 20.371
52 | WC3 2 12.18.13 | 22992 | 103.335 | -10.552 | 20.371
52 | WC3 2 12.18.13 | 21395 | 96.402 | -10.564 | 20.417
52 | WC3 2 12.18.13 | 19919 | 90.077 | -10.562 | 20.461
52 | WC3 2 12.18.13 | 18568 | 84.093 | -10.532 | 20.528
52 | WC3 2 12.18.13 | 17332 | 78.495 | -10.541 | 20.598
53 | WC DI 12.18.13 | 3911 | 55.423 | -4.584 | 19.722
53 | WC DI 12.18.13 | 3905 | 56.121 | -4.57 | 19.67
53 | WC DI 12.18.13 | 3908 | 56.17 | -4.579 | 19.673
53 | WC DI 12.18.13 | 3907 | 56.105 | -4.572 | 19.675
53 | WC DI 12.18.13 | 3907 | 56.095 | -4.554 | 19.676
53 | WC DI 12.18.13 | 427 | 0.994 | -9.35 | 25.823
53 | WC DI 12.18.13 | 991 | 4.402 | -8.98 | 25.308
53 | WC DI 12.18.13 | 907 | 4.025 | -8.908 | 25.1
53 | WC DI 12.18.13 | 845 | 3.74 | -9.014 | 25.273
53 | WC DI 12.18.13 | 791 | 3.495 | -8.938 | 25.109
53 | WC DI 12.18.13 | 741 | 3.27 | -9.085 | 25.146
53 | WC DI 12.18.13 | 695 | 3.062 | -9.074 | 25.427
53 | WC DI 12.18.13 | 652 | 2.86 | -9.197 | 25.153
53 | WC DI 12.18.13 | 611 | 2.679 | -9.073 | 25.254
53 | WC DI 12.18.13 | 573 | 2.51 | -9.024 | 25.356
53 | WC DI 12.18.13 | 538 | 2.353 | -9.105 | 25.482
54 | WC Spring 1 12.18.13 | 3902 | 55.203 | -4.561 | 19.758
54 | WC Spring 1 12.18.13 | 3902 | 55.957 | -4.57 | 19.67
54 | WC Spring 1 12.18.13 | 3894 | 55.939 | -4.55 | 19.683
54 | WC Spring 1 12.18.13 | 3899 | 55.957 | -4.566 | 19.705
54 | WC Spring 1 12.18.13 | 3894 | 55.972 | -4.544 | 19.691
54 | WC Spring 1 12.18.13 | 12438 | 29.87 | -11.905 | 21.656
54 | WC Spring 1 12.18.13 | 37629 | 166.348 | -11.881 | 12.026
54 | WC Spring 1 12.18.13 | 34868 | 154.622 | -12.208 | 19.997
54 | WC Spring 1 12.18.13 | 32541 | 144.796 | -12.224 | 20.03
54 | WC Spring 1 12.18.13 | 30409 | 135.875 | -12.222 | 20.044
54 | WC Spring 1 12.18.13 | 28341 | 127.239 | -12.225 | 20.097
54 | WC Spring 1 12.18.13 | 26412 | 118.886 | -12.205 | 20.131
54 | WC Spring 1 12.18.13 | 24614 | 110.96 | -12.23 | 20.161
54 | WC Spring 1 12.18.13 | 22971 | 103.711 | -12.213 | 20.204
54 | WC Spring 1 12.18.13 | 21463 | 96.871 | -12.229 | 20.204
54 | WC Spring 1 12.18.13 | 20074 | 90.51 | -12.221 | 20.281
55 | WC3 1 12.18.13 | 3899 | 55.193 | -4.563 | 19.725
55 | WC3 1 12.18.13 | 3897 | 55.983 | -4.57 | 19.67
55 | WC3 1 12.18.13 | 3896 | 55.972 | -4.571 | 19.696
55 | WC3 1 12.18.13 | 3901 | 55.982 | -4.562 | 19.693
55 | WC3 1 12.18.13 | 3903 | 56.011 | -4.569 | 19.712
55 | WC3 1 12.18.13 | 182 | 0.642 | -8.023 | 1461.058
55 | WC3 1 12.18.13 | 10002 | 18.518 | 33.4 | 46.44
55 | WC3 1 12.18.13 | 27640 | 138.368 | 22.944 | 47.413
55 | WC3 1 12.18.13 | 25654 | 127.748 | 26.882 | 50.789
55 | WC3 1 12.18.13 | 24108 | 119.186 | 29.688 | 53.108
55 | WC3 1 12.18.13 | 22694 | 111.462 | 32.098 | 54.904
55 | WC3 1 12.18.13 | 188 | 0.912 | 419.752 | 2864.5
55 | WC3 1 12.18.13 | 21257 | 103.062 | -10.73 | 17.415
55 | WC3 1 12.18.13 | 193 | 0.944 | 369.453 | 2715.544
55 | WC3 1 12.18.13 | 20005 | 96.429 | -10.689 | 17.242
55 | WC3 1 12.18.13 | 196 | 0.958 | 321.559 | 2547.04
55 | WC3 1 12.18.13 | 18825 | 90.015 | -10.701 | 17.309
55 | WC3 1 12.18.13 | 196 | 0.962 | 256.224 | 2400.273
55 | WC3 1 12.18.13 | 17686 | 84.108 | -10.713 | 17.493
55 | WC3 1 12.18.13 | 197 | 0.984 | 291.434 | 2349.335
55 | WC3 1 12.18.13 | 16646 | 78.304 | -10.781 | 17.597
55 | WC3 1 12.18.13 | 15651 | 73.301 | -11.112 | 20.038
56 | E | 3918 | 55.399 | -4.585 | 19.709
56 | E | 3912 | 56.182 | -4.57 | 19.67
56 | E | 3911 | 56.187 | -4.584 | 19.684
56 | E | 3906 | 56.16 | -4.608 | 19.686
56 | E | 3909 | 56.157 | -4.597 | 19.7
56 | E | 29455 | 73.826 | -19.179 | 23.885
56 | E | 49926 | 316.73 | -132.998 | -188.198
56 | E | 49918 | 306.847 | -130.174 | -184.562
56 | E | 49910 | 297.644 | -127.239 | -180.649
56 | E | 49905 | 288.305 | -123.715 | -175.922
56 | E | 49902 | 279.226 | -119.656 | -170.486
56 | E | 49898 | 269.745 | -114.706 | -163.67
56 | E | 49894 | 259.449 | -108.655 | -155.283
56 | E | 49888 | 248.803 | -100.911 | -144.68
56 | E | 49878 | 236.472 | -89.456 | -129.416
56 | E | 49264 | 221.277 | -67.187 | -102.21
57 | D | 3905 | 55.335 | -4.547 | 19.727
57 | D | 3905 | 56.066 | -4.57 | 19.67
57 | D | 3906 | 56.088 | -4.549 | 19.737
57 | D | 3907 | 56.023 | -4.548 | 19.672
57 | D | 3902 | 56.054 | -4.544 | 19.685
57 | D | 15206 | 36.625 | -19.258 | 24.511
57 | D | 46505 | 208.276 | -44.172 | -73.333
57 | D | 42814 | 190.98 | -19.924 | -34.815
57 | D | 39819 | 177.186 | -18.359 | -4.757
57 | D | 37100 | 164.938 | -19.169 | 17.586
57 | D | 34566 | 153.504 | -19.365 | 23.103
57 | D | 32197 | 142.782 | -19.378 | 23.137
57 | D | 29988 | 132.601 | -19.382 | 23.193
57 | D | 27922 | 123.349 | -19.384 | 23.226
57 | D | 26035 | 114.836 | -19.387 | 23.258
57 | D | 24350 | 107.135 | -19.339 | 23.364
58 | C | 3901 | 55.181 | -4.489 | 19.748
58 | C | 3901 | 55.97 | -4.57 | 19.67
58 | C | 3892 | 55.939 | -4.503 | 19.727
58 | C | 3891 | 55.86 | -4.564 | 19.635
58 | C | 3897 | 55.991 | -4.5 | 19.741
58 | C | 11965 | 28.845 | -19.155 | 24.5
58 | C | 36539 | 162.109 | -19.195 | 21.058
58 | C | 33767 | 150.053 | -19.278 | 23.179
58 | C | 31470 | 140.412 | -19.301 | 23.202
58 | C | 29278 | 130.957 | -19.293 | 23.239
58 | C | 27170 | 122.094 | -19.258 | 23.289
58 | C | 25229 | 113.646 | -19.287 | 23.311
58 | C | 23421 | 105.497 | -19.308 | 23.337
58 | C | 21776 | 98.144 | -19.274 | 23.358
58 | C | 20294 | 91.426 | -19.29 | 23.344
58 | C | 18908 | 85.097 | -19.24 | 23.495
59 | B | 3903 | 55.287 | -4.397 | 19.957
59 | B | 3903 | 56.016 | -4.57 | 19.67
59 | B | 3900 | 56.014 | -4.391 | 19.862
59 | B | 3902 | 56.019 | -4.552 | 19.663
59 | B | 3903 | 56.062 | -4.408 | 19.824
59 | B | 7705 | 18.388 | -18.959 | 25.124
59 | B | 22782 | 101.957 | -19.264 | 23.477
59 | B | 21071 | 94.022 | -19.234 | 23.494
59 | B | 19697 | 87.751 | -19.227 | 23.514
59 | B | 18350 | 81.593 | -19.24 | 23.539
59 | B | 17072 | 75.804 | -19.201 | 23.598
59 | B | 15914 | 70.574 | -19.17 | 23.607
59 | B | 14829 | 65.55 | -19.2 | 23.64
59 | B | 13822 | 61.01 | -19.215 | 23.64
59 | B | 12910 | 56.883 | -19.213 | 23.644
59 | B | 12072 | 53.087 | -18.991 | 23.904
60 | F | 3897 | 55.107 | -4.232 | 20.089
60 | F | 3897 | 55.92 | -4.57 | 19.67
60 | F | 3898 | 55.944 | -4.255 | 20.008
60 | F | 3895 | 55.956 | -4.562 | 19.672
60 | F | 3895 | 56.007 | -4.279 | 20.017
60 | F | 4409 | 10.461 | -18.762 | 24.898
60 | F | 13043 | 58.06 | -19.032 | 23.517
60 | F | 12108 | 53.965 | -19.027 | 23.448
60 | F | 11269 | 50.417 | -19.004 | 23.471
60 | F | 10454 | 46.936 | -19.016 | 23.473
60 | F | 9687 | 43.665 | -18.861 | 23.618
60 | F | 8994 | 40.642 | -18.849 | 23.7
60 | F | 8362 | 37.697 | -18.888 | 23.642
60 | F | 7771 | 35.015 | -18.872 | 23.627
60 | F | 7150 | 32.18 | -18.919 | 23.602
60 | F | 6693 | 30.058 | -18.911 | 23.676
61 | A | 3898 | 55.19 | -4.498 | 19.764
61 | A | 3901 | 55.951 | -4.57 | 19.67
61 | A | 3897 | 55.966 | -4.516 | 19.737
61 | A | 3900 | 55.979 | -4.569 | 19.661
61 | A | 3902 | 56.021 | -4.53 | 19.721
61 | A | 3132 | 7.386 | -18.914 | 24.843
61 | A | 8934 | 39.875 | -19.057 | 23.825
61 | A | 8241 | 36.707 | -19.117 | 23.729
61 | A | 7715 | 34.295 | -19.109 | 23.729
61 | A | 7208 | 31.989 | -19.114 | 23.726
61 | A | 6719 | 29.76 | -19.081 | 23.798
61 | A | 6280 | 27.778 | -19.087 | 23.815
61 | A | 5863 | 25.859 | -19.083 | 23.752
61 | A | 5481 | 24.116 | -19.136 | 23.846
61 | A | 5123 | 22.479 | -19.108 | 23.779
61 | A | 4803 | 21.034 | -19.133 | 23.877