## Data Export
ID | Date Analyzed | Run # | Sample ID | Volume | Type | peak area | δ13C (PDB) | δ13C error (1σ) | Analyst | Researcher | Reaction Temperature (°C) | Reaction Time (hours) | Notes | Notes II
NB Blank | 2013-04-04 | 15 | NB Blank | 0.4 |  | 1.232 | -9.9087 | 0.048518 | Peter Carlson |  | 50 | 2 | 2013-03-21
NBCT | 2013-04-04 | 16 | NBCT | 0.4 |  | 29.129 | -8.7804 | 0.048518 | Peter Carlson |  | 50 | 2 | 2013-03-21
NBWS | 2013-04-04 | 17 | NBWS | 0.4 |  | 61.833 | -13.4366 | 0.048518 | Peter Carlson |  | 50 | 2 | 2013-03-21
NBBC | 2013-04-04 | 18 | NBBC | 0.4 |  | 52.763 | -9.2026 | 0.048518 | Peter Carlson |  | 50 | 2 | 2013-03-21
ISST Indirect | 2013-04-04 | 19 | ISST Indirect | 0.4 |  | 27.923 | -7.5353 | 0.048518 | Peter Carlson |  | 50 | 2 | 2013-03-17
IS Blank | 2013-04-04 | 20 | IS Blank | 0.4 |  | 1.046 | -7.3829 | 0.048518 | Peter Carlson |  | 50 | 2 | 2013-03-17
ISSR 7 2 | 2013-04-04 | 21 | ISSR 7 2 | 0.4 |  | 38.714 | -10.3915 | 0.048518 | Peter Carlson |  | 50 | 2 | 2013-03-17
ISLM 1 | 2013-04-04 | 23 | ISLM 1 | 0.4 |  | 17.918 | -12.6575 | 0.048518 | Peter Carlson |  | 50 | 2 | 2013-03-17
ISLM 2 | 2013-04-04 | 24 | ISLM 2 | 0.4 |  | 20.377 | -12.185 | 0.048518 | Peter Carlson |  | 50 | 2 | 2013-03-17
ISSR 7 1 | 2013-04-04 | 25 | ISSR 7 1 | 0.4 |  | 36.137 | -10.3687 | 0.048518 | Peter Carlson |  | 50 | 2
1 | 2013-04-04 | 26 | 1 |  |  | 50.965 | 0.92596 | 0.048518 | Peter Carlson |  | 50 | 2 | 2013-03-17
2 | 2013-04-04 | 27 | 2 |  |  | 53.019 | 0.79665 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
3 | 2013-04-04 | 28 | 3 |  |  | 52.715 | 0.8496 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
4 | 2013-04-04 | 29 | 4 |  |  | 51.299 | 0.55123 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
5 | 2013-04-04 | 31 | 5 |  |  | 51.522 | 0.57074 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
6 | 2013-04-04 | 32 | 6 |  |  | 51.884 | 0.72569 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
7 | 2013-04-04 | 33 | 7 |  |  | 53.298 | 0.5519 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
8 | 2013-04-04 | 34 | 8 |  |  | 53.494 | 0.71772 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
9 | 2013-04-04 | 35 | 9 |  |  | 52.733 | 0.55484 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
10 | 2013-04-04 | 36 | 10 |  |  | 51.604 | 0.31118 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
11 | 2013-04-04 | 37 | 11 |  |  | 52.155 | 0.35726 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
12 | 2013-04-04 | 39 | 12 |  |  | 49.559 | 0.42519 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
13 | 2013-04-04 | 40 | 13 |  |  | 52.408 | 0.51797 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
14 | 2013-04-04 | 41 | 14 |  |  | 52.204 | 0.4005 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
15 | 2013-04-04 | 42 | 15 |  |  | 51.192 | 0.71892 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
16 | 2013-04-04 | 43 | 16 |  |  | 50.492 | 0.76508 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
17 | 2013-04-04 | 44 | 17 |  |  | 55.524 | 0.29897 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
18 | 2013-04-04 | 45 | 18 |  |  | 53.635 | 0.23025 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
19 | 2013-04-04 | 47 | 19 |  |  | 52.058 | 0.41194 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
20 | 2013-04-04 | 48 | 20 |  |  | 52.88 | 0.52872 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
21 | 2013-04-04 | 49 | 21 |  |  | 52.523 | 0.63663 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
22 | 2013-04-04 | 50 | 22 |  |  | 53.732 | 0.1597 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
23 | 2013-04-04 | 51 | 23 |  |  | 56.934 | 0.38123 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
24 | 2013-04-04 | 52 | 24 |  |  | 51.872 | 0.19467 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
25 | 2013-04-04 | 53 | 25 |  |  | 52.984 | 0.68817 | 0.048518 | Peter Carlson |  | 50 | 2 | Unknown
time wait | 2013-04-04 | 55 | time wait | 1 |  |  |  | 0.048518 | Peter Carlson |  | 50 | 2
NBS18 | 2013-04-04 | 56 | NBS18 |  |  | 96.974 | 3.9997 | 0.048518 | Peter Carlson |  | 50 | 2 | wait
NBS18 | 2013-04-04 | 57 | NBS18 |  |  | 93.835 | -5.159 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs
NBS19 | 2013-04-04 | 58 | NBS19 |  |  | 111.781 | -5.5906 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs
NBS19 | 2013-04-04 | 59 | NBS19 |  |  | 104.872 | 1.6415 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs
UTM | 2013-04-04 | 60 | UTM |  |  | 113.337 | 1.5114 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs
1 | 2013-04-04 | 61 | 1 |  |  | 109.721 | 4.1909 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs
2 | 2013-04-04 | 62 | 2 |  |  | 72.138 | 0.25738 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs
3 | 2013-04-04 | 63 | 3 |  |  | 93.011 | 1.24 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs
UTM | 2013-04-04 | 64 | UTM |  |  | 164.948 | -4.2183 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs
NBS18 | 2013-04-04 | 65 | NBS18 |  |  | 113.539 | 4.221 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs
4 | 2013-04-04 | 66 | 4 |  |  | 133.513 | -5.2466 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs
5 | 2013-04-04 | 67 | 5 |  |  | 330.765 | -97.3859 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs
NBS19 | 2013-04-04 | 68 | NBS19 |  |  | 30.692 | -3.7097 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs
UTM | 2013-04-04 | 69 | UTM |  |  | 118.295 | 1.7272 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs
UTM | 2013-04-04 | 70 | UTM |  |  | 98.56 | 3.9538 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs
?? | 2013-04-04 | 71 | ?? |  |  | 101.523 | 4.1526 | 0.048518 | Peter Carlson |  | 50 | 2 | carbs

## Calibration
Gas Bench DIC Calibration
|  |  | Date: | 2013-04-04
|  |  | Operator: | Peter Carlson
Calibration Notes
|  |  | d13C max stdev: | 0.2
|  |  | Peaks used: | Last Two
|  |  | Blank Correction: | No (No Peaks)
|  |  | Linearity Correction: | Yes (Auto)
|  |  | Drift Correction: | Yes (Auto)
Standard
|  |  | Name | mg NaHCO3 | mL H2O | mmol/L NaHCO3 | mg/L C | mg/L HCO3 | µg C | Area 44 | δ13C
|  |  | A | 41.1 | 500 | 0.97849 | 11.7524 | 59.7046 | 11.7524 | 22.0385 | -19.3938
|  |  | B | 48.2 | 250 | 2.2951 | 27.5652 | 140.0371 | 27.5652 | 52.936 | -19.3898
|  |  | C | 76.228 | 250 | 3.6296 | 43.5943 | 221.4678 | #DIV/0!
|  |  | D | 109.608 | 250 | 5.219 | 62.684 | 318.4479 | #DIV/0!
|  |  | E | 200.13 | 250 | 9.5292 | 114.4529 | 581.4445 | #DIV/0!
|  |  | F | 30.82 | 250 | 1.4675 | 17.6257 | 89.5424 | 17.6257 | 33.55 | -19.4309
|  |  | Calibration | slope | intercept |  | linearity | drift | standard
|  |  | carbon | #DIV/0! | #DIV/0! |  | -0.00073793 | -0.00017485 | -0.042022
ALL | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | STD-Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
1 | Blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
2 | Blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
3 | A | 1 | 4107 | 21.502 | -19.4385 | 28.6465 | 0.19728 | 0.59185 | 21.502 | -19.4385 |  | -19.4226 | -19.4223 | -19.4643 | #DIV/0! | #DIV/0!
4 | A | 1 | 4247 | 22.575 | -19.3825 | 28.259 | 0.096874 | 0.067882 | 22.575 | -19.3825 |  | -19.3658 | -19.3653 | -19.4073 | #DIV/0! | #DIV/0!
5 | F | 1 | 6298 | 33.104 | -19.5325 | 28.2715 | 0.29769 | 0.2284 | 33.104 | -19.5325 |  | -19.5081 | -19.5074 | -19.5494 | #DIV/0! | #DIV/0!
6 | F | 1 | 6353 | 33.55 | -19.4565 | 28.29 | 0.19304 | 0.25597 | 33.55 | -19.4565 |  | -19.4317 | -19.4309 | -19.4729 | #DIV/0! | #DIV/0!
7 | B | 1 | 10067 | 53.139 | -19.4915 | 28.3085 | 0.24819 | 0.20435 | 53.139 | -19.4915 |  | -19.4523 | -19.4512 | -19.4933 | #DIV/0! | #DIV/0!
8 | B | 1 | 10301 | 54.01 | -19.519 | 28.283 | 0.24324 | 0.34931 | 54.01 | -19.519 |  | -19.4791 | -19.4779 | -19.5199 | #DIV/0! | #DIV/0!
9 | C | 1 | 15835 | 84.101 | -19.547 | 28.18 | 0.24466 | 0.096167 | 84.101 | -19.547 |  | -19.4849 | -19.4835 | -19.5256 | #DIV/0! | #DIV/0!
10 | C | 1 | 15899 | 83.121 | -19.629 | 28.475 | 0.32527 | 0.61943 | 83.121 | -19.629 |  | -19.5677 | -19.5661 | -19.6081 | #DIV/0! | #DIV/0!
11 | D | 1 | 22978 | 122.785 | -19.5525 | 28.1875 | 0.31891 | 0.14496 | 122.785 | -19.5525 |  | -19.4619 | -19.4601 | -19.5022 | #DIV/0! | #DIV/0!
12 | D | 1 | 22874 | 120.364 | -19.7705 | 28.52 | 0.6371 | 0.80752 | 120.364 | -19.7705 |  | -19.6817 | -19.6798 | -19.7218 | #DIV/0! | #DIV/0!
13 | E | 1 | 40644 | 221.064 | -18.276 | -1.769 | 0.42144 | 7.5038 | 221.064 | -18.276 |  | -18.1129 | -18.1108 | -18.1528 | #DIV/0! | #DIV/0!
14 | E | 1 | 41354 | 222.755 | -19.319 | -7.9725 | 2.233 | 6.3618 | 222.755 | -19.319 |  | -19.1546 | -19.1523 | -19.1944 | #DIV/0! | #DIV/0!
15 | NB Blank | 0.4 | 233 | 1.232 | -9.87 | 26.9345 | 0.13859 | 0.016263 | 1.232 | -9.87 |  | -9.8691 | -9.8666 | -9.9087 | #DIV/0! | #DIV/0!
16 | NBCT | 0.4 | 5567 | 29.129 | -8.7625 | 23.1895 | 0.42356 | 0.3486 | 29.129 | -8.7625 |  | -8.741 | -8.7384 | -8.7804 | #DIV/0! | #DIV/0!
17 | NBWS | 0.4 | 11591 | 61.833 | -13.443 | 22.827 | 0.098995 | 0.12869 | 61.833 | -13.443 |  | -13.3974 | -13.3946 | -13.4366 | #DIV/0! | #DIV/0!
18 | NBBC | 0.4 | 10025 | 52.763 | -9.2025 | 23.2075 | 0.26658 | 0.40376 | 52.763 | -9.2025 |  | -9.1636 | -9.1606 | -9.2026 | #DIV/0! | #DIV/0!
19 | ISST Indirect | 0.4 | 5288 | 27.923 | -7.517 | 22.799 | 0.24607 | 0.12869 | 27.923 | -7.517 |  | -7.4964 | -7.4932 | -7.5353 | #DIV/0! | #DIV/0!
20 | IS Blank | 0.4 | 199 | 1.046 | -7.345 | 26.562 | 0.069296 | 0.39881 | 1.046 | -7.345 |  | -7.3442 | -7.3409 | -7.3829 | #DIV/0! | #DIV/0!
21 | ISSR 7 2 | 0.4 | 7406 | 38.714 | -10.3815 | 22.8205 | 0.23688 | 0.38396 | 38.714 | -10.3815 |  | -10.3529 | -10.3494 | -10.3915 | #DIV/0! | #DIV/0!
22 | B | 1 | 9776 | 51.632 | -19.4745 | 28.2445 | 0.20718 | 0.1492 | 51.632 | -19.4745 |  | -19.4364 | -19.4327 | -19.4747 | #DIV/0! | #DIV/0!
23 | ISLM 1 | 0.4 | 3460 | 17.918 | -12.6325 | 22.449 | 0.3288 | 0.41436 | 17.918 | -12.6325 |  | -12.6193 | -12.6154 | -12.6575 | #DIV/0! | #DIV/0!
24 | ISLM 2 | 0.4 | 3871 | 20.377 | -12.162 | 22.672 | 0.23617 | 0.12869 | 20.377 | -12.162 |  | -12.147 | -12.1429 | -12.185 | #DIV/0! | #DIV/0!
25 | ISSR 7 1 | 0.4 | 6961 | 36.137 | -10.3575 | 23.148 | 0.23405 | 0.5572 | 36.137 | -10.3575 |  | -10.3308 | -10.3266 | -10.3687 | #DIV/0! | #DIV/0!
26 | 1 |  | 9611 | 50.965 | 0.926 | 27.9385 | 0.13152 | 0.086974 | 50.965 | 0.926 |  | 0.96361 | 0.96798 | 0.92596
27 | 2 |  | 10172 | 53.019 | 0.795 | 28.154 | 0.38891 | 0.42002 | 53.019 | 0.795 |  | 0.83412 | 0.83867 | 0.79665
28 | 3 |  | 9913 | 52.715 | 0.848 | 27.9395 | 0.098995 | 0.07566 | 52.715 | 0.848 |  | 0.8869 | 0.89162 | 0.8496
29 | 4 |  | 9804 | 51.299 | 0.5505 | 28.3645 | 0.45467 | 0.67104 | 51.299 | 0.5505 |  | 0.58836 | 0.59325 | 0.55123
30 | B | 1 | 9682 | 51.637 | -19.409 | 28.241 | 0.091924 | 0.074953 | 51.637 | -19.409 |  | -19.3709 | -19.3658 | -19.4078 | #DIV/0! | #DIV/0!
31 | 5 |  | 9819 | 51.522 | 0.5695 | 28.306 | 0.36982 | 0.5176 | 51.522 | 0.5695 |  | 0.60752 | 0.61277 | 0.57074
32 | 6 |  | 9800 | 51.884 | 0.724 | 28.1395 | 0.14001 | 0.13506 | 51.884 | 0.724 |  | 0.76229 | 0.76771 | 0.72569
33 | 7 |  | 10211 | 53.298 | 0.549 | 28.3895 | 0.32951 | 0.57488 | 53.298 | 0.549 |  | 0.58833 | 0.59393 | 0.5519
34 | 8 |  | 10056 | 53.494 | 0.7145 | 28.14 | 0.11809 | 0.10889 | 53.494 | 0.7145 |  | 0.75397 | 0.75975 | 0.71772
35 | 9 |  | 10109 | 52.733 | 0.552 | 28.6725 | 0.24749 | 0.72761 | 52.733 | 0.552 |  | 0.59091 | 0.59686 | 0.55484
36 | 10 |  | 9681 | 51.604 | 0.309 | 28.2875 | 0.13294 | 0.095459 | 51.604 | 0.309 |  | 0.34708 | 0.3532 | 0.31118
37 | 11 |  | 9968 | 52.155 | 0.3545 | 28.696 | 0.40093 | 0.48508 | 52.155 | 0.3545 |  | 0.39299 | 0.39928 | 0.35726
38 | B | 1 | 9846 | 52.66 | -19.384 | 27.993 | 0.10041 | 0.084853 | 52.66 | -19.384 |  | -19.3451 | -19.3387 | -19.3807 | #DIV/0! | #DIV/0!
39 | 12 |  | 9416 | 49.559 | 0.424 | 28.7585 | 0.25739 | 0.57488 | 49.559 | 0.424 |  | 0.46057 | 0.46722 | 0.42519
40 | 13 |  | 9793 | 52.408 | 0.5145 | 28.7045 | 0.088388 | 0.11667 | 52.408 | 0.5145 |  | 0.55317 | 0.55999 | 0.51797
41 | 14 |  | 9901 | 52.204 | 0.397 | 28.795 | 0.29981 | 0.3776 | 52.204 | 0.397 |  | 0.43552 | 0.44252 | 0.4005
42 | 15 |  | 9630 | 51.192 | 0.716 | 28.5755 | 0.22203 | 0.14637 | 51.192 | 0.716 |  | 0.75378 | 0.76095 | 0.71892
43 | 16 |  | 9563 | 50.492 | 0.7625 | 28.8495 | 0.12657 | 0.4179 | 50.492 | 0.7625 |  | 0.79976 | 0.8071 | 0.76508
44 | 17 |  | 10486 | 55.524 | 0.2925 | 28.1465 | 0.2185 | 0.38679 | 55.524 | 0.2925 |  | 0.33347 | 0.34099 | 0.29897
45 | 18 |  | 10145 | 53.635 | 0.225 | 28.571 | 0.29133 | 0.20648 | 53.635 | 0.225 |  | 0.26458 | 0.27227 | 0.23025
46 | B | 1 | 10361 | 54.511 | -19.513 | 28.3595 | 0.11455 | 0.52397 | 54.511 | -19.513 |  | -19.4728 | -19.4649 | -19.5069 | #DIV/0! | #DIV/0!
47 | 19 |  | 9826 | 52.058 | 0.4075 | 28.8905 | 0.169 | 0.27365 | 52.058 | 0.4075 |  | 0.44592 | 0.45396 | 0.41194
48 | 20 |  | 10108 | 52.88 | 0.5235 | 28.834 | 0.26799 | 0.45255 | 52.88 | 0.5235 |  | 0.56252 | 0.57074 | 0.52872
49 | 21 |  | 9885 | 52.523 | 0.6315 | 28.969 | 0.14354 | 0.13011 | 52.523 | 0.6315 |  | 0.67026 | 0.67865 | 0.63663
50 | 22 |  | 10283 | 53.732 | 0.1535 | 28.441 | 0.32032 | 0.53457 | 53.732 | 0.1535 |  | 0.19315 | 0.20172 | 0.1597
51 | 23 |  | 10692 | 56.934 | 0.3725 | 28.3585 | 0.11384 | 0.17466 | 56.934 | 0.3725 |  | 0.41451 | 0.42326 | 0.38123
52 | 24 |  | 9932 | 51.872 | 0.1895 | 29.095 | 0.43628 | 0.64912 | 51.872 | 0.1895 |  | 0.22778 | 0.2367 | 0.19467
53 | 25 |  | 9924 | 52.984 | 0.682 | 28.6745 | 0.077782 | 0.15344 | 52.984 | 0.682 |  | 0.7211 | 0.73019 | 0.68817
54 | B |  | 10307 | 54.14 | -19.4945 | 28.6195 | 0.28355 | 0.74034 | 54.14 | -19.4945 |  | -19.4545 | -19.4453 | -19.4873
55 | time wait | 1 | [12 empty] | #DIV/0! | #DIV/0!
56 | NBS18 |  | 18376 | 96.974 | 3.9605 | 27.4115 | 0.21425 | 0.77428 | 96.974 | 3.9605 |  | 4.0321 | 4.0417 | 3.9997
57 | NBS18 |  | 17559 | 93.835 | -5.196 | 7.9655 | 0.20365 | 0.26234 | 93.835 | -5.196 |  | -5.1268 | -5.117 | -5.159
58 | NBS19 |  | 21191 | 111.781 | -5.641 | 8.7805 | 0.57558 | 0.68377 | 111.781 | -5.641 |  | -5.5585 | -5.5485 | -5.5906
59 | NBS19 |  | 19568 | 104.872 | 1.596 | 28.1965 | 0.23052 | 0.16476 | 104.872 | 1.596 |  | 1.6734 | 1.6835 | 1.6415
60 | UTM |  | 21482 | 113.337 | 1.4595 | 29.6985 | 0.45184 | 0.98641 | 113.337 | 1.4595 |  | 1.5431 | 1.5535 | 1.5114
61 | 1 |  | 20432 | 109.721 | 4.1415 | 26.8945 | 0.16617 | 0.20435 | 109.721 | 4.1415 |  | 4.2225 | 4.233 | 4.1909
62 | 2 |  | 13748 | 72.138 | 0.2355 | 19.4685 | 0.60882 | 0.54377 | 72.138 | 0.2355 |  | 0.28873 | 0.2994 | 0.25738
63 | 3 |  | 17316 | 93.011 | 1.2025 | 22.897 | 0.16617 | 0.11455 | 93.011 | 1.2025 |  | 1.2711 | 1.282 | 1.24
64 | UTM |  | 30880 | 164.948 | -4.309 | 24.283 | 1.3011 | 0.6265 | 164.948 | -4.309 |  | -4.1873 | -4.1763 | -4.2183
65 | NBS18 |  | 21044 | 113.539 | 4.168 | 26.8765 | 0.17961 | 0.17041 | 113.539 | 4.168 |  | 4.2518 | 4.263 | 4.221
66 | 4 |  | 25056 | 133.513 | -5.3145 | 9.135 | 0.31466 | 1.2615 | 133.513 | -5.3145 |  | -5.216 | -5.2046 | -5.2466
67 | 5 |  | 49878 | 330.765 | -97.5995 | -145.294 | 3.433 | 1.2841 | 330.765 | -97.5995 |  | -97.3554 | -97.3439 | -97.3859
68 | NBS19 |  | 5836 | 30.692 | -3.702 | 24.0975 | 0.25032 | 0.48295 | 30.692 | -3.702 |  | -3.6794 | -3.6676 | -3.7097
69 | UTM |  | 21939 | 118.295 | 1.67 | 28.9455 | 0.21496 | 0.25668 | 118.295 | 1.67 |  | 1.7573 | 1.7692 | 1.7272
70 | UTM |  | 18550 | 98.56 | 3.911 | 26.3795 | 0.51902 | 0.41366 | 98.56 | 3.911 |  | 3.9837 | 3.9958 | 3.9538
71 | ?? |  | 18994 | 101.523 | 4.1075 | 26.846 | 0.30618 | 0.17536 | 101.523 | 4.1075 |  | 4.1824 | 4.1947 | 4.1526
BLANKS | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
Used Standards | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
3 | A | 1 | 4107 | 21.502 | -19.4385 | 28.6465 | 0.19728 | 0.59185 | 21.502 | -19.4385 |  | -19.4226 | -19.4223 | -19.4643 | #DIV/0! | #DIV/0!
4 | A | 1 | 4247 | 22.575 | -19.3825 | 28.259 | 0.096874 | 0.067882 | 22.575 | -19.3825 |  | -19.3658 | -19.3653 | -19.4073 | #DIV/0! | #DIV/0!
30 | B | 1 | 9682 | 51.637 | -19.409 | 28.241 | 0.091924 | 0.074953 | 51.637 | -19.409 |  | -19.3709 | -19.3658 | -19.4078 | #DIV/0! | #DIV/0!
38 | B | 1 | 9846 | 52.66 | -19.384 | 27.993 | 0.10041 | 0.084853 | 52.66 | -19.384 |  | -19.3451 | -19.3387 | -19.3807 | #DIV/0! | #DIV/0!
46 | B | 1 | 10361 | 54.511 | -19.513 | 28.3595 | 0.11455 | 0.52397 | 54.511 | -19.513 |  | -19.4728 | -19.4649 | -19.5069 | #DIV/0! | #DIV/0!
6 | F | 1 | 6353 | 33.55 | -19.4565 | 28.29 | 0.19304 | 0.25597 | 33.55 | -19.4565 |  | -19.4317 | -19.4309 | -19.4729 | #DIV/0! | #DIV/0!

## Run Log
Row | Name | Volume | Notes | Var5 | Var6 | Var7 | Var8 | Var9
1 | Blank | 0
2 | Blank | 0
3 | A | 1
4 | A | 1 |  |  |  | Standards | Mass | Volume
5 | F | 1 |  |  |  | A | 41.1 | 500
6 | F | 1 |  |  |  | B | 48.2 | 250
7 | B | 1 |  |  |  | C | 76.228 | 250
8 | B | 1 |  |  |  | D | 109.608 | 250
9 | C | 1 |  |  |  | E | 200.13 | 250
10 | C | 1 |  |  |  | F | 30.82 | 250
11 | D | 1
12 | D | 1
13 | E | 1
14 | E | 1
15 | NB Blank | 0.4 | 2013-03-21
16 | NBCT | 0.4 | 2013-03-21
17 | NBWS | 0.4 | 2013-03-21
18 | NBBC | 0.4 | 2013-03-21
19 | ISST Indirect | 0.4 | 2013-03-17
20 | IS Blank | 0.4 | 2013-03-17
21 | ISSR 7 2 | 0.4 | 2013-03-17
22 | B | 1
23 | ISLM 1 | 0.4 | 2013-03-17
24 | ISLM 2 | 0.4 | 2013-03-17
25 | ISSR 7 1 | 0.4
26 | 1 |  | 2013-03-17
27 | 2 |  | Unknown
28 | 3 |  | Unknown
29 | 4 |  | Unknown
30 | B | 1 | Unknown
31 | 5 |  | Unknown
32 | 6 |  | Unknown
33 | 7 |  | Unknown
34 | 8 |  | Unknown
35 | 9 |  | Unknown
36 | 10 |  | Unknown
37 | 11 |  | Unknown
38 | B | 1 | Unknown
39 | 12 |  | Unknown
40 | 13 |  | Unknown
41 | 14 |  | Unknown
42 | 15 |  | Unknown
43 | 16 |  | Unknown
44 | 17 |  | Unknown
45 | 18 |  | Unknown
46 | B | 1 | Unknown
47 | 19 |  | Unknown
48 | 20 |  | Unknown
49 | 21 |  | Unknown
50 | 22 |  | Unknown
51 | 23 |  | Unknown
52 | 24 |  | Unknown
53 | 25 |  | Unknown
53 | 25 |  | Unknown
54 | B | 1
55 | time wait |  | wait
56 | NBS18 |  | carbs
57 | NBS18 |  | carbs
58 | NBS19 |  | carbs
59 | NBS19 |  | carbs
60 | UTM |  | carbs
61 | 1 |  | carbs
62 | 2 |  | carbs
63 | 3 |  | carbs
64 | UTM |  | carbs
65 | NBS18 |  | carbs
66 | 4 |  | carbs
67 | 5 |  | carbs
68 | NBS19 |  | carbs
69 | UTM |  | carbs
70 | UTM |  | carbs
71 | ?? |  | carbs

## gasbenchCO2template.wke
Row | Identifier1 | Ampl44 | Area44 | d13C_12C | d18O_16O
1 | Blank | 4482 | 63.837 | -4.558 | 19.68
1 | Blank | 4468 | 64.144 | -4.57 | 19.67
1 | Blank | 4477 | 64.222 | -4.586 | 19.621
1 | Blank | 4475 | 64.207 | -4.602 | 19.616
1 | Blank | 4475 | 64.246 | -4.601 | 19.625
1 | Blank | 73 | 0.387 | -14.697 | 26.343
1 | Blank | 70 | 0.368 | -15.188 | 27.076
1 | Blank | 68 | 0.355 | -14.202 | 26.796
1 | Blank | 66 | 0.344 | -14.812 | 26.481
1 | Blank | 63 | 0.333 | -15.035 | 26.595
1 | Blank | 62 | 0.323 | -15.52 | 28.346
1 | Blank | 60 | 0.311 | -14.459 | 27.58
1 | Blank | 58 | 0.302 | -14.273 | 26.65
1 | Blank | 56 | 0.292 | -15.275 | 25.779
2 | Blank | 4474 | 63.62 | -4.524 | 19.744
2 | Blank | 4471 | 64.119 | -4.57 | 19.67
2 | Blank | 4467 | 64.118 | -4.558 | 19.715
2 | Blank | 4468 | 64.12 | -4.558 | 19.71
2 | Blank | 4469 | 64.151 | -4.589 | 19.681
2 | Blank | 73 | 0.381 | -14.702 | 28.778
2 | Blank | 70 | 0.367 | -14.54 | 27.228
2 | Blank | 68 | 0.357 | -14.084 | 27.911
2 | Blank | 66 | 0.346 | -14.67 | 27.33
2 | Blank | 63 | 0.334 | -14.12 | 27.863
2 | Blank | 61 | 0.323 | -14.19 | 26.8
2 | Blank | 59 | 0.312 | -14.523 | 27.32
2 | Blank | 57 | 0.302 | -13.794 | 27.265
2 | Blank | 55 | 0.292 | -12.834 | 26.196
2 | Blank | 53 | 0.276 | -14.893 | 26.741
3 | A | 4467 | 63.562 | -4.526 | 19.72
3 | A | 4458 | 63.953 | -4.57 | 19.67
3 | A | 4459 | 64.003 | -4.542 | 19.693
3 | A | 4455 | 63.952 | -4.567 | 19.682
3 | A | 4456 | 63.948 | -4.55 | 19.696
3 | A | 1246 | 3.439 | -19.764 | 28.415
3 | A | 5302 | 28.123 | -19.3 | 28.28
3 | A | 5144 | 27.186 | -19.288 | 28.322
3 | A | 4986 | 26.298 | -19.304 | 28.271
3 | A | 4827 | 25.426 | -19.322 | 28.287
3 | A | 4674 | 24.595 | -19.286 | 28.293
3 | A | 4523 | 23.766 | -19.344 | 28.282
3 | A | 4384 | 22.999 | -19.309 | 28.322
3 | A | 4241 | 22.236 | -19.354 | 28.249
3 | A | 4107 | 21.502 | -19.299 | 28.228
3 | A | 3971 | 18.49 | -19.578 | 29.065
4 | A | 4459 | 63.436 | -4.546 | 19.704
4 | A | 4451 | 63.855 | -4.57 | 19.67
4 | A | 4451 | 63.86 | -4.559 | 19.715
4 | A | 4447 | 63.833 | -4.555 | 19.647
4 | A | 4449 | 63.86 | -4.555 | 19.657
4 | A | 1289 | 3.537 | -20.341 | 27.822
4 | A | 5585 | 29.124 | -19.378 | 28.175
4 | A | 5405 | 28.17 | -19.391 | 28.249
4 | A | 5235 | 27.342 | -19.324 | 28.176
4 | A | 5072 | 26.606 | -19.32 | 28.231
4 | A | 4903 | 25.781 | -19.306 | 28.195
4 | A | 4734 | 24.949 | -19.355 | 28.199
4 | A | 4563 | 24.158 | -19.317 | 28.166
4 | A | 4402 | 23.365 | -19.306 | 28.229
4 | A | 4247 | 22.575 | -19.314 | 28.211
4 | A | 4096 | 21.068 | -19.451 | 28.307
5 | F | 4449 | 63.387 | -4.562 | 19.739
5 | F | 4441 | 63.72 | -4.57 | 19.67
5 | F | 4442 | 63.734 | -4.587 | 19.716
5 | F | 4441 | 63.709 | -4.567 | 19.676
5 | F | 4441 | 63.663 | -4.58 | 19.692
5 | F | 1897 | 5.242 | -19.653 | 28.21
5 | F | 8119 | 43.203 | -19.323 | 28.116
5 | F | 7836 | 41.583 | -19.33 | 28.072
5 | F | 7612 | 40.313 | -19.306 | 28.159
5 | F | 7374 | 38.987 | -19.336 | 28.076
5 | F | 7148 | 37.751 | -19.337 | 28.104
5 | F | 6927 | 36.531 | -19.333 | 28.1
5 | F | 6710 | 35.359 | -19.331 | 28.106
5 | F | 6498 | 34.213 | -19.34 | 28.153
5 | F | 6298 | 33.104 | -19.322 | 28.11
5 | F | 6096 | 29.698 | -19.743 | 28.433
6 | F | 4442 | 63.182 | -4.58 | 19.666
6 | F | 4434 | 63.605 | -4.57 | 19.67
6 | F | 4433 | 63.628 | -4.601 | 19.668
6 | F | 4434 | 63.634 | -4.595 | 19.64
6 | F | 4432 | 63.593 | -4.607 | 19.612
6 | F | 1887 | 5.164 | -20.266 | 27.632
6 | F | 8085 | 42.277 | -19.376 | 28.084
6 | F | 7863 | 40.975 | -19.419 | 28.127
6 | F | 7658 | 39.856 | -19.41 | 28.118
6 | F | 7441 | 38.756 | -19.407 | 28.122
6 | F | 7231 | 37.705 | -19.318 | 28.124
6 | F | 7020 | 36.721 | -19.364 | 28.112
6 | F | 6795 | 35.636 | -19.393 | 28.117
6 | F | 6571 | 34.57 | -19.358 | 28.067
6 | F | 6353 | 33.55 | -19.32 | 28.109
6 | F | 6128 | 30.87 | -19.593 | 28.471
7 | B | 4434 | 63.177 | -4.567 | 19.658
7 | B | 4428 | 63.544 | -4.57 | 19.67
7 | B | 4427 | 63.541 | -4.587 | 19.671
7 | B | 4428 | 63.546 | -4.574 | 19.636
7 | B | 4426 | 63.534 | -4.58 | 19.62
7 | B | 3072 | 8.496 | -19.636 | 28.332
7 | B | 13056 | 69.88 | -19.363 | 28.128
7 | B | 12608 | 67.201 | -19.364 | 28.128
7 | B | 12221 | 65.035 | -19.359 | 28.113
7 | B | 11830 | 62.888 | -19.336 | 28.161
7 | B | 11461 | 60.814 | -19.343 | 28.136
7 | B | 11104 | 58.834 | -19.388 | 28.161
7 | B | 10736 | 56.856 | -19.369 | 28.157
7 | B | 10399 | 55.012 | -19.353 | 28.174
7 | B | 10067 | 53.139 | -19.316 | 28.164
7 | B | 9740 | 48.549 | -19.667 | 28.453
8 | B | 4429 | 63.045 | -4.533 | 19.709
8 | B | 4423 | 63.472 | -4.57 | 19.67
8 | B | 4423 | 63.487 | -4.558 | 19.625
8 | B | 4420 | 63.456 | -4.561 | 19.667
8 | B | 4422 | 63.458 | -4.541 | 19.634
8 | B | 3047 | 8.411 | -20.037 | 27.804
8 | B | 13002 | 68.492 | -19.355 | 27.985
8 | B | 12557 | 65.907 | -19.362 | 28.011
8 | B | 12203 | 63.94 | -19.406 | 27.99
8 | B | 11895 | 62.174 | -19.382 | 28.003
8 | B | 11583 | 60.497 | -19.356 | 28.048
8 | B | 11262 | 58.775 | -19.391 | 28.026
8 | B | 10933 | 57.12 | -19.383 | 28.004
8 | B | 10615 | 55.501 | -19.36 | 27.995
8 | B | 10301 | 54.01 | -19.347 | 28.036
8 | B | 9963 | 48.556 | -19.691 | 28.53
9 | C | 4428 | 63.062 | -4.563 | 19.7
9 | C | 4421 | 63.388 | -4.57 | 19.67
9 | C | 4417 | 63.435 | -4.554 | 19.657
9 | C | 4419 | 63.416 | -4.556 | 19.645
9 | C | 4418 | 63.391 | -4.559 | 19.653
9 | C | 4840 | 13.458 | -19.472 | 28.362
9 | C | 20589 | 111.044 | -19.375 | 28.021
9 | C | 19860 | 106.707 | -19.374 | 28.016
9 | C | 19227 | 103.094 | -19.373 | 28.025
9 | C | 18612 | 99.632 | -19.377 | 28.043
9 | C | 18021 | 96.295 | -19.364 | 28.039
9 | C | 17432 | 93.112 | -19.369 | 28.067
9 | C | 16908 | 90.055 | -19.414 | 28.07
9 | C | 16352 | 87.041 | -19.385 | 28.086
9 | C | 15835 | 84.101 | -19.374 | 28.112
9 | C | 15338 | 78.038 | -19.72 | 28.248
10 | C | 4423 | 62.961 | -4.555 | 19.704
10 | C | 4412 | 63.311 | -4.57 | 19.67
10 | C | 4416 | 63.362 | -4.568 | 19.662
10 | C | 4414 | 63.34 | -4.573 | 19.653
10 | C | 4413 | 63.343 | -4.55 | 19.593
10 | C | 4650 | 12.921 | -19.834 | 28.01
10 | C | 20026 | 106.485 | -19.381 | 27.961
10 | C | 19390 | 102.686 | -19.422 | 27.994
10 | C | 18804 | 99.351 | -19.385 | 28.007
10 | C | 18256 | 96.177 | -19.386 | 27.989
10 | C | 17733 | 93.283 | -19.397 | 28.003
10 | C | 17237 | 90.539 | -19.399 | 28.03
10 | C | 16768 | 87.948 | -19.405 | 28.029
10 | C | 16328 | 85.54 | -19.409 | 28.021
10 | C | 15899 | 83.121 | -19.399 | 28.037
10 | C | 15429 | 72.93 | -19.859 | 28.913
11 | D | 4418 | 62.942 | -4.54 | 19.726
11 | D | 4410 | 63.286 | -4.57 | 19.67
11 | D | 4411 | 63.29 | -4.554 | 19.679
11 | D | 4409 | 63.273 | -4.563 | 19.663
11 | D | 4409 | 63.305 | -4.562 | 19.666
11 | D | 6963 | 19.546 | -19.49 | 28.354
11 | D | 30059 | 162.652 | -19.341 | 27.974
11 | D | 28839 | 155.766 | -19.341 | 27.996
11 | D | 27873 | 150.369 | -19.333 | 28
11 | D | 26973 | 145.413 | -19.335 | 28.005
11 | D | 26089 | 140.467 | -19.364 | 28.022
11 | D | 25263 | 135.806 | -19.365 | 28.033
11 | D | 24449 | 131.318 | -19.363 | 28.065
11 | D | 23722 | 127.081 | -19.36 | 28.079
11 | D | 22978 | 122.785 | -19.327 | 28.085
11 | D | 22232 | 114.425 | -19.778 | 28.29
12 | D | 4417 | 62.865 | -4.52 | 19.698
12 | D | 4410 | 63.279 | -4.57 | 19.67
12 | D | 4412 | 63.305 | -4.569 | 19.639
12 | D | 4411 | 63.279 | -4.581 | 19.684
12 | D | 4408 | 63.285 | -4.56 | 19.63
12 | D | 6771 | 18.955 | -19.64 | 28.074
12 | D | 29230 | 156.858 | -19.323 | 27.868
12 | D | 28207 | 150.708 | -19.348 | 27.891
12 | D | 27346 | 145.791 | -19.354 | 27.888
12 | D | 26474 | 140.827 | -19.337 | 27.925
12 | D | 25644 | 136.228 | -19.343 | 27.926
12 | D | 24867 | 131.833 | -19.352 | 27.925
12 | D | 24163 | 127.667 | -19.365 | 27.909
12 | D | 23490 | 123.806 | -19.369 | 27.93
12 | D | 22874 | 120.364 | -19.32 | 27.949
12 | D | 22269 | 105.081 | -20.221 | 29.091
13 | E | 4416 | 62.935 | -4.545 | 19.662
13 | E | 4410 | 63.256 | -4.57 | 19.67
13 | E | 4411 | 63.263 | -4.561 | 19.687
13 | E | 4408 | 63.266 | -4.554 | 19.637
13 | E | 4406 | 63.24 | -4.544 | 19.623
13 | E | 12019 | 34.541 | -19.358 | 28.211
13 | E | 49889 | 288.364 | -82.156 | -111.063
13 | E | 49866 | 279.247 | -74.099 | -100.713
13 | E | 49035 | 270.466 | -63.179 | -87.671
13 | E | 47455 | 261.479 | -51.318 | -73.081
13 | E | 45976 | 252.834 | -40.358 | -58.681
13 | E | 44544 | 244.449 | -30.746 | -44.843
13 | E | 43192 | 236.443 | -23.153 | -31.654
13 | E | 41904 | 228.652 | -18.137 | -18.986
13 | E | 40644 | 221.064 | -17.978 | -7.075
13 | E | 39354 | 207.105 | -18.574 | 3.537
14 | E | 4412 | 62.824 | -4.555 | 19.701
14 | E | 4408 | 63.227 | -4.57 | 19.67
14 | E | 4403 | 63.229 | -4.574 | 19.682
14 | E | 4406 | 63.234 | -4.578 | 19.678
14 | E | 4406 | 63.23 | -4.568 | 19.64
14 | E | 12217 | 35.092 | -19.416 | 28.137
14 | E | 49888 | 289.165 | -82.647 | -110.327
14 | E | 49868 | 279.679 | -75.106 | -100.298
14 | E | 49256 | 270.684 | -64.998 | -87.816
14 | E | 47755 | 261.44 | -53.425 | -73.6
14 | E | 46446 | 253.483 | -43.846 | -60.853
14 | E | 45094 | 245.657 | -34.89 | -48.338
14 | E | 43756 | 237.67 | -26.829 | -35.425
14 | E | 42485 | 230.013 | -20.647 | -23.529
14 | E | 41354 | 222.755 | -17.74 | -12.471
14 | E | 40226 | 196.896 | -20.898 | -3.474
15 | NB Blank | 4412 | 62.874 | -4.543 | 19.696
15 | NB Blank | 4407 | 63.231 | -4.57 | 19.67
15 | NB Blank | 4404 | 63.241 | -4.56 | 19.661
15 | NB Blank | 4402 | 63.161 | -4.573 | 19.664
15 | NB Blank | 4402 | 63.172 | -4.557 | 19.636
15 | NB Blank | 251 | 0.702 | -16.546 | 30.18
15 | NB Blank | 365 | 1.911 | -11.96 | 26.477
15 | NB Blank | 311 | 1.629 | -10.591 | 26.923
15 | NB Blank | 292 | 1.533 | -9.934 | 26.875
15 | NB Blank | 278 | 1.469 | -9.744 | 26.892
15 | NB Blank | 267 | 1.414 | -9.907 | 26.76
15 | NB Blank | 257 | 1.363 | -9.694 | 27.299
15 | NB Blank | 249 | 1.317 | -9.603 | 27.133
15 | NB Blank | 241 | 1.274 | -9.95 | 27.085
15 | NB Blank | 233 | 1.232 | -9.772 | 26.946
15 | NB Blank | 225 | 1.154 | -9.968 | 26.923
16 | NBCT | 4405 | 62.579 | -4.532 | 19.708
16 | NBCT | 4396 | 63.069 | -4.57 | 19.67
16 | NBCT | 4400 | 63.117 | -4.544 | 19.689
16 | NBCT | 4398 | 63.099 | -4.574 | 19.676
16 | NBCT | 4398 | 63.134 | -4.581 | 19.651
16 | NBCT | 1507 | 4.139 | -9.187 | 23.074
16 | NBCT | 7093 | 37.46 | -8.443 | 22.956
16 | NBCT | 6854 | 36.123 | -8.484 | 22.945
16 | NBCT | 6665 | 35.092 | -8.47 | 22.929
16 | NBCT | 6470 | 34.03 | -8.466 | 22.956
16 | NBCT | 6281 | 33.003 | -8.461 | 22.969
16 | NBCT | 6093 | 31.972 | -8.471 | 22.96
16 | NBCT | 5913 | 31.016 | -8.458 | 22.992
16 | NBCT | 5736 | 30.049 | -8.492 | 22.964
16 | NBCT | 5567 | 29.129 | -8.463 | 22.943
16 | NBCT | 5409 | 25.146 | -9.062 | 23.436
17 | NBWS | 4401 | 62.731 | -4.527 | 19.68
17 | NBWS | 4396 | 63.068 | -4.57 | 19.67
17 | NBWS | 4397 | 63.098 | -4.56 | 19.686
17 | NBWS | 4397 | 63.078 | -4.567 | 19.65
17 | NBWS | 4397 | 63.079 | -4.575 | 19.615
17 | NBWS | 893 | 2.451 | -9.671 | 22.522
17 | NBWS | 15182 | 79.435 | -13.421 | 22.759
17 | NBWS | 14523 | 76.099 | -13.483 | 22.702
17 | NBWS | 14109 | 74.197 | -13.431 | 22.71
17 | NBWS | 13694 | 72.225 | -13.41 | 22.714
17 | NBWS | 13247 | 70.089 | -13.408 | 22.692
17 | NBWS | 12816 | 68.077 | -13.367 | 22.681
17 | NBWS | 12390 | 65.98 | -13.373 | 22.74
17 | NBWS | 11970 | 63.842 | -13.403 | 22.698
17 | NBWS | 11591 | 61.833 | -13.373 | 22.736
17 | NBWS | 11214 | 57.995 | -13.513 | 22.918
18 | NBBC | 4401 | 62.619 | -4.514 | 19.652
18 | NBBC | 4395 | 63.057 | -4.57 | 19.67
18 | NBBC | 4395 | 63.071 | -4.564 | 19.686
18 | NBBC | 4393 | 63.058 | -4.552 | 19.647
18 | NBBC | 4396 | 63.065 | -4.574 | 19.6
18 | NBBC | 2856 | 7.87 | -9.928 | 23.271
18 | NBBC | 12868 | 68.44 | -9.014 | 22.935
18 | NBBC | 12382 | 65.711 | -9.049 | 22.929
18 | NBBC | 12026 | 63.741 | -9.045 | 22.945
18 | NBBC | 11654 | 61.71 | -9.022 | 22.929
18 | NBBC | 11306 | 59.789 | -9.014 | 22.892
18 | NBBC | 10975 | 57.987 | -9.041 | 22.928
18 | NBBC | 10660 | 56.253 | -9.016 | 22.941
18 | NBBC | 10328 | 54.459 | -9.04 | 22.939
18 | NBBC | 10025 | 52.763 | -9.014 | 22.922
18 | NBBC | 9740 | 47.348 | -9.391 | 23.493
19 | ISST Indirect | 4398 | 62.649 | -4.559 | 19.649
19 | ISST Indirect | 4392 | 63.019 | -4.57 | 19.67
19 | ISST Indirect | 4395 | 63.057 | -4.598 | 19.63
19 | ISST Indirect | 4391 | 63.018 | -4.576 | 19.604
19 | ISST Indirect | 4391 | 62.993 | -4.568 | 19.587
19 | ISST Indirect | 1563 | 4.268 | -8.395 | 22.385
19 | ISST Indirect | 6730 | 35.158 | -7.379 | 22.696
19 | ISST Indirect | 6489 | 33.777 | -7.425 | 22.705
19 | ISST Indirect | 6319 | 32.854 | -7.37 | 22.717
19 | ISST Indirect | 6162 | 32.062 | -7.43 | 22.684
19 | ISST Indirect | 5987 | 31.211 | -7.379 | 22.686
19 | ISST Indirect | 5809 | 30.362 | -7.355 | 22.697
19 | ISST Indirect | 5639 | 29.596 | -7.395 | 22.712
19 | ISST Indirect | 5460 | 28.735 | -7.367 | 22.7
19 | ISST Indirect | 5288 | 27.923 | -7.343 | 22.708
19 | ISST Indirect | 5107 | 25.868 | -7.691 | 22.89
20 | IS Blank | 4395 | 62.494 | -4.568 | 19.658
20 | IS Blank | 4389 | 62.975 | -4.57 | 19.67
20 | IS Blank | 4389 | 63.012 | -4.561 | 19.65
20 | IS Blank | 4388 | 62.995 | -4.587 | 19.615
20 | IS Blank | 4388 | 62.991 | -4.595 | 19.647
20 | IS Blank | 54 | 0.153 | -6.994 | 29.443
20 | IS Blank | 230 | 1.223 | -7.296 | 26.232
20 | IS Blank | 219 | 1.158 | -7.381 | 26.794
20 | IS Blank | 212 | 1.117 | -7.393 | 26.498
20 | IS Blank | 205 | 1.081 | -7.205 | 25.993
20 | IS Blank | 199 | 1.046 | -7.394 | 26.844
20 | IS Blank | 193 | 1.012 | -7.296 | 26.28
20 | IS Blank | 187 | 0.98 | -7.459 | 26.825
20 | IS Blank | 181 | 0.949 | -7.569 | 26.371
20 | IS Blank | 176 | 0.921 | -7.419 | 26.453
20 | IS Blank | 170 | 0.837 | -7.633 | 26.606
21 | ISSR 7 2 | 4388 | 62.468 | -4.55 | 19.674
21 | ISSR 7 2 | 4380 | 62.84 | -4.57 | 19.67
21 | ISSR 7 2 | 4384 | 62.894 | -4.588 | 19.648
21 | ISSR 7 2 | 4384 | 62.893 | -4.604 | 19.665
21 | ISSR 7 2 | 4383 | 62.903 | -4.598 | 19.628
21 | ISSR 7 2 | 9212 | 48.286 | -10.241 | 22.613
21 | ISSR 7 2 | 8894 | 46.463 | -10.228 | 22.575
21 | ISSR 7 2 | 8661 | 45.166 | -10.227 | 22.583
21 | ISSR 7 2 | 8451 | 43.992 | -10.224 | 22.577
21 | ISSR 7 2 | 8245 | 42.911 | -10.216 | 22.58
21 | ISSR 7 2 | 8036 | 41.825 | -10.233 | 22.576
21 | ISSR 7 2 | 7827 | 40.749 | -10.24 | 22.615
21 | ISSR 7 2 | 7613 | 39.707 | -10.212 | 22.555
21 | ISSR 7 2 | 7406 | 38.714 | -10.214 | 22.549
21 | ISSR 7 2 | 7183 | 34.994 | -10.549 | 23.092
22 | B | 4395 | 62.476 | -4.548 | 19.677
22 | B | 4385 | 62.927 | -4.57 | 19.67
22 | B | 4384 | 62.94 | -4.58 | 19.673
22 | B | 4384 | 62.91 | -4.58 | 19.646
22 | B | 4386 | 62.958 | -4.572 | 19.641
22 | B | 2993 | 8.282 | -19.653 | 28.346
22 | B | 12760 | 68.371 | -19.347 | 28.13
22 | B | 12248 | 65.45 | -19.37 | 28.113
22 | B | 11889 | 63.369 | -19.363 | 28.142
22 | B | 11499 | 61.163 | -19.363 | 28.126
22 | B | 11122 | 59.111 | -19.365 | 28.126
22 | B | 10774 | 57.162 | -19.396 | 28.127
22 | B | 10423 | 55.226 | -19.361 | 28.096
22 | B | 10100 | 53.425 | -19.389 | 28.142
22 | B | 9776 | 51.632 | -19.328 | 28.139
22 | B | 9456 | 47.82 | -19.621 | 28.35
23 | ISLM 1 | 4394 | 62.564 | -4.546 | 19.626
23 | ISLM 1 | 4389 | 62.957 | -4.57 | 19.67
23 | ISLM 1 | 4388 | 62.984 | -4.558 | 19.591
23 | ISLM 1 | 4389 | 62.976 | -4.56 | 19.619
23 | ISLM 1 | 4390 | 62.962 | -4.587 | 19.653
23 | ISLM 1 | 1050 | 2.878 | -13.536 | 21.594
23 | ISLM 1 | 4196 | 23.269 | -12.387 | 22.078
23 | ISLM 1 | 4043 | 21.427 | -12.427 | 21.983
23 | ISLM 1 | 3947 | 20.622 | -12.451 | 22.063
23 | ISLM 1 | 3855 | 20.038 | -12.459 | 22.077
23 | ISLM 1 | 3793 | 19.672 | -12.408 | 22.141
23 | ISLM 1 | 3709 | 19.2 | -12.401 | 22.122
23 | ISLM 1 | 3630 | 18.788 | -12.382 | 22.136
23 | ISLM 1 | 3546 | 18.353 | -12.422 | 22.083
23 | ISLM 1 | 3460 | 17.918 | -12.4 | 22.156
23 | ISLM 1 | 3367 | 15.851 | -12.865 | 22.742
24 | ISLM 2 | 4390 | 62.41 | -4.523 | 19.656
24 | ISLM 2 | 4384 | 62.879 | -4.57 | 19.67
24 | ISLM 2 | 4384 | 62.905 | -4.584 | 19.633
24 | ISLM 2 | 4384 | 62.903 | -4.565 | 19.61
24 | ISLM 2 | 4386 | 62.892 | -4.567 | 19.607
24 | ISLM 2 | 1187 | 3.265 | -13.121 | 22.496
24 | ISLM 2 | 4894 | 27.304 | -11.961 | 22.574
24 | ISLM 2 | 4704 | 25.325 | -12.026 | 22.579
24 | ISLM 2 | 4578 | 24.402 | -12.023 | 22.594
24 | ISLM 2 | 4451 | 23.632 | -11.987 | 22.576
24 | ISLM 2 | 4331 | 22.943 | -12.02 | 22.571
24 | ISLM 2 | 4212 | 22.288 | -12.013 | 22.568
24 | ISLM 2 | 4093 | 21.617 | -11.98 | 22.596
24 | ISLM 2 | 3981 | 20.993 | -12.026 | 22.608
24 | ISLM 2 | 3871 | 20.377 | -11.995 | 22.581
24 | ISLM 2 | 3761 | 19.104 | -12.329 | 22.763
25 | ISSR 7 1 | 4391 | 62.49 | -4.573 | 19.674
25 | ISSR 7 1 | 4384 | 62.858 | -4.57 | 19.67
25 | ISSR 7 1 | 4382 | 62.867 | -4.583 | 19.623
25 | ISSR 7 1 | 4382 | 62.876 | -4.606 | 19.641
25 | ISSR 7 1 | 4380 | 62.883 | -4.598 | 19.629
25 | ISSR 7 1 | 632 | 1.734 | -13.379 | 22.179
25 | ISSR 7 1 | 8701 | 45.747 | -10.205 | 22.783
25 | ISSR 7 1 | 8363 | 43.907 | -10.201 | 22.764
25 | ISSR 7 1 | 8128 | 42.626 | -10.23 | 22.731
25 | ISSR 7 1 | 7906 | 41.372 | -10.251 | 22.728
25 | ISSR 7 1 | 7685 | 40.161 | -10.179 | 22.755
25 | ISSR 7 1 | 7483 | 39.021 | -10.233 | 22.747
25 | ISSR 7 1 | 7294 | 37.97 | -10.214 | 22.769
25 | ISSR 7 1 | 7123 | 37.016 | -10.233 | 22.733
25 | ISSR 7 1 | 6961 | 36.137 | -10.192 | 22.754
25 | ISSR 7 1 | 6784 | 31.552 | -10.523 | 23.542
26 | 1 | 4388 | 62.438 | -4.532 | 19.676
26 | 1 | 4385 | 62.914 | -4.57 | 19.67
26 | 1 | 4381 | 62.873 | -4.586 | 19.62
26 | 1 | 4376 | 62.84 | -4.574 | 19.665
26 | 1 | 4383 | 62.865 | -4.565 | 19.61
26 | 1 | 2825 | 7.818 | 0.394 | 28.285
26 | 1 | 12558 | 66.835 | 1.018 | 27.813
26 | 1 | 12044 | 64.164 | 1.041 | 27.83
26 | 1 | 11615 | 62.015 | 1.026 | 27.855
26 | 1 | 11239 | 60.012 | 1.021 | 27.844
26 | 1 | 10878 | 58.044 | 1.018 | 27.834
26 | 1 | 10548 | 56.21 | 0.987 | 27.847
26 | 1 | 10217 | 54.374 | 1.002 | 27.817
26 | 1 | 9909 | 52.664 | 1.033 | 27.816
26 | 1 | 9611 | 50.965 | 1.019 | 27.877
26 | 1 | 9300 | 47.718 | 0.833 | 28
27 | 2 | 4395 | 62.609 | -4.521 | 19.68
27 | 2 | 4391 | 62.959 | -4.57 | 19.67
27 | 2 | 4387 | 62.961 | -4.55 | 19.632
27 | 2 | 4388 | 62.963 | -4.54 | 19.672
27 | 2 | 4387 | 62.975 | -4.554 | 19.635
27 | 2 | 3118 | 8.591 | 0.599 | 27.893
27 | 2 | 13089 | 69.345 | 1.069 | 27.831
27 | 2 | 12606 | 66.526 | 1.035 | 27.818
27 | 2 | 12203 | 64.285 | 1.054 | 27.837
27 | 2 | 11821 | 62.207 | 1.064 | 27.855
27 | 2 | 11445 | 60.183 | 1.062 | 27.826
27 | 2 | 11092 | 58.247 | 1.053 | 27.843
27 | 2 | 10779 | 56.408 | 1.03 | 27.832
27 | 2 | 10466 | 54.7 | 1.039 | 27.836
27 | 2 | 10172 | 53.019 | 1.07 | 27.857
27 | 2 | 9899 | 45.746 | 0.52 | 28.451
28 | 3 | 4393 | 62.533 | -4.531 | 19.702
28 | 3 | 4390 | 62.966 | -4.57 | 19.67
28 | 3 | 4390 | 62.995 | -4.552 | 19.67
28 | 3 | 4388 | 62.967 | -4.572 | 19.674
28 | 3 | 4390 | 63.032 | -4.558 | 19.671
28 | 3 | 3054 | 8.443 | 0.638 | 28.298
28 | 3 | 13117 | 69.548 | 0.899 | 27.873
28 | 3 | 12608 | 67.01 | 0.928 | 27.84
28 | 3 | 12155 | 64.721 | 0.941 | 27.866
28 | 3 | 11730 | 62.555 | 0.905 | 27.888
28 | 3 | 11331 | 60.492 | 0.92 | 27.837
28 | 3 | 10940 | 58.419 | 0.956 | 27.87
28 | 3 | 10575 | 56.447 | 0.932 | 27.897
28 | 3 | 10238 | 54.581 | 0.935 | 27.855
28 | 3 | 9913 | 52.715 | 0.918 | 27.886
28 | 3 | 9583 | 49.42 | 0.778 | 27.993
29 | 4 | 4400 | 62.702 | -4.562 | 19.706
29 | 4 | 4396 | 63.078 | -4.57 | 19.67
29 | 4 | 4397 | 63.096 | -4.58 | 19.684
29 | 4 | 4393 | 63.071 | -4.563 | 19.669
29 | 4 | 4397 | 63.103 | -4.548 | 19.654
29 | 4 | 3016 | 8.322 | 0.431 | 28.162
29 | 4 | 12693 | 67.412 | 0.848 | 27.882
29 | 4 | 12192 | 64.527 | 0.816 | 27.852
29 | 4 | 11827 | 62.477 | 0.835 | 27.869
29 | 4 | 11453 | 60.406 | 0.839 | 27.875
29 | 4 | 11107 | 58.523 | 0.842 | 27.825
29 | 4 | 10754 | 56.601 | 0.813 | 27.85
29 | 4 | 10416 | 54.749 | 0.814 | 27.891
29 | 4 | 10103 | 53.014 | 0.862 | 27.912
29 | 4 | 9804 | 51.299 | 0.872 | 27.89
29 | 4 | 9525 | 43.625 | 0.229 | 28.839
30 | B | 4408 | 62.718 | -4.577 | 19.684
30 | B | 4400 | 63.146 | -4.57 | 19.67
30 | B | 4398 | 63.129 | -4.554 | 19.666
30 | B | 4398 | 63.114 | -4.564 | 19.656
30 | B | 4397 | 63.124 | -4.572 | 19.631
30 | B | 2996 | 8.279 | -19.785 | 28.34
30 | B | 12762 | 67.298 | -19.359 | 28.183
30 | B | 12316 | 64.923 | -19.382 | 28.185
30 | B | 11893 | 62.905 | -19.355 | 28.145
30 | B | 11488 | 60.99 | -19.359 | 28.172
30 | B | 11088 | 59.045 | -19.357 | 28.142
30 | B | 10706 | 57.105 | -19.384 | 28.18
30 | B | 10353 | 55.261 | -19.368 | 28.177
30 | B | 10008 | 53.44 | -19.334 | 28.132
30 | B | 9682 | 51.637 | -19.344 | 28.188
30 | B | 9369 | 48.475 | -19.474 | 28.294
31 | 5 | 4402 | 62.67 | -4.576 | 19.663
31 | 5 | 4392 | 63.051 | -4.57 | 19.67
31 | 5 | 4396 | 63.084 | -4.573 | 19.658
31 | 5 | 4395 | 63.073 | -4.594 | 19.639
31 | 5 | 4396 | 63.095 | -4.604 | 19.614
31 | 5 | 3045 | 8.402 | 0.538 | 28.572
31 | 5 | 12763 | 67.989 | 0.864 | 27.96
31 | 5 | 12271 | 65.052 | 0.834 | 27.918
31 | 5 | 11893 | 62.947 | 0.831 | 27.919
31 | 5 | 11523 | 60.884 | 0.86 | 27.935
31 | 5 | 11164 | 58.883 | 0.84 | 27.911
31 | 5 | 10804 | 56.981 | 0.792 | 27.898
31 | 5 | 10464 | 55.092 | 0.821 | 27.881
31 | 5 | 10129 | 53.278 | 0.842 | 27.903
31 | 5 | 9819 | 51.522 | 0.831 | 27.94
31 | 5 | 9502 | 44.43 | 0.308 | 28.672
32 | 6 | 4391 | 62.29 | -4.524 | 19.657
32 | 6 | 4388 | 62.88 | -4.57 | 19.67
32 | 6 | 4387 | 62.921 | -4.577 | 19.646
32 | 6 | 4390 | 63.009 | -4.595 | 19.636
32 | 6 | 4390 | 62.996 | -4.604 | 19.654
32 | 6 | 2932 | 8.125 | 0.539 | 28.63
32 | 6 | 12812 | 68.879 | 0.881 | 28.051
32 | 6 | 12271 | 65.75 | 0.849 | 28.032
32 | 6 | 11882 | 63.522 | 0.824 | 28.018
32 | 6 | 11505 | 61.403 | 0.83 | 28.052
32 | 6 | 11138 | 59.398 | 0.833 | 28.028
32 | 6 | 10813 | 57.546 | 0.83 | 28.032
32 | 6 | 10454 | 55.569 | 0.857 | 27.991
32 | 6 | 10120 | 53.668 | 0.823 | 28.027
32 | 6 | 9800 | 51.884 | 0.823 | 28.044
32 | 6 | 9485 | 48.357 | 0.625 | 28.235
33 | 7 | 4403 | 62.755 | -4.553 | 19.692
33 | 7 | 4395 | 63.091 | -4.57 | 19.67
33 | 7 | 4395 | 63.088 | -4.56 | 19.651
33 | 7 | 4394 | 63.077 | -4.562 | 19.627
33 | 7 | 4394 | 63.055 | -4.566 | 19.655
33 | 7 | 3134 | 8.635 | 0.081 | 27.193
33 | 7 | 13120 | 69.45 | 0.794 | 28.08
33 | 7 | 12528 | 66.159 | 0.745 | 27.99
33 | 7 | 12147 | 63.977 | 0.752 | 28.024
33 | 7 | 11768 | 61.862 | 0.74 | 27.977
33 | 7 | 11412 | 59.903 | 0.721 | 28.033
33 | 7 | 11101 | 58.071 | 0.726 | 27.987
33 | 7 | 10801 | 56.435 | 0.729 | 27.976
33 | 7 | 10506 | 54.858 | 0.742 | 27.994
33 | 7 | 10211 | 53.298 | 0.782 | 27.983
33 | 7 | 9918 | 46.32 | 0.316 | 28.796
34 | 8 | 4414 | 62.775 | -4.546 | 19.725
34 | 8 | 4407 | 63.224 | -4.57 | 19.67
34 | 8 | 4405 | 63.246 | -4.564 | 19.655
34 | 8 | 4408 | 63.253 | -4.575 | 19.669
34 | 8 | 4405 | 63.229 | -4.596 | 19.651
34 | 8 | 3126 | 8.666 | 0.61 | 28.82
34 | 8 | 13238 | 70.997 | 0.797 | 28.095
34 | 8 | 12673 | 67.92 | 0.789 | 28.04
34 | 8 | 12239 | 65.636 | 0.803 | 28.065
34 | 8 | 11829 | 63.396 | 0.791 | 28.064
34 | 8 | 11447 | 61.284 | 0.788 | 28.033
34 | 8 | 11073 | 59.205 | 0.771 | 28.073
34 | 8 | 10730 | 57.237 | 0.77 | 28.074
34 | 8 | 10391 | 55.363 | 0.761 | 28.07
34 | 8 | 10056 | 53.494 | 0.798 | 28.063
34 | 8 | 9738 | 50.155 | 0.631 | 28.217
35 | 9 | 4411 | 62.828 | -4.563 | 19.714
35 | 9 | 4406 | 63.221 | -4.57 | 19.67
35 | 9 | 4408 | 63.252 | -4.587 | 19.708
35 | 9 | 4403 | 63.215 | -4.586 | 19.641
35 | 9 | 4403 | 63.218 | -4.612 | 19.647
35 | 9 | 3095 | 8.534 | 0.296 | 28.258
35 | 9 | 13007 | 69.003 | 0.769 | 28.164
35 | 9 | 12513 | 66.163 | 0.729 | 28.156
35 | 9 | 12109 | 63.978 | 0.744 | 28.149
35 | 9 | 11722 | 61.82 | 0.735 | 28.142
35 | 9 | 11355 | 59.802 | 0.783 | 28.118
35 | 9 | 11014 | 57.892 | 0.733 | 28.134
35 | 9 | 10678 | 56.003 | 0.725 | 28.133
35 | 9 | 10377 | 54.279 | 0.767 | 28.18
35 | 9 | 10109 | 52.733 | 0.727 | 28.158
35 | 9 | 9830 | 45.047 | 0.377 | 29.187
36 | 10 | 4412 | 62.846 | -4.542 | 19.682
36 | 10 | 4405 | 63.213 | -4.57 | 19.67
36 | 10 | 4405 | 63.265 | -4.574 | 19.706
36 | 10 | 4405 | 63.215 | -4.566 | 19.663
36 | 10 | 4408 | 63.254 | -4.572 | 19.616
36 | 10 | 3001 | 8.332 | 0.029 | 28.884
36 | 10 | 12803 | 68.408 | 0.386 | 28.224
36 | 10 | 12296 | 65.651 | 0.399 | 28.23
36 | 10 | 11850 | 63.398 | 0.36 | 28.227
36 | 10 | 11458 | 61.312 | 0.366 | 28.221
36 | 10 | 11072 | 59.231 | 0.387 | 28.237
36 | 10 | 10686 | 57.188 | 0.391 | 28.22
36 | 10 | 10332 | 55.247 | 0.387 | 28.215
36 | 10 | 9997 | 53.413 | 0.398 | 28.224
36 | 10 | 9681 | 51.604 | 0.403 | 28.22
36 | 10 | 9373 | 48.372 | 0.215 | 28.355
37 | 11 | 4416 | 62.873 | -4.548 | 19.682
37 | 11 | 4408 | 63.265 | -4.57 | 19.67
37 | 11 | 4410 | 63.262 | -4.572 | 19.646
37 | 11 | 4408 | 63.235 | -4.592 | 19.634
37 | 11 | 4409 | 63.273 | -4.583 | 19.606
37 | 11 | 3082 | 8.495 | 0.311 | 28.78
37 | 11 | 12953 | 68.891 | 0.642 | 28.383
37 | 11 | 12434 | 65.884 | 0.608 | 28.369
37 | 11 | 12033 | 63.669 | 0.606 | 28.399
37 | 11 | 11659 | 61.599 | 0.629 | 28.417
37 | 11 | 11288 | 59.536 | 0.592 | 28.377
37 | 11 | 10930 | 57.618 | 0.621 | 28.371
37 | 11 | 10588 | 55.696 | 0.619 | 28.374
37 | 11 | 10262 | 53.873 | 0.644 | 28.402
37 | 11 | 9968 | 52.155 | 0.638 | 28.353
37 | 11 | 9689 | 44.056 | 0.071 | 29.039
38 | B | 4419 | 62.864 | -4.545 | 19.713
38 | B | 4415 | 63.334 | -4.57 | 19.67
38 | B | 4413 | 63.329 | -4.573 | 19.687
38 | B | 4412 | 63.309 | -4.541 | 19.679
38 | B | 4411 | 63.301 | -4.535 | 19.644
38 | B | 3046 | 8.43 | -19.686 | 28.18
38 | B | 13032 | 68.977 | -19.367 | 27.901
38 | B | 12549 | 66.62 | -19.308 | 27.938
38 | B | 12109 | 64.525 | -19.35 | 27.948
38 | B | 11683 | 62.39 | -19.343 | 27.923
38 | B | 11267 | 60.307 | -19.357 | 27.934
38 | B | 10874 | 58.308 | -19.33 | 27.922
38 | B | 10513 | 56.382 | -19.341 | 27.944
38 | B | 10156 | 54.487 | -19.334 | 27.952
38 | B | 9846 | 52.66 | -19.313 | 27.933
38 | B | 9527 | 49.514 | -19.455 | 28.053
39 | 12 | 4418 | 62.928 | -4.567 | 19.66
39 | 12 | 4411 | 63.306 | -4.57 | 19.67
39 | 12 | 4411 | 63.325 | -4.58 | 19.625
39 | 12 | 4409 | 63.309 | -4.599 | 19.65
39 | 12 | 4408 | 63.313 | -4.611 | 19.621
39 | 12 | 2914 | 8.043 | 0.234 | 29.144
39 | 12 | 12263 | 65.358 | 0.606 | 28.385
39 | 12 | 11775 | 62.535 | 0.588 | 28.338
39 | 12 | 11401 | 60.456 | 0.609 | 28.352
39 | 12 | 11037 | 58.452 | 0.612 | 28.316
39 | 12 | 10682 | 56.534 | 0.594 | 28.332
39 | 12 | 10355 | 54.718 | 0.593 | 28.352
39 | 12 | 10030 | 52.935 | 0.572 | 28.336
39 | 12 | 9719 | 51.237 | 0.588 | 28.353
39 | 12 | 9416 | 49.559 | 0.606 | 28.352
39 | 12 | 9127 | 42.483 | 0.242 | 29.165
40 | 13 | 4421 | 62.915 | -4.562 | 19.68
40 | 13 | 4415 | 63.348 | -4.57 | 19.67
40 | 13 | 4413 | 63.352 | -4.566 | 19.648
40 | 13 | 4416 | 63.356 | -4.588 | 19.649
40 | 13 | 4416 | 63.354 | -4.566 | 19.613
40 | 13 | 3034 | 8.345 | -0.093 | 27.883
40 | 13 | 12855 | 67.622 | 0.568 | 28.612
40 | 13 | 12428 | 65.324 | 0.575 | 28.588
40 | 13 | 12056 | 63.518 | 0.551 | 28.608
40 | 13 | 11677 | 61.725 | 0.553 | 28.605
40 | 13 | 11267 | 59.778 | 0.556 | 28.613
40 | 13 | 10881 | 57.979 | 0.566 | 28.594
40 | 13 | 10506 | 56.11 | 0.569 | 28.59
40 | 13 | 10146 | 54.285 | 0.597 | 28.583
40 | 13 | 9793 | 52.408 | 0.577 | 28.622
40 | 13 | 9435 | 48.893 | 0.452 | 28.787
41 | 14 | 4428 | 63.046 | -4.549 | 19.657
41 | 14 | 4423 | 63.438 | -4.57 | 19.67
41 | 14 | 4419 | 63.423 | -4.602 | 19.604
41 | 14 | 4420 | 63.412 | -4.574 | 19.596
41 | 14 | 4417 | 63.417 | -4.571 | 19.573
41 | 14 | 3116 | 8.596 | 0.479 | 29.282
41 | 14 | 12910 | 69.026 | 0.634 | 28.527
41 | 14 | 12367 | 65.926 | 0.633 | 28.485
41 | 14 | 11982 | 63.692 | 0.587 | 28.515
41 | 14 | 11596 | 61.589 | 0.599 | 28.474
41 | 14 | 11234 | 59.579 | 0.56 | 28.472
41 | 14 | 10883 | 57.639 | 0.594 | 28.476
41 | 14 | 10552 | 55.817 | 0.584 | 28.501
41 | 14 | 10233 | 54.061 | 0.615 | 28.497
41 | 14 | 9901 | 52.204 | 0.609 | 28.528
41 | 14 | 9590 | 46.414 | 0.185 | 29.062
42 | 15 | 4423 | 62.93 | -4.514 | 19.733
42 | 15 | 4419 | 63.38 | -4.57 | 19.67
42 | 15 | 4419 | 63.41 | -4.56 | 19.679
42 | 15 | 4415 | 63.389 | -4.589 | 19.671
42 | 15 | 4415 | 63.379 | -4.571 | 19.655
42 | 15 | 2974 | 8.163 | 0.123 | 27.854
42 | 15 | 12422 | 65.229 | 0.83 | 28.479
42 | 15 | 12032 | 63.121 | 0.834 | 28.501
42 | 15 | 11700 | 61.327 | 0.793 | 28.465
42 | 15 | 11382 | 59.671 | 0.804 | 28.462
42 | 15 | 11035 | 57.931 | 0.822 | 28.487
42 | 15 | 10669 | 56.232 | 0.817 | 28.466
42 | 15 | 10324 | 54.638 | 0.837 | 28.454
42 | 15 | 9972 | 52.889 | 0.85 | 28.502
42 | 15 | 9630 | 51.192 | 0.873 | 28.472
42 | 15 | 9283 | 47.222 | 0.559 | 28.679
43 | 16 | 4430 | 63.081 | -4.562 | 19.714
43 | 16 | 4423 | 63.465 | -4.57 | 19.67
43 | 16 | 4421 | 63.455 | -4.563 | 19.668
43 | 16 | 4422 | 63.465 | -4.564 | 19.69
43 | 16 | 4420 | 63.478 | -4.578 | 19.645
43 | 16 | 2929 | 8.076 | 0.836 | 29.585
43 | 16 | 12478 | 66.761 | 0.883 | 28.574
43 | 16 | 11941 | 63.722 | 0.847 | 28.534
43 | 16 | 11571 | 61.659 | 0.854 | 28.519
43 | 16 | 11210 | 59.628 | 0.874 | 28.565
43 | 16 | 10858 | 57.682 | 0.861 | 28.568
43 | 16 | 10518 | 55.805 | 0.863 | 28.516
43 | 16 | 10194 | 54.014 | 0.845 | 28.557
43 | 16 | 9871 | 52.219 | 0.841 | 28.546
43 | 16 | 9563 | 50.492 | 0.852 | 28.554
43 | 16 | 9253 | 45.672 | 0.673 | 29.145
44 | 17 | 4430 | 62.999 | -4.56 | 19.694
44 | 17 | 4423 | 63.447 | -4.57 | 19.67
44 | 17 | 4422 | 63.468 | -4.574 | 19.678
44 | 17 | 4423 | 63.458 | -4.565 | 19.652
44 | 17 | 4422 | 63.494 | -4.568 | 19.632
44 | 17 | 3181 | 8.746 | -0.311 | 27.032
44 | 17 | 13427 | 70.722 | 0.405 | 27.901
44 | 17 | 12963 | 68.058 | 0.36 | 27.907
44 | 17 | 12620 | 66.062 | 0.362 | 27.879
44 | 17 | 12261 | 64.167 | 0.37 | 27.881
44 | 17 | 11926 | 62.462 | 0.384 | 27.893
44 | 17 | 11579 | 60.768 | 0.394 | 27.886
44 | 17 | 11224 | 59.056 | 0.369 | 27.881
44 | 17 | 10849 | 57.222 | 0.413 | 27.873
44 | 17 | 10486 | 55.524 | 0.447 | 27.873
44 | 17 | 10102 | 50.498 | 0.138 | 28.42
45 | 18 | 4433 | 63.133 | -4.562 | 19.714
45 | 18 | 4426 | 63.529 | -4.57 | 19.67
45 | 18 | 4428 | 63.533 | -4.573 | 19.673
45 | 18 | 4421 | 63.462 | -4.567 | 19.633
45 | 18 | 4420 | 63.47 | -4.584 | 19.644
45 | 18 | 3135 | 8.662 | 0.128 | 28.994
45 | 18 | 13209 | 70.982 | 0.409 | 28.421
45 | 18 | 12696 | 67.922 | 0.398 | 28.418
45 | 18 | 12283 | 65.569 | 0.401 | 28.399
45 | 18 | 11895 | 63.409 | 0.405 | 28.41
45 | 18 | 11524 | 61.32 | 0.384 | 28.415
45 | 18 | 11157 | 59.27 | 0.375 | 28.402
45 | 18 | 10804 | 57.334 | 0.387 | 28.429
45 | 18 | 10467 | 55.505 | 0.384 | 28.437
45 | 18 | 10145 | 53.635 | 0.431 | 28.425
45 | 18 | 9819 | 49.095 | 0.019 | 28.717
46 | B | 4427 | 63 | -4.557 | 19.701
46 | B | 4421 | 63.434 | -4.57 | 19.67
46 | B | 4423 | 63.473 | -4.596 | 19.683
46 | B | 4423 | 63.468 | -4.577 | 19.653
46 | B | 4422 | 63.569 | -4.605 | 19.66
46 | B | 3054 | 8.389 | -20.006 | 25.646
46 | B | 13122 | 69.302 | -19.451 | 28.004
46 | B | 12693 | 66.811 | -19.487 | 27.993
46 | B | 12317 | 64.777 | -19.491 | 28.012
46 | B | 11990 | 62.938 | -19.503 | 27.985
46 | B | 11668 | 61.189 | -19.484 | 27.964
46 | B | 11345 | 59.483 | -19.491 | 27.995
46 | B | 11031 | 57.841 | -19.476 | 27.962
46 | B | 10687 | 56.14 | -19.462 | 27.971
46 | B | 10361 | 54.511 | -19.432 | 27.989
46 | B | 10006 | 48.843 | -19.594 | 28.73
47 | 19 | 4436 | 63.244 | -4.55 | 19.706
47 | 19 | 4434 | 63.598 | -4.57 | 19.67
47 | 19 | 4431 | 63.595 | -4.553 | 19.65
47 | 19 | 4430 | 63.552 | -4.547 | 19.579
47 | 19 | 4430 | 63.605 | -4.553 | 19.618
47 | 19 | 3041 | 8.432 | 0.511 | 30.461
47 | 19 | 12850 | 69.342 | 0.501 | 28.723
47 | 19 | 12360 | 66.325 | 0.51 | 28.685
47 | 19 | 11950 | 63.999 | 0.501 | 28.699
47 | 19 | 11569 | 61.825 | 0.508 | 28.653
47 | 19 | 11194 | 59.731 | 0.5 | 28.717
47 | 19 | 10835 | 57.697 | 0.49 | 28.68
47 | 19 | 10482 | 55.785 | 0.484 | 28.715
47 | 19 | 10151 | 53.918 | 0.498 | 28.687
47 | 19 | 9826 | 52.058 | 0.527 | 28.697
47 | 19 | 9508 | 48.156 | 0.288 | 29.084
48 | 20 | 4442 | 63.195 | -4.536 | 19.697
48 | 20 | 4434 | 63.606 | -4.57 | 19.67
48 | 20 | 4432 | 63.617 | -4.551 | 19.684
48 | 20 | 4434 | 63.638 | -4.534 | 19.671
48 | 20 | 4432 | 63.654 | -4.569 | 19.651
48 | 20 | 2980 | 8.213 | 0.111 | 27.705
48 | 20 | 12755 | 67.491 | 0.703 | 28.589
48 | 20 | 12258 | 64.699 | 0.695 | 28.533
48 | 20 | 11899 | 62.64 | 0.699 | 28.543
48 | 20 | 11555 | 60.679 | 0.671 | 28.553
48 | 20 | 11251 | 58.943 | 0.651 | 28.513
48 | 20 | 10962 | 57.34 | 0.684 | 28.533
48 | 20 | 10678 | 55.871 | 0.69 | 28.55
48 | 20 | 10387 | 54.341 | 0.699 | 28.534
48 | 20 | 10108 | 52.88 | 0.713 | 28.514
48 | 20 | 9799 | 46.402 | 0.334 | 29.154
49 | 21 | 4440 | 63.267 | -4.573 | 19.696
49 | 21 | 4436 | 63.621 | -4.57 | 19.67
49 | 21 | 4437 | 63.66 | -4.601 | 19.668
49 | 21 | 4434 | 63.614 | -4.59 | 19.677
49 | 21 | 4431 | 63.596 | -4.612 | 19.65
49 | 21 | 3022 | 8.378 | 0.386 | 29.572
49 | 21 | 12942 | 69.565 | 0.74 | 28.898
49 | 21 | 12405 | 66.586 | 0.748 | 28.817
49 | 21 | 11998 | 64.333 | 0.701 | 28.872
49 | 21 | 11628 | 62.266 | 0.667 | 28.859
49 | 21 | 11259 | 60.159 | 0.709 | 28.915
49 | 21 | 10886 | 58.137 | 0.734 | 28.846
49 | 21 | 10542 | 56.177 | 0.737 | 28.876
49 | 21 | 10207 | 54.308 | 0.728 | 28.898
49 | 21 | 9885 | 52.523 | 0.733 | 28.877
49 | 21 | 9568 | 48.913 | 0.53 | 29.061
50 | 22 | 4443 | 63.198 | -4.545 | 19.682
50 | 22 | 4437 | 63.644 | -4.57 | 19.67
50 | 22 | 4437 | 63.677 | -4.564 | 19.66
50 | 22 | 4436 | 63.646 | -4.597 | 19.659
50 | 22 | 4436 | 63.666 | -4.574 | 19.64
50 | 22 | 3147 | 8.679 | -0.215 | 27.711
50 | 22 | 13075 | 69.52 | 0.426 | 28.088
50 | 22 | 12594 | 66.656 | 0.369 | 28.063
50 | 22 | 12201 | 64.435 | 0.374 | 28.061
50 | 22 | 11830 | 62.385 | 0.368 | 28.049
50 | 22 | 11478 | 60.403 | 0.335 | 28.08
50 | 22 | 11156 | 58.596 | 0.359 | 28.089
50 | 22 | 10847 | 56.867 | 0.366 | 28.057
50 | 22 | 10569 | 55.282 | 0.352 | 28.06
50 | 22 | 10283 | 53.732 | 0.38 | 28.063
50 | 22 | 9997 | 46.359 | -0.073 | 28.819
51 | 23 | 4447 | 63.34 | -4.555 | 19.702
51 | 23 | 4444 | 63.713 | -4.57 | 19.67
51 | 23 | 4443 | 63.741 | -4.549 | 19.667
51 | 23 | 4439 | 63.703 | -4.536 | 19.666
51 | 23 | 4439 | 63.75 | -4.557 | 19.621
51 | 23 | 3375 | 9.37 | 0.386 | 29.456
51 | 23 | 14200 | 76.34 | 0.512 | 28.256
51 | 23 | 13583 | 72.961 | 0.462 | 28.237
51 | 23 | 13099 | 70.382 | 0.465 | 28.251
51 | 23 | 12641 | 67.888 | 0.493 | 28.253
51 | 23 | 12226 | 65.559 | 0.47 | 28.263
51 | 23 | 11821 | 63.286 | 0.457 | 28.259
51 | 23 | 11429 | 61.137 | 0.476 | 28.253
51 | 23 | 11052 | 58.995 | 0.462 | 28.267
51 | 23 | 10692 | 56.934 | 0.453 | 28.235
51 | 23 | 10332 | 53.117 | 0.292 | 28.482
52 | 24 | 4448 | 63.311 | -4.539 | 19.703
52 | 24 | 4443 | 63.716 | -4.57 | 19.67
52 | 24 | 4439 | 63.723 | -4.586 | 19.656
52 | 24 | 4439 | 63.711 | -4.581 | 19.642
52 | 24 | 4439 | 63.709 | -4.593 | 19.648
52 | 24 | 3023 | 8.356 | -0.023 | 28.824
52 | 24 | 12760 | 67.842 | 0.493 | 28.708
52 | 24 | 12263 | 64.934 | 0.444 | 28.615
52 | 24 | 11885 | 62.797 | 0.427 | 28.662
52 | 24 | 11509 | 60.744 | 0.479 | 28.65
52 | 24 | 11148 | 58.738 | 0.427 | 28.663
52 | 24 | 10816 | 56.881 | 0.401 | 28.67
52 | 24 | 10497 | 55.075 | 0.438 | 28.655
52 | 24 | 10200 | 53.387 | 0.455 | 28.634
52 | 24 | 9932 | 51.872 | 0.498 | 28.636
52 | 24 | 9660 | 44.294 | -0.119 | 29.554
53 | 25 | 4448 | 63.356 | -4.518 | 19.76
53 | 25 | 4443 | 63.765 | -4.57 | 19.67
53 | 25 | 4444 | 63.766 | -4.548 | 19.705
53 | 25 | 4440 | 63.716 | -4.543 | 19.691
53 | 25 | 4441 | 63.742 | -4.541 | 19.681
53 | 25 | 3163 | 8.764 | 0.79 | 30.117
53 | 25 | 13188 | 70.543 | 0.75 | 28.585
53 | 25 | 12599 | 67.444 | 0.745 | 28.545
53 | 25 | 12136 | 65.024 | 0.749 | 28.563
53 | 25 | 11719 | 62.826 | 0.738 | 28.545
53 | 25 | 11308 | 60.709 | 0.713 | 28.519
53 | 25 | 10931 | 58.644 | 0.735 | 28.563
53 | 25 | 10579 | 56.699 | 0.741 | 28.556
53 | 25 | 10244 | 54.832 | 0.732 | 28.595
53 | 25 | 9924 | 52.984 | 0.737 | 28.566
53 | 25 | 9607 | 49.713 | 0.627 | 28.783
54 | B | 4455 | 63.373 | -4.568 | 19.677
54 | B | 4448 | 63.816 | -4.57 | 19.67
54 | B | 4444 | 63.799 | -4.573 | 19.67
54 | B | 4449 | 63.809 | -4.574 | 19.669
54 | B | 4448 | 63.836 | -4.589 | 19.697
54 | B | 3159 | 8.686 | -18.966 | 29.095
54 | B | 13348 | 71.146 | -19.28 | 28.103
54 | B | 12823 | 68.162 | -19.337 | 28.102
54 | B | 12412 | 65.892 | -19.361 | 28.089
54 | B | 12021 | 63.75 | -19.324 | 28.099
54 | B | 11651 | 61.689 | -19.342 | 28.063
54 | B | 11291 | 59.706 | -19.343 | 28.106
54 | B | 10932 | 57.751 | -19.378 | 28.113
54 | B | 10607 | 55.879 | -19.341 | 28.091
54 | B | 10307 | 54.14 | -19.294 | 28.096
54 | B | 10012 | 45.459 | -19.695 | 29.143
55 | time wait | 4442 | 63.241 | 0.118 | -0.078
55 | time wait | 4453 | 63.929 | 0 | 0
55 | time wait | 4460 | 63.976 | -0.005 | -0.004
55 | time wait | 4455 | 63.955 | -0.057 | -0.021
55 | time wait | 4457 | 63.966 | -0.036 | -0.041
56 | NBS18 | 4392 | 62.396 | -4.523 | 19.677
56 | NBS18 | 4390 | 62.943 | -4.57 | 19.67
56 | NBS18 | 4394 | 63.012 | -4.579 | 19.724
56 | NBS18 | 4394 | 63.038 | -4.615 | 19.716
56 | NBS18 | 4398 | 63.077 | -4.603 | 19.671
56 | NBS18 | 1177 | 3.187 | -16.635 | 26.315
56 | NBS18 | 6851 | 35.993 | -18.461 | 29.543
56 | NBS18 | 7269 | 38.848 | -18.138 | 28.282
56 | NBS18 | 20959 | 110.971 | 4.026 | 26.756
56 | NBS18 | 20577 | 108.766 | 4.068 | 26.818
56 | NBS18 | 20153 | 106.351 | 4.103 | 26.828
56 | NBS18 | 19720 | 104.045 | 4.068 | 26.837
56 | NBS18 | 19274 | 101.718 | 4.065 | 26.84
56 | NBS18 | 18826 | 99.402 | 4.081 | 26.876
56 | NBS18 | 18376 | 96.974 | 4.112 | 26.864
56 | NBS18 | 17862 | 86.173 | 3.809 | 27.959
57 | NBS18 | 4444 | 63.26 | -4.532 | 19.737
57 | NBS18 | 4437 | 63.621 | -4.57 | 19.67
57 | NBS18 | 4438 | 63.668 | -4.534 | 19.683
57 | NBS18 | 4439 | 63.684 | -4.531 | 19.674
57 | NBS18 | 4437 | 63.662 | -4.57 | 19.648
57 | NBS18 | 2983 | 8.283 | 3.755 | 27.448
57 | NBS18 | 12765 | 65.393 | 4.235 | 26.938
57 | NBS18 | 13269 | 71.032 | 4.165 | 26.784
57 | NBS18 | 20719 | 111.852 | -5.09 | 7.803
57 | NBS18 | 20166 | 108.702 | -5.103 | 7.718
57 | NBS18 | 19604 | 105.567 | -5.09 | 7.732
57 | NBS18 | 19084 | 102.534 | -5.102 | 7.754
57 | NBS18 | 18546 | 99.514 | -5.105 | 7.76
57 | NBS18 | 18049 | 96.678 | -5.091 | 7.759
57 | NBS18 | 17559 | 93.835 | -5.052 | 7.78
57 | NBS18 | 17072 | 87.518 | -5.34 | 8.151
58 | NBS19 | 4443 | 63.288 | -4.545 | 19.685
58 | NBS19 | 4434 | 63.623 | -4.57 | 19.67
58 | NBS19 | 4436 | 63.649 | -4.569 | 19.694
58 | NBS19 | 4434 | 63.639 | -4.562 | 19.65
58 | NBS19 | 4435 | 63.631 | -4.577 | 19.678
58 | NBS19 | 2908 | 8.026 | -5.934 | 7.884
58 | NBS19 | 12964 | 68.224 | -5.11 | 7.894
58 | NBS19 | 12980 | 68.726 | -5.095 | 7.926
58 | NBS19 | 24205 | 128.88 | -5.268 | 8.2
58 | NBS19 | 23629 | 125.567 | -5.238 | 8.207
58 | NBS19 | 23094 | 122.378 | -5.245 | 8.243
58 | NBS19 | 22583 | 119.538 | -5.181 | 8.256
58 | NBS19 | 22108 | 116.813 | -5.215 | 8.257
58 | NBS19 | 21654 | 114.378 | -5.219 | 8.295
58 | NBS19 | 21191 | 111.781 | -5.234 | 8.297
58 | NBS19 | 20686 | 98.189 | -6.048 | 9.264
59 | NBS19 | 4445 | 63.268 | -4.553 | 19.683
59 | NBS19 | 4440 | 63.674 | -4.57 | 19.67
59 | NBS19 | 4437 | 63.673 | -4.537 | 19.665
59 | NBS19 | 4438 | 63.677 | -4.578 | 19.644
59 | NBS19 | 4436 | 63.682 | -4.604 | 19.644
59 | NBS19 | 3466 | 9.62 | -5.843 | 8.721
59 | NBS19 | 15622 | 83.427 | -5.26 | 8.375
59 | NBS19 | 15571 | 83.877 | -5.189 | 8.673
59 | NBS19 | 23115 | 125.17 | 1.67 | 27.907
59 | NBS19 | 22468 | 121.509 | 1.699 | 27.992
59 | NBS19 | 21836 | 117.945 | 1.687 | 27.985
59 | NBS19 | 21249 | 114.643 | 1.711 | 28.042
59 | NBS19 | 20650 | 111.234 | 1.704 | 28.035
59 | NBS19 | 20122 | 108.123 | 1.74 | 28.021
59 | NBS19 | 19568 | 104.872 | 1.759 | 28.08
59 | NBS19 | 19019 | 98.241 | 1.433 | 28.313
60 | UTM | 4446 | 63.321 | -4.56 | 19.693
60 | UTM | 4435 | 63.698 | -4.57 | 19.67
60 | UTM | 4443 | 63.746 | -4.559 | 19.687
60 | UTM | 4442 | 63.734 | -4.553 | 19.664
60 | UTM | 4442 | 63.727 | -4.6 | 19.664
60 | UTM | 3255 | 8.981 | 0.88 | 27.894
60 | UTM | 11177 | 48.771 | 1.691 | 28.201
60 | UTM | 14213 | 74.338 | 1.68 | 28.144
60 | UTM | 24894 | 132.885 | 1.791 | 28.946
60 | UTM | 24214 | 129.155 | 1.776 | 28.985
60 | UTM | 23609 | 125.651 | 1.785 | 28.985
60 | UTM | 23035 | 122.33 | 1.765 | 29.005
60 | UTM | 22477 | 119.058 | 1.764 | 29.025
60 | UTM | 21969 | 116.162 | 1.778 | 29.022
60 | UTM | 21482 | 113.337 | 1.779 | 29.001
60 | UTM | 21014 | 98.201 | 1.14 | 30.396
61 | 1 | 4452 | 63.39 | -4.539 | 19.709
61 | 1 | 4446 | 63.78 | -4.57 | 19.67
61 | 1 | 4449 | 63.807 | -4.574 | 19.686
61 | 1 | 4446 | 63.789 | -4.589 | 19.657
61 | 1 | 4446 | 63.792 | -4.55 | 19.664
61 | 1 | 3524 | 9.781 | 1.231 | 29.014
61 | 1 | 16034 | 85.328 | 1.723 | 28.962
61 | 1 | 15962 | 85.718 | 1.787 | 28.954
61 | 1 | 24270 | 131.306 | 4.239 | 26.71
61 | 1 | 23555 | 127.401 | 4.233 | 26.725
61 | 1 | 22839 | 123.594 | 4.241 | 26.726
61 | 1 | 22192 | 119.984 | 4.242 | 26.738
61 | 1 | 21570 | 116.481 | 4.26 | 26.777
61 | 1 | 21008 | 113.173 | 4.252 | 26.754
61 | 1 | 20432 | 109.721 | 4.259 | 26.75
61 | 1 | 19886 | 102.98 | 4.024 | 27.039
62 | 2 | 4455 | 63.451 | -4.545 | 19.708
62 | 2 | 4447 | 63.854 | -4.57 | 19.67
62 | 2 | 4447 | 63.814 | -4.558 | 19.679
62 | 2 | 4448 | 63.794 | -4.551 | 19.653
62 | 2 | 4443 | 63.778 | -4.556 | 19.636
62 | 2 | 3288 | 9.056 | 3.608 | 26.714
62 | 2 | 15105 | 79.756 | 4.231 | 26.776
62 | 2 | 15078 | 79.903 | 4.222 | 26.711
62 | 2 | 16056 | 85.303 | 0.702 | 19.089
62 | 2 | 15591 | 82.739 | 0.671 | 19.058
62 | 2 | 15187 | 80.455 | 0.667 | 19.064
62 | 2 | 14784 | 78.155 | 0.67 | 19.067
62 | 2 | 14415 | 76.103 | 0.657 | 19.067
62 | 2 | 14064 | 74.038 | 0.677 | 19.074
62 | 2 | 13748 | 72.138 | 0.666 | 19.084
62 | 2 | 13435 | 61.688 | -0.195 | 19.853
63 | 3 | 4457 | 63.479 | -4.549 | 19.661
63 | 3 | 4452 | 63.851 | -4.57 | 19.67
63 | 3 | 4450 | 63.853 | -4.55 | 19.646
63 | 3 | 4452 | 63.84 | -4.554 | 19.634
63 | 3 | 4451 | 63.875 | -4.551 | 19.633
63 | 3 | 2294 | 6.35 | 0.062 | 20.5
63 | 3 | 9719 | 48.592 | 0.708 | 19.229
63 | 3 | 13433 | 70.721 | 1.007 | 20.71
63 | 3 | 20679 | 111.402 | 1.266 | 22.761
63 | 3 | 20026 | 108.105 | 1.266 | 22.814
63 | 3 | 19437 | 104.945 | 1.26 | 22.793
63 | 3 | 18861 | 101.862 | 1.292 | 22.799
63 | 3 | 18326 | 98.829 | 1.27 | 22.794
63 | 3 | 17831 | 95.977 | 1.265 | 22.835
63 | 3 | 17316 | 93.011 | 1.32 | 22.816
63 | 3 | 16843 | 87.589 | 1.085 | 22.978
64 | UTM | 4460 | 63.446 | -4.545 | 19.744
64 | UTM | 4454 | 63.879 | -4.57 | 19.67
64 | UTM | 4453 | 63.895 | -4.559 | 19.743
64 | UTM | 4452 | 63.903 | -4.568 | 19.731
64 | UTM | 4453 | 63.905 | -4.548 | 19.711
64 | UTM | 2887 | 7.951 | 0.547 | 23.202
64 | UTM | 12773 | 67.538 | 1.212 | 22.875
64 | UTM | 12848 | 69.063 | 1.047 | 22.873
64 | UTM | 36092 | 195.329 | -3.44 | 23.439
64 | UTM | 35185 | 189.873 | -3.432 | 23.803
64 | UTM | 34250 | 184.568 | -3.473 | 23.796
64 | UTM | 33373 | 179.481 | -3.461 | 23.813
64 | UTM | 32492 | 174.632 | -3.434 | 23.838
64 | UTM | 31623 | 169.523 | -3.435 | 23.846
64 | UTM | 30880 | 164.948 | -3.389 | 23.84
64 | UTM | 30129 | 142.614 | -5.229 | 24.726
65 | NBS18 | 4462 | 63.542 | -4.528 | 19.676
65 | NBS18 | 4454 | 63.899 | -4.57 | 19.67
65 | NBS18 | 4453 | 63.991 | -4.557 | 19.672
65 | NBS18 | 4454 | 63.91 | -4.563 | 19.651
65 | NBS18 | 4454 | 63.931 | -4.577 | 19.655
65 | NBS18 | 5192 | 14.45 | -3.937 | 24.034
65 | NBS18 | 23627 | 124.974 | -3.429 | 23.934
65 | NBS18 | 23604 | 125.645 | -3.386 | 23.974
65 | NBS18 | 25329 | 135.984 | 4.208 | 26.708
65 | NBS18 | 24553 | 132.189 | 4.243 | 26.719
65 | NBS18 | 23757 | 128.26 | 4.264 | 26.746
65 | NBS18 | 23049 | 124.527 | 4.272 | 26.729
65 | NBS18 | 22336 | 120.72 | 4.273 | 26.736
65 | NBS18 | 21683 | 117.244 | 4.263 | 26.725
65 | NBS18 | 21044 | 113.539 | 4.295 | 26.756
65 | NBS18 | 20468 | 106.797 | 4.041 | 26.997
66 | 4 | 4464 | 63.532 | -4.557 | 19.692
66 | 4 | 4459 | 63.952 | -4.57 | 19.67
66 | 4 | 4458 | 63.958 | -4.582 | 19.646
66 | 4 | 4456 | 63.951 | -4.55 | 19.665
66 | 4 | 4454 | 63.922 | -4.586 | 19.607
66 | 4 | 3477 | 9.622 | 3.557 | 26.794
66 | 4 | 15503 | 82.23 | 4.136 | 26.704
66 | 4 | 15522 | 83.02 | 4.043 | 26.4
66 | 4 | 29466 | 158.615 | -5.132 | 8.219
66 | 4 | 28683 | 154.018 | -5.124 | 8.184
66 | 4 | 27917 | 149.727 | -5.111 | 8.201
66 | 4 | 27167 | 145.563 | -5.09 | 8.2
66 | 4 | 26435 | 141.456 | -5.107 | 8.21
66 | 4 | 25726 | 137.478 | -5.117 | 8.24
66 | 4 | 25056 | 133.513 | -5.092 | 8.243
66 | 4 | 24390 | 116.503 | -5.537 | 10.027
67 | 5 | 4464 | 63.603 | -4.543 | 19.66
67 | 5 | 4454 | 63.921 | -4.57 | 19.67
67 | 5 | 4457 | 63.953 | -4.562 | 19.667
67 | 5 | 4456 | 63.965 | -4.564 | 19.652
67 | 5 | 4457 | 63.948 | -4.563 | 19.626
67 | 5 | 4337 | 11.964 | -5.756 | 6.769
67 | 5 | 19210 | 101.608 | -5.176 | 8.442
67 | 5 | 49931 | 375.986 | -114.149 | -164.49
67 | 5 | 49902 | 368.507 | -112.431 | -162.417
67 | 5 | 49892 | 362.595 | -110.902 | -160.55
67 | 5 | 49887 | 356.775 | -109.266 | -158.438
67 | 5 | 49885 | 350.693 | -107.296 | -155.874
67 | 5 | 49882 | 344.326 | -105.073 | -152.925
67 | 5 | 49880 | 338.003 | -102.536 | -149.507
67 | 5 | 49878 | 330.765 | -100.027 | -146.202
67 | 5 | 49877 | 313.029 | -95.172 | -144.386
68 | NBS19 | 4470 | 63.635 | -4.55 | 19.739
68 | NBS19 | 4463 | 64.055 | -4.57 | 19.67
68 | NBS19 | 4464 | 64.043 | -4.571 | 19.694
68 | NBS19 | 4466 | 64.067 | -4.578 | 19.692
68 | NBS19 | 4465 | 64.04 | -4.566 | 19.672
68 | NBS19 | 10411 | 29.585 | -3.846 | 23.983
68 | NBS19 | 45910 | 247.032 | -29.395 | -58.103
68 | NBS19 | 46314 | 252.427 | -32.785 | -62.945
68 | NBS19 | 7040 | 37.495 | -3.457 | 23.763
68 | NBS19 | 6700 | 35.473 | -3.494 | 23.715
68 | NBS19 | 6515 | 34.454 | -3.49 | 23.684
68 | NBS19 | 6329 | 33.433 | -3.53 | 23.715
68 | NBS19 | 6161 | 32.496 | -3.526 | 23.729
68 | NBS19 | 5997 | 31.602 | -3.542 | 23.759
68 | NBS19 | 5836 | 30.692 | -3.525 | 23.756
68 | NBS19 | 5674 | 26.7 | -3.879 | 24.439
69 | UTM | 4468 | 63.621 | -4.557 | 19.702
69 | UTM | 4458 | 63.98 | -4.57 | 19.67
69 | UTM | 4459 | 63.987 | -4.564 | 19.676
69 | UTM | 4459 | 63.996 | -4.572 | 19.662
69 | UTM | 4463 | 64.019 | -4.58 | 19.637
69 | UTM | 980 | 2.679 | -4.739 | 23.117
69 | UTM | 4429 | 22.934 | -3.702 | 23.642
69 | UTM | 4500 | 24.032 | -3.38 | 23.842
69 | UTM | 26168 | 139.025 | 1.739 | 28.661
69 | UTM | 25525 | 136.113 | 1.746 | 28.708
69 | UTM | 24848 | 132.716 | 1.766 | 28.68
69 | UTM | 24099 | 129.132 | 1.771 | 28.718
69 | UTM | 23369 | 125.704 | 1.768 | 28.733
69 | UTM | 22644 | 122.048 | 1.779 | 28.74
69 | UTM | 21939 | 118.295 | 1.822 | 28.764
69 | UTM | 21266 | 110.559 | 1.518 | 29.127
70 | UTM | 4463 | 63.596 | -4.551 | 19.715
70 | UTM | 4460 | 63.976 | -4.57 | 19.67
70 | UTM | 4461 | 63.998 | -4.568 | 19.671
70 | UTM | 4461 | 64.007 | -4.565 | 19.619
70 | UTM | 4457 | 64.011 | -4.576 | 19.629
70 | UTM | 3574 | 9.872 | 1.203 | 28.906
70 | UTM | 16090 | 85.553 | 1.752 | 28.765
70 | UTM | 16089 | 85.968 | 1.793 | 28.714
70 | UTM | 21893 | 117.481 | 4.229 | 26.054
70 | UTM | 21287 | 113.98 | 4.262 | 26.046
70 | UTM | 20728 | 110.798 | 4.252 | 26.057
70 | UTM | 20157 | 107.619 | 4.264 | 26.077
70 | UTM | 19607 | 104.518 | 4.249 | 26.06
70 | UTM | 19069 | 101.555 | 4.264 | 26.075
70 | UTM | 18550 | 98.56 | 4.278 | 26.087
70 | UTM | 18028 | 88.565 | 3.544 | 26.672
71 | ?? | 4467 | 63.623 | -4.544 | 19.708
71 | ?? | 4461 | 64.025 | -4.57 | 19.67
71 | ?? | 4462 | 64.036 | -4.568 | 19.72
71 | ?? | 4460 | 64.016 | -4.59 | 19.711
71 | ?? | 4462 | 64.05 | -4.57 | 19.685
71 | ?? | 3100 | 8.518 | 3.502 | 25.667
71 | ?? | 13846 | 72.108 | 4.184 | 26.156
71 | ?? | 13872 | 72.443 | 4.225 | 26.165
71 | ?? | 22221 | 117.206 | 4.263 | 26.687
71 | ?? | 21717 | 114.68 | 4.259 | 26.704
71 | ?? | 21206 | 112.196 | 4.3 | 26.7
71 | ?? | 20705 | 109.797 | 4.277 | 26.715
71 | ?? | 20126 | 106.989 | 4.292 | 26.718
71 | ?? | 19552 | 104.371 | 4.294 | 26.702
71 | ?? | 18994 | 101.523 | 4.324 | 26.722
71 | ?? | 18416 | 93.779 | 3.891 | 26.97