## Data Export
ID | Date Analyzed | Run # | Sample ID | Volume | Type | peak area | δ13C (PDB) | δ13C error (1σ) | Analyst | Researcher | Reaction Temperature (°C) | Reaction Time (hours) | Notes | Notes II
DI - 6.25.13 | 2013-06-27 | 3 | DI - 6.25.13 | 1 |  |  |  | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
DI - 6.25.14 | 2013-06-27 | 4 | DI - 6.25.14 | 1 |  |  |  | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
A - 5.26.13 | 2013-06-27 | 17 | A - 5.26.13 | 1 |  | 9.209 | -19.4871 | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
F - 5.26.13 | 2013-06-27 | 18 | F - 5.26.13 | 1 |  | 16.987 | -19.3299 | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
B - 5.26.13 | 2013-06-27 | 19 | B - 5.26.13 | 1 |  | 24.435 | -19.5652 | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
C - 5.26.13 | 2013-06-27 | 20 | C - 5.26.13 | 1 |  | 44.478 | -19.5892 | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
D - 5.26.13 | 2013-06-27 | 21 | D - 5.26.13 | 1 |  | 49.495 | -19.541 | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
E - 5.26.13 | 2013-06-27 | 22 | E - 5.26.13 | 1 |  | 102.198 | -19.3506 | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
DI - 6.17.13 | 2013-06-27 | 24 | DI - 6.17.13 | 1 |  |  |  | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
A - 6.17.13 | 2013-06-27 | 25 | A - 6.17.13 | 1 |  | 9.863 | -19.5243 | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
F - 6.17.13 | 2013-06-27 | 26 | F - 6.17.13 | 1 |  | 14.317 | -19.6356 | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
B - 6.17.13 | 2013-06-27 | 27 | B - 6.17.13 | 1 |  | 25.844 | -19.5523 | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
C - 6.17.13 | 2013-06-27 | 28 | C - 6.17.13 | 1 |  | 38.277 | -19.6111 | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
D - 6.17.13 | 2013-06-27 | 29 | D - 6.17.13 | 1 |  | 48.224 | -19.6086 | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
E - 6.17.13 | 2013-06-27 | 30 | E - 6.17.13 | 1 |  | 109.161 | -19.3618 | 0.12632 | Peter Carlson |  | 40 | 8 | DIC std storage experiment
IS Blank - 6.23.13 | 2013-06-27 | 32 | IS Blank - 6.23.13 | 0.4 |  | 3.4 | -18.5426 | 0.12632 | Peter Carlson |  | 40 | 8
ISST Direct 1 - 6.23.13 | 2013-06-27 | 33 | ISST Direct 1 - 6.23.13 | 0.4 |  | 20.031 | -10.3899 | 0.12632 | Peter Carlson |  | 40 | 8
ISLM 2 - 6.23.13 | 2013-06-27 | 34 | ISLM 2 - 6.23.13 | 0.4 |  | 26.452 | -12.6291 | 0.12632 | Peter Carlson |  | 40 | 8
NBWS 1 - 6.19.13 | 2013-06-27 | 35 | NBWS 1 - 6.19.13 | 0.4 |  | 26.643 | -13.4705 | 0.12632 | Peter Carlson |  | 40 | 8
ISST Indirect 2 - 6.23.13 | 2013-06-27 | 36 | ISST Indirect 2 - 6.23.13 | 0.4 |  | 18.865 | -8.8614 | 0.12632 | Peter Carlson |  | 40 | 8
ISST Indirect 1 - 6.23.13 | 2013-06-27 | 37 | ISST Indirect 1 - 6.23.13 | 0.4 |  | 23.261 | -9.2268 | 0.12632 | Peter Carlson |  | 40 | 8
ISST Direct 2 - 6.23.13 | 2013-06-27 | 38 | ISST Direct 2 - 6.23.13 | 0.4 |  | 21.712 | -10.0285 | 0.12632 | Peter Carlson |  | 40 | 8
ISSR 7 1 - 6.23.13 | 2013-06-27 | 39 | ISSR 7 1 - 6.23.13 | 0.4 |  | 19.026 | -10.996 | 0.12632 | Peter Carlson |  | 40 | 8
ISSR 7 2 - 6.23.13 | 2013-06-27 | 41 | ISSR 7 2 - 6.23.13 | 0.4 |  | 17.891 | -11.3918 | 0.12632 | Peter Carlson |  | 40 | 8
ISLM 1 - 6.23.13 | 2013-06-27 | 42 | ISLM 1 - 6.23.13 | 0.4 |  | 25.023 | -12.7622 | 0.12632 | Peter Carlson |  | 40 | 8
NB Blank - 6.19.13 | 2013-06-27 | 43 | NB Blank - 6.19.13 | 0.4 |  | 1.325 | -14.2304 | 0.12632 | Peter Carlson |  | 40 | 8
NBCT 1 - 6.19.13 | 2013-06-27 | 44 | NBCT 1 - 6.19.13 | 0.4 |  | 17.434 | -10.64 | 0.12632 | Peter Carlson |  | 40 | 8
NBBC 2 - 6.19.13 | 2013-06-27 | 45 | NBBC 2 - 6.19.13 | 0.4 |  | 25.834 | -10.5626 | 0.12632 | Peter Carlson |  | 40 | 8
NBCT 2 - 6.19.13 | 2013-06-27 | 46 | NBCT 2 - 6.19.13 | 0.4 |  | 19.115 | -10.253 | 0.12632 | Peter Carlson |  | 40 | 8
NBWS 2 - 6.19.13 | 2013-06-27 | 47 | NBWS 2 - 6.19.13 | 0.4 |  | 30.273 | -14.3505 | 0.12632 | Peter Carlson |  | 40 | 8
NBBC 1 - 6.19.13 | 2013-06-27 | 48 | NBBC 1 - 6.19.13 | 0.4 |  | 18.439 | -9.2908 | 0.12632 | Peter Carlson |  | 40 | 8

## Calibration
Gas Bench DIC Calibration
|  |  | Date: | 2013-06-27
|  |  | Operator: | Peter Carlson
Calibration Notes
|  |  | d13C max stdev: | 0.2
|  |  | Peaks used: | Last Two
|  |  | Blank Correction: | No (No Peaks)
|  |  | Linearity Correction: | Yes (Auto)
|  |  | Drift Correction: | Yes (Auto)
Standard
|  |  | Name | mg NaHCO3 | mL H2O | mmol/L NaHCO3 | mg/L C | mg/L HCO3 | µg C | Area 44 | δ13C
|  |  | A - 6.25.13 | 38.962 | 500 | 0.92759 | 11.141 | 56.5988 | #DIV/0!
|  |  | B - 6.25.13 | 51.522 | 250 | 2.4532 | 29.4651 | 149.6886 | 29.4651 | 26.7144 | -18.7665
|  |  | C - 6.25.13 | 78.944 | 250 | 3.7589 | 45.1475 | 229.3587 | 45.1475 | 42.6968 | -19.0215
|  |  | D - 6.25.13 | 101.796 | 250 | 4.847 | 58.2164 | 295.7514 | 58.2164 | 56.7307 | -19.0074
|  |  | E - 6.25.13 | 198.94 | 250 | 9.4726 | 113.7724 | 577.9872 | 113.7724 | 105.8518 | -18.8406
|  |  | F - 6.25.13 | 31.546 | 250 | 1.5021 | 18.0409 | 91.6517 | #DIV/0!
|  |  | Calibration | slope | intercept |  | linearity | drift | standard
|  |  | carbon | #DIV/0! | #DIV/0! |  | -0.0033202 | 0.0035428 | -0.54603
ALL | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | STD-Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
1 | Blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
2 | Blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
3 | DI - 6.25.13 | 1 | [12 empty] | #DIV/0! | #DIV/0!
4 | DI - 6.25.14 | 1 | [12 empty] | #DIV/0! | #DIV/0!
5 | A - 6.25.13 | 1 | [12 empty] | #DIV/0! | #DIV/0!
6 | A - 6.25.13 | 1 | 720 | 1.872 | -19.433 | 29.298 |  |  | 1.872 | -19.433 |  | -19.4268 | -19.4445 | -19.9905 | #DIV/0! | #DIV/0!
7 | F - 6.25.13 | 1 | 1131 | 2.955 | -19.334 | 29.01 |  |  | 2.955 | -19.334 |  | -19.3242 | -19.3454 | -19.8915 | #DIV/0! | #DIV/0!
8 | F - 6.25.13 | 1 | 1046 | 2.733 | -19.229 | 28.845 |  |  | 2.733 | -19.229 |  | -19.2199 | -19.2447 | -19.7908 | #DIV/0! | #DIV/0!
9 | B - 6.25.13 | 1 | 1914 | 5.052 | -19.287 | 28.704 |  |  | 5.052 | -19.287 |  | -19.2702 | -19.2986 | -19.8446 | #DIV/0! | #DIV/0!
10 | B - 6.25.13 | 1 | 1724 | 4.524 | -19.073 | 28.521 |  |  | 4.524 | -19.073 |  | -19.058 | -19.0899 | -19.6359 | #DIV/0! | #DIV/0!
11 | C - 6.25.13 | 1 | 8898 | 43.47 | -19.064 | 28.0415 | 0.033941 | 0.050205 | 43.47 | -19.064 |  | -18.9197 | -18.9551 | -19.5011 | #DIV/0! | #DIV/0!
12 | C - 6.25.13 | 1 | 8784 | 42.408 | -19.118 | 28.1175 | 0.0014142 | 0.014849 | 42.408 | -19.118 |  | -18.9772 | -19.0162 | -19.5622 | #DIV/0! | #DIV/0!
13 | D - 6.25.13 | 1 | 10289 | 50.623 | -19.177 | 27.9645 | 0.0056569 | 0.00070711 | 50.623 | -19.177 |  | -19.0089 | -19.0514 | -19.5975 | #DIV/0! | #DIV/0!
14 | D - 6.25.13 | 1 | 11016 | 53.691 | -19.162 | 27.9815 | 0.025456 | 0.010607 | 53.691 | -19.162 |  | -18.9837 | -19.0298 | -19.5758 | #DIV/0! | #DIV/0!
15 | E - 6.25.13 | 1 | 21048 | 108.186 | -19.0975 | 27.791 | 0.012021 | 0.0084853 | 108.186 | -19.0975 |  | -18.7383 | -18.7879 | -19.3339 | #DIV/0! | #DIV/0!
16 | E - 6.25.13 | 1 | 21510 | 110.33 | -19.0655 | 27.744 | 0.019092 | 0.0042426 | 110.33 | -19.0655 |  | -18.6992 | -18.7523 | -19.2983 | #DIV/0! | #DIV/0!
17 | A - 5.26.13 | 1 | 1917 | 9.209 | -18.915 | 27.993 | 0.05374 | 0.10607 | 9.209 | -18.915 |  | -18.8844 | -18.9411 | -19.4871 | #DIV/0! | #DIV/0!
18 | F - 5.26.13 | 1 | 3551 | 16.987 | -18.78 | 28.0275 | 0.025456 | 0.014849 | 16.987 | -18.78 |  | -18.7236 | -18.7838 | -19.3299 | #DIV/0! | #DIV/0!
19 | B - 5.26.13 | 1 | 5037 | 24.435 | -19.0365 | 28.029 | 0.006364 | 0.096167 | 24.435 | -19.0365 |  | -18.9554 | -19.0191 | -19.5652 | #DIV/0! | #DIV/0!
20 | C - 5.26.13 | 1 | 9198 | 44.478 | -19.1235 | 27.9035 | 0.010607 | 0.027577 | 44.478 | -19.1235 |  | -18.9758 | -19.0431 | -19.5892 | #DIV/0! | #DIV/0!
21 | D - 5.26.13 | 1 | 10061 | 49.495 | -19.0885 | 28.0055 | 0.0077782 | 0.014849 | 49.495 | -19.0885 |  | -18.9242 | -18.995 | -19.541 | #DIV/0! | #DIV/0!
22 | E - 5.26.13 | 1 | 20112 | 102.198 | -19.0695 | 27.7995 | 0.0021213 | 0.0091924 | 102.198 | -19.0695 |  | -18.7302 | -18.8046 | -19.3506 | #DIV/0! | #DIV/0!
23 | B - 6.25.13 | 1 | 5475 | 26.693 | -18.771 | 27.944 | 0.0056569 | 0.039598 | 26.693 | -18.771 |  | -18.6824 | -18.7603 | -19.3063 | #DIV/0! | #DIV/0!
24 | DI - 6.17.13 | 1 | [12 empty] | #DIV/0! | #DIV/0!
25 | A - 6.17.13 | 1 | 2035 | 9.863 | -18.926 | 27.4785 | 0.022627 | 0.014849 | 9.863 | -18.926 |  | -18.8933 | -18.9783 | -19.5243 | #DIV/0! | #DIV/0!
26 | F - 6.17.13 | 1 | 2982 | 14.317 | -19.0485 | 27.587 | 0.024749 | 0.039598 | 14.317 | -19.0485 |  | -19.001 | -19.0895 | -19.6356 | #DIV/0! | #DIV/0!
27 | B - 6.17.13 | 1 | 5326 | 25.844 | -19 | 27.511 | 0.0098995 | 0.0084853 | 25.844 | -19 |  | -18.9142 | -19.0063 | -19.5523 | #DIV/0! | #DIV/0!
28 | C - 6.17.13 | 1 | 7861 | 38.277 | -19.0965 | 27.5455 | 0.0021213 | 0.03182 | 38.277 | -19.0965 |  | -18.9694 | -19.0651 | -19.6111 | #DIV/0! | #DIV/0!
29 | D - 6.17.13 | 1 | 9914 | 48.224 | -19.1235 | 27.471 | 0.038891 | 0.019799 | 48.224 | -19.1235 |  | -18.9634 | -19.0626 | -19.6086 | #DIV/0! | #DIV/0!
30 | E - 6.17.13 | 1 | 21278 | 109.161 | -19.0755 | 27.1905 | 0.014849 | 0.028991 | 109.161 | -19.0755 |  | -18.7131 | -18.8158 | -19.3618 | #DIV/0! | #DIV/0!
31 | B - 6.25.13 | 1 | 5595 | 26.829 | -18.7345 | 27.928 | 0.013435 | 0.049497 | 26.829 | -18.7345 |  | -18.6454 | -18.7517 | -19.2977 | #DIV/0! | #DIV/0!
32 | IS Blank - 6.23.13 | 0.4 | 1303 | 3.4 | -17.898 | 53.825 |  |  | 3.4 | -17.898 |  | -17.8867 | -17.9965 | -18.5426 | #DIV/0! | #DIV/0!
33 | ISST Direct 1 - 6.23.13 | 0.4 | 4165 | 20.031 | -9.797 | 22.111 | 0.02687 | 0.05374 | 20.031 | -9.797 |  | -9.7305 | -9.8439 | -10.3899 | #DIV/0! | #DIV/0!
34 | ISLM 2 - 6.23.13 | 0.4 | 5409 | 26.452 | -12.054 | 22.263 | 0.0098995 | 0.048083 | 26.452 | -12.054 |  | -11.9662 | -12.0831 | -12.6291 | #DIV/0! | #DIV/0!
35 | NBWS 1 - 6.19.13 | 0.4 | 5525 | 26.643 | -12.8925 | 22.7785 | 0.0091924 | 0.006364 | 26.643 | -12.8925 |  | -12.804 | -12.9245 | -13.4705 | #DIV/0! | #DIV/0!
36 | ISST Indirect 2 - 6.23.13 | 0.4 | 3864 | 18.865 | -8.254 | 22.3495 | 0.033941 | 0.0021213 | 18.865 | -8.254 |  | -8.1914 | -8.3154 | -8.8614 | #DIV/0! | #DIV/0!
37 | ISST Indirect 1 - 6.23.13 | 0.4 | 4438 | 23.261 | -8.6305 | 21.5775 | 0.17324 | 0.44618 | 23.261 | -8.6305 |  | -8.5533 | -8.6808 | -9.2268 | #DIV/0! | #DIV/0!
38 | ISST Direct 2 - 6.23.13 | 0.4 | 4473 | 21.712 | -9.4235 | 22.241 | 0.0035355 | 0.042426 | 21.712 | -9.4235 |  | -9.3514 | -9.4825 | -10.0285 | #DIV/0! | #DIV/0!
39 | ISSR 7 1 - 6.23.13 | 0.4 | 3798 | 19.026 | -10.3785 | 22.179 | 0.095459 | 0.28143 | 19.026 | -10.3785 |  | -10.3153 | -10.45 | -10.996 | #DIV/0! | #DIV/0!
40 | B - 6.25.13 | 1 | 5790 | 27.873 | -18.6555 | 27.852 | 0.019092 | 0.024042 | 27.873 | -18.6555 |  | -18.563 | -18.7011 | -19.2472 | #DIV/0! | #DIV/0!
41 | ISSR 7 2 - 6.23.13 | 0.4 | 3615 | 17.891 | -10.7635 | 22.5355 | 0.064347 | 0.26092 | 17.891 | -10.7635 |  | -10.7041 | -10.8458 | -11.3918 | #DIV/0! | #DIV/0!
42 | ISLM 1 - 6.23.13 | 0.4 | 5066 | 25.023 | -12.154 | 21.5715 | 0.050912 | 0.13364 | 25.023 | -12.154 |  | -12.0709 | -12.2162 | -12.7622 | #DIV/0! | #DIV/0!
43 | NB Blank - 6.19.13 | 0.4 | 275 | 1.325 | -13.54 | 26.7535 | 0.025456 | 0.1393 | 1.325 | -13.54 |  | -13.5356 | -13.6844 | -14.2304 | #DIV/0! | #DIV/0!
44 | NBCT 1 - 6.19.13 | 0.4 | 3639 | 17.434 | -9.9995 | 22.5135 | 0.012021 | 0.013435 | 17.434 | -9.9995 |  | -9.9416 | -10.094 | -10.64 | #DIV/0! | #DIV/0!
45 | NBBC 2 - 6.19.13 | 0.4 | 5140 | 25.834 | -9.9465 | 22.064 | 0.062933 | 0.21779 | 25.834 | -9.9465 |  | -9.8607 | -10.0166 | -10.5626 | #DIV/0! | #DIV/0!
46 | NBCT 2 - 6.19.13 | 0.4 | 3972 | 19.115 | -9.611 | 22.4345 | 0.0084853 | 0.034648 | 19.115 | -9.611 |  | -9.5475 | -9.707 | -10.253 | #DIV/0! | #DIV/0!
47 | NBWS 2 - 6.19.13 | 0.4 | 6045 | 30.273 | -13.742 | 22.441 | 0.052326 | 0.16688 | 30.273 | -13.742 |  | -13.6415 | -13.8045 | -14.3505 | #DIV/0! | #DIV/0!
48 | NBBC 1 - 6.19.13 | 0.4 | 4171 | 18.439 | -8.6395 | 22.724 | 0.013435 | 0.070711 | 18.439 | -8.6395 |  | -8.5783 | -8.7448 | -9.2908 | #DIV/0! | #DIV/0!
49 | B - 6.25.13 | 1 | 5295 | 25.698 | -18.7165 | 27.782 | 0.023335 | 0.011314 | 25.698 | -18.7165 |  | -18.6312 | -18.8012 | -19.3473 | #DIV/0! | #DIV/0!
50 | B - 6.25.13 | 1 | 5454 | 26.479 | -18.7325 | 27.921 | 0.014849 | 0.022627 | 26.479 | -18.7325 |  | -18.6446 | -18.8182 | -19.3642 | #DIV/0! | #DIV/0!
51 | C - 6.25.13 | 1 | 9011 | 43.711 | -19.015 | 27.8855 | 0.0084853 | 0.014849 | 43.711 | -19.015 |  | -18.8699 | -19.047 | -19.593 | #DIV/0! | #DIV/0!
52 | C - 6.25.13 | 1 | 8402 | 41.198 | -19.024 | 27.516 | 0.0042426 | 0.050912 | 41.198 | -19.024 |  | -18.8872 | -19.0679 | -19.6139 | #DIV/0! | #DIV/0!
53 | D - 6.25.13 | 1 | 1806 | 4.744 | -18.953 | 28.149 |  |  | 4.744 | -18.953 |  | -18.9372 | -19.1215 | -19.6675 | #DIV/0! | #DIV/0!
54 | D - 6.25.13 | 1 | 13218 | 65.878 | -18.972 | 27.7895 | 0.011314 | 0.0077782 | 65.878 | -18.972 |  | -18.7533 | -18.941 | -19.4871 | #DIV/0! | #DIV/0!
55 | E - 6.25.13 | 1 | 19790 | 100.704 | -19.0525 | 27.5735 | 0.013435 | 0.017678 | 100.704 | -19.0525 |  | -18.7181 | -18.9095 | -19.4555 | #DIV/0! | #DIV/0!
56 | E - 6.25.13 | 1 | 20316 | 104.187 | -19.064 | 27.526 | 0 | 0.0084853 | 104.187 | -19.064 |  | -18.7181 | -18.9129 | -19.459 | #DIV/0! | #DIV/0!
BLANKS | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
Used Standards | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
23 | B - 6.25.13 | 1 | 5475 | 26.693 | -18.771 | 27.944 | 0.0056569 | 0.039598 | 26.693 | -18.771 |  | -18.6824 | -18.7603 | -19.3063 | #DIV/0! | #DIV/0!
31 | B - 6.25.13 | 1 | 5595 | 26.829 | -18.7345 | 27.928 | 0.013435 | 0.049497 | 26.829 | -18.7345 |  | -18.6454 | -18.7517 | -19.2977 | #DIV/0! | #DIV/0!
40 | B - 6.25.13 | 1 | 5790 | 27.873 | -18.6555 | 27.852 | 0.019092 | 0.024042 | 27.873 | -18.6555 |  | -18.563 | -18.7011 | -19.2472 | #DIV/0! | #DIV/0!
49 | B - 6.25.13 | 1 | 5295 | 25.698 | -18.7165 | 27.782 | 0.023335 | 0.011314 | 25.698 | -18.7165 |  | -18.6312 | -18.8012 | -19.3473 | #DIV/0! | #DIV/0!
50 | B - 6.25.13 | 1 | 5454 | 26.479 | -18.7325 | 27.921 | 0.014849 | 0.022627 | 26.479 | -18.7325 |  | -18.6446 | -18.8182 | -19.3642 | #DIV/0! | #DIV/0!
11 | C - 6.25.13 | 1 | 8898 | 43.47 | -19.064 | 28.0415 | 0.033941 | 0.050205 | 43.47 | -19.064 |  | -18.9197 | -18.9551 | -19.5011 | #DIV/0! | #DIV/0!
12 | C - 6.25.13 | 1 | 8784 | 42.408 | -19.118 | 28.1175 | 0.0014142 | 0.014849 | 42.408 | -19.118 |  | -18.9772 | -19.0162 | -19.5622 | #DIV/0! | #DIV/0!
51 | C - 6.25.13 | 1 | 9011 | 43.711 | -19.015 | 27.8855 | 0.0084853 | 0.014849 | 43.711 | -19.015 |  | -18.8699 | -19.047 | -19.593 | #DIV/0! | #DIV/0!
52 | C - 6.25.13 | 1 | 8402 | 41.198 | -19.024 | 27.516 | 0.0042426 | 0.050912 | 41.198 | -19.024 |  | -18.8872 | -19.0679 | -19.6139 | #DIV/0! | #DIV/0!
13 | D - 6.25.13 | 1 | 10289 | 50.623 | -19.177 | 27.9645 | 0.0056569 | 0.00070711 | 50.623 | -19.177 |  | -19.0089 | -19.0514 | -19.5975 | #DIV/0! | #DIV/0!
14 | D - 6.25.13 | 1 | 11016 | 53.691 | -19.162 | 27.9815 | 0.025456 | 0.010607 | 53.691 | -19.162 |  | -18.9837 | -19.0298 | -19.5758 | #DIV/0! | #DIV/0!
54 | D - 6.25.13 | 1 | 13218 | 65.878 | -18.972 | 27.7895 | 0.011314 | 0.0077782 | 65.878 | -18.972 |  | -18.7533 | -18.941 | -19.4871 | #DIV/0! | #DIV/0!
15 | E - 6.25.13 | 1 | 21048 | 108.186 | -19.0975 | 27.791 | 0.012021 | 0.0084853 | 108.186 | -19.0975 |  | -18.7383 | -18.7879 | -19.3339 | #DIV/0! | #DIV/0!
16 | E - 6.25.13 | 1 | 21510 | 110.33 | -19.0655 | 27.744 | 0.019092 | 0.0042426 | 110.33 | -19.0655 |  | -18.6992 | -18.7523 | -19.2983 | #DIV/0! | #DIV/0!
55 | E - 6.25.13 | 1 | 19790 | 100.704 | -19.0525 | 27.5735 | 0.013435 | 0.017678 | 100.704 | -19.0525 |  | -18.7181 | -18.9095 | -19.4555 | #DIV/0! | #DIV/0!
56 | E - 6.25.13 | 1 | 20316 | 104.187 | -19.064 | 27.526 | 0 | 0.0084853 | 104.187 | -19.064 |  | -18.7181 | -18.9129 | -19.459 | #DIV/0! | #DIV/0!

## Run Log
Row | ID | Volume | Notes | Var5 | Var6 | Var7 | Var8
1 | Blank | 0
2 | Blank | 0
3 | DI - 6.25.13 | 1 | DIC std storage experiment
4 | DI - 6.25.14 | 1 | DIC std storage experiment
5 | A - 6.25.13 | 1 | DIC std storage experiment
6 | A - 6.25.13 | 1 | DIC std storage experiment
7 | F - 6.25.13 | 1 | DIC std storage experiment
8 | F - 6.25.13 | 1 | DIC std storage experiment |  | Standard | Weight (mg) | Vol (ml)
9 | B - 6.25.13 | 1 | DIC std storage experiment |  | A - 6.25.13 | 38.962 | 500
10 | B - 6.25.13 | 1 | DIC std storage experiment |  | B - 6.25.13 | 51.522 | 250
11 | C - 6.25.13 | 1 | DIC std storage experiment |  | C - 6.25.13 | 78.944 | 250
12 | C - 6.25.13 | 1 | DIC std storage experiment |  | D - 6.25.13 | 101.796 | 250
13 | D - 6.25.13 | 1 | DIC std storage experiment |  | E - 6.25.13 | 198.94 | 250
14 | D - 6.25.13 | 1 | DIC std storage experiment |  | F - 6.25.13 | 31.546 | 250
15 | E - 6.25.13 | 1 | DIC std storage experiment
16 | E - 6.25.13 | 1 | DIC std storage experiment
17 | A - 5.26.13 | 1 | DIC std storage experiment
18 | F - 5.26.13 | 1 | DIC std storage experiment
19 | B - 5.26.13 | 1 | DIC std storage experiment
20 | C - 5.26.13 | 1 | DIC std storage experiment
21 | D - 5.26.13 | 1 | DIC std storage experiment
22 | E - 5.26.13 | 1 | DIC std storage experiment
23 | B - 6.25.13 | 1 | DIC std storage experiment
24 | DI - 6.17.13 | 1 | DIC std storage experiment
25 | A - 6.17.13 | 1 | DIC std storage experiment
26 | F - 6.17.13 | 1 | DIC std storage experiment
27 | B - 6.17.13 | 1 | DIC std storage experiment
28 | C - 6.17.13 | 1 | DIC std storage experiment
29 | D - 6.17.13 | 1 | DIC std storage experiment
30 | E - 6.17.13 | 1 | DIC std storage experiment
31 | B - 6.25.13 | 1 | DIC std storage experiment
32 | IS Blank - 6.23.13 | 0.4
33 | ISST Direct 1 - 6.23.13 | 0.4
34 | ISLM 2 - 6.23.13 | 0.4
35 | NBWS 1 - 6.19.13 | 0.4
36 | ISST Indirect 2 - 6.23.13 | 0.4
37 | ISST Indirect 1 - 6.23.13 | 0.4
38 | ISST Direct 2 - 6.23.13 | 0.4
39 | ISSR 7 1 - 6.23.13 | 0.4
40 | B - 6.25.13 | 1
41 | ISSR 7 2 - 6.23.13 | 0.4
42 | ISLM 1 - 6.23.13 | 0.4
43 | NB Blank - 6.19.13 | 0.4
44 | NBCT 1 - 6.19.13 | 0.4
45 | NBBC 2 - 6.19.13 | 0.4
46 | NBCT 2 - 6.19.13 | 0.4
47 | NBWS 2 - 6.19.13 | 0.4
48 | NBBC 1 - 6.19.13 | 0.4
49 | B - 6.25.13 | 1
50 | B - 6.25.13 | 1
51 | C - 6.25.13 | 1
52 | C - 6.25.13 | 1
53 | D - 6.25.13 | 1
54 | D - 6.25.13 | 1
55 | E - 6.25.13 | 1
56 | E - 6.25.13 | 1

## gasbenchCO2template.wke
Row | Identifier1 | Ampl44 | Area44 | d13C_12C | d18O_16O
1 | Blank | 3793 | 53.61 | -4.518 | 19.793
1 | Blank | 3792 | 54.42 | -4.57 | 19.67
1 | Blank | 3798 | 54.471 | -4.584 | 19.686
1 | Blank | 3795 | 54.458 | -4.58 | 19.711
1 | Blank | 3795 | 54.479 | -4.562 | 19.667
2 | Blank | 3797 | 53.598 | -4.535 | 19.711
2 | Blank | 3793 | 54.43 | -4.57 | 19.67
2 | Blank | 3796 | 54.463 | -4.556 | 19.696
2 | Blank | 3794 | 54.479 | -4.569 | 19.706
2 | Blank | 3795 | 54.487 | -4.565 | 19.71
3 | DI - 6.25.13 | 3799 | 53.76 | -4.546 | 19.746
3 | DI - 6.25.13 | 3799 | 54.496 | -4.57 | 19.67
3 | DI - 6.25.13 | 3802 | 54.527 | -4.562 | 19.68
3 | DI - 6.25.13 | 3802 | 54.542 | -4.574 | 19.724
3 | DI - 6.25.13 | 3801 | 54.547 | -4.569 | 19.705
3 | DI - 6.25.13 | 58 | 0.278 | -6.29 | 28.58
4 | DI - 6.25.14 | 3801 | 53.683 | -4.524 | 19.678
4 | DI - 6.25.14 | 3798 | 54.493 | -4.57 | 19.67
4 | DI - 6.25.14 | 3798 | 54.529 | -4.57 | 19.589
4 | DI - 6.25.14 | 3800 | 54.532 | -4.574 | 19.635
4 | DI - 6.25.14 | 3797 | 54.533 | -4.582 | 19.589
4 | DI - 6.25.14 | 92 | 0.439 | -7.978 | 26.684
5 | A - 6.25.13 | 3801 | 53.771 | -4.531 | 19.753
5 | A - 6.25.13 | 3800 | 54.508 | -4.57 | 19.67
5 | A - 6.25.13 | 3800 | 54.536 | -4.574 | 19.666
5 | A - 6.25.13 | 3801 | 54.514 | -4.565 | 19.685
5 | A - 6.25.13 | 3800 | 54.513 | -4.54 | 19.678
5 | A - 6.25.13 | 730 | 1.899 | -19.5 | 29.334
5 | A - 6.25.13 | 2478 | 11.911 | -18.89 | 27.99
6 | A - 6.25.13 | 3801 | 53.697 | -4.533 | 19.743
6 | A - 6.25.13 | 3801 | 54.536 | -4.57 | 19.67
6 | A - 6.25.13 | 3799 | 54.523 | -4.55 | 19.666
6 | A - 6.25.13 | 3800 | 54.51 | -4.55 | 19.679
6 | A - 6.25.13 | 3803 | 54.585 | -4.555 | 19.683
6 | A - 6.25.13 | 720 | 1.872 | -19.433 | 29.298
6 | A - 6.25.13 | 2483 | 11.82 | -18.961 | 28.056
7 | F - 6.25.13 | 3804 | 53.787 | -4.531 | 19.753
7 | F - 6.25.13 | 3799 | 54.554 | -4.57 | 19.67
7 | F - 6.25.13 | 3801 | 54.574 | -4.551 | 19.658
7 | F - 6.25.13 | 3800 | 54.566 | -4.525 | 19.687
7 | F - 6.25.13 | 3799 | 54.561 | -4.554 | 19.636
7 | F - 6.25.13 | 1131 | 2.955 | -19.334 | 29.01
7 | F - 6.25.13 | 3839 | 18.601 | -18.766 | 28.022
8 | F - 6.25.13 | 3805 | 53.74 | -4.447 | 19.778
8 | F - 6.25.13 | 3800 | 54.525 | -4.57 | 19.67
8 | F - 6.25.13 | 3802 | 54.563 | -4.56 | 19.667
8 | F - 6.25.13 | 3801 | 54.557 | -4.56 | 19.704
8 | F - 6.25.13 | 3798 | 54.565 | -4.548 | 19.647
8 | F - 6.25.13 | 1046 | 2.733 | -19.229 | 28.845
8 | F - 6.25.13 | 3585 | 17.159 | -18.848 | 28.236
9 | B - 6.25.13 | 3801 | 53.813 | -4.502 | 19.784
9 | B - 6.25.13 | 3801 | 54.539 | -4.57 | 19.67
9 | B - 6.25.13 | 3803 | 54.59 | -4.571 | 19.68
9 | B - 6.25.13 | 3801 | 54.565 | -4.562 | 19.702
9 | B - 6.25.13 | 3802 | 54.588 | -4.556 | 19.696
9 | B - 6.25.13 | 1914 | 5.052 | -19.287 | 28.704
9 | B - 6.25.13 | 6501 | 31.726 | -18.797 | 28.091
10 | B - 6.25.13 | 3803 | 53.721 | -4.538 | 19.788
10 | B - 6.25.13 | 3800 | 54.529 | -4.57 | 19.67
10 | B - 6.25.13 | 3802 | 54.556 | -4.574 | 19.698
10 | B - 6.25.13 | 3802 | 54.534 | -4.591 | 19.698
10 | B - 6.25.13 | 3803 | 54.551 | -4.556 | 19.713
10 | B - 6.25.13 | 1724 | 4.524 | -19.073 | 28.521
10 | B - 6.25.13 | 5855 | 28.236 | -18.774 | 28.143
11 | C - 6.25.13 | 3798 | 53.792 | -4.566 | 19.714
11 | C - 6.25.13 | 3794 | 54.486 | -4.57 | 19.67
11 | C - 6.25.13 | 3803 | 54.555 | -4.584 | 19.694
11 | C - 6.25.13 | 3799 | 54.538 | -4.577 | 19.747
11 | C - 6.25.13 | 3801 | 54.54 | -4.558 | 19.73
11 | C - 6.25.13 | 2944 | 7.819 | -19.663 | 29.141
11 | C - 6.25.13 | 10146 | 50.338 | -19.067 | 28.011
11 | C - 6.25.13 | 9964 | 49.281 | -19.068 | 28.008
11 | C - 6.25.13 | 9844 | 48.597 | -19.07 | 28.06
11 | C - 6.25.13 | 9692 | 47.746 | -19.064 | 28.038
11 | C - 6.25.13 | 9543 | 46.905 | -19.088 | 28.035
11 | C - 6.25.13 | 9369 | 46.023 | -19.065 | 28.082
11 | C - 6.25.13 | 9213 | 45.168 | -19.075 | 28.033
11 | C - 6.25.13 | 9051 | 44.305 | -19.058 | 28.046
11 | C - 6.25.13 | 8898 | 43.47 | -19.04 | 28.006
11 | C - 6.25.13 | 8732 | 42.652 | -19.088 | 28.077
12 | C - 6.25.13 | 3806 | 53.8 | -4.55 | 19.719
12 | C - 6.25.13 | 3800 | 54.604 | -4.57 | 19.67
12 | C - 6.25.13 | 3805 | 54.577 | -4.562 | 19.655
12 | C - 6.25.13 | 3803 | 54.579 | -4.575 | 19.688
12 | C - 6.25.13 | 3808 | 54.614 | -4.57 | 19.664
12 | C - 6.25.13 | 2942 | 7.804 | -19.183 | 28.495
12 | C - 6.25.13 | 9967 | 48.876 | -19.105 | 28.075
12 | C - 6.25.13 | 9760 | 47.635 | -19.124 | 28.102
12 | C - 6.25.13 | 9620 | 46.912 | -19.114 | 28.123
12 | C - 6.25.13 | 9494 | 46.176 | -19.115 | 28.107
12 | C - 6.25.13 | 9355 | 45.398 | -19.085 | 28.135
12 | C - 6.25.13 | 9210 | 44.637 | -19.107 | 28.11
12 | C - 6.25.13 | 9067 | 43.91 | -19.102 | 28.128
12 | C - 6.25.13 | 8922 | 43.122 | -19.108 | 28.143
12 | C - 6.25.13 | 8784 | 42.408 | -19.117 | 28.107
12 | C - 6.25.13 | 8603 | 41.643 | -19.119 | 28.128
13 | D - 6.25.13 | 3812 | 53.922 | -4.573 | 19.679
13 | D - 6.25.13 | 3804 | 54.626 | -4.57 | 19.67
13 | D - 6.25.13 | 3803 | 54.64 | -4.556 | 19.641
13 | D - 6.25.13 | 3808 | 54.579 | -4.571 | 19.652
13 | D - 6.25.13 | 3804 | 54.617 | -4.581 | 19.62
13 | D - 6.25.13 | 3476 | 9.309 | -19.598 | 28.374
13 | D - 6.25.13 | 11805 | 59.067 | -19.158 | 27.929
13 | D - 6.25.13 | 11505 | 57.188 | -19.179 | 27.921
13 | D - 6.25.13 | 11289 | 56.024 | -19.17 | 27.892
13 | D - 6.25.13 | 11128 | 55.198 | -19.175 | 27.926
13 | D - 6.25.13 | 10995 | 54.385 | -19.175 | 27.938
13 | D - 6.25.13 | 10818 | 53.443 | -19.162 | 27.981
13 | D - 6.25.13 | 10640 | 52.497 | -19.165 | 27.988
13 | D - 6.25.13 | 10472 | 51.557 | -19.124 | 27.992
13 | D - 6.25.13 | 10289 | 50.623 | -19.181 | 27.964
13 | D - 6.25.13 | 10113 | 49.644 | -19.173 | 27.965
14 | D - 6.25.13 | 3806 | 53.821 | -4.523 | 19.772
14 | D - 6.25.13 | 3800 | 54.607 | -4.57 | 19.67
14 | D - 6.25.13 | 3808 | 54.6 | -4.589 | 19.658
14 | D - 6.25.13 | 3804 | 54.611 | -4.587 | 19.68
14 | D - 6.25.13 | 3802 | 54.618 | -4.588 | 19.677
14 | D - 6.25.13 | 3748 | 10.022 | -19.266 | 28.446
14 | D - 6.25.13 | 12593 | 62.344 | -19.11 | 27.941
14 | D - 6.25.13 | 12322 | 60.763 | -19.162 | 27.952
14 | D - 6.25.13 | 12114 | 59.648 | -19.134 | 27.949
14 | D - 6.25.13 | 11948 | 58.75 | -19.148 | 27.969
14 | D - 6.25.13 | 11760 | 57.709 | -19.145 | 27.961
14 | D - 6.25.13 | 11572 | 56.7 | -19.143 | 27.967
14 | D - 6.25.13 | 11381 | 55.666 | -19.145 | 27.973
14 | D - 6.25.13 | 11190 | 54.574 | -19.154 | 27.968
14 | D - 6.25.13 | 11016 | 53.691 | -19.18 | 27.989
14 | D - 6.25.13 | 10855 | 52.76 | -19.144 | 27.974
15 | E - 6.25.13 | 3812 | 53.944 | -4.552 | 19.713
15 | E - 6.25.13 | 3813 | 54.678 | -4.57 | 19.67
15 | E - 6.25.13 | 3807 | 54.647 | -4.558 | 19.689
15 | E - 6.25.13 | 3805 | 54.64 | -4.558 | 19.652
15 | E - 6.25.13 | 3809 | 54.651 | -4.568 | 19.677
15 | E - 6.25.13 | 7047 | 19.754 | -19.43 | 28.281
15 | E - 6.25.13 | 23994 | 125.353 | -19.104 | 27.722
15 | E - 6.25.13 | 23529 | 122.415 | -19.094 | 27.737
15 | E - 6.25.13 | 23179 | 120.616 | -19.076 | 27.749
15 | E - 6.25.13 | 22858 | 118.692 | -19.085 | 27.77
15 | E - 6.25.13 | 22478 | 116.557 | -19.079 | 27.779
15 | E - 6.25.13 | 22109 | 114.483 | -19.085 | 27.778
15 | E - 6.25.13 | 21758 | 112.337 | -19.083 | 27.795
15 | E - 6.25.13 | 21405 | 110.259 | -19.097 | 27.79
15 | E - 6.25.13 | 21048 | 108.186 | -19.106 | 27.797
15 | E - 6.25.13 | 20711 | 106.085 | -19.089 | 27.785
16 | E - 6.25.13 | 3816 | 53.916 | -4.519 | 19.779
16 | E - 6.25.13 | 3807 | 54.641 | -4.57 | 19.67
16 | E - 6.25.13 | 3809 | 54.661 | -4.571 | 19.685
16 | E - 6.25.13 | 3804 | 54.639 | -4.578 | 19.678
16 | E - 6.25.13 | 3803 | 54.647 | -4.56 | 19.681
16 | E - 6.25.13 | 7289 | 20.411 | -19.242 | 28.151
16 | E - 6.25.13 | 24395 | 128.011 | -19.065 | 27.667
16 | E - 6.25.13 | 23879 | 124.709 | -19.081 | 27.674
16 | E - 6.25.13 | 23547 | 122.579 | -19.047 | 27.674
16 | E - 6.25.13 | 23202 | 120.563 | -19.083 | 27.66
16 | E - 6.25.13 | 22834 | 118.333 | -19.062 | 27.656
16 | E - 6.25.13 | 22462 | 116.059 | -19.066 | 27.694
16 | E - 6.25.13 | 22131 | 114.161 | -19.067 | 27.692
16 | E - 6.25.13 | 21772 | 112.087 | -19.094 | 27.695
16 | E - 6.25.13 | 21510 | 110.33 | -19.079 | 27.747
16 | E - 6.25.13 | 21150 | 108.198 | -19.052 | 27.741
17 | A - 5.26.13 | 3807 | 53.903 | -4.583 | 19.745
17 | A - 5.26.13 | 3806 | 54.629 | -4.57 | 19.67
17 | A - 5.26.13 | 3808 | 54.656 | -4.579 | 19.699
17 | A - 5.26.13 | 3808 | 54.657 | -4.602 | 19.678
17 | A - 5.26.13 | 3810 | 54.689 | -4.564 | 19.71
17 | A - 5.26.13 | 649 | 1.695 | -19.387 | 30.262
17 | A - 5.26.13 | 2182 | 10.696 | -18.917 | 27.936
17 | A - 5.26.13 | 2143 | 10.417 | -18.875 | 27.93
17 | A - 5.26.13 | 2113 | 10.223 | -18.899 | 28.009
17 | A - 5.26.13 | 2082 | 10.067 | -18.845 | 27.953
17 | A - 5.26.13 | 2053 | 9.906 | -18.857 | 28.074
17 | A - 5.26.13 | 2018 | 9.728 | -18.905 | 28.076
17 | A - 5.26.13 | 1985 | 9.555 | -18.853 | 27.935
17 | A - 5.26.13 | 1951 | 9.375 | -18.83 | 27.988
17 | A - 5.26.13 | 1917 | 9.209 | -18.877 | 27.918
17 | A - 5.26.13 | 1881 | 9.027 | -18.953 | 28.068
18 | F - 5.26.13 | 3811 | 53.867 | -4.576 | 19.742
18 | F - 5.26.13 | 3806 | 54.65 | -4.57 | 19.67
18 | F - 5.26.13 | 3808 | 54.626 | -4.578 | 19.631
18 | F - 5.26.13 | 3806 | 54.649 | -4.582 | 19.644
18 | F - 5.26.13 | 3806 | 54.679 | -4.571 | 19.671
18 | F - 5.26.13 | 1208 | 3.16 | -18.702 | 28.889
18 | F - 5.26.13 | 4053 | 19.575 | -18.777 | 27.933
18 | F - 5.26.13 | 3980 | 19.115 | -18.8 | 27.974
18 | F - 5.26.13 | 3913 | 18.781 | -18.792 | 28.074
18 | F - 5.26.13 | 3868 | 18.518 | -18.795 | 28.015
18 | F - 5.26.13 | 3812 | 18.226 | -18.788 | 28.008
18 | F - 5.26.13 | 3744 | 17.89 | -18.777 | 28.055
18 | F - 5.26.13 | 3688 | 17.606 | -18.795 | 27.997
18 | F - 5.26.13 | 3620 | 17.285 | -18.774 | 28.011
18 | F - 5.26.13 | 3551 | 16.987 | -18.762 | 28.017
18 | F - 5.26.13 | 3478 | 16.685 | -18.798 | 28.038
19 | B - 5.26.13 | 3808 | 53.9 | -4.567 | 19.71
19 | B - 5.26.13 | 3809 | 54.656 | -4.57 | 19.67
19 | B - 5.26.13 | 3806 | 54.661 | -4.601 | 19.678
19 | B - 5.26.13 | 3804 | 54.637 | -4.609 | 19.705
19 | B - 5.26.13 | 3806 | 54.638 | -4.59 | 19.659
19 | B - 5.26.13 | 1702 | 4.486 | -19.418 | 28.8
19 | B - 5.26.13 | 5769 | 28.477 | -19.077 | 28.016
19 | B - 5.26.13 | 5656 | 27.721 | -19.076 | 28.029
19 | B - 5.26.13 | 5562 | 27.187 | -19.079 | 28.019
19 | B - 5.26.13 | 5481 | 26.764 | -19.046 | 28.038
19 | B - 5.26.13 | 5397 | 26.312 | -19.041 | 28.068
19 | B - 5.26.13 | 5308 | 25.827 | -19.045 | 28.036
19 | B - 5.26.13 | 5217 | 25.353 | -19.085 | 28.008
19 | B - 5.26.13 | 5129 | 24.901 | -19.066 | 28.029
19 | B - 5.26.13 | 5037 | 24.435 | -19.041 | 27.961
19 | B - 5.26.13 | 4959 | 23.996 | -19.032 | 28.097
20 | C - 5.26.13 | 3810 | 53.876 | -4.513 | 19.738
20 | C - 5.26.13 | 3810 | 54.652 | -4.57 | 19.67
20 | C - 5.26.13 | 3809 | 54.647 | -4.57 | 19.652
20 | C - 5.26.13 | 3810 | 54.674 | -4.564 | 19.685
20 | C - 5.26.13 | 3807 | 54.609 | -4.579 | 19.645
20 | C - 5.26.13 | 3086 | 8.196 | -18.961 | 28.83
20 | C - 5.26.13 | 10491 | 51.451 | -19.081 | 27.895
20 | C - 5.26.13 | 10239 | 50.111 | -19.113 | 27.903
20 | C - 5.26.13 | 10102 | 49.374 | -19.103 | 27.931
20 | C - 5.26.13 | 9944 | 48.532 | -19.113 | 27.892
20 | C - 5.26.13 | 9782 | 47.681 | -19.1 | 27.911
20 | C - 5.26.13 | 9640 | 46.873 | -19.131 | 27.957
20 | C - 5.26.13 | 9493 | 46.038 | -19.094 | 27.95
20 | C - 5.26.13 | 9345 | 45.243 | -19.127 | 27.936
20 | C - 5.26.13 | 9198 | 44.478 | -19.116 | 27.884
20 | C - 5.26.13 | 9033 | 43.689 | -19.131 | 27.923
21 | D - 5.26.13 | 3810 | 53.938 | -4.525 | 19.76
21 | D - 5.26.13 | 3808 | 54.671 | -4.57 | 19.67
21 | D - 5.26.13 | 3807 | 54.64 | -4.567 | 19.689
21 | D - 5.26.13 | 3804 | 54.601 | -4.57 | 19.721
21 | D - 5.26.13 | 3805 | 54.677 | -4.562 | 19.698
21 | D - 5.26.13 | 3396 | 9.104 | -19.399 | 28.426
21 | D - 5.26.13 | 11584 | 57.864 | -19.112 | 27.964
21 | D - 5.26.13 | 11336 | 56.29 | -19.072 | 27.992
21 | D - 5.26.13 | 11091 | 55.078 | -19.087 | 27.991
21 | D - 5.26.13 | 10924 | 54.204 | -19.111 | 27.959
21 | D - 5.26.13 | 10784 | 53.34 | -19.043 | 27.991
21 | D - 5.26.13 | 10601 | 52.382 | -19.084 | 27.987
21 | D - 5.26.13 | 10408 | 51.336 | -19.065 | 28.004
21 | D - 5.26.13 | 10240 | 50.423 | -19.064 | 27.985
21 | D - 5.26.13 | 10061 | 49.495 | -19.094 | 27.995
21 | D - 5.26.13 | 9887 | 48.535 | -19.083 | 28.016
22 | E - 5.26.13 | 3804 | 53.862 | -4.531 | 19.689
22 | E - 5.26.13 | 3809 | 54.608 | -4.57 | 19.67
22 | E - 5.26.13 | 3805 | 54.631 | -4.552 | 19.672
22 | E - 5.26.13 | 3802 | 54.62 | -4.567 | 19.681
22 | E - 5.26.13 | 3804 | 54.652 | -4.565 | 19.697
22 | E - 5.26.13 | 6782 | 18.903 | -19.116 | 28.228
22 | E - 5.26.13 | 22813 | 118.685 | -19.074 | 27.735
22 | E - 5.26.13 | 22341 | 115.647 | -19.055 | 27.76
22 | E - 5.26.13 | 22032 | 113.594 | -19.053 | 27.771
22 | E - 5.26.13 | 21729 | 111.894 | -19.061 | 27.804
22 | E - 5.26.13 | 21413 | 109.973 | -19.051 | 27.771
22 | E - 5.26.13 | 21079 | 108.035 | -19.055 | 27.783
22 | E - 5.26.13 | 20738 | 106.009 | -19.073 | 27.794
22 | E - 5.26.13 | 20434 | 104.098 | -19.094 | 27.826
22 | E - 5.26.13 | 20112 | 102.198 | -19.068 | 27.793
22 | E - 5.26.13 | 19818 | 100.323 | -19.071 | 27.806
23 | B - 6.25.13 | 3810 | 53.953 | -4.546 | 19.745
23 | B - 6.25.13 | 3806 | 54.661 | -4.57 | 19.67
23 | B - 6.25.13 | 3810 | 54.69 | -4.566 | 19.674
23 | B - 6.25.13 | 3806 | 54.645 | -4.564 | 19.667
23 | B - 6.25.13 | 3807 | 54.697 | -4.597 | 19.656
23 | B - 6.25.13 | 1915 | 5.059 | -19.018 | 28.876
23 | B - 6.25.13 | 6392 | 31.177 | -18.807 | 27.888
23 | B - 6.25.13 | 6237 | 30.353 | -18.776 | 27.922
23 | B - 6.25.13 | 6106 | 29.771 | -18.797 | 27.918
23 | B - 6.25.13 | 6006 | 29.343 | -18.783 | 27.93
23 | B - 6.25.13 | 5898 | 28.823 | -18.793 | 27.948
23 | B - 6.25.13 | 5788 | 28.269 | -18.753 | 27.973
23 | B - 6.25.13 | 5681 | 27.735 | -18.76 | 27.972
23 | B - 6.25.13 | 5574 | 27.222 | -18.779 | 27.946
23 | B - 6.25.13 | 5475 | 26.693 | -18.775 | 27.972
23 | B - 6.25.13 | 5374 | 26.169 | -18.767 | 27.916
24 | DI - 6.17.13 | 3807 | 53.896 | -4.559 | 19.731
24 | DI - 6.17.13 | 3805 | 54.638 | -4.57 | 19.67
24 | DI - 6.17.13 | 3807 | 54.639 | -4.561 | 19.68
24 | DI - 6.17.13 | 3805 | 54.614 | -4.582 | 19.678
24 | DI - 6.17.13 | 3802 | 54.679 | -4.555 | 19.662
24 | DI - 6.17.13 | 93 | 0.448 | -13.293 | 27.534
24 | DI - 6.17.13 | 88 | 0.419 | -11.722 | 29.086
24 | DI - 6.17.13 | 86 | 0.411 | -12.143 | 27.32
24 | DI - 6.17.13 | 85 | 0.404 | -11.675 | 27.341
24 | DI - 6.17.13 | 83 | 0.396 | -11.958 | 27.487
24 | DI - 6.17.13 | 82 | 0.388 | -12.578 | 28.118
24 | DI - 6.17.13 | 81 | 0.382 | -11.831 | 27.126
24 | DI - 6.17.13 | 79 | 0.375 | -11.548 | 27.516
24 | DI - 6.17.13 | 78 | 0.368 | -12.279 | 28.113
24 | DI - 6.17.13 | 76 | 0.361 | -12.36 | 27.403
25 | A - 6.17.13 | 3811 | 53.925 | -4.546 | 19.685
25 | A - 6.17.13 | 3802 | 54.644 | -4.57 | 19.67
25 | A - 6.17.13 | 3802 | 54.65 | -4.566 | 19.706
25 | A - 6.17.13 | 3807 | 54.632 | -4.555 | 19.69
25 | A - 6.17.13 | 3805 | 54.675 | -4.556 | 19.694
25 | A - 6.17.13 | 712 | 1.862 | -19.105 | 28.99
25 | A - 6.17.13 | 2377 | 11.414 | -18.939 | 27.35
25 | A - 6.17.13 | 2333 | 11.162 | -18.965 | 27.521
25 | A - 6.17.13 | 2286 | 10.951 | -18.934 | 27.482
25 | A - 6.17.13 | 2246 | 10.804 | -18.916 | 27.478
25 | A - 6.17.13 | 2207 | 10.627 | -18.96 | 27.42
25 | A - 6.17.13 | 2165 | 10.447 | -18.926 | 27.426
25 | A - 6.17.13 | 2119 | 10.246 | -18.937 | 27.48
25 | A - 6.17.13 | 2077 | 10.06 | -18.916 | 27.404
25 | A - 6.17.13 | 2035 | 9.863 | -18.942 | 27.489
25 | A - 6.17.13 | 1996 | 9.674 | -18.91 | 27.468
26 | F - 6.17.13 | 3806 | 53.804 | -4.564 | 19.715
26 | F - 6.17.13 | 3800 | 54.583 | -4.57 | 19.67
26 | F - 6.17.13 | 3803 | 54.599 | -4.567 | 19.675
26 | F - 6.17.13 | 3802 | 54.567 | -4.575 | 19.686
26 | F - 6.17.13 | 3804 | 54.631 | -4.568 | 19.67
26 | F - 6.17.13 | 1020 | 2.663 | -19.303 | 29.09
26 | F - 6.17.13 | 3403 | 16.624 | -19.067 | 27.514
26 | F - 6.17.13 | 3345 | 16.218 | -19.049 | 27.459
26 | F - 6.17.13 | 3287 | 15.889 | -19.083 | 27.59
26 | F - 6.17.13 | 3233 | 15.623 | -19.057 | 27.462
26 | F - 6.17.13 | 3193 | 15.394 | -19.038 | 27.518
26 | F - 6.17.13 | 3139 | 15.109 | -19.013 | 27.528
26 | F - 6.17.13 | 3085 | 14.845 | -19.018 | 27.522
26 | F - 6.17.13 | 3034 | 14.573 | -19.046 | 27.506
26 | F - 6.17.13 | 2982 | 14.317 | -19.066 | 27.615
26 | F - 6.17.13 | 2930 | 14.052 | -19.031 | 27.559
27 | B - 6.17.13 | 3809 | 53.902 | -4.537 | 19.688
27 | B - 6.17.13 | 3800 | 54.6 | -4.57 | 19.67
27 | B - 6.17.13 | 3802 | 54.625 | -4.544 | 19.67
27 | B - 6.17.13 | 3806 | 54.613 | -4.547 | 19.66
27 | B - 6.17.13 | 3806 | 54.635 | -4.557 | 19.695
27 | B - 6.17.13 | 1842 | 4.834 | -18.987 | 28.114
27 | B - 6.17.13 | 6121 | 29.571 | -19.029 | 27.474
27 | B - 6.17.13 | 6008 | 28.898 | -19.013 | 27.495
27 | B - 6.17.13 | 5908 | 28.4 | -19.014 | 27.469
27 | B - 6.17.13 | 5835 | 28.04 | -18.985 | 27.451
27 | B - 6.17.13 | 5736 | 27.603 | -18.995 | 27.461
27 | B - 6.17.13 | 5636 | 27.195 | -18.994 | 27.467
27 | B - 6.17.13 | 5538 | 26.739 | -18.993 | 27.52
27 | B - 6.17.13 | 5431 | 26.3 | -19.008 | 27.467
27 | B - 6.17.13 | 5326 | 25.844 | -18.993 | 27.505
27 | B - 6.17.13 | 5219 | 25.372 | -19.007 | 27.517
28 | C - 6.17.13 | 3802 | 53.779 | -4.567 | 19.769
28 | C - 6.17.13 | 3802 | 54.59 | -4.57 | 19.67
28 | C - 6.17.13 | 3799 | 54.577 | -4.57 | 19.706
28 | C - 6.17.13 | 3803 | 54.563 | -4.541 | 19.66
28 | C - 6.17.13 | 3801 | 54.609 | -4.571 | 19.726
28 | C - 6.17.13 | 2655 | 7.043 | -19.413 | 28.137
28 | C - 6.17.13 | 8964 | 44.481 | -19.089 | 27.454
28 | C - 6.17.13 | 8781 | 43.232 | -19.115 | 27.475
28 | C - 6.17.13 | 8644 | 42.429 | -19.105 | 27.503
28 | C - 6.17.13 | 8515 | 41.764 | -19.107 | 27.493
28 | C - 6.17.13 | 8401 | 41.099 | -19.095 | 27.495
28 | C - 6.17.13 | 8268 | 40.399 | -19.091 | 27.532
28 | C - 6.17.13 | 8143 | 39.718 | -19.08 | 27.523
28 | C - 6.17.13 | 8003 | 38.99 | -19.088 | 27.518
28 | C - 6.17.13 | 7861 | 38.277 | -19.095 | 27.568
28 | C - 6.17.13 | 7743 | 37.609 | -19.098 | 27.523
29 | D - 6.17.13 | 3803 | 53.857 | -4.561 | 19.71
29 | D - 6.17.13 | 3804 | 54.608 | -4.57 | 19.67
29 | D - 6.17.13 | 3803 | 54.589 | -4.58 | 19.672
29 | D - 6.17.13 | 3805 | 54.63 | -4.563 | 19.647
29 | D - 6.17.13 | 3802 | 54.581 | -4.568 | 19.672
29 | D - 6.17.13 | 3390 | 9.057 | -19.011 | 27.859
29 | D - 6.17.13 | 11323 | 55.858 | -19.149 | 27.443
29 | D - 6.17.13 | 11087 | 54.282 | -19.128 | 27.446
29 | D - 6.17.13 | 10922 | 53.246 | -19.143 | 27.497
29 | D - 6.17.13 | 10781 | 52.476 | -19.156 | 27.46
29 | D - 6.17.13 | 10625 | 51.615 | -19.083 | 27.483
29 | D - 6.17.13 | 10461 | 50.834 | -19.117 | 27.449
29 | D - 6.17.13 | 10285 | 49.924 | -19.128 | 27.47
29 | D - 6.17.13 | 10102 | 49.078 | -19.141 | 27.497
29 | D - 6.17.13 | 9914 | 48.224 | -19.151 | 27.457
29 | D - 6.17.13 | 9731 | 47.432 | -19.096 | 27.485
30 | E - 6.17.13 | 3807 | 53.844 | -4.563 | 19.74
30 | E - 6.17.13 | 3802 | 54.617 | -4.57 | 19.67
30 | E - 6.17.13 | 3799 | 54.593 | -4.563 | 19.697
30 | E - 6.17.13 | 3802 | 54.624 | -4.574 | 19.714
30 | E - 6.17.13 | 3807 | 54.628 | -4.575 | 19.692
30 | E - 6.17.13 | 7067 | 19.879 | -19.462 | 27.703
30 | E - 6.17.13 | 24270 | 127.589 | -19.08 | 27.118
30 | E - 6.17.13 | 23715 | 123.907 | -19.069 | 27.139
30 | E - 6.17.13 | 23317 | 121.621 | -19.09 | 27.14
30 | E - 6.17.13 | 23009 | 119.676 | -19.096 | 27.15
30 | E - 6.17.13 | 22640 | 117.453 | -19.072 | 27.146
30 | E - 6.17.13 | 22276 | 115.089 | -19.077 | 27.15
30 | E - 6.17.13 | 21908 | 112.935 | -19.107 | 27.159
30 | E - 6.17.13 | 21602 | 111.181 | -19.08 | 27.164
30 | E - 6.17.13 | 21278 | 109.161 | -19.086 | 27.17
30 | E - 6.17.13 | 20925 | 107.153 | -19.065 | 27.211
31 | B - 6.25.13 | 3803 | 53.868 | -4.523 | 19.672
31 | B - 6.25.13 | 3803 | 54.611 | -4.57 | 19.67
31 | B - 6.25.13 | 3805 | 54.63 | -4.548 | 19.678
31 | B - 6.25.13 | 3804 | 54.591 | -4.551 | 19.675
31 | B - 6.25.13 | 3803 | 54.625 | -4.522 | 19.694
31 | B - 6.25.13 | 1960 | 5.143 | -18.177 | 30.774
31 | B - 6.25.13 | 6399 | 31.113 | -18.759 | 27.867
31 | B - 6.25.13 | 6242 | 30.268 | -18.729 | 27.939
31 | B - 6.25.13 | 6137 | 29.709 | -18.737 | 27.881
31 | B - 6.25.13 | 6055 | 29.253 | -18.734 | 27.927
31 | B - 6.25.13 | 5962 | 28.759 | -18.744 | 27.907
31 | B - 6.25.13 | 5873 | 28.253 | -18.763 | 27.934
31 | B - 6.25.13 | 5788 | 27.792 | -18.771 | 27.889
31 | B - 6.25.13 | 5689 | 27.278 | -18.747 | 27.915
31 | B - 6.25.13 | 5595 | 26.829 | -18.744 | 27.963
31 | B - 6.25.13 | 5492 | 26.339 | -18.725 | 27.893
32 | IS Blank - 6.23.13 | 3803 | 53.792 | -4.564 | 19.66
32 | IS Blank - 6.23.13 | 3804 | 54.57 | -4.57 | 19.67
32 | IS Blank - 6.23.13 | 3796 | 54.544 | -4.552 | 19.653
32 | IS Blank - 6.23.13 | 3802 | 54.583 | -4.572 | 19.663
32 | IS Blank - 6.23.13 | 3799 | 54.578 | -4.576 | 19.694
32 | IS Blank - 6.23.13 | 1303 | 3.4 | -17.898 | 53.825
32 | IS Blank - 6.23.13 | 181 | 0.874 | -17.404 | 22.933
32 | IS Blank - 6.23.13 | 167 | 0.807 | -17.001 | 23.166
32 | IS Blank - 6.23.13 | 154 | 0.744 | -16.857 | 23.125
32 | IS Blank - 6.23.13 | 149 | 0.724 | -16.503 | 23.408
32 | IS Blank - 6.23.13 | 147 | 0.71 | -16.373 | 23.614
32 | IS Blank - 6.23.13 | 144 | 0.696 | -15.955 | 23.677
32 | IS Blank - 6.23.13 | 141 | 0.684 | -16.401 | 23.618
32 | IS Blank - 6.23.13 | 139 | 0.672 | -16.417 | 23.629
32 | IS Blank - 6.23.13 | 137 | 0.661 | -16.325 | 24.593
32 | IS Blank - 6.23.13 | 135 | 0.648 | -16.907 | 26.545
33 | ISST Direct 1 - 6.23.13 | 3808 | 53.94 | -4.571 | 19.675
33 | ISST Direct 1 - 6.23.13 | 3810 | 54.638 | -4.57 | 19.67
33 | ISST Direct 1 - 6.23.13 | 3805 | 54.663 | -4.567 | 19.656
33 | ISST Direct 1 - 6.23.13 | 3805 | 54.605 | -4.588 | 19.627
33 | ISST Direct 1 - 6.23.13 | 3807 | 54.669 | -4.568 | 19.644
33 | ISST Direct 1 - 6.23.13 | 4783 | 23.236 | -9.671 | 22.191
33 | ISST Direct 1 - 6.23.13 | 4686 | 22.716 | -9.728 | 22.135
33 | ISST Direct 1 - 6.23.13 | 4578 | 22.196 | -9.751 | 22.098
33 | ISST Direct 1 - 6.23.13 | 4501 | 21.812 | -9.754 | 21.998
33 | ISST Direct 1 - 6.23.13 | 4435 | 21.464 | -9.813 | 22.036
33 | ISST Direct 1 - 6.23.13 | 4358 | 21.075 | -9.789 | 22.056
33 | ISST Direct 1 - 6.23.13 | 4288 | 20.706 | -9.719 | 22.063
33 | ISST Direct 1 - 6.23.13 | 4225 | 20.354 | -9.744 | 22.113
33 | ISST Direct 1 - 6.23.13 | 4165 | 20.031 | -9.816 | 22.073
33 | ISST Direct 1 - 6.23.13 | 4099 | 19.679 | -9.778 | 22.149
34 | ISLM 2 - 6.23.13 | 3811 | 53.972 | -4.529 | 19.684
34 | ISLM 2 - 6.23.13 | 3802 | 54.649 | -4.57 | 19.67
34 | ISLM 2 - 6.23.13 | 3807 | 54.656 | -4.565 | 19.675
34 | ISLM 2 - 6.23.13 | 3811 | 54.669 | -4.574 | 19.653
34 | ISLM 2 - 6.23.13 | 3805 | 54.647 | -4.552 | 19.669
34 | ISLM 2 - 6.23.13 | 911 | 2.389 | -10.026 | 24.617
34 | ISLM 2 - 6.23.13 | 6354 | 30.819 | -11.971 | 22.346
34 | ISLM 2 - 6.23.13 | 6180 | 30.034 | -12.051 | 22.263
34 | ISLM 2 - 6.23.13 | 6007 | 29.311 | -12.075 | 22.17
34 | ISLM 2 - 6.23.13 | 5886 | 28.804 | -12.03 | 22.161
34 | ISLM 2 - 6.23.13 | 5781 | 28.318 | -12.052 | 22.213
34 | ISLM 2 - 6.23.13 | 5681 | 27.823 | -12.061 | 22.246
34 | ISLM 2 - 6.23.13 | 5588 | 27.38 | -12.083 | 22.256
34 | ISLM 2 - 6.23.13 | 5495 | 26.903 | -12.054 | 22.19
34 | ISLM 2 - 6.23.13 | 5409 | 26.452 | -12.061 | 22.229
34 | ISLM 2 - 6.23.13 | 5317 | 25.958 | -12.047 | 22.297
35 | NBWS 1 - 6.19.13 | 3802 | 53.867 | -4.567 | 19.694
35 | NBWS 1 - 6.19.13 | 3803 | 54.612 | -4.57 | 19.67
35 | NBWS 1 - 6.19.13 | 3799 | 54.602 | -4.557 | 19.649
35 | NBWS 1 - 6.19.13 | 3803 | 54.573 | -4.581 | 19.675
35 | NBWS 1 - 6.19.13 | 3802 | 54.573 | -4.596 | 19.682
35 | NBWS 1 - 6.19.13 | 1891 | 4.973 | -12.901 | 23.468
35 | NBWS 1 - 6.19.13 | 6290 | 30.75 | -12.88 | 22.81
35 | NBWS 1 - 6.19.13 | 6165 | 30.01 | -12.91 | 22.775
35 | NBWS 1 - 6.19.13 | 6066 | 29.482 | -12.922 | 22.818
35 | NBWS 1 - 6.19.13 | 5989 | 29.066 | -12.894 | 22.699
35 | NBWS 1 - 6.19.13 | 5899 | 28.58 | -12.905 | 22.846
35 | NBWS 1 - 6.19.13 | 5804 | 28.103 | -12.926 | 22.772
35 | NBWS 1 - 6.19.13 | 5703 | 27.589 | -12.901 | 22.793
35 | NBWS 1 - 6.19.13 | 5615 | 27.117 | -12.903 | 22.805
35 | NBWS 1 - 6.19.13 | 5525 | 26.643 | -12.899 | 22.783
35 | NBWS 1 - 6.19.13 | 5431 | 26.156 | -12.886 | 22.774
36 | ISST Indirect 2 - 6.23.13 | 3804 | 53.824 | -4.575 | 19.661
36 | ISST Indirect 2 - 6.23.13 | 3795 | 54.559 | -4.57 | 19.67
36 | ISST Indirect 2 - 6.23.13 | 3802 | 54.556 | -4.597 | 19.653
36 | ISST Indirect 2 - 6.23.13 | 3804 | 54.563 | -4.582 | 19.651
36 | ISST Indirect 2 - 6.23.13 | 3798 | 54.584 | -4.57 | 19.643
36 | ISST Indirect 2 - 6.23.13 | 1344 | 3.517 | -8.309 | 23.53
36 | ISST Indirect 2 - 6.23.13 | 4499 | 21.729 | -8.313 | 22.33
36 | ISST Indirect 2 - 6.23.13 | 4402 | 21.208 | -8.337 | 22.35
36 | ISST Indirect 2 - 6.23.13 | 4306 | 20.806 | -8.325 | 22.367
36 | ISST Indirect 2 - 6.23.13 | 4239 | 20.539 | -8.316 | 22.384
36 | ISST Indirect 2 - 6.23.13 | 4162 | 20.199 | -8.315 | 22.371
36 | ISST Indirect 2 - 6.23.13 | 4086 | 19.876 | -8.314 | 22.291
36 | ISST Indirect 2 - 6.23.13 | 4009 | 19.526 | -8.256 | 22.333
36 | ISST Indirect 2 - 6.23.13 | 3932 | 19.195 | -8.273 | 22.303
36 | ISST Indirect 2 - 6.23.13 | 3864 | 18.865 | -8.278 | 22.348
36 | ISST Indirect 2 - 6.23.13 | 3798 | 18.524 | -8.23 | 22.351
37 | ISST Indirect 1 - 6.23.13 | 3803 | 53.803 | -4.565 | 19.717
37 | ISST Indirect 1 - 6.23.13 | 3798 | 54.535 | -4.57 | 19.67
37 | ISST Indirect 1 - 6.23.13 | 3800 | 54.542 | -4.541 | 19.675
37 | ISST Indirect 1 - 6.23.13 | 3801 | 54.519 | -4.593 | 19.636
37 | ISST Indirect 1 - 6.23.13 | 3796 | 54.549 | -4.58 | 19.698
37 | ISST Indirect 1 - 6.23.13 | 122 | 1.012 | 4.73 | 1156.741
37 | ISST Indirect 1 - 6.23.13 | 1112 | 3.65 | -20.021 | 322.692
37 | ISST Indirect 1 - 6.23.13 | 4987 | 26.726 | -8.434 | 21.035
37 | ISST Indirect 1 - 6.23.13 | 133 | 1.077 | -46.59 | 1014.241
37 | ISST Indirect 1 - 6.23.13 | 4929 | 26.288 | -8.479 | 21.099
37 | ISST Indirect 1 - 6.23.13 | 137 | 1.097 | -60.045 | 971.078
37 | ISST Indirect 1 - 6.23.13 | 4848 | 25.801 | -8.527 | 21.082
37 | ISST Indirect 1 - 6.23.13 | 139 | 1.11 | -71.167 | 937.148
37 | ISST Indirect 1 - 6.23.13 | 4775 | 25.358 | -8.478 | 21.119
37 | ISST Indirect 1 - 6.23.13 | 141 | 1.115 | -78.692 | 911.187
37 | ISST Indirect 1 - 6.23.13 | 4705 | 24.922 | -8.498 | 21.148
37 | ISST Indirect 1 - 6.23.13 | 142 | 1.118 | -85.436 | 889.444
37 | ISST Indirect 1 - 6.23.13 | 4636 | 24.5 | -8.538 | 21.164
37 | ISST Indirect 1 - 6.23.13 | 143 | 1.118 | -91.609 | 869.423
37 | ISST Indirect 1 - 6.23.13 | 4573 | 24.076 | -8.512 | 21.206
37 | ISST Indirect 1 - 6.23.13 | 144 | 1.116 | -96.709 | 848.782
37 | ISST Indirect 1 - 6.23.13 | 4500 | 23.649 | -8.511 | 21.244
37 | ISST Indirect 1 - 6.23.13 | 145 | 1.105 | -101.106 | 833.916
37 | ISST Indirect 1 - 6.23.13 | 4438 | 23.261 | -8.508 | 21.262
37 | ISST Indirect 1 - 6.23.13 | 4348 | 22.813 | -8.753 | 21.893
38 | ISST Direct 2 - 6.23.13 | 3818 | 54.082 | -4.538 | 19.657
38 | ISST Direct 2 - 6.23.13 | 3822 | 54.825 | -4.57 | 19.67
38 | ISST Direct 2 - 6.23.13 | 3818 | 54.827 | -4.549 | 19.645
38 | ISST Direct 2 - 6.23.13 | 3817 | 54.787 | -4.561 | 19.645
38 | ISST Direct 2 - 6.23.13 | 3812 | 54.783 | -4.537 | 19.647
38 | ISST Direct 2 - 6.23.13 | 1591 | 4.177 | -8.952 | 23.357
38 | ISST Direct 2 - 6.23.13 | 5183 | 24.897 | -9.461 | 22.159
38 | ISST Direct 2 - 6.23.13 | 5059 | 24.251 | -9.499 | 22.17
38 | ISST Direct 2 - 6.23.13 | 4989 | 23.91 | -9.502 | 22.227
38 | ISST Direct 2 - 6.23.13 | 4917 | 23.579 | -9.473 | 22.165
38 | ISST Direct 2 - 6.23.13 | 4832 | 23.218 | -9.464 | 22.218
38 | ISST Direct 2 - 6.23.13 | 4752 | 22.842 | -9.489 | 22.201
38 | ISST Direct 2 - 6.23.13 | 4658 | 22.459 | -9.468 | 22.228
38 | ISST Direct 2 - 6.23.13 | 4558 | 22.079 | -9.459 | 22.203
38 | ISST Direct 2 - 6.23.13 | 4473 | 21.712 | -9.421 | 22.211
38 | ISST Direct 2 - 6.23.13 | 4386 | 21.343 | -9.426 | 22.271
39 | ISSR 7 1 - 6.23.13 | 3806 | 53.946 | -4.571 | 19.673
39 | ISSR 7 1 - 6.23.13 | 3811 | 54.764 | -4.57 | 19.67
39 | ISSR 7 1 - 6.23.13 | 3805 | 54.686 | -4.57 | 19.661
39 | ISSR 7 1 - 6.23.13 | 3808 | 54.653 | -4.573 | 19.623
39 | ISSR 7 1 - 6.23.13 | 3804 | 54.639 | -4.563 | 19.689
39 | ISSR 7 1 - 6.23.13 | 84 | 0.473 | -35.713 | 1030.797
39 | ISSR 7 1 - 6.23.13 | 1255 | 3.487 | -19.097 | 154.618
39 | ISSR 7 1 - 6.23.13 | 4344 | 22.159 | -10.199 | 22.058
39 | ISSR 7 1 - 6.23.13 | 89 | 0.486 | -70.728 | 970.39
39 | ISSR 7 1 - 6.23.13 | 4259 | 21.676 | -10.197 | 22.029
39 | ISSR 7 1 - 6.23.13 | 89 | 0.485 | -75.416 | 959.749
39 | ISSR 7 1 - 6.23.13 | 4171 | 21.176 | -10.305 | 21.94
39 | ISSR 7 1 - 6.23.13 | 89 | 0.482 | -78.397 | 958.713
39 | ISSR 7 1 - 6.23.13 | 4103 | 20.807 | -10.296 | 22
39 | ISSR 7 1 - 6.23.13 | 89 | 0.476 | -79.606 | 961.644
39 | ISSR 7 1 - 6.23.13 | 4039 | 20.441 | -10.313 | 22.007
39 | ISSR 7 1 - 6.23.13 | 88 | 0.47 | -82.442 | 960.586
39 | ISSR 7 1 - 6.23.13 | 3976 | 20.084 | -10.337 | 21.999
39 | ISSR 7 1 - 6.23.13 | 87 | 0.462 | -82.783 | 959.668
39 | ISSR 7 1 - 6.23.13 | 3914 | 19.719 | -10.31 | 21.946
39 | ISSR 7 1 - 6.23.13 | 86 | 0.455 | -83.431 | 961.464
39 | ISSR 7 1 - 6.23.13 | 3852 | 19.374 | -10.335 | 22.015
39 | ISSR 7 1 - 6.23.13 | 85 | 0.445 | -83.744 | 961.611
39 | ISSR 7 1 - 6.23.13 | 3798 | 19.026 | -10.311 | 21.98
39 | ISSR 7 1 - 6.23.13 | 3725 | 18.651 | -10.446 | 22.378
40 | B - 6.25.13 | 3809 | 53.985 | -4.568 | 19.717
40 | B - 6.25.13 | 3809 | 54.724 | -4.57 | 19.67
40 | B - 6.25.13 | 3813 | 54.76 | -4.586 | 19.68
40 | B - 6.25.13 | 3811 | 54.728 | -4.579 | 19.688
40 | B - 6.25.13 | 3810 | 54.729 | -4.574 | 19.705
40 | B - 6.25.13 | 2032 | 5.358 | -18.237 | 28.647
40 | B - 6.25.13 | 6649 | 32.289 | -18.638 | 27.849
40 | B - 6.25.13 | 6495 | 31.411 | -18.688 | 27.868
40 | B - 6.25.13 | 6402 | 30.86 | -18.682 | 27.826
40 | B - 6.25.13 | 6319 | 30.398 | -18.636 | 27.882
40 | B - 6.25.13 | 6226 | 29.892 | -18.656 | 27.821
40 | B - 6.25.13 | 6123 | 29.397 | -18.683 | 27.853
40 | B - 6.25.13 | 6017 | 28.884 | -18.672 | 27.849
40 | B - 6.25.13 | 5910 | 28.392 | -18.669 | 27.825
40 | B - 6.25.13 | 5790 | 27.873 | -18.642 | 27.869
40 | B - 6.25.13 | 5679 | 27.385 | -18.669 | 27.835
41 | ISSR 7 2 - 6.23.13 | 3808 | 53.9 | -4.575 | 19.678
41 | ISSR 7 2 - 6.23.13 | 3804 | 54.656 | -4.57 | 19.67
41 | ISSR 7 2 - 6.23.13 | 3806 | 54.613 | -4.574 | 19.683
41 | ISSR 7 2 - 6.23.13 | 3807 | 54.638 | -4.57 | 19.632
41 | ISSR 7 2 - 6.23.13 | 3805 | 54.655 | -4.584 | 19.672
41 | ISSR 7 2 - 6.23.13 | 51 | 0.254 | 2.386 | 1173.037
41 | ISSR 7 2 - 6.23.13 | 1542 | 4.056 | -18.772 | 98.07
41 | ISSR 7 2 - 6.23.13 | 4140 | 20.842 | -10.692 | 22.474
41 | ISSR 7 2 - 6.23.13 | 54 | 0.254 | -31.85 | 1124.998
41 | ISSR 7 2 - 6.23.13 | 4062 | 20.375 | -10.695 | 22.381
41 | ISSR 7 2 - 6.23.13 | 54 | 0.254 | -37.305 | 1110.36
41 | ISSR 7 2 - 6.23.13 | 3967 | 19.882 | -10.69 | 22.345
41 | ISSR 7 2 - 6.23.13 | 53 | 0.251 | -42.95 | 1106.359
41 | ISSR 7 2 - 6.23.13 | 3899 | 19.516 | -10.677 | 22.348
41 | ISSR 7 2 - 6.23.13 | 52 | 0.246 | -44.879 | 1103.211
41 | ISSR 7 2 - 6.23.13 | 3833 | 19.176 | -10.723 | 22.328
41 | ISSR 7 2 - 6.23.13 | 52 | 0.242 | -45.855 | 1104.651
41 | ISSR 7 2 - 6.23.13 | 3776 | 18.851 | -10.711 | 22.353
41 | ISSR 7 2 - 6.23.13 | 51 | 0.238 | -49.052 | 1104.448
41 | ISSR 7 2 - 6.23.13 | 3723 | 18.533 | -10.722 | 22.341
41 | ISSR 7 2 - 6.23.13 | 50 | 0.233 | -49.554 | 1103.96
41 | ISSR 7 2 - 6.23.13 | 3661 | 18.196 | -10.761 | 22.308
41 | ISSR 7 2 - 6.23.13 | 3615 | 17.891 | -10.718 | 22.351
41 | ISSR 7 2 - 6.23.13 | 3543 | 17.534 | -10.809 | 22.72
42 | ISLM 1 - 6.23.13 | 3812 | 53.966 | -4.614 | 19.66
42 | ISLM 1 - 6.23.13 | 3807 | 54.68 | -4.57 | 19.67
42 | ISLM 1 - 6.23.13 | 3805 | 54.701 | -4.589 | 19.657
42 | ISLM 1 - 6.23.13 | 3809 | 54.693 | -4.607 | 19.671
42 | ISLM 1 - 6.23.13 | 3809 | 54.696 | -4.576 | 19.64
42 | ISLM 1 - 6.23.13 | 78 | 0.415 | -47.453 | 1021.392
42 | ISLM 1 - 6.23.13 | 946 | 2.806 | -18.415 | 174.054
42 | ISLM 1 - 6.23.13 | 5725 | 28.788 | -12.027 | 21.551
42 | ISLM 1 - 6.23.13 | 81 | 0.414 | -72.484 | 996.903
42 | ISLM 1 - 6.23.13 | 5650 | 28.314 | -12.057 | 21.44
42 | ISLM 1 - 6.23.13 | 81 | 0.411 | -76.024 | 988.246
42 | ISLM 1 - 6.23.13 | 5534 | 27.713 | -12.103 | 21.442
42 | ISLM 1 - 6.23.13 | 80 | 0.406 | -79.315 | 986.802
42 | ISLM 1 - 6.23.13 | 5442 | 27.218 | -12.09 | 21.47
42 | ISLM 1 - 6.23.13 | 79 | 0.401 | -80.116 | 984.655
42 | ISLM 1 - 6.23.13 | 5361 | 26.754 | -12.103 | 21.452
42 | ISLM 1 - 6.23.13 | 78 | 0.394 | -80.275 | 981.408
42 | ISLM 1 - 6.23.13 | 5282 | 26.303 | -12.149 | 21.417
42 | ISLM 1 - 6.23.13 | 77 | 0.388 | -82.932 | 982.65
42 | ISLM 1 - 6.23.13 | 5210 | 25.877 | -12.104 | 21.392
42 | ISLM 1 - 6.23.13 | 76 | 0.381 | -81.983 | 981.161
42 | ISLM 1 - 6.23.13 | 5141 | 25.461 | -12.129 | 21.458
42 | ISLM 1 - 6.23.13 | 75 | 0.374 | -81.987 | 982.004
42 | ISLM 1 - 6.23.13 | 5066 | 25.023 | -12.118 | 21.477
42 | ISLM 1 - 6.23.13 | 4969 | 24.567 | -12.19 | 21.666
43 | NB Blank - 6.19.13 | 3806 | 53.969 | -4.545 | 19.74
43 | NB Blank - 6.19.13 | 3807 | 54.731 | -4.57 | 19.67
43 | NB Blank - 6.19.13 | 3810 | 54.68 | -4.558 | 19.703
43 | NB Blank - 6.19.13 | 3811 | 54.697 | -4.554 | 19.659
43 | NB Blank - 6.19.13 | 3806 | 54.692 | -4.565 | 19.687
43 | NB Blank - 6.19.13 | 1162 | 3.042 | -12.68 | 28.93
43 | NB Blank - 6.19.13 | 345 | 1.669 | -13.765 | 26.149
43 | NB Blank - 6.19.13 | 323 | 1.559 | -13.852 | 26.12
43 | NB Blank - 6.19.13 | 306 | 1.481 | -13.68 | 26.34
43 | NB Blank - 6.19.13 | 299 | 1.449 | -13.009 | 26.389
43 | NB Blank - 6.19.13 | 294 | 1.424 | -13.589 | 26.42
43 | NB Blank - 6.19.13 | 289 | 1.398 | -13.819 | 26.275
43 | NB Blank - 6.19.13 | 284 | 1.373 | -13.531 | 26.264
43 | NB Blank - 6.19.13 | 280 | 1.35 | -13.426 | 26.389
43 | NB Blank - 6.19.13 | 275 | 1.325 | -13.522 | 26.655
43 | NB Blank - 6.19.13 | 270 | 1.3 | -13.558 | 26.852
44 | NBCT 1 - 6.19.13 | 3808 | 53.854 | -4.58 | 19.684
44 | NBCT 1 - 6.19.13 | 3805 | 54.603 | -4.57 | 19.67
44 | NBCT 1 - 6.19.13 | 3799 | 54.619 | -4.59 | 19.664
44 | NBCT 1 - 6.19.13 | 3806 | 54.613 | -4.597 | 19.642
44 | NBCT 1 - 6.19.13 | 3804 | 54.651 | -4.589 | 19.673
44 | NBCT 1 - 6.19.13 | 61 | 0.156 | -12.826 | 37.422
44 | NBCT 1 - 6.19.13 | 4162 | 20.108 | -9.912 | 22.674
44 | NBCT 1 - 6.19.13 | 4084 | 19.694 | -9.936 | 22.518
44 | NBCT 1 - 6.19.13 | 3995 | 19.272 | -10.024 | 22.465
44 | NBCT 1 - 6.19.13 | 3931 | 18.943 | -9.96 | 22.504
44 | NBCT 1 - 6.19.13 | 3875 | 18.651 | -9.968 | 22.448
44 | NBCT 1 - 6.19.13 | 3818 | 18.357 | -9.964 | 22.522
44 | NBCT 1 - 6.19.13 | 3755 | 18.037 | -10.039 | 22.523
44 | NBCT 1 - 6.19.13 | 3694 | 17.728 | -10.039 | 22.556
44 | NBCT 1 - 6.19.13 | 3639 | 17.434 | -10.008 | 22.523
44 | NBCT 1 - 6.19.13 | 3584 | 17.128 | -9.991 | 22.504
45 | NBBC 2 - 6.19.13 | 3801 | 53.84 | -4.532 | 19.716
45 | NBBC 2 - 6.19.13 | 3801 | 54.593 | -4.57 | 19.67
45 | NBBC 2 - 6.19.13 | 3802 | 54.632 | -4.59 | 19.668
45 | NBBC 2 - 6.19.13 | 3801 | 54.57 | -4.582 | 19.669
45 | NBBC 2 - 6.19.13 | 3801 | 54.587 | -4.568 | 19.676
45 | NBBC 2 - 6.19.13 | 62 | 0.32 | -7.24 | 1107.472
45 | NBBC 2 - 6.19.13 | 976 | 2.725 | -11.895 | 147.858
45 | NBBC 2 - 6.19.13 | 6023 | 30.118 | -9.798 | 22.158
45 | NBBC 2 - 6.19.13 | 66 | 0.323 | -46.298 | 1051.49
45 | NBBC 2 - 6.19.13 | 5813 | 29.209 | -9.891 | 21.977
45 | NBBC 2 - 6.19.13 | 66 | 0.325 | -51.658 | 1037.767
45 | NBBC 2 - 6.19.13 | 5715 | 28.743 | -9.897 | 21.951
45 | NBBC 2 - 6.19.13 | 66 | 0.323 | -58.003 | 1030.192
45 | NBBC 2 - 6.19.13 | 5609 | 28.268 | -9.893 | 21.948
45 | NBBC 2 - 6.19.13 | 65 | 0.32 | -60.019 | 1028.678
45 | NBBC 2 - 6.19.13 | 5503 | 27.78 | -9.87 | 21.866
45 | NBBC 2 - 6.19.13 | 65 | 0.315 | -62.303 | 1028.343
45 | NBBC 2 - 6.19.13 | 5401 | 27.281 | -9.883 | 21.961
45 | NBBC 2 - 6.19.13 | 64 | 0.31 | -65.711 | 1025.506
45 | NBBC 2 - 6.19.13 | 5314 | 26.811 | -9.91 | 21.904
45 | NBBC 2 - 6.19.13 | 63 | 0.304 | -66.844 | 1028.905
45 | NBBC 2 - 6.19.13 | 5219 | 26.32 | -9.871 | 21.965
45 | NBBC 2 - 6.19.13 | 62 | 0.298 | -68.311 | 1029.46
45 | NBBC 2 - 6.19.13 | 5140 | 25.834 | -9.902 | 21.91
45 | NBBC 2 - 6.19.13 | 5039 | 25.3 | -9.991 | 22.218
46 | NBCT 2 - 6.19.13 | 3803 | 53.874 | -4.572 | 19.708
46 | NBCT 2 - 6.19.13 | 3805 | 54.678 | -4.57 | 19.67
46 | NBCT 2 - 6.19.13 | 3807 | 54.69 | -4.568 | 19.653
46 | NBCT 2 - 6.19.13 | 3809 | 54.654 | -4.557 | 19.641
46 | NBCT 2 - 6.19.13 | 3803 | 54.655 | -4.552 | 19.654
46 | NBCT 2 - 6.19.13 | 1156 | 3.024 | -10.079 | 22.768
46 | NBCT 2 - 6.19.13 | 4552 | 22.118 | -9.599 | 22.421
46 | NBCT 2 - 6.19.13 | 4424 | 21.463 | -9.58 | 22.375
46 | NBCT 2 - 6.19.13 | 4371 | 21.176 | -9.61 | 22.375
46 | NBCT 2 - 6.19.13 | 4315 | 20.859 | -9.57 | 22.36
46 | NBCT 2 - 6.19.13 | 4246 | 20.503 | -9.592 | 22.352
46 | NBCT 2 - 6.19.13 | 4175 | 20.162 | -9.578 | 22.373
46 | NBCT 2 - 6.19.13 | 4110 | 19.811 | -9.549 | 22.475
46 | NBCT 2 - 6.19.13 | 4041 | 19.457 | -9.578 | 22.4
46 | NBCT 2 - 6.19.13 | 3972 | 19.115 | -9.605 | 22.41
46 | NBCT 2 - 6.19.13 | 3902 | 18.763 | -9.617 | 22.459
47 | NBWS 2 - 6.19.13 | 3800 | 53.838 | -4.562 | 19.696
47 | NBWS 2 - 6.19.13 | 3801 | 54.603 | -4.57 | 19.67
47 | NBWS 2 - 6.19.13 | 3800 | 54.558 | -4.559 | 19.683
47 | NBWS 2 - 6.19.13 | 3803 | 54.575 | -4.589 | 19.687
47 | NBWS 2 - 6.19.13 | 3804 | 54.581 | -4.593 | 19.649
47 | NBWS 2 - 6.19.13 | 51 | 0.247 | -1.771 | 1130.657
47 | NBWS 2 - 6.19.13 | 979 | 2.745 | -10.703 | 126.041
47 | NBWS 2 - 6.19.13 | 7079 | 35.079 | -13.647 | 22.526
47 | NBWS 2 - 6.19.13 | 53 | 0.246 | -38.058 | 1096.998
47 | NBWS 2 - 6.19.13 | 6940 | 34.347 | -13.656 | 22.426
47 | NBWS 2 - 6.19.13 | 53 | 0.246 | -45.509 | 1083.794
47 | NBWS 2 - 6.19.13 | 6757 | 33.5 | -13.724 | 22.415
47 | NBWS 2 - 6.19.13 | 52 | 0.243 | -48.465 | 1079.26
47 | NBWS 2 - 6.19.13 | 6631 | 32.976 | -13.743 | 22.341
47 | NBWS 2 - 6.19.13 | 52 | 0.24 | -51.977 | 1077.563
47 | NBWS 2 - 6.19.13 | 6511 | 32.472 | -13.686 | 22.36
47 | NBWS 2 - 6.19.13 | 51 | 0.236 | -54.138 | 1078.953
47 | NBWS 2 - 6.19.13 | 6387 | 31.95 | -13.706 | 22.329
47 | NBWS 2 - 6.19.13 | 50 | 0.232 | -57.145 | 1080.937
47 | NBWS 2 - 6.19.13 | 6269 | 31.398 | -13.696 | 22.372
47 | NBWS 2 - 6.19.13 | 6147 | 30.832 | -13.714 | 22.354
47 | NBWS 2 - 6.19.13 | 6045 | 30.273 | -13.705 | 22.323
47 | NBWS 2 - 6.19.13 | 5916 | 29.672 | -13.779 | 22.559
48 | NBBC 1 - 6.19.13 | 3803 | 53.879 | -4.58 | 19.689
48 | NBBC 1 - 6.19.13 | 3802 | 54.667 | -4.57 | 19.67
48 | NBBC 1 - 6.19.13 | 3808 | 54.679 | -4.555 | 19.657
48 | NBBC 1 - 6.19.13 | 3801 | 54.622 | -4.574 | 19.655
48 | NBBC 1 - 6.19.13 | 3800 | 54.607 | -4.593 | 19.664
48 | NBBC 1 - 6.19.13 | 1337 | 3.509 | -13.639 | 23.958
48 | NBBC 1 - 6.19.13 | 5363 | 26.276 | -8.692 | 22.584
48 | NBBC 1 - 6.19.13 | 5266 | 25.743 | -8.675 | 22.65
48 | NBBC 1 - 6.19.13 | 5201 | 25.353 | -8.624 | 22.661
48 | NBBC 1 - 6.19.13 | 5120 | 24.929 | -8.634 | 22.695
48 | NBBC 1 - 6.19.13 | 5042 | 24.511 | -8.635 | 22.702
48 | NBBC 1 - 6.19.13 | 4922 | 23.911 | -8.647 | 22.692
48 | NBBC 1 - 6.19.13 | 4849 | 23.539 | -8.655 | 22.662
48 | NBBC 1 - 6.19.13 | 4784 | 23.167 | -8.644 | 22.664
48 | NBBC 1 - 6.19.13 | 4171 | 18.439 | -8.63 | 22.774
48 | NBBC 1 - 6.19.13 | 4658 | 22.477 | -8.649 | 22.674
49 | B - 6.25.13 | 3797 | 53.832 | -4.583 | 19.676
49 | B - 6.25.13 | 3800 | 54.559 | -4.57 | 19.67
49 | B - 6.25.13 | 3802 | 54.603 | -4.602 | 19.651
49 | B - 6.25.13 | 3804 | 54.593 | -4.585 | 19.665
49 | B - 6.25.13 | 3795 | 54.552 | -4.584 | 19.656
49 | B - 6.25.13 | 1844 | 4.844 | -18.474 | 28.251
49 | B - 6.25.13 | 6098 | 29.538 | -18.73 | 27.739
49 | B - 6.25.13 | 5984 | 28.814 | -18.734 | 27.777
49 | B - 6.25.13 | 5887 | 28.324 | -18.711 | 27.814
49 | B - 6.25.13 | 5812 | 27.951 | -18.714 | 27.825
49 | B - 6.25.13 | 5723 | 27.521 | -18.743 | 27.805
49 | B - 6.25.13 | 5618 | 27.068 | -18.721 | 27.801
49 | B - 6.25.13 | 5518 | 26.635 | -18.723 | 27.774
49 | B - 6.25.13 | 5410 | 26.16 | -18.711 | 27.871
49 | B - 6.25.13 | 5295 | 25.698 | -18.733 | 27.774
49 | B - 6.25.13 | 5190 | 25.251 | -18.7 | 27.79
50 | B - 6.25.13 | 3796 | 53.742 | -4.564 | 19.69
50 | B - 6.25.13 | 3798 | 54.514 | -4.57 | 19.67
50 | B - 6.25.13 | 3795 | 54.513 | -4.592 | 19.673
50 | B - 6.25.13 | 3797 | 54.508 | -4.567 | 19.645
50 | B - 6.25.13 | 3796 | 54.533 | -4.587 | 19.697
50 | B - 6.25.13 | 1852 | 4.893 | -19.096 | 28.587
50 | B - 6.25.13 | 6235 | 30.753 | -18.784 | 27.893
50 | B - 6.25.13 | 6109 | 29.965 | -18.752 | 27.879
50 | B - 6.25.13 | 6006 | 29.439 | -18.765 | 27.941
50 | B - 6.25.13 | 5936 | 29.015 | -18.751 | 27.915
50 | B - 6.25.13 | 5844 | 28.498 | -18.76 | 27.906
50 | B - 6.25.13 | 5742 | 27.976 | -18.733 | 27.959
50 | B - 6.25.13 | 5652 | 27.503 | -18.777 | 27.902
50 | B - 6.25.13 | 5555 | 26.986 | -18.766 | 27.933
50 | B - 6.25.13 | 5454 | 26.479 | -18.743 | 27.905
50 | B - 6.25.13 | 5358 | 25.982 | -18.722 | 27.937
51 | C - 6.25.13 | 3796 | 53.751 | -4.582 | 19.649
51 | C - 6.25.13 | 3793 | 54.469 | -4.57 | 19.67
51 | C - 6.25.13 | 3799 | 54.515 | -4.548 | 19.638
51 | C - 6.25.13 | 3793 | 54.49 | -4.556 | 19.654
51 | C - 6.25.13 | 3795 | 54.512 | -4.554 | 19.657
51 | C - 6.25.13 | 3076 | 8.219 | -18.763 | 28.476
51 | C - 6.25.13 | 10292 | 50.549 | -19.026 | 27.88
51 | C - 6.25.13 | 10059 | 49.192 | -19.027 | 27.851
51 | C - 6.25.13 | 9921 | 48.434 | -19.026 | 27.883
51 | C - 6.25.13 | 9799 | 47.663 | -19.028 | 27.858
51 | C - 6.25.13 | 9658 | 46.867 | -19.038 | 27.893
51 | C - 6.25.13 | 9510 | 46.09 | -19.035 | 27.885
51 | C - 6.25.13 | 9339 | 45.248 | -19.048 | 27.938
51 | C - 6.25.13 | 9172 | 44.475 | -19.021 | 27.891
51 | C - 6.25.13 | 9011 | 43.711 | -19.009 | 27.875
51 | C - 6.25.13 | 8830 | 42.899 | -19.021 | 27.896
52 | C - 6.25.13 | 3795 | 53.726 | -4.524 | 19.742
52 | C - 6.25.13 | 3790 | 54.475 | -4.57 | 19.67
52 | C - 6.25.13 | 3792 | 54.487 | -4.575 | 19.675
52 | C - 6.25.13 | 3792 | 54.473 | -4.586 | 19.691
52 | C - 6.25.13 | 3795 | 54.488 | -4.581 | 19.671
52 | C - 6.25.13 | 2785 | 7.432 | -19.411 | 28.082
52 | C - 6.25.13 | 9655 | 47.981 | -19.014 | 27.505
52 | C - 6.25.13 | 9457 | 46.85 | -19.04 | 27.532
52 | C - 6.25.13 | 9280 | 45.946 | -19.022 | 27.536
52 | C - 6.25.13 | 9155 | 45.26 | -19.01 | 27.526
52 | C - 6.25.13 | 9002 | 44.414 | -19.028 | 27.527
52 | C - 6.25.13 | 8860 | 43.584 | -19.021 | 27.517
52 | C - 6.25.13 | 8708 | 42.79 | -19.005 | 27.518
52 | C - 6.25.13 | 8556 | 42.008 | -19.003 | 27.47
52 | C - 6.25.13 | 8402 | 41.198 | -19.027 | 27.552
52 | C - 6.25.13 | 8259 | 40.428 | -19.021 | 27.48
53 | D - 6.25.13 | 3789 | 53.742 | -4.547 | 19.708
53 | D - 6.25.13 | 3791 | 54.48 | -4.57 | 19.67
53 | D - 6.25.13 | 3794 | 54.474 | -4.59 | 19.715
53 | D - 6.25.13 | 3794 | 54.474 | -4.569 | 19.637
53 | D - 6.25.13 | 3795 | 54.491 | -4.562 | 19.663
53 | D - 6.25.13 | 1806 | 4.744 | -18.953 | 28.149
53 | D - 6.25.13 | 2972 | 10.353 | -18.914 | 27.557
54 | D - 6.25.13 | 3790 | 53.659 | -4.564 | 19.739
54 | D - 6.25.13 | 3793 | 54.447 | -4.57 | 19.67
54 | D - 6.25.13 | 3795 | 54.434 | -4.581 | 19.711
54 | D - 6.25.13 | 3792 | 54.487 | -4.577 | 19.708
54 | D - 6.25.13 | 3790 | 54.43 | -4.603 | 19.717
54 | D - 6.25.13 | 15034 | 74.763 | -18.86 | 27.97
54 | D - 6.25.13 | 14886 | 74.688 | -18.952 | 27.762
54 | D - 6.25.13 | 14638 | 73.497 | -18.985 | 27.754
54 | D - 6.25.13 | 14382 | 72.231 | -18.968 | 27.727
54 | D - 6.25.13 | 14153 | 70.966 | -18.969 | 27.753
54 | D - 6.25.13 | 13904 | 69.668 | -18.971 | 27.771
54 | D - 6.25.13 | 13669 | 68.388 | -18.959 | 27.755
54 | D - 6.25.13 | 13435 | 67.112 | -18.987 | 27.797
54 | D - 6.25.13 | 13218 | 65.878 | -18.964 | 27.784
54 | D - 6.25.13 | 12979 | 64.566 | -18.98 | 27.795
55 | E - 6.25.13 | 3794 | 53.7 | -4.544 | 19.696
55 | E - 6.25.13 | 3798 | 54.445 | -4.57 | 19.67
55 | E - 6.25.13 | 3796 | 54.477 | -4.588 | 19.653
55 | E - 6.25.13 | 3792 | 54.431 | -4.562 | 19.741
55 | E - 6.25.13 | 3792 | 54.504 | -4.562 | 19.687
55 | E - 6.25.13 | 6690 | 18.618 | -19.13 | 27.965
55 | E - 6.25.13 | 22423 | 116.675 | -19.042 | 27.511
55 | E - 6.25.13 | 21979 | 113.882 | -19.064 | 27.486
55 | E - 6.25.13 | 21591 | 111.467 | -19.031 | 27.527
55 | E - 6.25.13 | 21305 | 109.686 | -19.042 | 27.544
55 | E - 6.25.13 | 21037 | 108.124 | -18.996 | 27.574
55 | E - 6.25.13 | 20729 | 106.295 | -19.029 | 27.578
55 | E - 6.25.13 | 20412 | 104.406 | -19.056 | 27.564
55 | E - 6.25.13 | 20113 | 102.582 | -19.021 | 27.559
55 | E - 6.25.13 | 19790 | 100.704 | -19.043 | 27.586
55 | E - 6.25.13 | 19503 | 98.885 | -19.062 | 27.561
56 | E - 6.25.13 | 3796 | 53.746 | -4.572 | 19.685
56 | E - 6.25.13 | 3793 | 54.475 | -4.57 | 19.67
56 | E - 6.25.13 | 3794 | 54.48 | -4.587 | 19.636
56 | E - 6.25.13 | 3793 | 54.457 | -4.579 | 19.657
56 | E - 6.25.13 | 3794 | 54.505 | -4.582 | 19.685
56 | E - 6.25.13 | 6915 | 19.422 | -19.097 | 27.983
56 | E - 6.25.13 | 23354 | 121.411 | -19.021 | 27.528
56 | E - 6.25.13 | 22832 | 118.374 | -19.059 | 27.48
56 | E - 6.25.13 | 22398 | 115.929 | -19.038 | 27.482
56 | E - 6.25.13 | 22069 | 114.161 | -19.062 | 27.53
56 | E - 6.25.13 | 21739 | 112.365 | -19.044 | 27.502
56 | E - 6.25.13 | 21375 | 110.284 | -19.038 | 27.518
56 | E - 6.25.13 | 20993 | 108.222 | -19.05 | 27.525
56 | E - 6.25.13 | 20663 | 106.231 | -19.048 | 27.544
56 | E - 6.25.13 | 20316 | 104.187 | -19.064 | 27.52
56 | E - 6.25.13 | 19972 | 102.272 | -19.064 | 27.532