## Data Export
ID | Date Analyzed | Run # | Sample ID | Volume | Type | peak area | δ13C (PDB) | δ13C error (1σ) | Analyst | Researcher | Reaction Temperature (°C) | Reaction Time (hours) | Notes | Notes II
8 hour delay | 2013-07-20 | 1 | 8 hour delay |  |  |  |  | 0.027165 | Peter Carlson |  | 40 | 8 | delay
DI | 2013-07-20 | 4 | DI | 1 |  |  |  | 0.027165 | Peter Carlson |  | 40 | 8
DI | 2013-07-20 | 5 | DI | 1 |  |  |  | 0.027165 | Peter Carlson |  | 40 | 8
ISSR 7 7.19.13 | 2013-07-20 | 18 | ISSR 7 7.19.13 | 0.4 |  | 14.423 | -11.3594 | 0.027165 | Peter Carlson |  | 40 | 8
ISSR 7 7.19.13 | 2013-07-20 | 19 | ISSR 7 7.19.13 | 0.4 |  | 15.77 | -11.5677 | 0.027165 | Peter Carlson |  | 40 | 8
ISLM 7.19.13 | 2013-07-20 | 20 | ISLM 7.19.13 | 0.4 |  | 22.589 | -12.232 | 0.027165 | Peter Carlson |  | 40 | 8
ISST Indirect 7.19.13 | 2013-07-20 | 21 | ISST Indirect 7.19.13 | 0.4 |  | 18.454 | -10.0599 | 0.027165 | Peter Carlson |  | 40 | 8
ISST Indirect 7.19.13 | 2013-07-20 | 22 | ISST Indirect 7.19.13 | 0.4 |  | 18.957 | -9.9436 | 0.027165 | Peter Carlson |  | 40 | 8
ISST Direct 7.19.13 | 2013-07-20 | 23 | ISST Direct 7.19.13 | 0.4 |  | 17.245 | -8.9542 | 0.027165 | Peter Carlson |  | 40 | 8
ISST Direct 7.19.13 | 2013-07-20 | 24 | ISST Direct 7.19.13 | 0.4 |  | 16.53 | -9.0384 | 0.027165 | Peter Carlson |  | 40 | 8
WC 1 7.16.13 | 2013-07-20 | 25 | WC 1 7.16.13 | 0.4 |  | 32.978 | -10.3524 | 0.027165 | Peter Carlson |  | 40 | 8
WC 1 7.16.13 | 2013-07-20 | 27 | WC 1 7.16.13 | 0.4 |  | 34.066 | -11.5745 | 0.027165 | Peter Carlson |  | 40 | 8
WC Spring 7.16.13 | 2013-07-20 | 28 | WC Spring 7.16.13 | 0.4 |  | 32.676 | -12.7721 | 0.027165 | Peter Carlson |  | 40 | 8
WC 6 7.16.13 | 2013-07-20 | 29 | WC 6 7.16.13 | 0.4 |  | 29.266 | -10.0191 | 0.027165 | Peter Carlson |  | 40 | 8
WC Spring 7.16.13 | 2013-07-20 | 30 | WC Spring 7.16.13 | 0.4 |  | 36.968 | -12.9684 | 0.027165 | Peter Carlson |  | 40 | 8
WC 6 7.16.13 | 2013-07-20 | 31 | WC 6 7.16.13 | 0.4 |  | 25.346 | -10.2857 | 0.027165 | Peter Carlson |  | 40 | 8
NBCT 7.12.13 | 2013-07-20 | 32 | NBCT 7.12.13 | 0.4 |  | 15.985 | -11.0737 | 0.027165 | Peter Carlson |  | 40 | 8
NBWS 7.12.13 | 2013-07-20 | 33 | NBWS 7.12.13 | 0.4 |  | 26.77 | -13.4733 | 0.027165 | Peter Carlson |  | 40 | 8
NBCT 7.12.13 | 2013-07-20 | 34 | NBCT 7.12.13 | 0.4 |  | 17.599 | -10.8113 | 0.027165 | Peter Carlson |  | 40 | 8
NBWS 7.12.13 | 2013-07-20 | 36 | NBWS 7.12.13 | 0.4 |  | 26.889 | -13.581 | 0.027165 | Peter Carlson |  | 40 | 8
NBBC 7.12.13 | 2013-07-20 | 37 | NBBC 7.12.13 | 0.4 |  | 28.257 | -9.8054 | 0.027165 | Peter Carlson |  | 40 | 8
NB DI 7.12.13 | 2013-07-20 | 38 | NB DI 7.12.13 | 0.4 |  | 3.099 | -10.2047 | 0.027165 | Peter Carlson |  | 40 | 8
NBBC 7.12.13 | 2013-07-20 | 39 | NBBC 7.12.13 | 0.4 |  | 28.957 | -9.6964 | 0.027165 | Peter Carlson |  | 40 | 8
Dissolution EXP 7.17.7 0.4mL | 2013-07-20 | 40 | Dissolution EXP 7.17.7 0.4mL | 0.4 |  | 56.287 | -4.6202 | 0.027165 | Peter Carlson |  | 40 | 8
Dissolution EXP 7.17.7 1.0mL | 2013-07-20 | 41 | Dissolution EXP 7.17.7 1.0mL | 1 |  | 6.234 | -4.9276 | 0.027165 | Peter Carlson |  | 40 | 8
Dissolution EXP 7.11.7 0.4mL | 2013-07-20 | 42 | Dissolution EXP 7.11.7 0.4mL | 0.4 |  | 15.919 | -2.4621 | 0.027165 | Peter Carlson |  | 40 | 8
Dissolution EXP 7.11.7 1.0mL | 2013-07-20 | 43 | Dissolution EXP 7.11.7 1.0mL | 1 |  | 58.722 | -2.2761 | 0.027165 | Peter Carlson |  | 40 | 8

## Calibration
Gas Bench DIC Calibration
|  |  | Date: | 2013-07-20
|  |  | Operator: | Peter Carlson
Calibration Notes
|  |  | d13C max stdev: | 0.2
|  |  | Peaks used: | Last Two
|  |  | Blank Correction: | No (No Peaks)
|  |  | Linearity Correction: | Yes (Auto)
|  |  | Drift Correction: | Yes (Auto)
Standard
|  |  | Name | mg NaHCO3 | mL H2O | mmol/L NaHCO3 | mg/L C | mg/L HCO3 | µg C | Area 44 | δ13C
|  |  | A | 41.624 | 500 | 0.99097 | 11.9022 | 60.4658 | #DIV/0!
|  |  | B | 51.612 | 250 | 2.4575 | 29.5165 | 149.9501 | 29.5165 | 17.7056 | -19.6369
|  |  | C | 80.368 | 250 | 3.8267 | 45.9619 | 233.4959 | 45.9619 | 29.7437 | -19.639
|  |  | D | 101.656 | 250 | 4.8404 | 58.1363 | 295.3446 | 58.1363 | 42.4787 | -19.6108
|  |  | E | 202.372 | 250 | 9.636 | 115.7351 | 587.9583 | 115.7351 | 69.7033 | -19.646
|  |  | F | 31.72 | 250 | 1.5104 | 18.1404 | 92.1572 | 18.1404 | 11.4365 | -19.6136
|  |  | Calibration | slope | intercept |  | linearity | drift | standard
|  |  | carbon | #DIV/0! | #DIV/0! |  | 7.6684e-05 | 0.00023292 | 0.1912
ALL | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | STD-Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
1 | 8 hour delay
2 | Blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
3 | Blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
4 | DI | 1 | [12 empty] | #DIV/0! | #DIV/0!
5 | DI | 1 | [12 empty] | #DIV/0! | #DIV/0!
6 | A | 1 | 1548 | 7.817 | -19.5755 | 27.1475 | 0.060104 | 0.040305 | 7.817 | -19.5755 |  | -19.5761 | -19.5773 | -19.3861 | #DIV/0! | #DIV/0!
7 | A | 1 | 1442 | 7.159 | -19.6035 | 27.004 | 0.017678 | 0.10607 | 7.159 | -19.6035 |  | -19.604 | -19.6054 | -19.4142 | #DIV/0! | #DIV/0!
8 | F | 1 | 2233 | 11.318 | -19.5935 | 27.1105 | 0.030406 | 0.062933 | 11.318 | -19.5935 |  | -19.5944 | -19.596 | -19.4048 | #DIV/0! | #DIV/0!
9 | F | 1 | 2319 | 11.555 | -19.6285 | 27.07 | 0.0021213 | 0.0070711 | 11.555 | -19.6285 |  | -19.6294 | -19.6312 | -19.4401 | #DIV/0! | #DIV/0!
10 | B | 1 | 3438 | 17.513 | -19.6365 | 27.1655 | 0.037477 | 0.091217 | 17.513 | -19.6365 |  | -19.6378 | -19.6399 | -19.4487 | #DIV/0! | #DIV/0!
11 | B | 1 | 3456 | 17.307 | -19.6605 | 27.2025 | 0.0077782 | 0.0091924 | 17.307 | -19.6605 |  | -19.6618 | -19.6642 | -19.473 | #DIV/0! | #DIV/0!
12 | C | 1 | 5309 | 27.266 | -19.6165 | 27.1465 | 0.023335 | 0.006364 | 27.266 | -19.6165 |  | -19.6186 | -19.6212 | -19.43 | #DIV/0! | #DIV/0!
13 | C | 1 | 5480 | 27.753 | -19.667 | 27.2135 | 0.02687 | 0.023335 | 27.753 | -19.667 |  | -19.6691 | -19.6719 | -19.4807 | #DIV/0! | #DIV/0!
14 | D | 1 | 10749 | 56.682 | -19.555 | 26.8035 | 0 | 0.17183 | 56.682 | -19.555 |  | -19.5593 | -19.5624 | -19.3712 | #DIV/0! | #DIV/0!
15 | D | 1 | 6778 | 34.529 | -19.632 | 27.042 | 0.015556 | 0.016971 | 34.529 | -19.632 |  | -19.6346 | -19.6379 | -19.4467 | #DIV/0! | #DIV/0!
16 | E | 1 | 13538 | 71.134 | -19.6555 | 26.9055 | 0.0091924 | 0.0091924 | 71.134 | -19.6555 |  | -19.661 | -19.6644 | -19.4732 | #DIV/0! | #DIV/0!
17 | E | 1 | 13120 | 68.37 | -19.617 | 26.8835 | 0.0042426 | 0.017678 | 68.37 | -19.617 |  | -19.6222 | -19.626 | -19.4348 | #DIV/0! | #DIV/0!
18 | ISSR 7 7.19.13 | 0.4 | 2846 | 14.423 | -11.5455 | 22.0925 | 0.010607 | 0.026163 | 14.423 | -11.5455 |  | -11.5466 | -11.5506 | -11.3594 | #DIV/0! | #DIV/0!
19 | ISSR 7 7.19.13 | 0.4 | 3124 | 15.77 | -11.7535 | 22.209 | 0.024749 | 0.029698 | 15.77 | -11.7535 |  | -11.7547 | -11.7589 | -11.5677 | #DIV/0! | #DIV/0!
20 | ISLM 7.19.13 | 0.4 | 4459 | 22.589 | -12.417 | 21.3785 | 0.025456 | 0.0091924 | 22.589 | -12.417 |  | -12.4187 | -12.4232 | -12.232 | #DIV/0! | #DIV/0!
21 | ISST Indirect 7.19.13 | 0.4 | 3634 | 18.454 | -10.245 | 21.4165 | 0.0070711 | 0.092631 | 18.454 | -10.245 |  | -10.2464 | -10.2511 | -10.0599 | #DIV/0! | #DIV/0!
22 | ISST Indirect 7.19.13 | 0.4 | 3776 | 18.957 | -10.1285 | 21.7775 | 0.0049497 | 0.019092 | 18.957 | -10.1285 |  | -10.13 | -10.1348 | -9.9436 | #DIV/0! | #DIV/0!
23 | ISST Direct 7.19.13 | 0.4 | 3397 | 17.245 | -9.139 | 21.644 | 0.011314 | 0.021213 | 17.245 | -9.139 |  | -9.1403 | -9.1454 | -8.9542 | #DIV/0! | #DIV/0!
24 | ISST Direct 7.19.13 | 0.4 | 3306 | 16.53 | -9.223 | 21.651 | 0.0028284 | 0.0028284 | 16.53 | -9.223 |  | -9.2243 | -9.2296 | -9.0384 | #DIV/0! | #DIV/0!
25 | WC 1 7.16.13 | 0.4 | 6430 | 32.978 | -10.5355 | 21.6155 | 0.0035355 | 0.0021213 | 32.978 | -10.5355 |  | -10.538 | -10.5436 | -10.3524 | #DIV/0! | #DIV/0!
26 | B | 1 | 3551 | 17.756 | -19.638 | 27.062 | 0.02687 | 0.0098995 | 17.756 | -19.638 |  | -19.6394 | -19.6452 | -19.454 | #DIV/0! | #DIV/0!
27 | WC 1 7.16.13 | 0.4 | 6398 | 34.066 | -11.757 | 20.6065 | 0.038184 | 0.49568 | 34.066 | -11.757 |  | -11.7596 | -11.7657 | -11.5745 | #DIV/0! | #DIV/0!
28 | WC Spring 7.16.13 | 0.4 | 6473 | 32.676 | -12.9545 | 21.619 | 0.0035355 | 0.0014142 | 32.676 | -12.9545 |  | -12.957 | -12.9633 | -12.7721 | #DIV/0! | #DIV/0!
29 | WC 6 7.16.13 | 0.4 | 5673 | 29.266 | -10.2015 | 21.1015 | 0.040305 | 0.11384 | 29.266 | -10.2015 |  | -10.2037 | -10.2103 | -10.0191 | #DIV/0! | #DIV/0!
30 | WC Spring 7.16.13 | 0.4 | 7103 | 36.968 | -13.15 | 21.121 | 0.039598 | 0.31396 | 36.968 | -13.15 |  | -13.1528 | -13.1596 | -12.9684 | #DIV/0! | #DIV/0!
31 | WC 6 7.16.13 | 0.4 | 4938 | 25.346 | -10.468 | 21.2425 | 0.024042 | 0.02192 | 25.346 | -10.468 |  | -10.4699 | -10.4769 | -10.2857 | #DIV/0! | #DIV/0!
32 | NBCT 7.12.13 | 0.4 | 3183 | 15.985 | -11.2565 | 21.4795 | 0.02192 | 0.03182 | 15.985 | -11.2565 |  | -11.2577 | -11.2649 | -11.0737 | #DIV/0! | #DIV/0!
33 | NBWS 7.12.13 | 0.4 | 5210 | 26.77 | -13.655 | 21.869 | 0.0056569 | 0.033941 | 26.77 | -13.655 |  | -13.6571 | -13.6645 | -13.4733 | #DIV/0! | #DIV/0!
34 | NBCT 7.12.13 | 0.4 | 3493 | 17.599 | -10.9935 | 21.7885 | 0.0049497 | 0.068589 | 17.599 | -10.9935 |  | -10.9948 | -11.0025 | -10.8113 | #DIV/0! | #DIV/0!
35 | B | 1 | 3591 | 18.322 | -19.601 | 26.963 | 0.021213 | 0.0042426 | 18.322 | -19.601 |  | -19.6024 | -19.6103 | -19.4191 | #DIV/0! | #DIV/0!
36 | NBWS 7.12.13 | 0.4 | 5251 | 26.889 | -13.762 | 21.369 | 0.022627 | 0.18385 | 26.889 | -13.762 |  | -13.7641 | -13.7722 | -13.581 | #DIV/0! | #DIV/0!
37 | NBBC 7.12.13 | 0.4 | 5516 | 28.257 | -9.986 | 22.0105 | 0.015556 | 0.033234 | 28.257 | -9.986 |  | -9.9882 | -9.9966 | -9.8054 | #DIV/0! | #DIV/0!
38 | NB DI 7.12.13 | 0.4 | 1140 | 3.099 | -10.387 | 22.524 |  |  | 3.099 | -10.387 |  | -10.3872 | -10.3959 | -10.2047 | #DIV/0! | #DIV/0!
39 | NBBC 7.12.13 | 0.4 | 5671 | 28.957 | -9.8765 | 21.703 | 0.030406 | 0.025456 | 28.957 | -9.8765 |  | -9.8787 | -9.8876 | -9.6964 | #DIV/0! | #DIV/0!
40 | Dissolution EXP 7.17.7 0.4mL | 0.4 | 10892 | 56.287 | -4.798 | 26.545 | 0.0070711 | 0.0084853 | 56.287 | -4.798 |  | -4.8023 | -4.8114 | -4.6202 | #DIV/0! | #DIV/0!
41 | Dissolution EXP 7.17.7 1.0mL | 1 | 2262 | 6.234 | -5.109 | 26.452 |  |  | 6.234 | -5.109 |  | -5.1095 | -5.1188 | -4.9276 | #DIV/0! | #DIV/0!
42 | Dissolution EXP 7.11.7 0.4mL | 0.4 | 3150 | 15.919 | -2.6425 | 26.773 | 0.0035355 | 0.0042426 | 15.919 | -2.6425 |  | -2.6437 | -2.6533 | -2.4621 | #DIV/0! | #DIV/0!
43 | Dissolution EXP 7.11.7 1.0mL | 1 | 11452 | 58.722 | -2.453 | 26.875 | 0 | 0.0014142 | 58.722 | -2.453 |  | -2.4575 | -2.4673 | -2.2761 | #DIV/0! | #DIV/0!
44 | B | 1 | 3477 | 17.63 | -19.6135 | 27.005 | 0.047376 | 0.029698 | 17.63 | -19.6135 |  | -19.6149 | -19.6249 | -19.4337 | #DIV/0! | #DIV/0!
45 | C | 1 | 6784 | 34.212 | -19.611 | 26.98 | 0.021213 | 0.0056569 | 34.212 | -19.611 |  | -19.6136 | -19.6239 | -19.4327 | #DIV/0! | #DIV/0!
46 | D | 1 | 7074 | 36.225 | -19.619 | 27.0795 | 0.0028284 | 0.0021213 | 36.225 | -19.619 |  | -19.6218 | -19.6323 | -19.4411 | #DIV/0! | #DIV/0!
47 | E | 1 | 13430 | 69.606 | -19.6315 | 26.923 | 0.00070711 | 0.0028284 | 69.606 | -19.6315 |  | -19.6368 | -19.6476 | -19.4564 | #DIV/0! | #DIV/0!
BLANKS | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
Used Standards | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
10 | B | 1 | 3438 | 17.513 | -19.6365 | 27.1655 | 0.037477 | 0.091217 | 17.513 | -19.6365 |  | -19.6378 | -19.6399 | -19.4487 | #DIV/0! | #DIV/0!
11 | B | 1 | 3456 | 17.307 | -19.6605 | 27.2025 | 0.0077782 | 0.0091924 | 17.307 | -19.6605 |  | -19.6618 | -19.6642 | -19.473 | #DIV/0! | #DIV/0!
26 | B | 1 | 3551 | 17.756 | -19.638 | 27.062 | 0.02687 | 0.0098995 | 17.756 | -19.638 |  | -19.6394 | -19.6452 | -19.454 | #DIV/0! | #DIV/0!
35 | B | 1 | 3591 | 18.322 | -19.601 | 26.963 | 0.021213 | 0.0042426 | 18.322 | -19.601 |  | -19.6024 | -19.6103 | -19.4191 | #DIV/0! | #DIV/0!
44 | B | 1 | 3477 | 17.63 | -19.6135 | 27.005 | 0.047376 | 0.029698 | 17.63 | -19.6135 |  | -19.6149 | -19.6249 | -19.4337 | #DIV/0! | #DIV/0!
12 | C | 1 | 5309 | 27.266 | -19.6165 | 27.1465 | 0.023335 | 0.006364 | 27.266 | -19.6165 |  | -19.6186 | -19.6212 | -19.43 | #DIV/0! | #DIV/0!
13 | C | 1 | 5480 | 27.753 | -19.667 | 27.2135 | 0.02687 | 0.023335 | 27.753 | -19.667 |  | -19.6691 | -19.6719 | -19.4807 | #DIV/0! | #DIV/0!
45 | C | 1 | 6784 | 34.212 | -19.611 | 26.98 | 0.021213 | 0.0056569 | 34.212 | -19.611 |  | -19.6136 | -19.6239 | -19.4327 | #DIV/0! | #DIV/0!
14 | D | 1 | 10749 | 56.682 | -19.555 | 26.8035 | 0 | 0.17183 | 56.682 | -19.555 |  | -19.5593 | -19.5624 | -19.3712 | #DIV/0! | #DIV/0!
15 | D | 1 | 6778 | 34.529 | -19.632 | 27.042 | 0.015556 | 0.016971 | 34.529 | -19.632 |  | -19.6346 | -19.6379 | -19.4467 | #DIV/0! | #DIV/0!
46 | D | 1 | 7074 | 36.225 | -19.619 | 27.0795 | 0.0028284 | 0.0021213 | 36.225 | -19.619 |  | -19.6218 | -19.6323 | -19.4411 | #DIV/0! | #DIV/0!
16 | E | 1 | 13538 | 71.134 | -19.6555 | 26.9055 | 0.0091924 | 0.0091924 | 71.134 | -19.6555 |  | -19.661 | -19.6644 | -19.4732 | #DIV/0! | #DIV/0!
17 | E | 1 | 13120 | 68.37 | -19.617 | 26.8835 | 0.0042426 | 0.017678 | 68.37 | -19.617 |  | -19.6222 | -19.626 | -19.4348 | #DIV/0! | #DIV/0!
47 | E | 1 | 13430 | 69.606 | -19.6315 | 26.923 | 0.00070711 | 0.0028284 | 69.606 | -19.6315 |  | -19.6368 | -19.6476 | -19.4564 | #DIV/0! | #DIV/0!
8 | F | 1 | 2233 | 11.318 | -19.5935 | 27.1105 | 0.030406 | 0.062933 | 11.318 | -19.5935 |  | -19.5944 | -19.596 | -19.4048 | #DIV/0! | #DIV/0!
9 | F | 1 | 2319 | 11.555 | -19.6285 | 27.07 | 0.0021213 | 0.0070711 | 11.555 | -19.6285 |  | -19.6294 | -19.6312 | -19.4401 | #DIV/0! | #DIV/0!

## Run Log
Row | Sample | Volume | Notes | Var5 | Var6 | Var7 | Var8 | Var9 | Var10
1 | 8 hour Delay |  | delay
2 | Blank | 0
3 | Blank | 0
4 | DI | 1
5 | DI | 1 |  | Var8: Standards; Var9: Mass; Var10: Volume
6 | A | 1 |  | Var8: A; Var9: 41.624; Var10: 500
7 | A | 1 |  | Var8: B; Var9: 51.612; Var10: 250
8 | F | 1 |  | Var8: C; Var9: 80.368; Var10: 250
9 | F | 1 |  | Var8: D; Var9: 101.656; Var10: 250
10 | B | 1 |  | Var8: E; Var9: 202.372; Var10: 250
11 | B | 1 |  | Var8: F; Var9: 31.72; Var10: 250
12 | C | 1
13 | C | 1
14 | D | 1
15 | D | 1
16 | E | 1
17 | E | 1
18 | ISSR 7 7.19.13 | 0.4
19 | ISSR 7 7.19.13 | 0.4
20 | ISLM 7.19.13 | 0.4
21 | ISST Indirect 7.19.13 | 0.4
22 | ISST Indirect 7.19.13 | 0.4
23 | ISST Direct 7.19.13 | 0.4
24 | ISST Direct 7.19.13 | 0.4
25 | WC 1 7.16.13 | 0.4
26 | B | 1
27 | WC 1 7.16.13 | 0.4
28 | WC Spring 7.16.13 | 0.4
29 | WC 6 7.16.13 | 0.4
30 | WC Spring 7.16.13 | 0.4
31 | WC 6 7.16.13 | 0.4
32 | NBCT 7.12.13 | 0.4
33 | NBWS 7.12.13 | 0.4
34 | NBCT 7.12.13 | 0.4
35 | B | 1
36 | NBWS 7.12.13 | 0.4
37 | NBBC 7.12.13 | 0.4
38 | NB DI 7.12.13 | 0.4
39 | NBBC 7.12.13 | 0.4
40 | Dissolution EXP 7.17.7 0.4mL | 0.4
41 | Dissolution EXP 7.17.7 1.0mL | 1
42 | Dissolution EXP 7.11.7 0.4mL | 0.4
43 | Dissolution EXP 7.11.7 1.0mL | 1
44 | B | 1
45 | C | 1
46 | D | 1
47 | E | 1

## gasbenchCO2template.wke
Row | Identifier1 | Ampl44 | Area44 | d13C_12C | d18O_16O
1 | 8 hour delay | 4070 | 58.244 | 0.039 | 0.016
1 | 8 hour delay | 4069 | 58.399 | 0 | 0
1 | 8 hour delay | 4068 | 58.419 | 0.007 | -0.033
1 | 8 hour delay | 4068 | 58.416 | 0.006 | 0.001
1 | 8 hour delay | 4066 | 58.424 | -0.008 | -0.037
2 | Blank | 4090 | 57.934 | -4.57 | 19.742
2 | Blank | 4091 | 59.484 | -4.57 | 19.67
2 | Blank | 4088 | 58.726 | -4.574 | 19.673
2 | Blank | 4090 | 58.702 | -4.593 | 19.693
2 | Blank | 4092 | 58.735 | -4.591 | 19.688
3 | Blank | 4092 | 57.859 | -4.583 | 19.756
3 | Blank | 4087 | 58.685 | -4.57 | 19.67
3 | Blank | 4088 | 58.719 | -4.59 | 19.635
3 | Blank | 4087 | 58.705 | -4.578 | 19.687
3 | Blank | 4087 | 58.695 | -4.588 | 19.657
4 | DI | 4090 | 57.937 | -4.576 | 19.689
4 | DI | 4089 | 58.681 | -4.57 | 19.67
4 | DI | 4086 | 58.711 | -4.611 | 19.658
4 | DI | 4087 | 58.691 | -4.605 | 19.693
4 | DI | 4088 | 58.701 | -4.578 | 19.669
5 | DI | 4092 | 57.879 | -4.571 | 19.769
5 | DI | 4090 | 58.725 | -4.57 | 19.67
5 | DI | 4088 | 58.737 | -4.593 | 19.701
5 | DI | 4088 | 58.71 | -4.585 | 19.724
5 | DI | 4089 | 58.729 | -4.568 | 19.704
6 | A | 4097 | 57.989 | -4.562 | 19.751
6 | A | 4088 | 58.735 | -4.57 | 19.67
6 | A | 4094 | 58.759 | -4.593 | 19.676
6 | A | 4085 | 58.717 | -4.596 | 19.702
6 | A | 4090 | 58.758 | -4.584 | 19.702
6 | A | 497 | 1.354 | -19.954 | 30.555
6 | A | 1764 | 9.199 | -19.563 | 27.005
6 | A | 1727 | 8.858 | -19.559 | 27.07
6 | A | 1694 | 8.65 | -19.641 | 27.14
6 | A | 1669 | 8.502 | -19.603 | 26.99
6 | A | 1651 | 8.38 | -19.59 | 27.143
6 | A | 1625 | 8.24 | -19.579 | 27.155
6 | A | 1601 | 8.096 | -19.559 | 27.046
6 | A | 1574 | 7.954 | -19.548 | 27.117
6 | A | 1548 | 7.817 | -19.533 | 27.176
6 | A | 1524 | 7.676 | -19.618 | 27.119
7 | A | 4092 | 57.896 | -4.568 | 19.703
7 | A | 4089 | 58.736 | -4.57 | 19.67
7 | A | 4090 | 58.722 | -4.56 | 19.642
7 | A | 4083 | 58.678 | -4.562 | 19.669
7 | A | 4089 | 58.744 | -4.572 | 19.661
7 | A | 471 | 1.276 | -20.053 | 29.823
7 | A | 1634 | 8.416 | -19.652 | 26.969
7 | A | 1597 | 8.06 | -19.573 | 27.004
7 | A | 1569 | 7.875 | -19.577 | 26.981
7 | A | 1546 | 7.742 | -19.599 | 26.965
7 | A | 1530 | 7.635 | -19.568 | 26.964
7 | A | 1510 | 7.519 | -19.68 | 27.091
7 | A | 1487 | 7.393 | -19.642 | 27.002
7 | A | 1465 | 7.275 | -19.642 | 27
7 | A | 1442 | 7.159 | -19.591 | 26.929
7 | A | 1419 | 7.043 | -19.616 | 27.079
8 | F | 4096 | 57.974 | -4.574 | 19.707
8 | F | 4087 | 58.693 | -4.57 | 19.67
8 | F | 4088 | 58.738 | -4.569 | 19.669
8 | F | 4090 | 58.734 | -4.566 | 19.657
8 | F | 4091 | 58.749 | -4.577 | 19.671
8 | F | 723 | 1.978 | -20.173 | 30.135
8 | F | 2554 | 13.298 | -19.586 | 27.131
8 | F | 2496 | 12.809 | -19.6 | 27.089
8 | F | 2448 | 12.519 | -19.57 | 27.083
8 | F | 2410 | 12.309 | -19.608 | 27.121
8 | F | 2379 | 12.131 | -19.567 | 27.167
8 | F | 2345 | 11.932 | -19.653 | 27.131
8 | F | 2308 | 11.723 | -19.646 | 27.106
8 | F | 2270 | 11.514 | -19.627 | 27.219
8 | F | 2233 | 11.318 | -19.572 | 27.066
8 | F | 2198 | 11.12 | -19.615 | 27.155
9 | F | 4092 | 57.91 | -4.554 | 19.71
9 | F | 4090 | 58.701 | -4.57 | 19.67
9 | F | 4089 | 58.733 | -4.549 | 19.659
9 | F | 4091 | 58.732 | -4.557 | 19.638
9 | F | 4089 | 58.736 | -4.534 | 19.684
9 | F | 758 | 2.057 | -19.964 | 28.665
9 | F | 2632 | 13.579 | -19.618 | 27.027
9 | F | 2572 | 13.027 | -19.615 | 26.976
9 | F | 2528 | 12.738 | -19.616 | 27.01
9 | F | 2492 | 12.532 | -19.625 | 27.013
9 | F | 2464 | 12.359 | -19.614 | 27.148
9 | F | 2427 | 12.15 | -19.665 | 27.074
9 | F | 2391 | 11.955 | -19.6 | 27.111
9 | F | 2356 | 11.743 | -19.631 | 27.144
9 | F | 2319 | 11.555 | -19.63 | 27.065
9 | F | 2287 | 11.373 | -19.627 | 27.075
10 | B | 4090 | 57.915 | -4.547 | 19.765
10 | B | 4087 | 58.705 | -4.57 | 19.67
10 | B | 4090 | 58.735 | -4.562 | 19.683
10 | B | 4088 | 58.697 | -4.574 | 19.686
10 | B | 4089 | 58.742 | -4.578 | 19.698
10 | B | 1137 | 3.112 | -19.871 | 28.574
10 | B | 3949 | 20.652 | -19.691 | 27.046
10 | B | 3850 | 19.765 | -19.637 | 27.167
10 | B | 3777 | 19.315 | -19.686 | 27.185
10 | B | 3709 | 18.969 | -19.633 | 27.108
10 | B | 3665 | 18.727 | -19.654 | 27.126
10 | B | 3605 | 18.426 | -19.665 | 27.196
10 | B | 3549 | 18.117 | -19.61 | 27.138
10 | B | 3492 | 17.819 | -19.623 | 27.224
10 | B | 3438 | 17.513 | -19.61 | 27.101
10 | B | 3382 | 17.208 | -19.663 | 27.23
11 | B | 4090 | 57.909 | -4.592 | 19.738
11 | B | 4092 | 58.739 | -4.57 | 19.67
11 | B | 4090 | 58.764 | -4.586 | 19.682
11 | B | 4092 | 58.736 | -4.597 | 19.691
11 | B | 4090 | 58.766 | -4.585 | 19.704
11 | B | 1137 | 3.102 | -19.951 | 28.424
11 | B | 3922 | 20.452 | -19.618 | 27.113
11 | B | 3827 | 19.522 | -19.656 | 27.13
11 | B | 3764 | 19.06 | -19.645 | 27.163
11 | B | 3705 | 18.731 | -19.648 | 27.205
11 | B | 3666 | 18.485 | -19.679 | 27.168
11 | B | 3618 | 18.211 | -19.672 | 27.157
11 | B | 3557 | 17.896 | -19.668 | 27.214
11 | B | 3507 | 17.596 | -19.617 | 27.184
11 | B | 3456 | 17.307 | -19.666 | 27.196
11 | B | 3407 | 17.025 | -19.655 | 27.209
12 | C | 4091 | 57.943 | -4.554 | 19.691
12 | C | 4087 | 58.746 | -4.57 | 19.67
12 | C | 4090 | 58.744 | -4.567 | 19.652
12 | C | 4088 | 58.754 | -4.563 | 19.667
12 | C | 4093 | 58.769 | -4.584 | 19.651
12 | C | 1805 | 4.955 | -19.82 | 28.094
12 | C | 6175 | 32.366 | -19.629 | 27.12
12 | C | 6002 | 30.872 | -19.607 | 27.115
12 | C | 5876 | 30.128 | -19.661 | 27.162
12 | C | 5760 | 29.597 | -19.623 | 27.099
12 | C | 5683 | 29.216 | -19.621 | 27.114
12 | C | 5591 | 28.737 | -19.603 | 27.129
12 | C | 5489 | 28.228 | -19.628 | 27.144
12 | C | 5396 | 27.765 | -19.615 | 27.11
12 | C | 5309 | 27.266 | -19.6 | 27.142
12 | C | 5225 | 26.789 | -19.633 | 27.151
13 | C | 4094 | 57.944 | -4.577 | 19.707
13 | C | 4092 | 58.779 | -4.57 | 19.67
13 | C | 4091 | 58.765 | -4.585 | 19.66
13 | C | 4091 | 58.75 | -4.585 | 19.683
13 | C | 4090 | 58.769 | -4.597 | 19.67
13 | C | 1801 | 4.938 | -19.848 | 28.073
13 | C | 6233 | 32.799 | -19.681 | 27.202
13 | C | 6084 | 31.331 | -19.637 | 27.186
13 | C | 5985 | 30.629 | -19.657 | 27.194
13 | C | 5895 | 30.087 | -19.673 | 27.168
13 | C | 5839 | 29.717 | -19.631 | 27.17
13 | C | 5756 | 29.238 | -19.646 | 27.202
13 | C | 5666 | 28.738 | -19.683 | 27.184
13 | C | 5575 | 28.233 | -19.666 | 27.149
13 | C | 5480 | 27.753 | -19.648 | 27.197
13 | C | 5395 | 27.282 | -19.686 | 27.23
14 | D | 4098 | 58.015 | -4.57 | 19.748
14 | D | 4094 | 58.78 | -4.57 | 19.67
14 | D | 4093 | 58.813 | -4.58 | 19.683
14 | D | 4091 | 58.826 | -4.592 | 19.712
14 | D | 4093 | 58.795 | -4.579 | 19.714
14 | D | 1189 | 3.309 | -21.44 | 114.748
14 | D | 4152 | 20.81 | -19.669 | 26.805
14 | D | 8323 | 39.02 | -19.311 | 27.199
14 | D | 12085 | 63.312 | -19.533 | 26.775
14 | D | 11696 | 60.812 | -19.543 | 26.772
14 | D | 11604 | 61.052 | -19.556 | 26.677
14 | D | 11315 | 59.567 | -19.526 | 26.691
14 | D | 11125 | 58.727 | -19.531 | 26.673
14 | D | 10934 | 57.741 | -19.541 | 26.685
14 | D | 10749 | 56.682 | -19.555 | 26.682
14 | D | 10557 | 55.635 | -19.555 | 26.925
15 | D | 4097 | 57.986 | -4.541 | 19.747
15 | D | 4090 | 58.767 | -4.57 | 19.67
15 | D | 4091 | 58.775 | -4.57 | 19.705
15 | D | 4092 | 58.762 | -4.566 | 19.694
15 | D | 4092 | 58.803 | -4.568 | 19.677
15 | D | 2229 | 6.145 | -19.815 | 27.966
15 | D | 7738 | 41.005 | -19.652 | 27.07
15 | D | 7537 | 39.06 | -19.678 | 27.045
15 | D | 7410 | 38.152 | -19.673 | 27.094
15 | D | 7290 | 37.471 | -19.647 | 27.057
15 | D | 7232 | 37.035 | -19.679 | 27.081
15 | D | 7128 | 36.417 | -19.651 | 27.062
15 | D | 7017 | 35.8 | -19.649 | 27.047
15 | D | 6899 | 35.177 | -19.654 | 27.055
15 | D | 6778 | 34.529 | -19.621 | 27.054
15 | D | 6666 | 33.917 | -19.643 | 27.03
16 | E | 4097 | 58.022 | -4.575 | 19.675
16 | E | 4095 | 58.797 | -4.57 | 19.67
16 | E | 4094 | 58.817 | -4.566 | 19.67
16 | E | 4095 | 58.791 | -4.586 | 19.643
16 | E | 4093 | 58.827 | -4.586 | 19.655
16 | E | 4531 | 12.817 | -19.701 | 27.298
16 | E | 15580 | 83.466 | -19.68 | 26.846
16 | E | 15197 | 79.95 | -19.689 | 26.862
16 | E | 14932 | 78.179 | -19.67 | 26.909
16 | E | 14697 | 76.882 | -19.686 | 26.866
16 | E | 14505 | 75.97 | -19.674 | 26.909
16 | E | 14292 | 74.867 | -19.653 | 26.909
16 | E | 14042 | 73.647 | -19.71 | 26.915
16 | E | 13783 | 72.388 | -19.653 | 26.899
16 | E | 13538 | 71.134 | -19.649 | 26.912
16 | E | 13293 | 69.894 | -19.662 | 26.899
17 | E | 4093 | 57.968 | -4.573 | 19.711
17 | E | 4093 | 58.74 | -4.57 | 19.67
17 | E | 4091 | 58.781 | -4.555 | 19.618
17 | E | 4090 | 58.729 | -4.556 | 19.675
17 | E | 4092 | 58.766 | -4.569 | 19.68
17 | E | 4267 | 12.013 | -19.804 | 27.378
17 | E | 14887 | 80.695 | -19.615 | 26.85
17 | E | 14527 | 77.127 | -19.642 | 26.844
17 | E | 14313 | 75.424 | -19.614 | 26.895
17 | E | 14067 | 73.952 | -19.62 | 26.88
17 | E | 13926 | 73.034 | -19.611 | 26.889
17 | E | 13748 | 71.932 | -19.609 | 26.864
17 | E | 13544 | 70.724 | -19.609 | 26.884
17 | E | 13335 | 69.545 | -19.611 | 26.894
17 | E | 13120 | 68.37 | -19.614 | 26.896
17 | E | 12934 | 67.16 | -19.62 | 26.871
18 | ISSR 7 7.19.13 | 4093 | 58.03 | -4.566 | 19.7
18 | ISSR 7 7.19.13 | 4097 | 58.78 | -4.57 | 19.67
18 | ISSR 7 7.19.13 | 4092 | 58.779 | -4.582 | 19.623
18 | ISSR 7 7.19.13 | 4095 | 58.753 | -4.584 | 19.666
18 | ISSR 7 7.19.13 | 4090 | 58.765 | -4.579 | 19.685
18 | ISSR 7 7.19.13 | 1826 | 5.013 | -19.384 | 25.565
18 | ISSR 7 7.19.13 | 3290 | 16.468 | -11.639 | 22.066
18 | ISSR 7 7.19.13 | 3204 | 16.022 | -11.628 | 22.041
18 | ISSR 7 7.19.13 | 3166 | 15.81 | -11.592 | 22.086
18 | ISSR 7 7.19.13 | 3118 | 15.571 | -11.582 | 22.066
18 | ISSR 7 7.19.13 | 3066 | 15.343 | -11.551 | 22.039
18 | ISSR 7 7.19.13 | 3017 | 15.139 | -11.554 | 22.122
18 | ISSR 7 7.19.13 | 2963 | 14.915 | -11.535 | 22.084
18 | ISSR 7 7.19.13 | 2905 | 14.678 | -11.525 | 22.062
18 | ISSR 7 7.19.13 | 2846 | 14.423 | -11.553 | 22.074
18 | ISSR 7 7.19.13 | 2792 | 14.182 | -11.538 | 22.111
19 | ISSR 7 7.19.13 | 4094 | 57.972 | -4.559 | 19.703
19 | ISSR 7 7.19.13 | 4094 | 58.799 | -4.57 | 19.67
19 | ISSR 7 7.19.13 | 4095 | 58.801 | -4.567 | 19.666
19 | ISSR 7 7.19.13 | 4092 | 58.749 | -4.576 | 19.666
19 | ISSR 7 7.19.13 | 4092 | 58.778 | -4.582 | 19.649
19 | ISSR 7 7.19.13 | 586 | 1.594 | -11.947 | 23.647
19 | ISSR 7 7.19.13 | 3552 | 18.117 | -11.706 | 22.239
19 | ISSR 7 7.19.13 | 3493 | 17.773 | -11.768 | 22.178
19 | ISSR 7 7.19.13 | 3417 | 17.368 | -11.768 | 22.138
19 | ISSR 7 7.19.13 | 3382 | 17.165 | -11.75 | 22.185
19 | ISSR 7 7.19.13 | 3334 | 16.896 | -11.739 | 22.238
19 | ISSR 7 7.19.13 | 3277 | 16.601 | -11.764 | 22.176
19 | ISSR 7 7.19.13 | 3227 | 16.322 | -11.754 | 22.208
19 | ISSR 7 7.19.13 | 3178 | 16.045 | -11.774 | 22.24
19 | ISSR 7 7.19.13 | 3124 | 15.77 | -11.771 | 22.23
19 | ISSR 7 7.19.13 | 3076 | 15.504 | -11.736 | 22.188
20 | ISLM 7.19.13 | 4095 | 58 | -4.572 | 19.722
20 | ISLM 7.19.13 | 4092 | 58.792 | -4.57 | 19.67
20 | ISLM 7.19.13 | 4096 | 58.804 | -4.564 | 19.685
20 | ISLM 7.19.13 | 4090 | 58.746 | -4.578 | 19.675
20 | ISLM 7.19.13 | 4093 | 58.796 | -4.574 | 19.685
20 | ISLM 7.19.13 | 967 | 2.627 | -12.761 | 24.176
20 | ISLM 7.19.13 | 5068 | 25.658 | -12.43 | 21.432
20 | ISLM 7.19.13 | 4963 | 25.046 | -12.45 | 21.421
20 | ISLM 7.19.13 | 4926 | 24.784 | -12.475 | 21.415
20 | ISLM 7.19.13 | 4860 | 24.411 | -12.452 | 21.361
20 | ISLM 7.19.13 | 4785 | 24.046 | -12.47 | 21.422
20 | ISLM 7.19.13 | 4703 | 23.655 | -12.442 | 21.397
20 | ISLM 7.19.13 | 4628 | 23.311 | -12.477 | 21.418
20 | ISLM 7.19.13 | 4542 | 22.936 | -12.482 | 21.366
20 | ISLM 7.19.13 | 4459 | 22.589 | -12.399 | 21.372
20 | ISLM 7.19.13 | 4378 | 22.24 | -12.435 | 21.385
21 | ISST Indirect 7.19.13 | 4096 | 57.977 | -4.556 | 19.718
21 | ISST Indirect 7.19.13 | 4091 | 58.79 | -4.57 | 19.67
21 | ISST Indirect 7.19.13 | 4095 | 58.799 | -4.548 | 19.657
21 | ISST Indirect 7.19.13 | 4096 | 58.797 | -4.547 | 19.676
21 | ISST Indirect 7.19.13 | 4095 | 58.806 | -4.557 | 19.656
21 | ISST Indirect 7.19.13 | 945 | 2.567 | -13.289 | 52.386
21 | ISST Indirect 7.19.13 | 4230 | 21.735 | -10.153 | 21.558
21 | ISST Indirect 7.19.13 | 4121 | 21.111 | -10.211 | 21.495
21 | ISST Indirect 7.19.13 | 3996 | 20.489 | -10.256 | 21.349
21 | ISST Indirect 7.19.13 | 3931 | 20.136 | -10.288 | 21.347
21 | ISST Indirect 7.19.13 | 3837 | 19.641 | -10.279 | 21.296
21 | ISST Indirect 7.19.13 | 3804 | 19.404 | -10.269 | 21.309
21 | ISST Indirect 7.19.13 | 3749 | 19.099 | -10.24 | 21.369
21 | ISST Indirect 7.19.13 | 3695 | 18.786 | -10.246 | 21.352
21 | ISST Indirect 7.19.13 | 3634 | 18.454 | -10.25 | 21.351
21 | ISST Indirect 7.19.13 | 3578 | 18.128 | -10.24 | 21.482
22 | ISST Indirect 7.19.13 | 4098 | 58.044 | -4.561 | 19.733
22 | ISST Indirect 7.19.13 | 4098 | 58.851 | -4.57 | 19.67
22 | ISST Indirect 7.19.13 | 4098 | 58.852 | -4.581 | 19.652
22 | ISST Indirect 7.19.13 | 4096 | 58.824 | -4.575 | 19.657
22 | ISST Indirect 7.19.13 | 4094 | 58.842 | -4.546 | 19.671
22 | ISST Indirect 7.19.13 | 767 | 2.08 | -10.532 | 22.231
22 | ISST Indirect 7.19.13 | 4320 | 21.796 | -10.047 | 21.82
22 | ISST Indirect 7.19.13 | 4230 | 21.275 | -10.142 | 21.778
22 | ISST Indirect 7.19.13 | 4141 | 20.788 | -10.123 | 21.731
22 | ISST Indirect 7.19.13 | 4097 | 20.539 | -10.146 | 21.796
22 | ISST Indirect 7.19.13 | 4039 | 20.224 | -10.134 | 21.717
22 | ISST Indirect 7.19.13 | 3977 | 19.901 | -10.168 | 21.722
22 | ISST Indirect 7.19.13 | 3911 | 19.589 | -10.113 | 21.754
22 | ISST Indirect 7.19.13 | 3844 | 19.276 | -10.13 | 21.774
22 | ISST Indirect 7.19.13 | 3776 | 18.957 | -10.125 | 21.764
22 | ISST Indirect 7.19.13 | 3703 | 18.652 | -10.132 | 21.791
23 | ISST Direct 7.19.13 | 4096 | 57.947 | -4.556 | 19.706
23 | ISST Direct 7.19.13 | 4092 | 58.781 | -4.57 | 19.67
23 | ISST Direct 7.19.13 | 4094 | 58.793 | -4.557 | 19.674
23 | ISST Direct 7.19.13 | 4096 | 58.77 | -4.588 | 19.688
23 | ISST Direct 7.19.13 | 4092 | 58.798 | -4.554 | 19.698
23 | ISST Direct 7.19.13 | 1035 | 2.831 | -9.42 | 22.741
23 | ISST Direct 7.19.13 | 3839 | 19.731 | -9.131 | 21.646
23 | ISST Direct 7.19.13 | 3756 | 19.285 | -9.138 | 21.641
23 | ISST Direct 7.19.13 | 3725 | 19.048 | -9.125 | 21.64
23 | ISST Direct 7.19.13 | 3673 | 18.75 | -9.114 | 21.594
23 | ISST Direct 7.19.13 | 3615 | 18.426 | -9.121 | 21.572
23 | ISST Direct 7.19.13 | 3559 | 18.126 | -9.102 | 21.644
23 | ISST Direct 7.19.13 | 3505 | 17.821 | -9.103 | 21.644
23 | ISST Direct 7.19.13 | 3453 | 17.523 | -9.096 | 21.664
23 | ISST Direct 7.19.13 | 3397 | 17.245 | -9.131 | 21.659
23 | ISST Direct 7.19.13 | 3336 | 16.915 | -9.147 | 21.629
24 | ISST Direct 7.19.13 | 4093 | 57.999 | -4.569 | 19.717
24 | ISST Direct 7.19.13 | 4094 | 58.844 | -4.57 | 19.67
24 | ISST Direct 7.19.13 | 4092 | 58.829 | -4.576 | 19.652
24 | ISST Direct 7.19.13 | 4095 | 58.785 | -4.556 | 19.682
24 | ISST Direct 7.19.13 | 4092 | 58.807 | -4.55 | 19.682
24 | ISST Direct 7.19.13 | 739 | 2.009 | -9.301 | 22.588
24 | ISST Direct 7.19.13 | 3718 | 18.799 | -9.257 | 21.639
24 | ISST Direct 7.19.13 | 3637 | 18.342 | -9.231 | 21.656
24 | ISST Direct 7.19.13 | 3603 | 18.116 | -9.223 | 21.578
24 | ISST Direct 7.19.13 | 3562 | 17.858 | -9.235 | 21.642
24 | ISST Direct 7.19.13 | 3514 | 17.581 | -9.228 | 21.666
24 | ISST Direct 7.19.13 | 3459 | 17.284 | -9.205 | 21.651
24 | ISST Direct 7.19.13 | 3413 | 17.05 | -9.269 | 21.632
24 | ISST Direct 7.19.13 | 3358 | 16.786 | -9.181 | 21.672
24 | ISST Direct 7.19.13 | 3306 | 16.53 | -9.225 | 21.653
24 | ISST Direct 7.19.13 | 3246 | 16.276 | -9.221 | 21.649
25 | WC 1 7.16.13 | 4096 | 57.976 | -4.558 | 19.692
25 | WC 1 7.16.13 | 4094 | 58.815 | -4.57 | 19.67
25 | WC 1 7.16.13 | 4096 | 58.826 | -4.531 | 19.653
25 | WC 1 7.16.13 | 4096 | 58.755 | -4.526 | 19.647
25 | WC 1 7.16.13 | 4092 | 58.786 | -4.548 | 19.666
25 | WC 1 7.16.13 | 668 | 1.825 | -9.525 | 22.946
25 | WC 1 7.16.13 | 7353 | 38.086 | -10.507 | 21.676
25 | WC 1 7.16.13 | 7237 | 37.45 | -10.525 | 21.66
25 | WC 1 7.16.13 | 7077 | 36.575 | -10.544 | 21.585
25 | WC 1 7.16.13 | 6928 | 35.811 | -10.522 | 21.578
25 | WC 1 7.16.13 | 6847 | 35.299 | -10.527 | 21.588
25 | WC 1 7.16.13 | 6743 | 34.691 | -10.515 | 21.579
25 | WC 1 7.16.13 | 6621 | 34.007 | -10.541 | 21.628
25 | WC 1 7.16.13 | 6523 | 33.448 | -10.494 | 21.617
25 | WC 1 7.16.13 | 6430 | 32.978 | -10.538 | 21.614
25 | WC 1 7.16.13 | 6324 | 32.399 | -10.533 | 21.617
26 | B | 4096 | 58.094 | -4.569 | 19.708
26 | B | 4097 | 58.851 | -4.57 | 19.67
26 | B | 4099 | 58.858 | -4.567 | 19.69
26 | B | 4096 | 58.831 | -4.583 | 19.689
26 | B | 4097 | 58.83 | -4.572 | 19.707
26 | B | 1168 | 3.183 | -19.876 | 27.793
26 | B | 4033 | 21.012 | -19.662 | 27.002
26 | B | 3928 | 20.002 | -19.642 | 27.059
26 | B | 3865 | 19.529 | -19.652 | 27.014
26 | B | 3807 | 19.188 | -19.67 | 27.061
26 | B | 3782 | 19.014 | -19.648 | 27.036
26 | B | 3719 | 18.626 | -19.647 | 27.03
26 | B | 3666 | 18.336 | -19.669 | 27.043
26 | B | 3610 | 18.04 | -19.659 | 26.98
26 | B | 3551 | 17.756 | -19.619 | 27.069
26 | B | 3500 | 17.482 | -19.657 | 27.055
27 | WC 1 7.16.13 | 4100 | 58 | -4.565 | 19.713
27 | WC 1 7.16.13 | 4098 | 58.82 | -4.57 | 19.67
27 | WC 1 7.16.13 | 4099 | 58.819 | -4.583 | 19.675
27 | WC 1 7.16.13 | 4093 | 58.814 | -4.575 | 19.705
27 | WC 1 7.16.13 | 4095 | 58.816 | -4.586 | 19.704
27 | WC 1 7.16.13 | 73 | 0.402 | -30.138 | 2612.324
27 | WC 1 7.16.13 | 884 | 2.638 | -26.124 | 423.852
27 | WC 1 7.16.13 | 7181 | 38.327 | -11.685 | 20.427
27 | WC 1 7.16.13 | 76 | 0.394 | -56.092 | 2559.386
27 | WC 1 7.16.13 | 7176 | 38.611 | -11.667 | 20.264
27 | WC 1 7.16.13 | 76 | 0.39 | -61.431 | 2512.709
27 | WC 1 7.16.13 | 6994 | 37.709 | -11.693 | 20.144
27 | WC 1 7.16.13 | 76 | 0.388 | -64.847 | 2482.178
27 | WC 1 7.16.13 | 6856 | 36.833 | -11.663 | 20.16
27 | WC 1 7.16.13 | 75 | 0.385 | -67.893 | 2459.349
27 | WC 1 7.16.13 | 6773 | 36.425 | -11.688 | 20.164
27 | WC 1 7.16.13 | 75 | 0.38 | -71.756 | 2438.822
27 | WC 1 7.16.13 | 6668 | 35.824 | -11.715 | 20.194
27 | WC 1 7.16.13 | 74 | 0.374 | -72.609 | 2429.726
27 | WC 1 7.16.13 | 6580 | 35.243 | -11.708 | 20.185
27 | WC 1 7.16.13 | 73 | 0.368 | -74.756 | 2424.033
27 | WC 1 7.16.13 | 6491 | 34.682 | -11.683 | 20.182
27 | WC 1 7.16.13 | 72 | 0.361 | -76.04 | 2416.171
27 | WC 1 7.16.13 | 6398 | 34.066 | -11.73 | 20.256
27 | WC 1 7.16.13 | 6296 | 33.506 | -11.784 | 20.957
28 | WC Spring 7.16.13 | 4100 | 58.083 | -4.572 | 19.726
28 | WC Spring 7.16.13 | 4095 | 58.84 | -4.57 | 19.67
28 | WC Spring 7.16.13 | 4099 | 58.879 | -4.582 | 19.673
28 | WC Spring 7.16.13 | 4101 | 58.851 | -4.591 | 19.669
28 | WC Spring 7.16.13 | 4099 | 58.912 | -4.574 | 19.745
28 | WC Spring 7.16.13 | 1426 | 3.892 | -11.974 | 21.584
28 | WC Spring 7.16.13 | 7377 | 37.801 | -12.906 | 21.715
28 | WC Spring 7.16.13 | 7216 | 36.907 | -12.912 | 21.671
28 | WC Spring 7.16.13 | 7114 | 36.295 | -12.904 | 21.69
28 | WC Spring 7.16.13 | 7002 | 35.655 | -12.948 | 21.69
28 | WC Spring 7.16.13 | 6879 | 35.01 | -12.936 | 21.562
28 | WC Spring 7.16.13 | 6777 | 34.41 | -12.926 | 21.647
28 | WC Spring 7.16.13 | 6667 | 33.811 | -12.917 | 21.627
28 | WC Spring 7.16.13 | 6574 | 33.237 | -12.925 | 21.633
28 | WC Spring 7.16.13 | 6473 | 32.676 | -12.952 | 21.618
28 | WC Spring 7.16.13 | 6380 | 32.159 | -12.957 | 21.62
29 | WC 6 7.16.13 | 4103 | 58.058 | -4.579 | 19.723
29 | WC 6 7.16.13 | 4102 | 58.866 | -4.57 | 19.67
29 | WC 6 7.16.13 | 4098 | 58.902 | -4.571 | 19.678
29 | WC 6 7.16.13 | 4100 | 58.869 | -4.589 | 19.645
29 | WC 6 7.16.13 | 4097 | 58.866 | -4.596 | 19.694
29 | WC 6 7.16.13 | 1403 | 3.834 | -13.717 | 59.666
29 | WC 6 7.16.13 | 6578 | 33.84 | -10.158 | 21.113
29 | WC 6 7.16.13 | 6460 | 33.318 | -10.152 | 21.026
29 | WC 6 7.16.13 | 6312 | 32.66 | -10.15 | 21.01
29 | WC 6 7.16.13 | 6190 | 32.078 | -10.15 | 20.968
29 | WC 6 7.16.13 | 6073 | 31.479 | -10.141 | 20.963
29 | WC 6 7.16.13 | 5953 | 30.907 | -10.147 | 20.992
29 | WC 6 7.16.13 | 5861 | 30.356 | -10.169 | 20.957
29 | WC 6 7.16.13 | 5761 | 29.817 | -10.185 | 20.972
29 | WC 6 7.16.13 | 5673 | 29.266 | -10.173 | 21.021
29 | WC 6 7.16.13 | 5579 | 28.751 | -10.23 | 21.182
30 | WC Spring 7.16.13 | 4103 | 58.122 | -4.568 | 19.686
30 | WC Spring 7.16.13 | 4100 | 58.888 | -4.57 | 19.67
30 | WC Spring 7.16.13 | 4099 | 58.903 | -4.579 | 19.717
30 | WC Spring 7.16.13 | 4098 | 58.852 | -4.556 | 19.672
30 | WC Spring 7.16.13 | 4098 | 58.888 | -4.57 | 19.647
30 | WC Spring 7.16.13 | 56 | 0.285 | -46.778 | 2685.68
30 | WC Spring 7.16.13 | 1300 | 3.739 | -15.029 | 230.001
30 | WC Spring 7.16.13 | 8024 | 42.457 | -13.042 | 20.937
30 | WC Spring 7.16.13 | 56 | 0.261 | -66.28 | 2784.553
30 | WC Spring 7.16.13 | 7872 | 41.276 | -13.015 | 20.983
30 | WC Spring 7.16.13 | 55 | 0.256 | -71.627 | 2770.73
30 | WC Spring 7.16.13 | 7765 | 40.969 | -13.117 | 20.876
30 | WC Spring 7.16.13 | 55 | 0.252 | -74.752 | 2753.951
30 | WC Spring 7.16.13 | 7640 | 40.239 | -13.13 | 20.871
30 | WC Spring 7.16.13 | 54 | 0.247 | -76.309 | 2755.958
30 | WC Spring 7.16.13 | 7523 | 39.555 | -13.123 | 20.877
30 | WC Spring 7.16.13 | 53 | 0.242 | -79.711 | 2764.101
30 | WC Spring 7.16.13 | 7409 | 38.895 | -13.147 | 20.908
30 | WC Spring 7.16.13 | 52 | 0.236 | -80.521 | 2757.292
30 | WC Spring 7.16.13 | 7302 | 38.266 | -13.121 | 20.909
30 | WC Spring 7.16.13 | 51 | 0.231 | -83.913 | 2766.433
30 | WC Spring 7.16.13 | 7202 | 37.614 | -13.124 | 20.873
30 | WC Spring 7.16.13 | 51 | 0.226 | -83.708 | 2776.978
30 | WC Spring 7.16.13 | 7103 | 36.968 | -13.122 | 20.899
30 | WC Spring 7.16.13 | 6995 | 36.375 | -13.178 | 21.343
31 | WC 6 7.16.13 | 4105 | 58.082 | -4.593 | 19.717
31 | WC 6 7.16.13 | 4101 | 58.881 | -4.57 | 19.67
31 | WC 6 7.16.13 | 4101 | 58.927 | -4.593 | 19.684
31 | WC 6 7.16.13 | 4102 | 58.899 | -4.59 | 19.682
31 | WC 6 7.16.13 | 4101 | 58.934 | -4.573 | 19.69
31 | WC 6 7.16.13 | 1538 | 4.209 | -13.394 | 22.179
31 | WC 6 7.16.13 | 5784 | 29.408 | -10.491 | 21.318
31 | WC 6 7.16.13 | 5669 | 28.894 | -10.415 | 21.272
31 | WC 6 7.16.13 | 5522 | 28.213 | -10.474 | 21.249
31 | WC 6 7.16.13 | 5412 | 27.749 | -10.452 | 21.207
31 | WC 6 7.16.13 | 5256 | 27.039 | -10.456 | 21.291
31 | WC 6 7.16.13 | 5175 | 26.651 | -10.451 | 21.264
31 | WC 6 7.16.13 | 5105 | 26.234 | -10.425 | 21.18
31 | WC 6 7.16.13 | 5019 | 25.801 | -10.488 | 21.194
31 | WC 6 7.16.13 | 4938 | 25.346 | -10.451 | 21.227
31 | WC 6 7.16.13 | 4857 | 24.909 | -10.485 | 21.258
32 | NBCT 7.12.13 | 4107 | 58.137 | -4.549 | 19.735
32 | NBCT 7.12.13 | 4102 | 58.918 | -4.57 | 19.67
32 | NBCT 7.12.13 | 4104 | 58.94 | -4.591 | 19.64
32 | NBCT 7.12.13 | 4102 | 58.906 | -4.548 | 19.67
32 | NBCT 7.12.13 | 4101 | 58.931 | -4.565 | 19.669
32 | NBCT 7.12.13 | 1053 | 2.859 | -10.705 | 29.079
32 | NBCT 7.12.13 | 3659 | 18.572 | -11.165 | 21.6
32 | NBCT 7.12.13 | 3583 | 18.139 | -11.211 | 21.468
32 | NBCT 7.12.13 | 3502 | 17.728 | -11.252 | 21.451
32 | NBCT 7.12.13 | 3447 | 17.426 | -11.227 | 21.476
32 | NBCT 7.12.13 | 3394 | 17.133 | -11.239 | 21.486
32 | NBCT 7.12.13 | 3338 | 16.837 | -11.285 | 21.443
32 | NBCT 7.12.13 | 3286 | 16.543 | -11.241 | 21.502
32 | NBCT 7.12.13 | 3233 | 16.263 | -11.308 | 21.445
32 | NBCT 7.12.13 | 3183 | 15.985 | -11.241 | 21.457
32 | NBCT 7.12.13 | 3137 | 15.733 | -11.272 | 21.502
33 | NBWS 7.12.13 | 4105 | 58.083 | -4.575 | 19.737
33 | NBWS 7.12.13 | 4104 | 58.916 | -4.57 | 19.67
33 | NBWS 7.12.13 | 4104 | 58.943 | -4.601 | 19.669
33 | NBWS 7.12.13 | 4103 | 58.937 | -4.589 | 19.674
33 | NBWS 7.12.13 | 4103 | 58.941 | -4.595 | 19.649
33 | NBWS 7.12.13 | 670 | 1.816 | -11.636 | 22.514
33 | NBWS 7.12.13 | 6088 | 30.814 | -13.613 | 21.927
33 | NBWS 7.12.13 | 5974 | 30.306 | -13.65 | 21.914
33 | NBWS 7.12.13 | 5861 | 29.775 | -13.675 | 21.888
33 | NBWS 7.12.13 | 5738 | 29.281 | -13.645 | 21.935
33 | NBWS 7.12.13 | 5625 | 28.784 | -13.659 | 21.953
33 | NBWS 7.12.13 | 5515 | 28.277 | -13.662 | 21.95
33 | NBWS 7.12.13 | 5407 | 27.76 | -13.647 | 21.895
33 | NBWS 7.12.13 | 5306 | 27.261 | -13.678 | 21.879
33 | NBWS 7.12.13 | 5210 | 26.77 | -13.651 | 21.845
33 | NBWS 7.12.13 | 5124 | 26.309 | -13.659 | 21.893
34 | NBCT 7.12.13 | 4103 | 58.132 | -4.536 | 19.71
34 | NBCT 7.12.13 | 4100 | 58.901 | -4.57 | 19.67
34 | NBCT 7.12.13 | 4101 | 58.961 | -4.56 | 19.655
34 | NBCT 7.12.13 | 4099 | 58.92 | -4.534 | 19.65
34 | NBCT 7.12.13 | 4102 | 58.936 | -4.541 | 19.663
34 | NBCT 7.12.13 | 1093 | 2.973 | -13.913 | 23.035
34 | NBCT 7.12.13 | 3998 | 20.349 | -10.962 | 21.84
34 | NBCT 7.12.13 | 3938 | 20.012 | -11.001 | 21.852
34 | NBCT 7.12.13 | 3842 | 19.502 | -10.982 | 21.807
34 | NBCT 7.12.13 | 3779 | 19.167 | -11.045 | 21.863
34 | NBCT 7.12.13 | 3723 | 18.845 | -11.012 | 21.792
34 | NBCT 7.12.13 | 3659 | 18.509 | -11.042 | 21.731
34 | NBCT 7.12.13 | 3602 | 18.201 | -10.979 | 21.81
34 | NBCT 7.12.13 | 3548 | 17.909 | -11.032 | 21.818
34 | NBCT 7.12.13 | 3493 | 17.599 | -10.997 | 21.74
34 | NBCT 7.12.13 | 3438 | 17.314 | -10.99 | 21.837
35 | B | 4104 | 58.078 | -4.546 | 19.725
35 | B | 4103 | 58.904 | -4.57 | 19.67
35 | B | 4100 | 58.925 | -4.555 | 19.667
35 | B | 4102 | 58.899 | -4.568 | 19.687
35 | B | 4100 | 58.905 | -4.557 | 19.716
35 | B | 1200 | 3.272 | -19.843 | 27.834
35 | B | 4161 | 21.493 | -19.601 | 26.942
35 | B | 4069 | 20.621 | -19.593 | 26.921
35 | B | 4000 | 20.193 | -19.578 | 26.9
35 | B | 3927 | 19.833 | -19.565 | 26.947
35 | B | 3874 | 19.615 | -19.615 | 26.92
35 | B | 3807 | 19.312 | -19.59 | 26.875
35 | B | 3718 | 18.923 | -19.568 | 26.93
35 | B | 3654 | 18.62 | -19.594 | 26.964
35 | B | 3591 | 18.322 | -19.616 | 26.96
35 | B | 3531 | 18.021 | -19.586 | 26.966
36 | NBWS 7.12.13 | 4096 | 58.113 | -4.582 | 19.752
36 | NBWS 7.12.13 | 4100 | 58.865 | -4.57 | 19.67
36 | NBWS 7.12.13 | 4101 | 58.884 | -4.554 | 19.657
36 | NBWS 7.12.13 | 4100 | 58.877 | -4.545 | 19.669
36 | NBWS 7.12.13 | 4099 | 58.895 | -4.569 | 19.687
36 | NBWS 7.12.13 | 741 | 2.011 | -19.962 | 28.429
36 | NBWS 7.12.13 | 911 | 3.374 | -19.803 | 26.462
36 | NBWS 7.12.13 | 2673 | 13.593 | -19.585 | 26.474
36 | NBWS 7.12.13 | 5798 | 29.97 | -13.795 | 21.278
36 | NBWS 7.12.13 | 5738 | 29.63 | -13.774 | 21.179
36 | NBWS 7.12.13 | 5618 | 28.984 | -13.737 | 21.293
36 | NBWS 7.12.13 | 5553 | 28.546 | -13.765 | 21.243
36 | NBWS 7.12.13 | 5476 | 28.103 | -13.754 | 21.257
36 | NBWS 7.12.13 | 5392 | 27.623 | -13.741 | 21.252
36 | NBWS 7.12.13 | 5251 | 26.889 | -13.746 | 21.239
36 | NBWS 7.12.13 | 5176 | 26.457 | -13.778 | 21.499
37 | NBBC 7.12.13 | 4099 | 58.057 | -4.568 | 19.722
37 | NBBC 7.12.13 | 4101 | 58.881 | -4.57 | 19.67
37 | NBBC 7.12.13 | 4096 | 58.902 | -4.57 | 19.63
37 | NBBC 7.12.13 | 4100 | 58.891 | -4.559 | 19.651
37 | NBBC 7.12.13 | 4100 | 58.917 | -4.563 | 19.664
37 | NBBC 7.12.13 | 1143 | 3.109 | -13.966 | 36.65
37 | NBBC 7.12.13 | 4035 | 20.365 | -13.824 | 21.289
37 | NBBC 7.12.13 | 2461 | 9.763 | -13.808 | 21.331
37 | NBBC 7.12.13 | 6170 | 31.338 | -10.089 | 21.954
37 | NBBC 7.12.13 | 6008 | 30.485 | -10.032 | 22.025
37 | NBBC 7.12.13 | 5912 | 30.027 | -10.012 | 22.002
37 | NBBC 7.12.13 | 5835 | 29.66 | -9.988 | 21.971
37 | NBBC 7.12.13 | 5737 | 29.22 | -9.989 | 21.996
37 | NBBC 7.12.13 | 5625 | 28.749 | -9.996 | 22.01
37 | NBBC 7.12.13 | 5516 | 28.257 | -9.997 | 22.034
37 | NBBC 7.12.13 | 5408 | 27.763 | -9.975 | 21.987
38 | NB DI 7.12.13 | 4104 | 58.122 | -4.556 | 19.706
38 | NB DI 7.12.13 | 4098 | 58.896 | -4.57 | 19.67
38 | NB DI 7.12.13 | 4100 | 58.934 | -4.567 | 19.691
38 | NB DI 7.12.13 | 4098 | 58.866 | -4.561 | 19.692
38 | NB DI 7.12.13 | 4103 | 58.925 | -4.575 | 19.698
38 | NB DI 7.12.13 | 1140 | 3.099 | -10.387 | 22.524
38 | NB DI 7.12.13 | 81 | 0.403 | -16.882 | 22.07
38 | NB DI 7.12.13 | 64 | 0.321 | -16.582 | 24.449
38 | NB DI 7.12.13 | 54 | 0.27 | -16.859 | 26.112
38 | NB DI 7.12.13 | 52 | 0.258 | -15.951 | 25.796
38 | NB DI 7.12.13 | 51 | 0.251 | -16.016 | 26.689
39 | NBBC 7.12.13 | 4103 | 58.073 | -4.558 | 19.755
39 | NBBC 7.12.13 | 4102 | 58.886 | -4.57 | 19.67
39 | NBBC 7.12.13 | 4104 | 58.906 | -4.563 | 19.677
39 | NBBC 7.12.13 | 4102 | 58.886 | -4.569 | 19.683
39 | NBBC 7.12.13 | 4101 | 58.918 | -4.572 | 19.693
39 | NBBC 7.12.13 | 6584 | 33.311 | -9.795 | 21.916
39 | NBBC 7.12.13 | 5540 | 24.932 | -9.755 | 21.95
39 | NBBC 7.12.13 | 6437 | 32.374 | -9.809 | 21.869
39 | NBBC 7.12.13 | 6288 | 31.768 | -9.866 | 21.784
39 | NBBC 7.12.13 | 6183 | 31.223 | -9.88 | 21.721
39 | NBBC 7.12.13 | 6071 | 30.742 | -9.854 | 21.722
39 | NBBC 7.12.13 | 5971 | 30.306 | -9.876 | 21.735
39 | NBBC 7.12.13 | 5781 | 29.469 | -9.871 | 21.693
39 | NBBC 7.12.13 | 5671 | 28.957 | -9.898 | 21.685
39 | NBBC 7.12.13 | 5587 | 28.578 | -9.855 | 21.721
40 | Dissolution EXP 7.17.7 0.4mL | 4101 | 58.12 | -4.557 | 19.725
40 | Dissolution EXP 7.17.7 0.4mL | 4098 | 58.861 | -4.57 | 19.67
40 | Dissolution EXP 7.17.7 0.4mL | 4101 | 58.901 | -4.596 | 19.656
40 | Dissolution EXP 7.17.7 0.4mL | 4101 | 58.902 | -4.577 | 19.674
40 | Dissolution EXP 7.17.7 0.4mL | 4102 | 58.921 | -4.584 | 19.656
40 | Dissolution EXP 7.17.7 0.4mL | 3526 | 9.836 | -4.947 | 26.864
40 | Dissolution EXP 7.17.7 0.4mL | 12339 | 66.533 | -4.794 | 26.543
40 | Dissolution EXP 7.17.7 0.4mL | 12043 | 63.538 | -4.842 | 26.533
40 | Dissolution EXP 7.17.7 0.4mL | 11865 | 62.102 | -4.809 | 26.532
40 | Dissolution EXP 7.17.7 0.4mL | 11661 | 60.906 | -4.839 | 26.567
40 | Dissolution EXP 7.17.7 0.4mL | 11548 | 60.124 | -4.806 | 26.561
40 | Dissolution EXP 7.17.7 0.4mL | 11394 | 59.176 | -4.814 | 26.521
40 | Dissolution EXP 7.17.7 0.4mL | 11228 | 58.241 | -4.819 | 26.56
40 | Dissolution EXP 7.17.7 0.4mL | 11061 | 57.226 | -4.818 | 26.54
40 | Dissolution EXP 7.17.7 0.4mL | 10892 | 56.287 | -4.803 | 26.551
40 | Dissolution EXP 7.17.7 0.4mL | 10723 | 55.377 | -4.793 | 26.539
41 | Dissolution EXP 7.17.7 1.0mL | 4103 | 58.066 | -4.567 | 19.746
41 | Dissolution EXP 7.17.7 1.0mL | 4096 | 58.862 | -4.57 | 19.67
41 | Dissolution EXP 7.17.7 1.0mL | 4098 | 58.891 | -4.587 | 19.621
41 | Dissolution EXP 7.17.7 1.0mL | 4099 | 58.89 | -4.567 | 19.685
41 | Dissolution EXP 7.17.7 1.0mL | 4097 | 58.904 | -4.559 | 19.669
41 | Dissolution EXP 7.17.7 1.0mL | 2262 | 6.234 | -5.109 | 26.452
41 | Dissolution EXP 7.17.7 1.0mL | 101 | 0.533 | -7.887 | 21.9
42 | Dissolution EXP 7.11.7 0.4mL | 4102 | 58.104 | -4.605 | 19.695
42 | Dissolution EXP 7.11.7 0.4mL | 4100 | 58.885 | -4.57 | 19.67
42 | Dissolution EXP 7.11.7 0.4mL | 4099 | 58.876 | -4.58 | 19.676
42 | Dissolution EXP 7.11.7 0.4mL | 4100 | 58.892 | -4.576 | 19.666
42 | Dissolution EXP 7.11.7 0.4mL | 4094 | 58.893 | -4.591 | 19.661
42 | Dissolution EXP 7.11.7 0.4mL | 1016 | 2.772 | -2.894 | 28.975
42 | Dissolution EXP 7.11.7 0.4mL | 3557 | 18.738 | -2.679 | 26.744
42 | Dissolution EXP 7.11.7 0.4mL | 3489 | 18.002 | -2.64 | 26.801
42 | Dissolution EXP 7.11.7 0.4mL | 3432 | 17.577 | -2.688 | 26.82
42 | Dissolution EXP 7.11.7 0.4mL | 3377 | 17.24 | -2.632 | 26.817
42 | Dissolution EXP 7.11.7 0.4mL | 3342 | 17.015 | -2.676 | 26.836
42 | Dissolution EXP 7.11.7 0.4mL | 3300 | 16.749 | -2.695 | 26.848
42 | Dissolution EXP 7.11.7 0.4mL | 3251 | 16.479 | -2.645 | 26.791
42 | Dissolution EXP 7.11.7 0.4mL | 3200 | 16.191 | -2.691 | 26.789
42 | Dissolution EXP 7.11.7 0.4mL | 3150 | 15.919 | -2.645 | 26.77
42 | Dissolution EXP 7.11.7 0.4mL | 3098 | 15.648 | -2.64 | 26.776
43 | Dissolution EXP 7.11.7 1.0mL | 4099 | 58.053 | -4.514 | 19.761
43 | Dissolution EXP 7.11.7 1.0mL | 4099 | 58.86 | -4.57 | 19.67
43 | Dissolution EXP 7.11.7 1.0mL | 4102 | 58.876 | -4.588 | 19.675
43 | Dissolution EXP 7.11.7 1.0mL | 4097 | 58.834 | -4.558 | 19.655
43 | Dissolution EXP 7.11.7 1.0mL | 4101 | 58.855 | -4.574 | 19.687
43 | Dissolution EXP 7.11.7 1.0mL | 3530 | 9.872 | -2.431 | 29.245
43 | Dissolution EXP 7.11.7 1.0mL | 12933 | 67.439 | -2.42 | 26.884
43 | Dissolution EXP 7.11.7 1.0mL | 12719 | 66.176 | -2.462 | 26.875
43 | Dissolution EXP 7.11.7 1.0mL | 12439 | 64.602 | -2.453 | 26.838
43 | Dissolution EXP 7.11.7 1.0mL | 12298 | 63.652 | -2.466 | 26.871
43 | Dissolution EXP 7.11.7 1.0mL | 12175 | 62.853 | -2.464 | 26.865
43 | Dissolution EXP 7.11.7 1.0mL | 12025 | 61.852 | -2.454 | 26.871
43 | Dissolution EXP 7.11.7 1.0mL | 11849 | 60.812 | -2.473 | 26.901
43 | Dissolution EXP 7.11.7 1.0mL | 11644 | 59.738 | -2.458 | 26.882
43 | Dissolution EXP 7.11.7 1.0mL | 11452 | 58.722 | -2.453 | 26.876
43 | Dissolution EXP 7.11.7 1.0mL | 11246 | 57.699 | -2.453 | 26.874
44 | B | 4102 | 58.119 | -4.582 | 19.688
44 | B | 4102 | 58.885 | -4.57 | 19.67
44 | B | 4102 | 58.897 | -4.566 | 19.628
44 | B | 4099 | 58.833 | -4.577 | 19.67
44 | B | 4101 | 58.891 | -4.568 | 19.656
44 | B | 1134 | 3.106 | -19.931 | 28.458
44 | B | 3975 | 20.922 | -19.566 | 27.038
44 | B | 3863 | 19.927 | -19.604 | 27.049
44 | B | 3793 | 19.452 | -19.613 | 27.05
44 | B | 3735 | 19.104 | -19.62 | 27.062
44 | B | 3697 | 18.862 | -19.601 | 27.059
44 | B | 3645 | 18.549 | -19.634 | 27.01
44 | B | 3586 | 18.236 | -19.629 | 27.056
44 | B | 3534 | 17.944 | -19.636 | 27.062
44 | B | 3477 | 17.63 | -19.58 | 26.984
44 | B | 3422 | 17.33 | -19.647 | 27.026
45 | C | 4097 | 58.036 | -4.557 | 19.681
45 | C | 4100 | 58.885 | -4.57 | 19.67
45 | C | 4096 | 58.854 | -4.59 | 19.619
45 | C | 4098 | 58.858 | -4.585 | 19.655
45 | C | 4098 | 58.872 | -4.586 | 19.665
45 | C | 2199 | 6.058 | -19.713 | 27.651
45 | C | 7654 | 39.655 | -19.651 | 26.985
45 | C | 7495 | 38.422 | -19.63 | 27.001
45 | C | 7367 | 37.628 | -19.64 | 27.012
45 | C | 7279 | 37.091 | -19.612 | 27.004
45 | C | 7192 | 36.552 | -19.627 | 27.006
45 | C | 7096 | 35.951 | -19.643 | 27.006
45 | C | 6990 | 35.352 | -19.647 | 26.984
45 | C | 6882 | 34.755 | -19.662 | 26.964
45 | C | 6784 | 34.212 | -19.626 | 26.984
45 | C | 6685 | 33.678 | -19.596 | 26.976
46 | D | 4099 | 58.049 | -4.557 | 19.68
46 | D | 4099 | 58.897 | -4.57 | 19.67
46 | D | 4100 | 58.88 | -4.57 | 19.654
46 | D | 4099 | 58.85 | -4.571 | 19.663
46 | D | 4099 | 58.891 | -4.575 | 19.666
46 | D | 2276 | 6.3 | -19.818 | 27.813
46 | D | 7954 | 42.203 | -19.604 | 27.059
46 | D | 7734 | 40.327 | -19.652 | 27.048
46 | D | 7593 | 39.368 | -19.603 | 27.061
46 | D | 7463 | 38.644 | -19.613 | 27.053
46 | D | 7381 | 38.159 | -19.6 | 27.047
46 | D | 7277 | 37.568 | -19.629 | 27.036
46 | D | 3157 | 12.043 | -19.679 | 26.96
46 | D | 6624 | 32.282 | -19.557 | 27.183
46 | D | 7074 | 36.225 | -19.621 | 27.078
46 | D | 6905 | 35.437 | -19.617 | 27.081
47 | E | 4103 | 58.027 | -4.572 | 19.682
47 | E | 4095 | 58.879 | -4.57 | 19.67
47 | E | 4099 | 58.876 | -4.569 | 19.664
47 | E | 4101 | 58.856 | -4.581 | 19.625
47 | E | 4098 | 58.889 | -4.601 | 19.673
47 | E | 4393 | 12.386 | -19.747 | 27.25
47 | E | 15170 | 81.975 | -19.649 | 26.884
47 | E | 14807 | 78.312 | -19.667 | 26.874
47 | E | 14569 | 76.579 | -19.636 | 26.909
47 | E | 14342 | 75.213 | -19.63 | 26.912
47 | E | 14176 | 74.2 | -19.632 | 26.917
47 | E | 13916 | 72.728 | -19.635 | 26.873
47 | E | 13792 | 71.815 | -19.621 | 26.921
47 | E | 13631 | 70.773 | -19.651 | 26.916
47 | E | 13430 | 69.606 | -19.631 | 26.925
47 | E | 13260 | 68.415 | -19.632 | 26.921