## Data Export
ID | Date Analyzed | Run # | Sample ID | Volume | Type | peak area | δ13C (PDB) | δ13C error (1σ) | Analyst | Researcher | Reaction Temperature (°C) | Reaction Time (hours) | Notes | Notes II
WC6 2 2.27.14 | 2014-03-04 | 7 | WC6 2 2.27.14 | 0.4 |  | 18.705 | -10.5858 | 0.019675 | Peter Carlson |  | 40 | 8
WC3 2.27.14 | 2014-03-04 | 8 | WC3 2.27.14 | 0.4 |  | 23.111 | -10.7597 | 0.019675 | Peter Carlson |  | 40 | 8
WC Spring 2 2.27.14 | 2014-03-04 | 9 | WC Spring 2 2.27.14 | 0.4 |  | 23.255 | -11.6663 | 0.019675 | Peter Carlson |  | 40 | 8
WC 6 1 2.27.14 | 2014-03-04 | 10 | WC 6 1 2.27.14 | 0.4 |  | 19.939 | -10.3389 | 0.019675 | Peter Carlson |  | 40 | 8
WC Spring 1 2.27.14 | 2014-03-04 | 11 | WC Spring 1 2.27.14 | 0.4 |  | 26.219 | -11.7268 | 0.019675 | Peter Carlson |  | 40 | 8

## Calibration
Gas Bench DIC Calibration
|  |  | Date: | 2014-03-04
|  |  | Operator: | Peter Carlson
Calibration Notes
|  |  | d13C max stdev: | 0.2
|  |  | Peaks used: | Last Two
|  |  | Blank Correction: | No (No Peaks)
|  |  | Linearity Correction: | Yes (Auto)
|  |  | Drift Correction: | Yes (Auto)
Standard
|  |  | Name | mg NaHCO3 | mL H2O | mmol/L NaHCO3 | mg/L C | mg/L HCO3 | µg C | Area 44 | δ13C
|  |  | A | 40.334 | 500 | 0.96026 | 11.5334 | 58.5919 | #DIV/0!
|  |  | B | 50.206 | 250 | 2.3906 | 28.7125 | 145.8652 | #DIV/0!
|  |  | C | 80.548 | 250 | 3.8353 | 46.0648 | 234.0189 | 32.2454 | 18.7465 | -19.1241
|  |  | D | 99.722 | 250 | 4.7483 | 57.0303 | 289.7257 | 39.9212 | 22.8985 | -19.1226
|  |  | E | 198.174 | 250 | 9.4361 | 113.3343 | 575.7617 | 79.334 | 46.1105 | -19.1233
|  |  | F | 29.964 | 250 | 1.4267 | 17.1362 | 87.0554 | #DIV/0!
|  |  | Calibration | slope | intercept |  | linearity | drift | standard
|  |  | carbon | #DIV/0! | #DIV/0! |  | -0.0013259 | -0.0052593 | -0.31669
ALL | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | STD-Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
1 | A | 0.7 | 1090 | 4.805 | -18.631 | 24.8725 | 0.0070711 | 0.030406 | 4.805 | -18.631 |  | -18.6246 | -18.6246 | -18.9413 | #DIV/0! | #DIV/0!
2 | F | 0.7 | 1588 | 7 | -19.129 | 25.0255 | 0.029698 | 0.070004 | 7 | -19.129 |  | -19.1197 | -19.1145 | -19.4312 | #DIV/0! | #DIV/0!
3 | B | 0.7 | 2592 | 11.403 | -19.196 | 25.005 | 0.035355 | 0.0070711 | 11.403 | -19.196 |  | -19.1809 | -19.1704 | -19.4871 | #DIV/0! | #DIV/0!
4 | C | 0.7 | 4179 | 18.639 | -19.1455 | 24.984 | 0.026163 | 0.019799 | 18.639 | -19.1455 |  | -19.1208 | -19.105 | -19.4217 | #DIV/0! | #DIV/0!
5 | D | 0.7 | 5163 | 22.962 | -19.18 | 24.8735 | 0.043841 | 0.0091924 | 22.962 | -19.18 |  | -19.1496 | -19.1285 | -19.4452 | #DIV/0! | #DIV/0!
6 | E | 0.7 | 10188 | 46.071 | -19.2345 | 25.466 | 0.0021213 | 0.0042426 | 46.071 | -19.2345 |  | -19.1734 | -19.1471 | -19.4638 | #DIV/0! | #DIV/0!
7 | WC6 2 2.27.14 | 0.4 | 4201 | 18.705 | -10.3255 | 20.08 | 0.024749 | 0.048083 | 18.705 | -10.3255 |  | -10.3007 | -10.2691 | -10.5858 | #DIV/0! | #DIV/0!
8 | WC3 2.27.14 | 0.4 | 5194 | 23.111 | -10.5105 | 21.27 | 0.020506 | 0.057983 | 23.111 | -10.5105 |  | -10.4799 | -10.443 | -10.7597 | #DIV/0! | #DIV/0!
9 | WC Spring 2 2.27.14 | 0.4 | 5203 | 23.255 | -11.4225 | 20.0535 | 0.037477 | 0.026163 | 23.255 | -11.4225 |  | -11.3917 | -11.3496 | -11.6663 | #DIV/0! | #DIV/0!
10 | WC 6 1 2.27.14 | 0.4 | 4482 | 19.939 | -10.096 | 20.6785 | 0.015556 | 0.0077782 | 19.939 | -10.096 |  | -10.0696 | -10.0222 | -10.3389 | #DIV/0! | #DIV/0!
11 | WC Spring 1 2.27.14 | 0.4 | 5893 | 26.219 | -11.4975 | 20.381 | 0.0091924 | 0.021213 | 26.219 | -11.4975 |  | -11.4627 | -11.4101 | -11.7268 | #DIV/0! | #DIV/0!
12 | E | 0.7 | 10132 | 46.15 | -19.2185 | 25.865 | 0.006364 | 0.0056569 | 46.15 | -19.2185 |  | -19.1573 | -19.0995 | -19.4162 | #DIV/0! | #DIV/0!
13 | D | 0.7 | 5131 | 22.835 | -19.21 | 26.007 | 0.03677 | 0.0014142 | 22.835 | -19.21 |  | -19.1797 | -19.1166 | -19.4333 | #DIV/0! | #DIV/0!
14 | C | 0.7 | 4257 | 18.854 | -19.2365 | 25.9645 | 0.006364 | 0.013435 | 18.854 | -19.2365 |  | -19.2115 | -19.1431 | -19.4598 | #DIV/0! | #DIV/0!
15 | B | 0.7 | 2622 | 11.618 | -19.1835 | 26.1555 | 0.019092 | 0.0091924 | 11.618 | -19.1835 |  | -19.1681 | -19.0945 | -19.4112 | #DIV/0! | #DIV/0!
16 | F | 0.7 | 1572 | 6.915 | -19.1295 | 26.0635 | 0.03182 | 0.010607 | 6.915 | -19.1295 |  | -19.1203 | -19.0414 | -19.3581 | #DIV/0! | #DIV/0!
17 | A | 0.7 | 1080 | 4.768 | -19.0115 | 26.3755 | 0.027577 | 0.041719 | 4.768 | -19.0115 |  | -19.0052 | -18.921 | -19.2377 | #DIV/0! | #DIV/0!
BLANKS | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
Used Standards | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
4 | C | 0.7 | 4179 | 18.639 | -19.1455 | 24.984 | 0.026163 | 0.019799 | 18.639 | -19.1455 |  | -19.1208 | -19.105 | -19.4217 | #DIV/0! | #DIV/0!
14 | C | 0.7 | 4257 | 18.854 | -19.2365 | 25.9645 | 0.006364 | 0.013435 | 18.854 | -19.2365 |  | -19.2115 | -19.1431 | -19.4598 | #DIV/0! | #DIV/0!
5 | D | 0.7 | 5163 | 22.962 | -19.18 | 24.8735 | 0.043841 | 0.0091924 | 22.962 | -19.18 |  | -19.1496 | -19.1285 | -19.4452 | #DIV/0! | #DIV/0!
13 | D | 0.7 | 5131 | 22.835 | -19.21 | 26.007 | 0.03677 | 0.0014142 | 22.835 | -19.21 |  | -19.1797 | -19.1166 | -19.4333 | #DIV/0! | #DIV/0!
6 | E | 0.7 | 10188 | 46.071 | -19.2345 | 25.466 | 0.0021213 | 0.0042426 | 46.071 | -19.2345 |  | -19.1734 | -19.1471 | -19.4638 | #DIV/0! | #DIV/0!
12 | E | 0.7 | 10132 | 46.15 | -19.2185 | 25.865 | 0.006364 | 0.0056569 | 46.15 | -19.2185 |  | -19.1573 | -19.0995 | -19.4162 | #DIV/0! | #DIV/0!

## Run Log
Row | Name | Volume | Notes | Var5 | Var6 | Var7 | Var8
1 | A | 0.7 | No blank |  | Standards | mg NaHCO32 | mL H20
2 | F | 0.7 |  |  | A | 40.334 | 500
3 | B | 0.7 |  |  | B | 50.206 | 250
4 | C | 0.7 |  |  | C | 80.548 | 250
5 | D | 0.7 |  |  | D | 99.722 | 250
6 | E | 0.7 |  |  | E | 198.174 | 250
7 | WC6 2 2.27.14 | 0.4 |  |  | F | 29.964 | 250
8 | WC3 2.27.14 | 0.4
9 | WC Spring 2 2.27.14 | 0.4
10 | WC 6 1 2.27.14 | 0.4
11 | WC Spring 1 2.27.14 | 0.4
12 | E | 0.7
13 | D | 0.7
14 | C | 0.7
15 | B | 0.7
16 | F | 0.7
17 | A | 0.7

## gasbenchCO2template.wke
Row | Identifier1 | Ampl44 | Area44 | d13C_12C | d18O_16O
1 | A | 3649 | 51.648 | -4.534 | 19.732
1 | A | 3647 | 52.362 | -4.57 | 19.67
1 | A | 3646 | 52.362 | -4.561 | 19.633
1 | A | 3648 | 52.392 | -4.565 | 19.647
1 | A | 3645 | 52.34 | -4.573 | 19.67
1 | A | 587 | 1.453 | -18.855 | 21.093
1 | A | 1791 | 7.883 | -18.688 | 24.872
1 | A | 1671 | 7.334 | -18.733 | 24.807
1 | A | 1572 | 6.9 | -18.69 | 24.849
1 | A | 1478 | 6.494 | -18.65 | 24.879
1 | A | 1394 | 6.121 | -18.697 | 24.738
1 | A | 1312 | 5.769 | -18.703 | 24.834
1 | A | 1234 | 5.426 | -18.771 | 24.795
1 | A | 1162 | 5.115 | -18.698 | 24.73
1 | A | 1090 | 4.805 | -18.626 | 24.894
1 | A | 1028 | 4.53 | -18.636 | 24.851
2 | F | 3647 | 51.645 | -4.589 | 19.769
2 | F | 3646 | 52.371 | -4.57 | 19.67
2 | F | 3645 | 52.343 | -4.582 | 19.689
2 | F | 3647 | 52.336 | -4.583 | 19.707
2 | F | 3644 | 52.351 | -4.562 | 19.667
2 | F | 900 | 2.234 | -18.931 | 27.573
2 | F | 2681 | 11.877 | -19.029 | 25.252
2 | F | 2468 | 10.932 | -19.067 | 25.078
2 | F | 2320 | 10.267 | -19.091 | 25.214
2 | F | 2178 | 9.631 | -19.049 | 25.052
2 | F | 2041 | 9.025 | -19.056 | 25.182
2 | F | 1920 | 8.478 | -19.079 | 25.187
2 | F | 1802 | 7.957 | -19.083 | 25.173
2 | F | 1692 | 7.463 | -19.059 | 25.134
2 | F | 1588 | 7 | -19.108 | 25.075
2 | F | 1482 | 6.53 | -19.15 | 24.976
3 | B | 3645 | 51.651 | -4.572 | 19.718
3 | B | 3649 | 52.398 | -4.57 | 19.67
3 | B | 3645 | 52.372 | -4.549 | 19.618
3 | B | 3650 | 52.404 | -4.576 | 19.625
3 | B | 3647 | 52.373 | -4.551 | 19.637
3 | B | 1414 | 3.531 | -19.201 | 23.706
3 | B | 4282 | 18.971 | -19.08 | 25.143
3 | B | 3974 | 17.576 | -19.148 | 25.082
3 | B | 3739 | 16.534 | -19.123 | 25.114
3 | B | 3515 | 15.541 | -19.137 | 25.041
3 | B | 3308 | 14.605 | -19.163 | 25.044
3 | B | 3111 | 13.727 | -19.13 | 25.036
3 | B | 2926 | 12.894 | -19.142 | 25.077
3 | B | 2755 | 12.126 | -19.162 | 25.034
3 | B | 2592 | 11.403 | -19.171 | 25.01
3 | B | 2441 | 10.724 | -19.221 | 25
4 | C | 3649 | 51.678 | -4.548 | 19.733
4 | C | 3649 | 52.411 | -4.57 | 19.67
4 | C | 3649 | 52.362 | -4.58 | 19.651
4 | C | 3651 | 52.398 | -4.575 | 19.621
4 | C | 3649 | 52.386 | -4.596 | 19.675
4 | C | 2319 | 5.873 | -19.016 | 26.453
4 | C | 6978 | 31.352 | -19.12 | 25.114
4 | C | 6469 | 29.05 | -19.155 | 25.048
4 | C | 6080 | 27.277 | -19.113 | 25.064
4 | C | 5710 | 25.636 | -19.117 | 25.027
4 | C | 5360 | 24.047 | -19.172 | 24.994
4 | C | 5042 | 22.569 | -19.15 | 25.028
4 | C | 4734 | 21.159 | -19.142 | 25.023
4 | C | 4450 | 19.864 | -19.166 | 24.991
4 | C | 4179 | 18.639 | -19.127 | 24.97
4 | C | 3929 | 17.497 | -19.164 | 24.998
5 | D | 3652 | 51.702 | -4.588 | 19.748
5 | D | 3656 | 52.426 | -4.57 | 19.67
5 | D | 3650 | 52.41 | -4.566 | 19.649
5 | D | 3649 | 52.445 | -4.556 | 19.642
5 | D | 3648 | 52.407 | -4.566 | 19.674
5 | D | 2809 | 7.118 | -18.978 | 25.985
5 | D | 8596 | 38.747 | -19.128 | 25.047
5 | D | 7982 | 35.899 | -19.182 | 24.976
5 | D | 7501 | 33.678 | -19.208 | 24.898
5 | D | 7067 | 31.695 | -19.199 | 24.92
5 | D | 6664 | 29.839 | -19.194 | 24.924
5 | D | 6270 | 28.025 | -19.19 | 24.902
5 | D | 5868 | 26.177 | -19.243 | 24.891
5 | D | 5497 | 24.507 | -19.22 | 24.915
5 | D | 5163 | 22.962 | -19.149 | 24.88
5 | D | 4837 | 21.51 | -19.211 | 24.867
6 | E | 3649 | 51.733 | -4.535 | 19.7
6 | E | 3652 | 52.444 | -4.57 | 19.67
6 | E | 3655 | 52.465 | -4.562 | 19.643
6 | E | 3653 | 52.458 | -4.566 | 19.652
6 | E | 3649 | 52.448 | -4.548 | 19.625
6 | E | 5264 | 13.953 | -19.199 | 25.487
6 | E | 16286 | 76.666 | -19.125 | 25.577
6 | E | 15232 | 71.055 | -19.173 | 25.482
6 | E | 14492 | 67.16 | -19.181 | 25.504
6 | E | 13699 | 63.095 | -19.163 | 25.479
6 | E | 12983 | 59.494 | -19.185 | 25.51
6 | E | 12212 | 55.776 | -19.221 | 25.491
6 | E | 11502 | 52.29 | -19.211 | 25.479
6 | E | 10821 | 49.036 | -19.226 | 25.457
6 | E | 10188 | 46.071 | -19.236 | 25.469
6 | E | 9547 | 43.109 | -19.233 | 25.463
7 | WC6 2 2.27.14 | 3649 | 51.739 | -4.571 | 19.683
7 | WC6 2 2.27.14 | 3655 | 52.472 | -4.57 | 19.67
7 | WC6 2 2.27.14 | 3650 | 52.443 | -4.566 | 19.64
7 | WC6 2 2.27.14 | 3654 | 52.485 | -4.566 | 19.656
7 | WC6 2 2.27.14 | 3653 | 52.474 | -4.534 | 19.678
7 | WC6 2 2.27.14 | 2358 | 5.975 | -10.017 | 21.779
7 | WC6 2 2.27.14 | 6918 | 31.107 | -10.304 | 20.203
7 | WC6 2 2.27.14 | 6442 | 28.938 | -10.304 | 20.176
7 | WC6 2 2.27.14 | 6051 | 27.153 | -10.285 | 20.188
7 | WC6 2 2.27.14 | 5691 | 25.507 | -10.35 | 20.089
7 | WC6 2 2.27.14 | 5352 | 23.975 | -10.326 | 20.115
7 | WC6 2 2.27.14 | 5040 | 22.54 | -10.31 | 20.102
7 | WC6 2 2.27.14 | 4741 | 21.17 | -10.326 | 20.142
7 | WC6 2 2.27.14 | 4464 | 19.892 | -10.34 | 20.142
7 | WC6 2 2.27.14 | 4201 | 18.705 | -10.343 | 20.046
7 | WC6 2 2.27.14 | 3952 | 17.586 | -10.308 | 20.114
8 | WC3 2.27.14 | 3657 | 51.792 | -4.59 | 19.702
8 | WC3 2.27.14 | 3659 | 52.521 | -4.57 | 19.67
8 | WC3 2.27.14 | 3657 | 52.504 | -4.583 | 19.701
8 | WC3 2.27.14 | 3657 | 52.513 | -4.584 | 19.641
8 | WC3 2.27.14 | 3653 | 52.479 | -4.57 | 19.672
8 | WC3 2.27.14 | 2872 | 7.316 | -10.239 | 22.166
8 | WC3 2.27.14 | 8662 | 39.016 | -10.409 | 21.416
8 | WC3 2.27.14 | 7977 | 35.842 | -10.478 | 21.237
8 | WC3 2.27.14 | 7494 | 33.632 | -10.517 | 21.225
8 | WC3 2.27.14 | 7054 | 31.578 | -10.471 | 21.228
8 | WC3 2.27.14 | 6638 | 29.692 | -10.525 | 21.269
8 | WC3 2.27.14 | 6241 | 27.892 | -10.47 | 21.265
8 | WC3 2.27.14 | 5874 | 26.197 | -10.495 | 21.241
8 | WC3 2.27.14 | 5527 | 24.593 | -10.496 | 21.245
8 | WC3 2.27.14 | 5194 | 23.111 | -10.496 | 21.311
8 | WC3 2.27.14 | 4886 | 21.697 | -10.525 | 21.229
9 | WC Spring 2 2.27.14 | 3656 | 51.757 | -4.534 | 19.73
9 | WC Spring 2 2.27.14 | 3655 | 52.531 | -4.57 | 19.67
9 | WC Spring 2 2.27.14 | 3655 | 52.499 | -4.57 | 19.648
9 | WC Spring 2 2.27.14 | 3651 | 52.506 | -4.547 | 19.674
9 | WC Spring 2 2.27.14 | 3654 | 52.463 | -4.564 | 19.675
9 | WC Spring 2 2.27.14 | 2997 | 7.621 | -11.169 | 20.49
9 | WC Spring 2 2.27.14 | 8504 | 38.122 | -11.391 | 20.065
9 | WC Spring 2 2.27.14 | 7981 | 35.654 | -11.401 | 20.051
9 | WC Spring 2 2.27.14 | 7524 | 33.596 | -11.399 | 20.021
9 | WC Spring 2 2.27.14 | 7107 | 31.73 | -11.434 | 20.045
9 | WC Spring 2 2.27.14 | 6699 | 29.923 | -11.411 | 20.085
9 | WC Spring 2 2.27.14 | 6281 | 28.07 | -11.409 | 20.031
9 | WC Spring 2 2.27.14 | 5901 | 26.353 | -11.417 | 20.04
9 | WC Spring 2 2.27.14 | 5531 | 24.749 | -11.44 | 20.035
9 | WC Spring 2 2.27.14 | 5203 | 23.255 | -11.396 | 20.072
9 | WC Spring 2 2.27.14 | 4891 | 21.875 | -11.449 | 20.035
10 | WC 6 1 2.27.14 | 3655 | 51.797 | -4.558 | 19.704
10 | WC 6 1 2.27.14 | 3656 | 52.511 | -4.57 | 19.67
10 | WC 6 1 2.27.14 | 3655 | 52.499 | -4.568 | 19.613
10 | WC 6 1 2.27.14 | 3661 | 52.557 | -4.575 | 19.631
10 | WC 6 1 2.27.14 | 3657 | 52.527 | -4.563 | 19.658
10 | WC 6 1 2.27.14 | 2456 | 6.204 | -9.985 | 21.772
10 | WC 6 1 2.27.14 | 7333 | 32.987 | -10.07 | 20.807
10 | WC 6 1 2.27.14 | 6804 | 30.52 | -10.124 | 20.673
10 | WC 6 1 2.27.14 | 6429 | 28.82 | -10.083 | 20.704
10 | WC 6 1 2.27.14 | 6054 | 27.123 | -10.126 | 20.699
10 | WC 6 1 2.27.14 | 5703 | 25.495 | -10.107 | 20.716
10 | WC 6 1 2.27.14 | 5357 | 23.947 | -10.156 | 20.682
10 | WC 6 1 2.27.14 | 5055 | 22.533 | -10.111 | 20.669
10 | WC 6 1 2.27.14 | 4758 | 21.192 | -10.148 | 20.708
10 | WC 6 1 2.27.14 | 4482 | 19.939 | -10.085 | 20.673
10 | WC 6 1 2.27.14 | 4221 | 18.753 | -10.107 | 20.684
11 | WC Spring 1 2.27.14 | 3660 | 51.838 | -4.561 | 19.743
11 | WC Spring 1 2.27.14 | 3659 | 52.53 | -4.57 | 19.67
11 | WC Spring 1 2.27.14 | 3658 | 52.559 | -4.57 | 19.629
11 | WC Spring 1 2.27.14 | 3658 | 52.554 | -4.552 | 19.641
11 | WC Spring 1 2.27.14 | 3658 | 52.543 | -4.562 | 19.685
11 | WC Spring 1 2.27.14 | 3122 | 7.955 | -11.39 | 20.568
11 | WC Spring 1 2.27.14 | 9356 | 42.231 | -11.456 | 20.406
11 | WC Spring 1 2.27.14 | 8728 | 39.312 | -11.531 | 20.317
11 | WC Spring 1 2.27.14 | 8245 | 37.072 | -11.516 | 20.284
11 | WC Spring 1 2.27.14 | 7808 | 35.036 | -11.529 | 20.324
11 | WC Spring 1 2.27.14 | 7377 | 33.045 | -11.525 | 20.277
11 | WC Spring 1 2.27.14 | 6969 | 31.18 | -11.551 | 20.36
11 | WC Spring 1 2.27.14 | 6599 | 29.468 | -11.508 | 20.347
11 | WC Spring 1 2.27.14 | 6240 | 27.803 | -11.517 | 20.377
11 | WC Spring 1 2.27.14 | 5893 | 26.219 | -11.491 | 20.396
11 | WC Spring 1 2.27.14 | 5566 | 24.732 | -11.504 | 20.366
12 | E | 3660 | 51.819 | -4.583 | 19.717
12 | E | 3664 | 52.61 | -4.57 | 19.67
12 | E | 3659 | 52.546 | -4.611 | 19.654
12 | E | 3662 | 52.587 | -4.597 | 19.642
12 | E | 3661 | 52.553 | -4.591 | 19.655
12 | E | 5442 | 14.374 | -19.059 | 26.494
12 | E | 16399 | 77.279 | -19.084 | 25.891
12 | E | 15373 | 71.72 | -19.2 | 25.758
12 | E | 14604 | 67.861 | -19.184 | 25.852
12 | E | 13743 | 63.642 | -19.168 | 25.831
12 | E | 12924 | 59.652 | -19.167 | 25.848
12 | E | 12166 | 55.908 | -19.221 | 25.829
12 | E | 11441 | 52.413 | -19.18 | 25.853
12 | E | 10758 | 49.188 | -19.186 | 25.867
12 | E | 10132 | 46.15 | -19.214 | 25.861
12 | E | 9535 | 43.305 | -19.223 | 25.869
13 | D | 3661 | 51.841 | -4.59 | 19.791
13 | D | 3661 | 52.553 | -4.57 | 19.67
13 | D | 3661 | 52.565 | -4.575 | 19.698
13 | D | 3664 | 52.591 | -4.575 | 19.671
13 | D | 3661 | 52.589 | -4.563 | 19.701
13 | D | 2715 | 6.896 | -19.093 | 26.795
13 | D | 8431 | 38.113 | -19.155 | 26.178
13 | D | 7900 | 35.562 | -19.161 | 26.175
13 | D | 7431 | 33.39 | -19.208 | 26.147
13 | D | 6985 | 31.361 | -19.174 | 26.137
13 | D | 6566 | 29.428 | -19.188 | 26.14
13 | D | 6178 | 27.619 | -19.184 | 26.095
13 | D | 5807 | 25.924 | -19.213 | 26.045
13 | D | 5456 | 24.345 | -19.19 | 26.072
13 | D | 5131 | 22.835 | -19.236 | 26.008
13 | D | 4818 | 21.45 | -19.184 | 26.006
14 | C | 3661 | 51.844 | -4.587 | 19.664
14 | C | 3663 | 52.609 | -4.57 | 19.67
14 | C | 3662 | 52.572 | -4.599 | 19.644
14 | C | 3662 | 52.612 | -4.58 | 19.649
14 | C | 3661 | 52.592 | -4.576 | 19.627
14 | C | 2265 | 5.709 | -19.184 | 25.384
14 | C | 6942 | 31.101 | -19.139 | 26.062
14 | C | 6498 | 28.988 | -19.174 | 26.037
14 | C | 6129 | 27.273 | -19.188 | 26.037
14 | C | 5771 | 25.643 | -19.198 | 25.997
14 | C | 5431 | 24.094 | -19.217 | 25.953
14 | C | 5110 | 22.662 | -19.198 | 25.964
14 | C | 4810 | 21.322 | -19.247 | 25.944
14 | C | 4530 | 20.051 | -19.227 | 25.981
14 | C | 4257 | 18.854 | -19.241 | 25.955
14 | C | 4001 | 17.737 | -19.232 | 25.974
15 | B | 3659 | 51.842 | -4.556 | 19.707
15 | B | 3660 | 52.565 | -4.57 | 19.67
15 | B | 3662 | 52.569 | -4.584 | 19.646
15 | B | 3663 | 52.586 | -4.568 | 19.661
15 | B | 3661 | 52.553 | -4.581 | 19.66
15 | B | 1416 | 3.538 | -19.011 | 27.865
15 | B | 4353 | 19.497 | -19.133 | 26.253
15 | B | 4035 | 18.029 | -19.149 | 26.207
15 | B | 3802 | 16.961 | -19.171 | 26.204
15 | B | 3581 | 15.948 | -19.128 | 26.112
15 | B | 3363 | 14.967 | -19.16 | 26.183
15 | B | 3158 | 14.053 | -19.152 | 26.156
15 | B | 2970 | 13.187 | -19.154 | 26.184
15 | B | 2788 | 12.364 | -19.186 | 26.087
15 | B | 2622 | 11.618 | -19.17 | 26.149
15 | B | 2466 | 10.919 | -19.197 | 26.162
16 | F | 3663 | 51.852 | -4.557 | 19.785
16 | F | 3667 | 52.631 | -4.57 | 19.67
16 | F | 3664 | 52.64 | -4.571 | 19.671
16 | F | 3666 | 52.649 | -4.575 | 19.652
16 | F | 3661 | 52.592 | -4.569 | 19.692
16 | F | 883 | 2.197 | -19.16 | 26.041
16 | F | 2630 | 11.642 | -19.006 | 26.26
16 | F | 2459 | 10.853 | -19.073 | 26.22
16 | F | 2297 | 10.14 | -19.066 | 26.067
16 | F | 2157 | 9.519 | -19.107 | 26.129
16 | F | 2027 | 8.932 | -19.132 | 26.206
16 | F | 1901 | 8.376 | -19.14 | 26.119
16 | F | 1786 | 7.865 | -19.103 | 26.168
16 | F | 1676 | 7.37 | -19.107 | 26.079
16 | F | 1572 | 6.915 | -19.107 | 26.071
16 | F | 1478 | 6.491 | -19.152 | 26.056
17 | A | 3664 | 51.902 | -4.542 | 19.784
17 | A | 3664 | 52.643 | -4.57 | 19.67
17 | A | 3663 | 52.62 | -4.562 | 19.687
17 | A | 3669 | 52.664 | -4.553 | 19.704
17 | A | 3668 | 52.638 | -4.531 | 19.661
17 | A | 588 | 1.463 | -18.847 | 23.352
17 | A | 1782 | 7.841 | -18.875 | 26.562
17 | A | 1663 | 7.298 | -18.959 | 26.499
17 | A | 1568 | 6.879 | -18.908 | 26.607
17 | A | 1473 | 6.472 | -18.919 | 26.46
17 | A | 1386 | 6.091 | -18.934 | 26.392
17 | A | 1302 | 5.733 | -18.94 | 26.42
17 | A | 1223 | 5.391 | -18.999 | 26.223
17 | A | 1151 | 5.071 | -18.997 | 26.359
17 | A | 1080 | 4.768 | -19.031 | 26.346
17 | A | 1016 | 4.485 | -18.992 | 26.405