## Calibration
Gas Bench DIC Calibration
|  |  | Date: | 2014-05-06
|  |  | Operator: | Peter Carlson
Calibration Notes
|  |  | d13C max stdev: | 0.2
|  |  | Peaks used: | Last Two
|  |  | Blank Correction: | No (No Peaks)
|  |  | Linearity Correction: | Yes (Auto)
|  |  | Drift Correction: | Yes (Auto)
Standard
|  |  | Name | mg NaHCO3 | mL H2O | mmol/L NaHCO3 | mg/L C | mg/L HCO3 | µg C | Area 44 | δ13C
|  |  | A-reflushed | 20.172 | 250 | 0.9605 | 11.5362 | 58.6064 | 4.6145 | 2.311 | -11.0652
|  |  | B-reflushed | 48.332 | 250 | 2.3013 | 27.6407 | 140.4206 | 11.0563 | 6.971 | -12.6757
|  |  | C-reflushed | 82.948 | 250 | 3.9496 | 47.4374 | 240.9917 | 18.9749 | 5.545 | -14.0834
|  |  | D-reflushed | 97.304 | 250 | 4.6332 | 55.6475 | 282.7006 | 22.259 | 16.07 | -11.8905
|  |  | E-reflushed | 194.122 | 250 | 9.2432 | 111.017 | 563.9893 | 44.4068 | 23.808 | -11.0231
|  |  | F-reflushed | 30.568 | 250 | 1.4555 | 17.4816 | 88.8103 | 6.9926 | 3.966 | -12.2895
|  |  | Calibration | slope | intercept |  | linearity | drift | standard
|  |  | carbon | 1.6391 | 2.0228 |  | -0.17002 | -0.27834 | -7.2688
ALL | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | STD-Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | d 13C/12C | d 18O/16O | stdev d13C | stdev d18O | Area 44 | d13C |  | d13C | d13C | d13C (PDB) | mg/L C | mg/L HCO3
1 | WC 1 2 6.20.14 | 0.4 | 3710 | 18.264 | -8.9575 | 22.6205 | 0.0035355 | 0.060104 | 18.264 | -8.9575 |  | -5.8522 | -5.8522 | -13.121 | 79.8981 | 405.8988
2 | WC 6 2 6.20.14 | 0.4 | 3133 | 15.516 | -8.227 | 22.875 | 0.021213 | 0.015556 | 15.516 | -8.227 |  | -5.5889 | -5.3106 | -12.5794 | 68.6375 | 348.6927
3 | WC 3 2 6.20.14 | 0.4 | 4585 | 22.739 | -9.6975 | 23.3185 | 0.016263 | 0.020506 | 22.739 | -9.6975 |  | -5.8314 | -5.2747 | -12.5435 | 98.2355 | 499.0564
4 | WC 1 1 6.20.14 | 0.4 | 3684 | 18.105 | -8.913 | 22.3945 | 0.0084853 | 0.00070711 | 18.105 | -8.913 |  | -5.8348 | -4.9997 | -12.2685 | 79.2465 | 402.5888
5 | A-reflushed | 0.4 | 470 | 2.311 | -12.5715 | 27.3065 | 0.047376 | 0.077075 | 2.311 | -12.5715 |  | -12.1786 | -11.0652 | -18.334 | 14.5269 | 73.7996
6 | F-reflushed | 0.4 | 809 | 3.966 | -14.3555 | 27.208 | 0.016263 | 0.066468 | 3.966 | -14.3555 |  | -13.6812 | -12.2895 | -19.5583 | 21.3086 | 108.2523
7 | B-reflushed | 0.4 | 1426 | 6.971 | -15.531 | 27.3985 | 0.03677 | 0.0091924 | 6.971 | -15.531 |  | -14.3458 | -12.6757 | -19.9445 | 33.6223 | 170.8084
8 | C-reflushed | 0.4 | 1126 | 5.545 | -16.9745 | 27.557 | 0.038891 | 0.070711 | 5.545 | -16.9745 |  | -16.0317 | -14.0834 | -21.3521 | 27.779 | 141.1229
9 | D-reflushed | 0.4 | 3259 | 16.07 | -16.8495 | 26.963 | 0.04879 | 0.0056569 | 16.07 | -16.8495 |  | -14.1173 | -11.8905 | -19.1593 | 70.9076 | 360.2255
10 | E-reflushed | 0.4 | 4819 | 23.808 | -17.576 | 27.551 | 0.0028284 | 0.015556 | 23.808 | -17.576 |  | -13.5281 | -11.0231 | -18.2918 | 102.6159 | 521.3102
11 | NBWS 1 6.18.14 | 0.4 | 351 | 1.711 | -17.009 | 24.07 | 0.0028284 | 0.019799 | 1.711 | -17.009 |  | -16.7181 | -13.9347 | -21.2035 | 12.0682 | 61.3092
12 | NBWS 2 6.18.14 | 0.4 | 2740 | 13.511 | -10.5745 | 22.5135 | 0.030406 | 0.037477 | 13.511 | -10.5745 |  | -8.2773 | -5.2156 | -12.4844 | 60.4215 | 306.9539
13 | NBCT 1 6.18.14 | 0.4 | 2163 | 10.614 | -7.309 | 22.7075 | 0.024042 | 0.074246 | 10.614 | -7.309 |  | -5.5044 | -2.1643 | -9.4331 | 48.5504 | 246.646
14 | NBCT 2 6.18.14 | 0.4 | 2227 | 10.875 | -7.5755 | 22.8895 | 0.0091924 | 0.060104 | 10.875 | -7.5755 |  | -5.7265 | -2.1081 | -9.3769 | 49.6199 | 252.0794
15 | NBBC 1 6.18.14 | 0.4 | 3330 | 16.504 | -8.461 | 22.842 | 0.0084853 | 0.0014142 | 16.504 | -8.461 |  | -5.655 | -1.7582 | -9.027 | 72.6861 | 369.2602
16 | NBBC 2 6.18.14 | 0.4 | 3347 | 16.53 | -8.693 | 23.0185 | 0.06364 | 0.033234 | 16.53 | -8.693 |  | -5.8825 | -1.7075 | -8.9762 | 72.7926 | 369.8015
17 | NB DI 6.18.14 | 0.4 | 745 | 1.972 | -8.708 | 23.07 |  |  | 1.972 | -8.708 |  | -8.3727 | -3.9193 | -11.188 | 13.1378 | 66.7425
18 | Blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
BLANKS | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | d 13C/12C | d 18O/16O | stdev d13C | stdev d18O | Area 44 | d13C |  | d13C | d13C | d13C (PDB) | mg/L C | mg/L HCO3
Used Standards | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | d 13C/12C | d 18O/16O | stdev d13C | stdev d18O | Area 44 | d13C |  | d13C | d13C | d13C (PDB) | mg/L C | mg/L HCO3
5 | A-reflushed | 0.4 | 470 | 2.311 | -12.5715 | 27.3065 | 0.047376 | 0.077075 | 2.311 | -12.5715 |  | -12.1786 | -11.0652 | -18.334 | 14.5269 | 73.7996
7 | B-reflushed | 0.4 | 1426 | 6.971 | -15.531 | 27.3985 | 0.03677 | 0.0091924 | 6.971 | -15.531 |  | -14.3458 | -12.6757 | -19.9445 | 33.6223 | 170.8084
8 | C-reflushed | 0.4 | 1126 | 5.545 | -16.9745 | 27.557 | 0.038891 | 0.070711 | 5.545 | -16.9745 |  | -16.0317 | -14.0834 | -21.3521 | 27.779 | 141.1229
9 | D-reflushed | 0.4 | 3259 | 16.07 | -16.8495 | 26.963 | 0.04879 | 0.0056569 | 16.07 | -16.8495 |  | -14.1173 | -11.8905 | -19.1593 | 70.9076 | 360.2255
10 | E-reflushed | 0.4 | 4819 | 23.808 | -17.576 | 27.551 | 0.0028284 | 0.015556 | 23.808 | -17.576 |  | -13.5281 | -11.0231 | -18.2918 | 102.6159 | 521.3102
6 | F-reflushed | 0.4 | 809 | 3.966 | -14.3555 | 27.208 | 0.016263 | 0.066468 | 3.966 | -14.3555 |  | -13.6812 | -12.2895 | -19.5583 | 21.3086 | 108.2523

## Data Export
ID | Date Analyzed | Run # | Sample ID | Volume | Type | peak area | d13C vpdb | d13C error | Analyst | Researcher | Reaction Temperature | Reaction Time (hours) | Notes | Notes II
WC 1 2 6.20.14 | 2014-05-06 | 1 | WC 1 2 6.20.14 | 0.4 |  | 18.264 | -13.121 | 0 | Peter Carlson |  | ( |  | reflushed
WC 6 2 6.20.14 | 2014-05-06 | 2 | WC 6 2 6.20.14 | 0.4 |  | 15.516 | -12.5794 | 0 | Peter Carlson |  | ( |  | reflushed
WC 3 2 6.20.14 | 2014-05-06 | 3 | WC 3 2 6.20.14 | 0.4 |  | 22.739 | -12.5435 | 0 | Peter Carlson |  | ( |  | reflushed
WC 1 1 6.20.14 | 2014-05-06 | 4 | WC 1 1 6.20.14 | 0.4 |  | 18.105 | -12.2685 | 0 | Peter Carlson |  | ( |  | reflushed
A-reflushed | 2014-05-06 | 5 | A-reflushed | 0.4 |  | 2.311 | -18.334 | 0 | Peter Carlson |  | ( |  | reflushed
F-reflushed | 2014-05-06 | 6 | F-reflushed | 0.4 |  | 3.966 | -19.5583 | 0 | Peter Carlson |  | ( |  | reflushed
B-reflushed | 2014-05-06 | 7 | B-reflushed | 0.4 |  | 6.971 | -19.9445 | 0 | Peter Carlson |  | ( |  | reflushed
C-reflushed | 2014-05-06 | 8 | C-reflushed | 0.4 |  | 5.545 | -21.3521 | 0 | Peter Carlson |  | ( |  | reflushed
D-reflushed | 2014-05-06 | 9 | D-reflushed | 0.4 |  | 16.07 | -19.1593 | 0 | Peter Carlson |  | ( |  | reflushed
E-reflushed | 2014-05-06 | 10 | E-reflushed | 0.4 |  | 23.808 | -18.2918 | 0 | Peter Carlson |  | ( |  | reflushed
NBWS 1 6.18.14 | 2014-05-06 | 11 | NBWS 1 6.18.14 | 0.4 |  | 1.711 | -21.2035 | 0 | Peter Carlson |  | ( |  | reflushed
NBWS 2 6.18.14 | 2014-05-06 | 12 | NBWS 2 6.18.14 | 0.4 |  | 13.511 | -12.4844 | 0 | Peter Carlson |  | ( |  | reflushed
NBCT 1 6.18.14 | 2014-05-06 | 13 | NBCT 1 6.18.14 | 0.4 |  | 10.614 | -9.4331 | 0 | Peter Carlson |  | ( |  | reflushed
NBCT 2 6.18.14 | 2014-05-06 | 14 | NBCT 2 6.18.14 | 0.4 |  | 10.875 | -9.3769 | 0 | Peter Carlson |  | ( |  | reflushed
NBBC 1 6.18.14 | 2014-05-06 | 15 | NBBC 1 6.18.14 | 0.4 |  | 16.504 | -9.027 | 0 | Peter Carlson |  | ( |  | reflushed
NBBC 2 6.18.14 | 2014-05-06 | 16 | NBBC 2 6.18.14 | 0.4 |  | 16.53 | -8.9762 | 0 | Peter Carlson |  | ( |  | reflushed
NB DI 6.18.14 | 2014-05-06 | 17 | NB DI 6.18.14 | 0.4 |  | 1.972 | -11.188 | 0 | Peter Carlson |  | ( |  | reflushed
Blank | 2014-05-06 | 18 | Blank | 0 |  |  |  | 0 | Peter Carlson |  | ( | 

## gasbenchCO2template.wke
Row | Identifier1 | Ampl44 | Area44 | d13C_12C | d18O_16O | Time
1 | WC 1 2 6.20.14 | 3729 | 52.777 | -4.563 | 19.683 | 16:27
1 | WC 1 2 6.20.14 | 3727 | 53.514 | -4.57 | 19.67 | 16:27
1 | WC 1 2 6.20.14 | 3730 | 53.481 | -4.585 | 19.649 | 16:27
1 | WC 1 2 6.20.14 | 3724 | 53.49 | -4.564 | 19.636 | 16:27
1 | WC 1 2 6.20.14 | 3727 | 53.471 | -4.574 | 19.652 | 16:27
1 | WC 1 2 6.20.14 | 1260 | 3.35 | -9.155 | 22.972 | 16:27
1 | WC 1 2 6.20.14 | 5366 | 26.648 | -8.922 | 22.659 | 16:27
1 | WC 1 2 6.20.14 | 5053 | 25.058 | -8.936 | 22.6 | 16:27
1 | WC 1 2 6.20.14 | 4843 | 23.938 | -8.955 | 22.598 | 16:27
1 | WC 1 2 6.20.14 | 4645 | 22.916 | -8.952 | 22.623 | 16:27
1 | WC 1 2 6.20.14 | 4458 | 21.95 | -8.982 | 22.657 | 16:27
1 | WC 1 2 6.20.14 | 4272 | 21.027 | -8.967 | 22.622 | 16:27
1 | WC 1 2 6.20.14 | 4075 | 20.082 | -9.004 | 22.642 | 16:27
1 | WC 1 2 6.20.14 | 3887 | 19.139 | -8.951 | 22.66 | 16:27
1 | WC 1 2 6.20.14 | 3710 | 18.264 | -8.96 | 22.663 | 16:27
1 | WC 1 2 6.20.14 | 3543 | 17.432 | -8.955 | 22.578 | 16:27
2 | WC 6 2 6.20.14 | 3719 | 52.618 | -4.555 | 19.702 | 16:40
2 | WC 6 2 6.20.14 | 3714 | 53.347 | -4.57 | 19.67 | 16:40
2 | WC 6 2 6.20.14 | 3721 | 53.406 | -4.59 | 19.715 | 16:40
2 | WC 6 2 6.20.14 | 3710 | 53.326 | -4.588 | 19.719 | 16:40
2 | WC 6 2 6.20.14 | 3709 | 53.347 | -4.582 | 19.662 | 16:40
2 | WC 6 2 6.20.14 | 764 | 2.025 | -9.24 | 22.293 | 16:40
2 | WC 6 2 6.20.14 | 4615 | 22.644 | -8.162 | 22.907 | 16:40
2 | WC 6 2 6.20.14 | 4338 | 21.342 | -8.218 | 22.786 | 16:40
2 | WC 6 2 6.20.14 | 4136 | 20.402 | -8.25 | 22.815 | 16:40
2 | WC 6 2 6.20.14 | 3956 | 19.518 | -8.214 | 22.848 | 16:40
2 | WC 6 2 6.20.14 | 3781 | 18.645 | -8.205 | 22.844 | 16:40
2 | WC 6 2 6.20.14 | 3611 | 17.837 | -8.222 | 22.897 | 16:40
2 | WC 6 2 6.20.14 | 3448 | 17.034 | -8.226 | 22.887 | 16:40
2 | WC 6 2 6.20.14 | 3286 | 16.263 | -8.197 | 22.903 | 16:40
2 | WC 6 2 6.20.14 | 3133 | 15.516 | -8.212 | 22.886 | 16:40
2 | WC 6 2 6.20.14 | 2987 | 14.83 | -8.242 | 22.864 | 16:40
3 | WC 3 2 6.20.14 | 3717 | 52.623 | -4.549 | 19.681 | 16:54
3 | WC 3 2 6.20.14 | 3720 | 53.405 | -4.57 | 19.67 | 16:54
3 | WC 3 2 6.20.14 | 3717 | 53.351 | -4.547 | 19.659 | 16:54
3 | WC 3 2 6.20.14 | 3714 | 53.327 | -4.561 | 19.643 | 16:54
3 | WC 3 2 6.20.14 | 3710 | 53.353 | -4.558 | 19.651 | 16:54
3 | WC 3 2 6.20.14 | 2058 | 5.518 | -9.64 | 23.634 | 16:54
3 | WC 3 2 6.20.14 | 6682 | 33.736 | -9.663 | 23.404 | 16:54
3 | WC 3 2 6.20.14 | 6314 | 31.628 | -9.671 | 23.359 | 16:54
3 | WC 3 2 6.20.14 | 6051 | 30.158 | -9.686 | 23.385 | 16:54
3 | WC 3 2 6.20.14 | 5789 | 28.782 | -9.664 | 23.319 | 16:54
3 | WC 3 2 6.20.14 | 5536 | 27.489 | -9.676 | 23.302 | 16:54
3 | WC 3 2 6.20.14 | 5283 | 26.216 | -9.678 | 23.296 | 16:54
3 | WC 3 2 6.20.14 | 5039 | 24.983 | -9.703 | 23.318 | 16:54
3 | WC 3 2 6.20.14 | 4815 | 23.841 | -9.705 | 23.337 | 16:54
3 | WC 3 2 6.20.14 | 4585 | 22.739 | -9.709 | 23.304 | 16:54
3 | WC 3 2 6.20.14 | 4377 | 21.662 | -9.686 | 23.333 | 16:54
4 | WC 1 1 6.20.14 | 3710 | 52.538 | -4.562 | 19.751 | 17:07
4 | WC 1 1 6.20.14 | 3716 | 53.331 | -4.57 | 19.67 | 17:07
4 | WC 1 1 6.20.14 | 3713 | 53.302 | -4.612 | 19.635 | 17:07
4 | WC 1 1 6.20.14 | 3710 | 53.268 | -4.617 | 19.648 | 17:07
4 | WC 1 1 6.20.14 | 3710 | 53.296 | -4.609 | 19.705 | 17:07
4 | WC 1 1 6.20.14 | 1672 | 4.489 | -8.91 | 22.734 | 17:07
4 | WC 1 1 6.20.14 | 5468 | 27.265 | -8.88 | 22.477 | 17:07
4 | WC 1 1 6.20.14 | 5145 | 25.558 | -8.93 | 22.404 | 17:07
4 | WC 1 1 6.20.14 | 4903 | 24.315 | -8.9 | 22.377 | 17:07
4 | WC 1 1 6.20.14 | 4675 | 23.125 | -8.894 | 22.421 | 17:07
4 | WC 1 1 6.20.14 | 4460 | 22.019 | -8.904 | 22.408 | 17:07
4 | WC 1 1 6.20.14 | 4248 | 20.941 | -8.926 | 22.355 | 17:07
4 | WC 1 1 6.20.14 | 4050 | 19.945 | -8.895 | 22.383 | 17:07
4 | WC 1 1 6.20.14 | 3862 | 18.989 | -8.922 | 22.394 | 17:07
4 | WC 1 1 6.20.14 | 3684 | 18.105 | -8.919 | 22.394 | 17:07
4 | WC 1 1 6.20.14 | 3512 | 17.265 | -8.907 | 22.395 | 17:07
5 | A-reflushed | 3687 | 52.187 | -4.556 | 19.672 | 19:06
5 | A-reflushed | 3682 | 52.923 | -4.57 | 19.67 | 19:06
5 | A-reflushed | 3688 | 52.932 | -4.568 | 19.643 | 19:06
5 | A-reflushed | 3686 | 52.955 | -4.555 | 19.661 | 19:06
5 | A-reflushed | 3684 | 52.908 | -4.561 | 19.655 | 19:06
5 | A-reflushed | 222 | 0.584 | -12.503 | 26.998 | 19:06
5 | A-reflushed | 698 | 3.552 | -12.685 | 27.292 | 19:06
5 | A-reflushed | 659 | 3.285 | -12.601 | 27.502 | 19:06
5 | A-reflushed | 629 | 3.1 | -12.689 | 27.391 | 19:06
5 | A-reflushed | 600 | 2.946 | -12.606 | 27.608 | 19:06
5 | A-reflushed | 571 | 2.802 | -12.6 | 27.405 | 19:06
5 | A-reflushed | 545 | 2.67 | -12.596 | 27.472 | 19:06
5 | A-reflushed | 519 | 2.544 | -12.558 | 27.534 | 19:06
5 | A-reflushed | 494 | 2.425 | -12.589 | 27.453 | 19:06
5 | A-reflushed | 470 | 2.311 | -12.605 | 27.361 | 19:06
5 | A-reflushed | 449 | 2.207 | -12.538 | 27.252 | 19:06
6 | F-reflushed | 3677 | 52.034 | -4.576 | 19.696 | 19:18
6 | F-reflushed | 3675 | 52.807 | -4.57 | 19.67 | 19:18
6 | F-reflushed | 3679 | 52.785 | -4.571 | 19.638 | 19:18
6 | F-reflushed | 3678 | 52.823 | -4.55 | 19.682 | 19:18
6 | F-reflushed | 3681 | 52.836 | -4.562 | 19.627 | 19:18
6 | F-reflushed | 369 | 0.97 | -14.665 | 26.907 | 19:18
6 | F-reflushed | 1192 | 6.038 | -14.187 | 27.468 | 19:18
6 | F-reflushed | 1128 | 5.625 | -14.3 | 27.284 | 19:18
6 | F-reflushed | 1076 | 5.326 | -14.304 | 27.341 | 19:18
6 | F-reflushed | 1026 | 5.058 | -14.314 | 27.255 | 19:18
6 | F-reflushed | 979 | 4.81 | -14.362 | 27.365 | 19:18
6 | F-reflushed | 933 | 4.58 | -14.24 | 27.455 | 19:18
6 | F-reflushed | 890 | 4.366 | -14.267 | 27.34 | 19:18
6 | F-reflushed | 849 | 4.162 | -14.343 | 27.385 | 19:18
6 | F-reflushed | 809 | 3.966 | -14.344 | 27.161 | 19:18
6 | F-reflushed | 770 | 3.778 | -14.367 | 27.255 | 19:18
7 | B-reflushed | 3682 | 52.096 | -4.56 | 19.708 | 19:32
7 | B-reflushed | 3678 | 52.828 | -4.57 | 19.67 | 19:32
7 | B-reflushed | 3683 | 52.892 | -4.573 | 19.671 | 19:32
7 | B-reflushed | 3683 | 52.882 | -4.572 | 19.68 | 19:32
7 | B-reflushed | 3677 | 52.841 | -4.563 | 19.681 | 19:32
7 | B-reflushed | 384 | 1.013 | -15.032 | 26.812 | 19:32
7 | B-reflushed | 2041 | 10.077 | -15.505 | 27.423 | 19:32
7 | B-reflushed | 1928 | 9.491 | -15.45 | 27.293 | 19:32
7 | B-reflushed | 1848 | 9.061 | -15.59 | 27.344 | 19:32
7 | B-reflushed | 1773 | 8.683 | -15.521 | 27.21 | 19:32
7 | B-reflushed | 1707 | 8.349 | -15.544 | 27.341 | 19:32
7 | B-reflushed | 1635 | 7.996 | -15.515 | 27.299 | 19:32
7 | B-reflushed | 1562 | 7.636 | -15.555 | 27.34 | 19:32
7 | B-reflushed | 1494 | 7.293 | -15.547 | 27.317 | 19:32
7 | B-reflushed | 1426 | 6.971 | -15.557 | 27.405 | 19:32
7 | B-reflushed | 1362 | 6.654 | -15.505 | 27.392 | 19:32
8 | C-reflushed | 3674 | 52.004 | -4.573 | 19.721 | 19:45
8 | C-reflushed | 3672 | 52.744 | -4.57 | 19.67 | 19:45
8 | C-reflushed | 3672 | 52.742 | -4.58 | 19.696 | 19:45
8 | C-reflushed | 3672 | 52.721 | -4.553 | 19.673 | 19:45
8 | C-reflushed | 3672 | 52.743 | -4.575 | 19.695 | 19:45
8 | C-reflushed | 555 | 1.473 | -17.151 | 27.29 | 19:45
8 | C-reflushed | 1627 | 9.943 | -16.84 | 27.562 | 19:45
8 | C-reflushed | 1563 | 8.45 | -16.89 | 27.571 | 19:45
8 | C-reflushed | 1488 | 7.646 | -16.841 | 27.595 | 19:45
8 | C-reflushed | 1422 | 7.133 | -16.909 | 27.553 | 19:45
8 | C-reflushed | 1354 | 6.735 | -16.908 | 27.563 | 19:45
8 | C-reflushed | 1293 | 6.396 | -16.857 | 27.486 | 19:45
8 | C-reflushed | 1234 | 6.088 | -16.858 | 27.655 | 19:45
8 | C-reflushed | 1180 | 5.816 | -16.929 | 27.561 | 19:45
8 | C-reflushed | 1126 | 5.545 | -16.947 | 27.607 | 19:45
8 | C-reflushed | 1074 | 5.299 | -17.002 | 27.507 | 19:45
9 | D-reflushed | 3679 | 52.068 | -4.571 | 19.674 | 19:58
9 | D-reflushed | 3682 | 52.827 | -4.57 | 19.67 | 19:58
9 | D-reflushed | 3681 | 52.82 | -4.583 | 19.66 | 19:58
9 | D-reflushed | 3675 | 52.804 | -4.57 | 19.641 | 19:58
9 | D-reflushed | 3674 | 52.783 | -4.591 | 19.683 | 19:58
9 | D-reflushed | 230 | 0.604 | -16.91 | 25.405 | 19:58
9 | D-reflushed | 2783 | 11.141 | -16.301 | 27.84 | 19:58
9 | D-reflushed | 4509 | 22.159 | -16.909 | 26.974 | 19:58
9 | D-reflushed | 4313 | 21.26 | -16.881 | 26.979 | 19:58
9 | D-reflushed | 4121 | 20.349 | -16.885 | 27.022 | 19:58
9 | D-reflushed | 3935 | 19.418 | -16.871 | 27.032 | 19:58
9 | D-reflushed | 3757 | 18.535 | -16.854 | 27.003 | 19:58
9 | D-reflushed | 3587 | 17.671 | -16.88 | 26.992 | 19:58
9 | D-reflushed | 3421 | 16.853 | -16.877 | 26.948 | 19:58
9 | D-reflushed | 3259 | 16.07 | -16.815 | 26.967 | 19:58
9 | D-reflushed | 3110 | 15.32 | -16.884 | 26.959 | 19:58
10 | E-reflushed | 3671 | 51.956 | -4.553 | 19.716 | 20:11
10 | E-reflushed | 3675 | 52.775 | -4.57 | 19.67 | 20:11
10 | E-reflushed | 3673 | 52.755 | -4.61 | 19.682 | 20:11
10 | E-reflushed | 3675 | 52.739 | -4.592 | 19.659 | 20:11
10 | E-reflushed | 3675 | 52.77 | -4.576 | 19.65 | 20:11
10 | E-reflushed | 2166 | 5.82 | -17.756 | 27.653 | 20:11
10 | E-reflushed | 7005 | 35.955 | -17.577 | 27.612 | 20:11
10 | E-reflushed | 6642 | 33.429 | -17.617 | 27.503 | 20:11
10 | E-reflushed | 6340 | 31.636 | -17.596 | 27.515 | 20:11
10 | E-reflushed | 6063 | 30.067 | -17.602 | 27.523 | 20:11
10 | E-reflushed | 5797 | 28.665 | -17.596 | 27.556 | 20:11
10 | E-reflushed | 5535 | 27.34 | -17.589 | 27.524 | 20:11
10 | E-reflushed | 5294 | 26.112 | -17.602 | 27.554 | 20:11
10 | E-reflushed | 5057 | 24.944 | -17.628 | 27.582 | 20:11
10 | E-reflushed | 4819 | 23.808 | -17.574 | 27.562 | 20:11
10 | E-reflushed | 4592 | 22.74 | -17.578 | 27.54 | 20:11
11 | NBWS 1 6.18.14 | 3669 | 51.905 | -4.56 | 19.699 | 20:38
11 | NBWS 1 6.18.14 | 3666 | 52.669 | -4.57 | 19.67 | 20:38
11 | NBWS 1 6.18.14 | 3667 | 52.681 | -4.577 | 19.645 | 20:38
11 | NBWS 1 6.18.14 | 3666 | 52.656 | -4.562 | 19.62 | 20:38
11 | NBWS 1 6.18.14 | 3673 | 52.681 | -4.562 | 19.617 | 20:38
11 | NBWS 1 6.18.14 | 167 | 0.439 | -16.167 | 23.433 | 20:38
11 | NBWS 1 6.18.14 | 473 | 2.93 | -15.867 | 23.885 | 20:38
11 | NBWS 1 6.18.14 | 461 | 2.493 | -16.148 | 24.187 | 20:38
11 | NBWS 1 6.18.14 | 443 | 2.263 | -16.343 | 24.349 | 20:38
11 | NBWS 1 6.18.14 | 426 | 2.123 | -16.301 | 23.975 | 20:38
11 | NBWS 1 6.18.14 | 410 | 2.02 | -16.462 | 24.255 | 20:38
11 | NBWS 1 6.18.14 | 395 | 1.933 | -16.492 | 23.832 | 20:38
11 | NBWS 1 6.18.14 | 380 | 1.855 | -16.748 | 24.287 | 20:38
11 | NBWS 1 6.18.14 | 365 | 1.779 | -16.911 | 24.082 | 20:38
11 | NBWS 1 6.18.14 | 351 | 1.711 | -17.011 | 24.084 | 20:38
11 | NBWS 1 6.18.14 | 338 | 1.647 | -17.007 | 24.056 | 20:38
12 | NBWS 2 6.18.14 | 3673 | 52.034 | -4.606 | 19.74 | 20:51
12 | NBWS 2 6.18.14 | 3668 | 52.7 | -4.57 | 19.67 | 20:51
12 | NBWS 2 6.18.14 | 3670 | 52.733 | -4.581 | 19.665 | 20:51
12 | NBWS 2 6.18.14 | 3673 | 52.754 | -4.605 | 19.642 | 20:51
12 | NBWS 2 6.18.14 | 3674 | 52.751 | -4.581 | 19.674 | 20:51
12 | NBWS 2 6.18.14 | 74 | 0.193 | -16.708 | 17.877 | 20:51
12 | NBWS 2 6.18.14 | 3923 | 19.167 | -10.62 | 22.567 | 20:51
12 | NBWS 2 6.18.14 | 3692 | 18.106 | -10.675 | 22.559 | 20:51
12 | NBWS 2 6.18.14 | 3551 | 17.406 | -10.617 | 22.502 | 20:51
12 | NBWS 2 6.18.14 | 3408 | 16.714 | -10.614 | 22.491 | 20:51
12 | NBWS 2 6.18.14 | 3269 | 16.025 | -10.669 | 22.51 | 20:51
12 | NBWS 2 6.18.14 | 3130 | 15.366 | -10.659 | 22.433 | 20:51
12 | NBWS 2 6.18.14 | 2994 | 14.717 | -10.612 | 22.526 | 20:51
12 | NBWS 2 6.18.14 | 2866 | 14.1 | -10.59 | 22.562 | 20:51
12 | NBWS 2 6.18.14 | 2740 | 13.511 | -10.596 | 22.54 | 20:51
12 | NBWS 2 6.18.14 | 2627 | 12.964 | -10.553 | 22.487 | 20:51
13 | NBCT 1 6.18.14 | 3671 | 51.878 | -4.576 | 19.719 | 21:04
13 | NBCT 1 6.18.14 | 3675 | 52.755 | -4.57 | 19.67 | 21:04
13 | NBCT 1 6.18.14 | 3667 | 52.668 | -4.579 | 19.687 | 21:04
13 | NBCT 1 6.18.14 | 3671 | 52.663 | -4.596 | 19.682 | 21:04
13 | NBCT 1 6.18.14 | 3668 | 52.687 | -4.558 | 19.694 | 21:04
13 | NBCT 1 6.18.14 | 608 | 1.608 | -10.294 | 22.228 | 21:04
13 | NBCT 1 6.18.14 | 3073 | 15.218 | -7.334 | 22.678 | 21:04
13 | NBCT 1 6.18.14 | 2912 | 14.403 | -7.309 | 22.67 | 21:04
13 | NBCT 1 6.18.14 | 2786 | 13.767 | -7.35 | 22.619 | 21:04
13 | NBCT 1 6.18.14 | 2673 | 13.176 | -7.355 | 22.673 | 21:04
13 | NBCT 1 6.18.14 | 2561 | 12.615 | -7.33 | 22.613 | 21:04
13 | NBCT 1 6.18.14 | 2455 | 12.075 | -7.322 | 22.6 | 21:04
13 | NBCT 1 6.18.14 | 2353 | 11.563 | -7.331 | 22.66 | 21:04
13 | NBCT 1 6.18.14 | 2255 | 11.075 | -7.273 | 22.6 | 21:04
13 | NBCT 1 6.18.14 | 2163 | 10.614 | -7.326 | 22.76 | 21:04
13 | NBCT 1 6.18.14 | 2070 | 10.166 | -7.292 | 22.655 | 21:04
14 | NBCT 2 6.18.14 | 3669 | 51.956 | -4.548 | 19.737 | 21:18
14 | NBCT 2 6.18.14 | 3672 | 52.702 | -4.57 | 19.67 | 21:18
14 | NBCT 2 6.18.14 | 3669 | 52.693 | -4.564 | 19.728 | 21:18
14 | NBCT 2 6.18.14 | 3670 | 52.67 | -4.576 | 19.709 | 21:18
14 | NBCT 2 6.18.14 | 3667 | 52.689 | -4.566 | 19.71 | 21:18
14 | NBCT 2 6.18.14 | 451 | 1.194 | -7.683 | 22.851 | 21:18
14 | NBCT 2 6.18.14 | 3191 | 15.605 | -7.542 | 22.986 | 21:18
14 | NBCT 2 6.18.14 | 2993 | 14.689 | -7.595 | 22.948 | 21:18
14 | NBCT 2 6.18.14 | 2868 | 14.071 | -7.591 | 22.933 | 21:18
14 | NBCT 2 6.18.14 | 2750 | 13.485 | -7.628 | 22.858 | 21:18
14 | NBCT 2 6.18.14 | 2635 | 12.918 | -7.625 | 22.921 | 21:18
14 | NBCT 2 6.18.14 | 2529 | 12.374 | -7.611 | 22.899 | 21:18
14 | NBCT 2 6.18.14 | 2422 | 11.844 | -7.58 | 23.009 | 21:18
14 | NBCT 2 6.18.14 | 2325 | 11.353 | -7.554 | 22.854 | 21:18
14 | NBCT 2 6.18.14 | 2227 | 10.875 | -7.569 | 22.847 | 21:18
14 | NBCT 2 6.18.14 | 2135 | 10.416 | -7.582 | 22.932 | 21:18
15 | NBBC 1 6.18.14 | 3659 | 51.774 | -4.545 | 19.72 | 21:30
15 | NBBC 1 6.18.14 | 3661 | 52.532 | -4.57 | 19.67 | 21:30
15 | NBBC 1 6.18.14 | 3658 | 52.556 | -4.562 | 19.634 | 21:30
15 | NBBC 1 6.18.14 | 3661 | 52.584 | -4.557 | 19.66 | 21:30
15 | NBBC 1 6.18.14 | 3663 | 52.591 | -4.571 | 19.646 | 21:30
15 | NBBC 1 6.18.14 | 432 | 1.14 | -7.858 | 20.816 | 21:30
15 | NBBC 1 6.18.14 | 1518 | 7.264 | -7.618 | 22.818 | 21:30
15 | NBBC 1 6.18.14 | 4504 | 22.203 | -8.374 | 23.011 | 21:30
15 | NBBC 1 6.18.14 | 4343 | 21.449 | -8.482 | 22.729 | 21:30
15 | NBBC 1 6.18.14 | 4168 | 20.636 | -8.497 | 22.796 | 21:30
15 | NBBC 1 6.18.14 | 3993 | 19.793 | -8.498 | 22.802 | 21:30
15 | NBBC 1 6.18.14 | 3816 | 18.938 | -8.472 | 22.787 | 21:30
15 | NBBC 1 6.18.14 | 3647 | 18.089 | -8.45 | 22.853 | 21:30
15 | NBBC 1 6.18.14 | 3490 | 17.287 | -8.483 | 22.739 | 21:30
15 | NBBC 1 6.18.14 | 3330 | 16.504 | -8.467 | 22.843 | 21:30
15 | NBBC 1 6.18.14 | 3175 | 15.746 | -8.455 | 22.841 | 21:30
16 | NBBC 2 6.18.14 | 3660 | 51.817 | -4.568 | 19.698 | 21:44
16 | NBBC 2 6.18.14 | 3661 | 52.595 | -4.57 | 19.67 | 21:44
16 | NBBC 2 6.18.14 | 3657 | 52.565 | -4.579 | 19.661 | 21:44
16 | NBBC 2 6.18.14 | 3660 | 52.515 | -4.561 | 19.655 | 21:44
16 | NBBC 2 6.18.14 | 3663 | 52.589 | -4.553 | 19.655 | 21:44
16 | NBBC 2 6.18.14 | 671 | 1.775 | -8.612 | 22.763 | 21:44
16 | NBBC 2 6.18.14 | 4982 | 24.324 | -8.57 | 23.343 | 21:44
16 | NBBC 2 6.18.14 | 4573 | 22.519 | -8.746 | 23.06 | 21:44
16 | NBBC 2 6.18.14 | 4382 | 21.62 | -8.681 | 23.023 | 21:44
16 | NBBC 2 6.18.14 | 4199 | 20.746 | -8.711 | 23.014 | 21:44
16 | NBBC 2 6.18.14 | 4025 | 19.863 | -8.709 | 23.079 | 21:44
16 | NBBC 2 6.18.14 | 3850 | 19.002 | -8.675 | 23.101 | 21:44
16 | NBBC 2 6.18.14 | 3678 | 18.137 | -8.698 | 23.023 | 21:44
16 | NBBC 2 6.18.14 | 3509 | 17.298 | -8.706 | 23.004 | 21:44
16 | NBBC 2 6.18.14 | 3347 | 16.53 | -8.738 | 23.042 | 21:44
16 | NBBC 2 6.18.14 | 3200 | 15.778 | -8.648 | 22.995 | 21:44
17 | NB DI 6.18.14 | 3660 | 51.785 | -4.526 | 19.681 | 21:57
17 | NB DI 6.18.14 | 3655 | 52.502 | -4.57 | 19.67 | 21:57
17 | NB DI 6.18.14 | 3654 | 52.504 | -4.575 | 19.657 | 21:57
17 | NB DI 6.18.14 | 3656 | 52.481 | -4.544 | 19.603 | 21:57
17 | NB DI 6.18.14 | 3657 | 52.498 | -4.559 | 19.652 | 21:57
17 | NB DI 6.18.14 | 745 | 1.972 | -8.708 | 23.07 | 21:57
18 | Blank | 3645 | 51.628 | -4.555 | 19.718 | 23:30
18 | Blank | 3643 | 52.304 | -4.57 | 19.67 | 23:30
18 | Blank | 3647 | 52.352 | -4.548 | 19.677 | 23:30
18 | Blank | 3647 | 52.37 | -4.555 | 19.703 | 23:30
18 | Blank | 3647 | 52.396 | -4.548 | 19.701 | 23:30

## Run Log
Row | name | Volume | Notes | Var5 | Var6 | Var7 | Var8 | Var9 | Var10 | Var11 | Var12 | Var13
1 | WC 1 2 6.20.14 | 0.4 | reflushed
2 | WC 6 2 6.20.14 | 0.4 | reflushed
3 | WC 3 2 6.20.14 | 0.4 | reflushed
4 | WC 1 1 6.20.14 | 0.4 | reflushed
5 | A-reflushed | 0.4 | reflushed
6 | F-reflushed | 0.4 | reflushed
7 | B-reflushed | 0.4 | reflushed
8 | C-reflushed | 0.4 | reflushed
9 | D-reflushed | 0.4 | reflushed
10 | E-reflushed | 0.4 | reflushed
11 | NBWS 1 6.18.14 | 0.4 | reflushed
12 | NBWS 2 6.18.14 | 0.4 | reflushed | Var11: Standards; Var12: mass; Var13: Volume
13 | NBCT 1 6.18.14 | 0.4 | reflushed | Var11: A-reflushed; Var12: 20.172; Var13: 250
14 | NBCT 2 6.18.14 | 0.4 | reflushed | Var11: B-reflushed; Var12: 48.332; Var13: 250
15 | NBBC 1 6.18.14 | 0.4 | reflushed | Var11: C-reflushed; Var12: 82.948; Var13: 250
16 | NBBC 2 6.18.14 | 0.4 | reflushed | Var11: D-reflushed; Var12: 97.304; Var13: 250
17 | NB DI 6.18.14 | 0.4 | reflushed | Var11: E-reflushed; Var12: 194.122; Var13: 250
18 | Blank | 0 |  | Var11: F-reflushed; Var12: 30.568; Var13: 250