## Data Export
ID | Date Analyzed | Run # | Sample ID | Volume | Type | peak area | δ13C (PDB) | δ13C error (1σ) | Analyst | Researcher | Reaction Temperature (°C) | Reaction Time (hours) | Notes | Notes II
Old F | 2013-05-12 | 15 | Old F | 0.4 |  | 14.725 | -19.358 | 0.21218 | Peter Carlson |  | 40 | 8
Old A | 2013-05-12 | 16 | Old A | 0.4 |  |  |  | 0.21218 | Peter Carlson |  | 40 | 8
Old B | 2013-05-12 | 17 | Old B | 0.4 |  | 20.255 | -19.4772 | 0.21218 | Peter Carlson |  | 40 | 8
Old B-bubbles | 2013-05-12 | 18 | Old B-bubbles | 0.4 |  | 20.329 | -19.4894 | 0.21218 | Peter Carlson |  | 40 | 8
Old C | 2013-05-12 | 19 | Old C | 0.4 |  | 34.158 | -19.5353 | 0.21218 | Peter Carlson |  | 40 | 8
Old D-bubbles | 2013-05-12 | 20 | Old D-bubbles | 0.4 |  | 39.829 | -19.4399 | 0.21218 | Peter Carlson |  | 40 | 8
Old E | 2013-05-12 | 21 | Old E | 0.4 |  | 89.012 | -19.3801 | 0.21218 | Peter Carlson |  | 40 | 8
NB Blank | 2013-05-12 | 23 | NB Blank | 0.4 |  |  |  | 0.21218 | Peter Carlson |  | 40 | 8 | 2013-05-09
NBCT1 | 2013-05-12 | 24 | NBCT1 | 0.4 |  | 28.622 | -7.7216 | 0.21218 | Peter Carlson |  | 40 | 8 | 2013-05-09
NBCT2 | 2013-05-12 | 25 | NBCT2 | 0.4 |  | 26.81 | -7.6314 | 0.21218 | Peter Carlson |  | 40 | 8 | 2013-05-09
NBWS1 | 2013-05-12 | 26 | NBWS1 | 0.4 |  | 48.642 | -13.0664 | 0.21218 | Peter Carlson |  | 40 | 8 | 2013-05-09
NBWS2 | 2013-05-12 | 27 | NBWS2 | 0.4 |  | 49.897 | -13.5258 | 0.21218 | Peter Carlson |  | 40 | 8 | 2013-05-09
NBBC1 | 2013-05-12 | 28 | NBBC1 | 0.4 |  | 47.187 | -9.4681 | 0.21218 | Peter Carlson |  | 40 | 8 | 2013-05-09
NBBC2 | 2013-05-12 | 29 | NBBC2 | 0.4 |  | 48.976 | -9.1688 | 0.21218 | Peter Carlson |  | 40 | 8 | 2013-05-09
NOTHING | 2013-05-12 | 34 | NOTHING |  |  |  |  | 0.21218 | Peter Carlson |  | 40 | 8 | unknown volume
Toti 1 | 2013-05-12 | 35 | Toti 1 |  |  |  |  | 0.21218 | Peter Carlson |  | 40 | 8 | unknown volume
Toti 2 | 2013-05-12 | 36 | Toti 2 |  |  | 72.942 | -11.9243 | 0.21218 | Peter Carlson |  | 40 | 8 | unknown volume
Toti 3 | 2013-05-12 | 37 | Toti 3 |  |  | 54.214 | -10.9823 | 0.21218 | Peter Carlson |  | 40 | 8 | unknown volume
Toti 4 | 2013-05-12 | 38 | Toti 4 |  |  | 57.353 | -13.8421 | 0.21218 | Peter Carlson |  | 40 | 8 | unknown volume
Toti 5 | 2013-05-12 | 39 | Toti 5 |  |  | 68.036 | -11.8041 | 0.21218 | Peter Carlson |  | 40 | 8 | unknown volume
Toti 6 | 2013-05-12 | 40 | Toti 6 |  |  |  |  | 0.21218 | Peter Carlson |  | 40 | 8 | unknown volume
Toti 7 | 2013-05-12 | 41 | Toti 7 |  |  |  |  | 0.21218 | Peter Carlson |  | 40 | 8 | unknown volume
Toti 8 | 2013-05-12 | 42 | Toti 8 |  |  |  |  | 0.21218 | Peter Carlson |  | 40 | 8 | unknown volume
Toti 9 | 2013-05-12 | 43 | Toti 9 |  |  |  |  | 0.21218 | Peter Carlson |  | 40 | 8 | unknown volume
Toti 10 | 2013-05-12 | 44 | Toti 10 |  |  |  |  | 0.21218 | Peter Carlson |  | 40 | 8 | unknown volume
Toti 11 | 2013-05-12 | 45 | Toti 11 |  |  |  |  | 0.21218 | Peter Carlson |  | 40 | 8 | unknown volume
Toti 12 | 2013-05-12 | 46 | Toti 12 |  |  |  |  | 0.21218 | Peter Carlson |  | 40 | 8 | unknown volume

## Calibration
Gas Bench DIC Calibration
|  |  | Date: | 2013-05-12
|  |  | Operator: | Peter Carlson
Calibration Notes
|  |  | d13C max stdev: | 0.2
|  |  | Peaks used: | Last Two
|  |  | Blank Correction: | No (No Peaks)
|  |  | Linearity Correction: | Yes (Auto)
|  |  | Drift Correction: | Yes (Auto)
Standard
|  |  | Name | mg NaHCO3 | mL H2O | mmol/L NaHCO3 | mg/L C | mg/L HCO3 | µg C | Area 44 | δ13C
|  |  | F | 30.076 | 250 | 1.4321 | 17.2003 | 87.3808 | #DIV/0!
|  |  | A | 40.688 | 500 | 0.96869 | 11.6346 | 59.1061 | 4.6538 | 21.9023 | -19.1456
|  |  | B | 50.372 | 250 | 2.3985 | 28.8074 | 146.3475 | 11.523 | 36.9685 | -19.0472
|  |  | C | 81.12 | 250 | 3.8626 | 46.392 | 235.6807 | 18.5568 | 45.1083 | -19.0567
|  |  | D | 101.528 | 250 | 4.8343 | 58.0631 | 294.9728 | 23.2253 | 89.6573 | -18.919
|  |  | E | 201.12 | 250 | 9.5764 | 115.0191 | 584.3208 | 46.0076 | 14.569 | -18.6159
|  |  | Calibration | slope | intercept |  | linearity | drift | standard
|  |  | carbon | #DIV/0! | #DIV/0! |  | -0.0032284 | -0.0040124 | -0.45175
ALL | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | STD-Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
1 | Blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
2 | Blank | 0 | [12 empty] | #DIV/0! | #DIV/0!
3 | F | 0.4 | 3138 | 15.135 | -18.766 | 28.072 | 0.02687 | 0.046669 | 15.135 | -18.766 |  | -18.7171 | -18.7091 | -19.1609 | #DIV/0! | #DIV/0!
4 | F | 0.4 | 2941 | 14.003 | -18.58 | 27.9885 | 0.0056569 | 0.033234 | 14.003 | -18.58 |  | -18.5348 | -18.5228 | -18.9745 | #DIV/0! | #DIV/0!
5 | A | 0.4 | 2135 | 10.301 | -18.941 | 27.9025 | 0.031113 | 0.095459 | 10.301 | -18.941 |  | -18.9077 | -18.8917 | -19.3434 | #DIV/0! | #DIV/0!
6 | A | 0.4 | 1937 | 9.147 | -19.2865 | 27.96 | 0.060104 | 0.014142 | 9.147 | -19.2865 |  | -19.257 | -19.2369 | -19.6887 | #DIV/0! | #DIV/0!
7 | B | 0.4 | 4570 | 22.072 | -19.368 | 27.7675 | 0.012728 | 0.023335 | 22.072 | -19.368 |  | -19.2967 | -19.2727 | -19.7244 | #DIV/0! | #DIV/0!
8 | B | 0.4 | 4735 | 22.489 | -19.3935 | 28.0725 | 0.03182 | 0.03182 | 22.489 | -19.3935 |  | -19.3209 | -19.2928 | -19.7446 | #DIV/0! | #DIV/0!
9 | C | 0.4 | 844 | 2.112 | -19.967 | 27.773 |  |  | 2.112 | -19.967 |  | -19.9602 | -19.9281 | -20.3798 | #DIV/0! | #DIV/0!
10 | C | 0.4 | 6992 | 33.4 | -19.3355 | 27.944 | 0.028991 | 0.0070711 | 33.4 | -19.3355 |  | -19.2277 | -19.1916 | -19.6433 | #DIV/0! | #DIV/0!
11 | D | 0.4 | 10182 | 49.672 | -19.214 | 27.7445 | 0.02687 | 0.0021213 | 49.672 | -19.214 |  | -19.0536 | -19.0135 | -19.4653 | #DIV/0! | #DIV/0!
12 | D | 0.4 | 8460 | 40.552 | -19.3325 | 27.813 | 0.012021 | 0.029698 | 40.552 | -19.3325 |  | -19.2016 | -19.1574 | -19.6092 | #DIV/0! | #DIV/0!
13 | E | 0.4 | 19113 | 93.811 | -19.2825 | 27.6325 | 0.017678 | 0.006364 | 93.811 | -19.2825 |  | -18.9796 | -18.9315 | -19.3832 | #DIV/0! | #DIV/0!
14 | E | 0.4 | 20492 | 99.276 | -19.268 | 27.6825 | 0.018385 | 0.010607 | 99.276 | -19.268 |  | -18.9475 | -18.8953 | -19.3471 | #DIV/0! | #DIV/0!
15 | Old F | 0.4 | 3035 | 14.725 | -19.01 | 27.933 | 0.029698 | 0.052326 | 14.725 | -19.01 |  | -18.9625 | -18.9063 | -19.358 | #DIV/0! | #DIV/0!
16 | Old A | 0.4 | [12 empty] | #DIV/0! | #DIV/0!
17 | Old B | 0.4 | 4177 | 20.255 | -19.155 | 27.731 | 0.024042 | 0.045255 | 20.255 | -19.155 |  | -19.0896 | -19.0254 | -19.4772 | #DIV/0! | #DIV/0!
18 | Old B-bubbles | 0.4 | 4241 | 20.329 | -19.1715 | 28.015 | 0.00070711 | 0.011314 | 20.329 | -19.1715 |  | -19.1059 | -19.0377 | -19.4894 | #DIV/0! | #DIV/0!
19 | Old C | 0.4 | 7052 | 34.158 | -19.266 | 27.797 | 0.021213 | 0.021213 | 34.158 | -19.266 |  | -19.1557 | -19.0835 | -19.5353 | #DIV/0! | #DIV/0!
20 | Old D-bubbles | 0.4 | 8259 | 39.829 | -19.193 | 27.6375 | 0.0070711 | 0.014849 | 39.829 | -19.193 |  | -19.0644 | -18.9882 | -19.4399 | #DIV/0! | #DIV/0!
21 | Old E | 0.4 | 18302 | 89.012 | -19.296 | 27.7815 | 0.012728 | 0.00070711 | 89.012 | -19.296 |  | -19.0086 | -18.9284 | -19.3801 | #DIV/0! | #DIV/0!
22 | B | 0.4 | 4384 | 21.106 | -19.268 | 27.8425 | 0.011314 | 0.061518 | 21.106 | -19.268 |  | -19.1999 | -19.1156 | -19.5674 | #DIV/0! | #DIV/0!
23 | NB Blank | 0.4 | [12 empty] | #DIV/0! | #DIV/0!
24 | NBCT1 | 0.4 | 5934 | 28.622 | -7.4545 | 22.935 | 0.0049497 | 0.035355 | 28.622 | -7.4545 |  | -7.3621 | -7.2698 | -7.7216 | #DIV/0! | #DIV/0!
25 | NBCT2 | 0.4 | 5572 | 26.81 | -7.3625 | 22.875 | 0.0035355 | 0.079196 | 26.81 | -7.3625 |  | -7.2759 | -7.1796 | -7.6314 | #DIV/0! | #DIV/0!
26 | NBWS1 | 0.4 | 10050 | 48.642 | -12.872 | 22.5685 | 0.019799 | 0.006364 | 48.642 | -12.872 |  | -12.715 | -12.6147 | -13.0664 | #DIV/0! | #DIV/0!
27 | NBWS2 | 0.4 | 10409 | 49.897 | -13.3395 | 22.5835 | 0.0035355 | 0.013435 | 49.897 | -13.3395 |  | -13.1784 | -13.0741 | -13.5258 | #DIV/0! | #DIV/0!
28 | NBBC1 | 0.4 | 9740 | 47.187 | -9.277 | 23.0785 | 0.015556 | 0.0035355 | 47.187 | -9.277 |  | -9.1247 | -9.0163 | -9.4681 | #DIV/0! | #DIV/0!
29 | NBBC2 | 0.4 | 10251 | 48.976 | -8.9875 | 23.029 | 0.0077782 | 0.0070711 | 48.976 | -8.9875 |  | -8.8294 | -8.717 | -9.1688 | #DIV/0! | #DIV/0!
30 | B | 0.4 | 4540 | 21.942 | -19.0885 | 27.762 | 0.014849 | 0.0070711 | 21.942 | -19.0885 |  | -19.0177 | -18.9013 | -19.3531 | #DIV/0! | #DIV/0!
31 | C | 0.4 | 8498 | 40.537 | -19.154 | 27.774 | 0.032527 | 0.016971 | 40.537 | -19.154 |  | -19.0231 | -18.9028 | -19.3545 | #DIV/0! | #DIV/0!
32 | D | 0.4 | 9284 | 45.101 | -19.269 | 27.7855 | 0.0070711 | 0.016263 | 45.101 | -19.269 |  | -19.1234 | -18.999 | -19.4508 | #DIV/0! | #DIV/0!
33 | E | 0.4 | 15802 | 75.885 | -19.3035 | 27.537 | 0.00070711 | 0.0084853 | 75.885 | -19.3035 |  | -19.0585 | -18.9301 | -19.3819 | #DIV/0! | #DIV/0!
34 | NOTHING
35 | Toti 1
36 | Toti 2 |  | 15018 | 72.942 | -11.8485 | 23.266 | 0.020506 | 0.021213 | 72.942 | -11.8485 |  | -11.613 | -11.4726 | -11.9243
37 | Toti 3 |  | 11367 | 54.214 | -10.85 | 24.171 | 0.022627 | 0.0098995 | 54.214 | -10.85 |  | -10.675 | -10.5305 | -10.9823
38 | Toti 4 |  | 11819 | 57.353 | -13.724 | 23.4285 | 0.022627 | 0.03182 | 57.353 | -13.724 |  | -13.5388 | -13.3904 | -13.8421
39 | Toti 5 |  | 14225 | 68.036 | -11.7245 | 23.428 | 0.028991 | 0.015556 | 68.036 | -11.7245 |  | -11.5049 | -11.3524 | -11.8041
40 | Toti 6
41 | Toti 7
42 | Toti 8
43 | Toti 9
44 | Toti 10
45 | Toti 11
46 | Toti 12
BLANKS | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
Used Standards | [8 empty] | Blank Correction |  |  | Linearity Correction | Drift Correction | Corrected
Row | Identifier 1 | Vol Acid (mL) | Ampl 44 | Area 44 | δ13C | δ18O | st dev δ13C | stdev δ18O | Area 44 | δ13C |  | δ13C | δ13C | δ13C (PDB) | mg/L C | mg/L HCO3
7 | B | 0.4 | 4570 | 22.072 | -19.368 | 27.7675 | 0.012728 | 0.023335 | 22.072 | -19.368 |  | -19.2967 | -19.2727 | -19.7244 | #DIV/0! | #DIV/0!
8 | B | 0.4 | 4735 | 22.489 | -19.3935 | 28.0725 | 0.03182 | 0.03182 | 22.489 | -19.3935 |  | -19.3209 | -19.2928 | -19.7446 | #DIV/0! | #DIV/0!
22 | B | 0.4 | 4384 | 21.106 | -19.268 | 27.8425 | 0.011314 | 0.061518 | 21.106 | -19.268 |  | -19.1999 | -19.1156 | -19.5674 | #DIV/0! | #DIV/0!
30 | B | 0.4 | 4540 | 21.942 | -19.0885 | 27.762 | 0.014849 | 0.0070711 | 21.942 | -19.0885 |  | -19.0177 | -18.9013 | -19.3531 | #DIV/0! | #DIV/0!
10 | C | 0.4 | 6992 | 33.4 | -19.3355 | 27.944 | 0.028991 | 0.0070711 | 33.4 | -19.3355 |  | -19.2277 | -19.1916 | -19.6433 | #DIV/0! | #DIV/0!
31 | C | 0.4 | 8498 | 40.537 | -19.154 | 27.774 | 0.032527 | 0.016971 | 40.537 | -19.154 |  | -19.0231 | -18.9028 | -19.3545 | #DIV/0! | #DIV/0!
11 | D | 0.4 | 10182 | 49.672 | -19.214 | 27.7445 | 0.02687 | 0.0021213 | 49.672 | -19.214 |  | -19.0536 | -19.0135 | -19.4653 | #DIV/0! | #DIV/0!
12 | D | 0.4 | 8460 | 40.552 | -19.3325 | 27.813 | 0.012021 | 0.029698 | 40.552 | -19.3325 |  | -19.2016 | -19.1574 | -19.6092 | #DIV/0! | #DIV/0!
32 | D | 0.4 | 9284 | 45.101 | -19.269 | 27.7855 | 0.0070711 | 0.016263 | 45.101 | -19.269 |  | -19.1234 | -18.999 | -19.4508 | #DIV/0! | #DIV/0!
13 | E | 0.4 | 19113 | 93.811 | -19.2825 | 27.6325 | 0.017678 | 0.006364 | 93.811 | -19.2825 |  | -18.9796 | -18.9315 | -19.3832 | #DIV/0! | #DIV/0!
14 | E | 0.4 | 20492 | 99.276 | -19.268 | 27.6825 | 0.018385 | 0.010607 | 99.276 | -19.268 |  | -18.9475 | -18.8953 | -19.3471 | #DIV/0! | #DIV/0!
33 | E | 0.4 | 15802 | 75.885 | -19.3035 | 27.537 | 0.00070711 | 0.0084853 | 75.885 | -19.3035 |  | -19.0585 | -18.9301 | -19.3819 | #DIV/0! | #DIV/0!
3 | F | 0.4 | 3138 | 15.135 | -18.766 | 28.072 | 0.02687 | 0.046669 | 15.135 | -18.766 |  | -18.7171 | -18.7091 | -19.1609 | #DIV/0! | #DIV/0!
4 | F | 0.4 | 2941 | 14.003 | -18.58 | 27.9885 | 0.0056569 | 0.033234 | 14.003 | -18.58 |  | -18.5348 | -18.5228 | -18.9745 | #DIV/0! | #DIV/0!

## Run Log
Row | Name | Volume | notes | Var5 | Var6 | Var7 | Var8 | Var9 | Var10
1 | Blank | 0
2 | Blank | 0
3 | F | 0.4
4 | F | 0.4
5 | A | 0.4
6 | A | 0.4
7 | B | 0.4
8 | B | 0.4
9 | C | 0.4 |  | Var6: Standards; Var7: weight; Var8: volume
10 | C | 0.4 |  | Var6: F; Var7: 30.076; Var8: 250
11 | D | 0.4 |  | Var6: A; Var7: 40.688; Var8: 500
12 | D | 0.4 |  | Var6: B; Var7: 50.372; Var8: 250
13 | E | 0.4 |  | Var6: C; Var7: 81.12; Var8: 250
14 | E | 0.4 |  | Var6: D; Var7: 101.528; Var8: 250
15 | Old F | 0.4 |  | Var6: E; Var7: 201.12; Var8: 250
16 | Old A | 0.4
17 | Old B | 0.4
18 | Old B-bubbles | 0.4
19 | Old C | 0.4
20 | Old D-bubbles | 0.4
21 | Old E | 0.4
22 | B | 0.4
23 | NB Blank | 0.4 | 2013-05-09
24 | NBCT1 | 0.4 | 2013-05-09
25 | NBCT2 | 0.4 | 2013-05-09
26 | NBWS1 | 0.4 | 2013-05-09
27 | NBWS2 | 0.4 | 2013-05-09
28 | NBBC1 | 0.4 | 2013-05-09
29 | NBBC2 | 0.4 | 2013-05-09
30 | B | 0.4
31 | C | 0.4
32 | D | 0.4
33 | E | 0.4
34 | NOTHING |  | unknown volume
35 | Toti 1 |  | unknown volume
36 | Toti 2 |  | unknown volume
37 | Toti 3 |  | unknown volume
38 | Toti 4 |  | unknown volume
39 | Toti 5 |  | unknown volume
40 | Toti 6 |  | unknown volume
41 | Toti 7 |  | unknown volume
42 | Toti 8 |  | unknown volume
43 | Toti 9 |  | unknown volume
44 | Toti 10 |  | unknown volume
45 | Toti 11 |  | unknown volume
| Toti 12 |  | unknown volume

## gasbenchCO2template.wke
Row | Identifier1 | Ampl44 | Area44 | d13C_12C | d18O_16O
1 | Blank | 3759 | 53.435 | -4.44 | 19.755
1 | Blank | 3764 | 53.895 | -4.57 | 19.67
1 | Blank | 3768 | 54 | -4.57 | 19.692
1 | Blank | 3774 | 54.058 | -4.601 | 19.711
1 | Blank | 3775 | 54.128 | -4.625 | 19.718
2 | Blank | 3790 | 53.949 | -4.536 | 19.778
2 | Blank | 3790 | 54.348 | -4.57 | 19.67
2 | Blank | 3794 | 54.422 | -4.603 | 19.716
2 | Blank | 3798 | 54.442 | -4.605 | 19.681
2 | Blank | 3805 | 54.614 | -4.598 | 19.722
3 | F | 3804 | 54.138 | -4.529 | 19.714
3 | F | 3804 | 54.568 | -4.57 | 19.67
3 | F | 3812 | 54.61 | -4.601 | 19.673
3 | F | 3809 | 54.599 | -4.598 | 19.686
3 | F | 3808 | 54.631 | -4.611 | 19.679
3 | F | 3820 | 18.579 | -18.619 | 28.104
3 | F | 3720 | 18.115 | -18.676 | 28.046
3 | F | 3625 | 17.63 | -18.661 | 28.085
3 | F | 3539 | 17.182 | -18.67 | 28.108
3 | F | 3456 | 16.751 | -18.72 | 28.085
3 | F | 3365 | 16.313 | -18.671 | 28.136
3 | F | 3290 | 15.907 | -18.756 | 28.064
3 | F | 3213 | 15.511 | -18.772 | 28.052
3 | F | 3138 | 15.135 | -18.785 | 28.039
3 | F | 3063 | 14.741 | -18.747 | 28.105
4 | F | 3819 | 54.443 | -4.534 | 19.688
4 | F | 3819 | 54.784 | -4.57 | 19.67
4 | F | 3821 | 54.798 | -4.553 | 19.648
4 | F | 3820 | 54.809 | -4.565 | 19.665
4 | F | 3818 | 54.839 | -4.528 | 19.711
4 | F | 894 | 2.237 | -19.238 | 28.479
4 | F | 3456 | 16.601 | -18.589 | 27.932
4 | F | 3361 | 16.068 | -18.607 | 27.992
4 | F | 3287 | 15.678 | -18.598 | 27.994
4 | F | 3227 | 15.357 | -18.626 | 27.95
4 | F | 3176 | 15.087 | -18.666 | 28.021
4 | F | 3114 | 14.783 | -18.69 | 27.998
4 | F | 3059 | 14.516 | -18.614 | 28.071
4 | F | 2998 | 14.256 | -18.566 | 28.008
4 | F | 2941 | 14.003 | -18.584 | 27.965
4 | F | 2875 | 13.724 | -18.576 | 28.012
5 | A | 3816 | 54.384 | -4.542 | 19.717
5 | A | 3817 | 54.772 | -4.57 | 19.67
5 | A | 3814 | 54.771 | -4.595 | 19.716
5 | A | 3815 | 54.75 | -4.592 | 19.726
5 | A | 3812 | 54.748 | -4.572 | 19.695
5 | A | 646 | 1.632 | -19.572 | 28.629
5 | A | 2603 | 12.7 | -18.851 | 27.942
5 | A | 2525 | 12.311 | -18.841 | 27.944
5 | A | 2465 | 11.992 | -18.918 | 27.957
5 | A | 2407 | 11.704 | -18.983 | 28.035
5 | A | 2351 | 11.409 | -18.851 | 27.962
5 | A | 2294 | 11.121 | -18.899 | 27.993
5 | A | 2239 | 10.831 | -18.842 | 27.94
5 | A | 2186 | 10.555 | -18.962 | 28.011
5 | A | 2135 | 10.301 | -18.963 | 27.97
5 | A | 2084 | 10.025 | -18.919 | 27.835
6 | A | 3794 | 54.077 | -4.5 | 19.748
6 | A | 3795 | 54.425 | -4.57 | 19.67
6 | A | 3798 | 54.471 | -4.548 | 19.686
6 | A | 3797 | 54.49 | -4.556 | 19.674
6 | A | 3795 | 54.354 | -4.545 | 19.693
6 | A | 589 | 1.472 | -19.926 | 28.289
6 | A | 2290 | 11.045 | -19.239 | 27.909
6 | A | 2227 | 10.646 | -19.349 | 27.851
6 | A | 2176 | 10.379 | -19.273 | 27.879
6 | A | 2130 | 10.147 | -19.252 | 27.993
6 | A | 2087 | 9.929 | -19.224 | 27.937
6 | A | 2048 | 9.717 | -19.253 | 27.908
6 | A | 2009 | 9.504 | -19.247 | 27.965
6 | A | 1973 | 9.323 | -19.295 | 27.933
6 | A | 1937 | 9.147 | -19.329 | 27.97
6 | A | 1899 | 8.971 | -19.244 | 27.95
7 | B | 3800 | 54.152 | -4.564 | 19.706
7 | B | 3797 | 54.487 | -4.57 | 19.67
7 | B | 3797 | 54.481 | -4.564 | 19.632
7 | B | 3798 | 54.455 | -4.578 | 19.695
7 | B | 3797 | 54.517 | -4.567 | 19.661
7 | B | 1405 | 3.53 | -20.178 | 28.207
7 | B | 5558 | 27.122 | -19.352 | 27.75
7 | B | 5411 | 26.284 | -19.37 | 27.751
7 | B | 5272 | 25.595 | -19.37 | 27.775
7 | B | 5152 | 24.994 | -19.341 | 27.837
7 | B | 5022 | 24.369 | -19.328 | 27.787
7 | B | 4904 | 23.792 | -19.326 | 27.788
7 | B | 4791 | 23.211 | -19.352 | 27.793
7 | B | 4681 | 22.644 | -19.366 | 27.865
7 | B | 4570 | 22.072 | -19.359 | 27.751
7 | B | 4468 | 21.54 | -19.377 | 27.784
8 | B | 3798 | 54.166 | -4.563 | 19.703
8 | B | 3801 | 54.518 | -4.57 | 19.67
8 | B | 3797 | 54.535 | -4.589 | 19.625
8 | B | 3797 | 54.484 | -4.591 | 19.673
8 | B | 3801 | 54.503 | -4.598 | 19.66
8 | B | 1468 | 3.684 | -19.914 | 28.62
8 | B | 5657 | 27.372 | -19.373 | 28.021
8 | B | 5496 | 26.416 | -19.399 | 28
8 | B | 5375 | 25.76 | -19.394 | 28.001
8 | B | 5255 | 25.145 | -19.418 | 28.056
8 | B | 5138 | 24.555 | -19.395 | 28.044
8 | B | 5025 | 23.988 | -19.389 | 27.997
8 | B | 4923 | 23.466 | -19.385 | 27.991
8 | B | 4828 | 22.974 | -19.398 | 28.052
8 | B | 4735 | 22.489 | -19.416 | 28.05
8 | B | 4643 | 22.022 | -19.371 | 28.095
9 | C | 3799 | 54.135 | -4.573 | 19.731
9 | C | 3794 | 54.476 | -4.57 | 19.67
9 | C | 3797 | 54.469 | -4.569 | 19.651
9 | C | 3798 | 54.51 | -4.572 | 19.682
9 | C | 3797 | 54.474 | -4.566 | 19.671
9 | C | 844 | 2.112 | -19.967 | 27.773
9 | C | 1195 | 3.828 | -19.577 | 27.758
10 | C | 3797 | 54.114 | -4.563 | 19.684
10 | C | 3795 | 54.489 | -4.57 | 19.67
10 | C | 3798 | 54.524 | -4.589 | 19.697
10 | C | 3800 | 54.46 | -4.578 | 19.707
10 | C | 3799 | 54.51 | -4.585 | 19.715
10 | C | 2188 | 5.518 | -19.987 | 28.291
10 | C | 8400 | 41.044 | -19.277 | 27.9
10 | C | 8169 | 39.46 | -19.353 | 27.887
10 | C | 7981 | 38.404 | -19.336 | 27.938
10 | C | 7808 | 37.52 | -19.299 | 27.932
10 | C | 7628 | 36.626 | -19.299 | 28.008
10 | C | 7461 | 35.801 | -19.306 | 27.952
10 | C | 7290 | 34.964 | -19.321 | 27.941
10 | C | 7150 | 34.183 | -19.36 | 27.992
10 | C | 6992 | 33.4 | -19.315 | 27.949
10 | C | 6857 | 32.667 | -19.356 | 27.939
11 | D | 3806 | 54.208 | -4.556 | 19.753
11 | D | 3800 | 54.533 | -4.57 | 19.67
11 | D | 3804 | 54.55 | -4.554 | 19.663
11 | D | 3802 | 54.535 | -4.565 | 19.709
11 | D | 3803 | 54.594 | -4.551 | 19.722
11 | D | 3250 | 8.231 | -19.773 | 28.129
11 | D | 12583 | 60.878 | -19.207 | 27.76
11 | D | 12163 | 58.908 | -19.259 | 27.707
11 | D | 11840 | 57.483 | -19.229 | 27.739
11 | D | 11534 | 56.19 | -19.254 | 27.72
11 | D | 11256 | 54.876 | -19.251 | 27.748
11 | D | 10964 | 53.551 | -19.255 | 27.741
11 | D | 10690 | 52.236 | -19.23 | 27.736
11 | D | 10427 | 50.881 | -19.258 | 27.74
11 | D | 10182 | 49.672 | -19.195 | 27.743
11 | D | 9947 | 48.443 | -19.233 | 27.746
12 | D | 3805 | 54.23 | -4.563 | 19.708
12 | D | 3799 | 54.541 | -4.57 | 19.67
12 | D | 3806 | 54.556 | -4.584 | 19.664
12 | D | 3803 | 54.541 | -4.586 | 19.665
12 | D | 3804 | 54.561 | -4.57 | 19.659
12 | D | 2630 | 6.634 | -19.821 | 27.934
12 | D | 10155 | 49.906 | -19.289 | 27.792
12 | D | 9872 | 47.942 | -19.304 | 27.792
12 | D | 9662 | 46.708 | -19.322 | 27.76
12 | D | 9454 | 45.562 | -19.334 | 27.748
12 | D | 9243 | 44.501 | -19.287 | 27.765
12 | D | 9046 | 43.525 | -19.288 | 27.78
12 | D | 8851 | 42.518 | -19.28 | 27.759
12 | D | 8658 | 41.529 | -19.313 | 27.818
12 | D | 8460 | 40.552 | -19.341 | 27.834
12 | D | 8293 | 39.637 | -19.324 | 27.792
13 | E | 3809 | 54.259 | -4.536 | 19.776
13 | E | 3797 | 54.573 | -4.57 | 19.67
13 | E | 3806 | 54.597 | -4.576 | 19.666
13 | E | 3809 | 54.609 | -4.581 | 19.697
13 | E | 3803 | 54.613 | -4.576 | 19.684
13 | E | 5986 | 15.313 | -19.593 | 27.92
13 | E | 23464 | 114.552 | -19.253 | 27.561
13 | E | 22890 | 111.234 | -19.27 | 27.579
13 | E | 22376 | 108.8 | -19.313 | 27.594
13 | E | 21805 | 106.209 | -19.242 | 27.615
13 | E | 21245 | 103.829 | -19.254 | 27.612
13 | E | 20696 | 101.358 | -19.238 | 27.617
13 | E | 20133 | 98.798 | -19.264 | 27.632
13 | E | 19616 | 96.323 | -19.299 | 27.619
13 | E | 19113 | 93.811 | -19.295 | 27.628
13 | E | 18637 | 91.417 | -19.27 | 27.637
14 | E | 3811 | 54.265 | -4.55 | 19.714
14 | E | 3801 | 54.587 | -4.57 | 19.67
14 | E | 3804 | 54.614 | -4.6 | 19.611
14 | E | 3808 | 54.598 | -4.573 | 19.669
14 | E | 3802 | 54.617 | -4.58 | 19.651
14 | E | 6330 | 16.199 | -19.624 | 28.029
14 | E | 24947 | 122.617 | -19.235 | 27.636
14 | E | 24152 | 118.029 | -19.232 | 27.606
14 | E | 23584 | 114.986 | -19.232 | 27.645
14 | E | 23061 | 112.249 | -19.235 | 27.628
14 | E | 22517 | 109.479 | -19.279 | 27.643
14 | E | 21954 | 106.722 | -19.275 | 27.643
14 | E | 21487 | 104.234 | -19.278 | 27.667
14 | E | 20987 | 101.726 | -19.285 | 27.632
14 | E | 20492 | 99.276 | -19.255 | 27.675
14 | E | 20033 | 96.911 | -19.281 | 27.69
15 | Old F | 3807 | 54.335 | -4.522 | 19.716
15 | Old F | 3805 | 54.611 | -4.57 | 19.67
15 | Old F | 3804 | 54.646 | -4.556 | 19.656
15 | Old F | 3802 | 54.628 | -4.577 | 19.681
15 | Old F | 3807 | 54.617 | -4.56 | 19.679
15 | Old F | 952 | 2.388 | -19.45 | 28.376
15 | Old F | 3715 | 17.762 | -18.996 | 27.854
15 | Old F | 3609 | 17.225 | -19.043 | 27.846
15 | Old F | 3532 | 16.871 | -19.051 | 27.852
15 | Old F | 3453 | 16.529 | -19.015 | 27.936
15 | Old F | 3368 | 16.203 | -18.968 | 27.901
15 | Old F | 3285 | 15.84 | -19.009 | 27.905
15 | Old F | 3198 | 15.469 | -18.985 | 27.903
15 | Old F | 3114 | 15.097 | -18.959 | 27.97
15 | Old F | 3035 | 14.725 | -19.031 | 27.896
15 | Old F | 2956 | 14.349 | -18.989 | 27.97
16 | Old A | 3804 | 54.256 | -4.527 | 19.728
16 | Old A | 3802 | 54.547 | -4.57 | 19.67
16 | Old A | 3804 | 54.581 | -4.552 | 19.708
16 | Old A | 3807 | 54.605 | -4.545 | 19.722
16 | Old A | 3804 | 54.615 | -4.539 | 19.732
17 | Old B | 3801 | 54.226 | -4.568 | 19.672
17 | Old B | 3803 | 54.602 | -4.57 | 19.67
17 | Old B | 3802 | 54.628 | -4.572 | 19.629
17 | Old B | 3804 | 54.615 | -4.569 | 19.72
17 | Old B | 3808 | 54.627 | -4.577 | 19.668
17 | Old B | 1324 | 3.317 | -19.52 | 28.139
17 | Old B | 5057 | 24.458 | -19.17 | 27.72
17 | Old B | 4936 | 23.643 | -19.179 | 27.712
17 | Old B | 4842 | 23.111 | -19.162 | 27.686
17 | Old B | 4736 | 22.65 | -19.143 | 27.683
17 | Old B | 4625 | 22.185 | -19.165 | 27.682
17 | Old B | 4518 | 21.753 | -19.134 | 27.732
17 | Old B | 4397 | 21.217 | -19.151 | 27.733
17 | Old B | 4287 | 20.765 | -19.153 | 27.717
17 | Old B | 4177 | 20.255 | -19.138 | 27.763
17 | Old B | 4067 | 19.753 | -19.172 | 27.699
18 | Old B-bubbles | 3804 | 54.238 | -4.576 | 19.7
18 | Old B-bubbles | 3797 | 54.564 | -4.57 | 19.67
18 | Old B-bubbles | 3806 | 54.59 | -4.592 | 19.688
18 | Old B-bubbles | 3805 | 54.603 | -4.566 | 19.666
18 | Old B-bubbles | 3805 | 54.58 | -4.589 | 19.673
18 | Old B-bubbles | 1321 | 3.318 | -19.755 | 28.307
18 | Old B-bubbles | 5126 | 24.941 | -19.156 | 27.973
18 | Old B-bubbles | 4985 | 24.138 | -19.194 | 28.007
18 | Old B-bubbles | 4872 | 23.525 | -19.19 | 27.999
18 | Old B-bubbles | 4763 | 22.963 | -19.179 | 27.991
18 | Old B-bubbles | 4653 | 22.425 | -19.133 | 28.016
18 | Old B-bubbles | 4544 | 21.871 | -19.178 | 28.025
18 | Old B-bubbles | 4442 | 21.34 | -19.178 | 28.005
18 | Old B-bubbles | 4341 | 20.83 | -19.191 | 28.004
18 | Old B-bubbles | 4241 | 20.329 | -19.172 | 28.023
18 | Old B-bubbles | 4140 | 19.843 | -19.171 | 28.007
19 | Old C | 3806 | 54.247 | -4.534 | 19.744
19 | Old C | 3801 | 54.586 | -4.57 | 19.67
19 | Old C | 3801 | 54.57 | -4.605 | 19.722
19 | Old C | 3805 | 54.563 | -4.596 | 19.712
19 | Old C | 3804 | 54.576 | -4.608 | 19.695
19 | Old C | 2212 | 5.55 | -19.471 | 27.999
19 | Old C | 8469 | 40.862 | -19.276 | 27.765
19 | Old C | 8288 | 39.614 | -19.283 | 27.796
19 | Old C | 8133 | 38.769 | -19.304 | 27.758
19 | Old C | 7968 | 38.044 | -19.257 | 27.78
19 | Old C | 7809 | 37.32 | -19.302 | 27.778
19 | Old C | 7627 | 36.586 | -19.233 | 27.773
19 | Old C | 7433 | 35.777 | -19.211 | 27.786
19 | Old C | 7243 | 35.01 | -19.234 | 27.813
19 | Old C | 7052 | 34.158 | -19.281 | 27.812
19 | Old C | 6857 | 33.314 | -19.251 | 27.782
20 | Old D-bubbles | 3805 | 54.251 | -4.545 | 19.681
20 | Old D-bubbles | 3802 | 54.583 | -4.57 | 19.67
20 | Old D-bubbles | 3803 | 54.596 | -4.568 | 19.656
20 | Old D-bubbles | 3807 | 54.564 | -4.568 | 19.681
20 | Old D-bubbles | 3806 | 54.624 | -4.578 | 19.678
20 | Old D-bubbles | 2548 | 6.434 | -19.607 | 27.77
20 | Old D-bubbles | 9958 | 49.162 | -19.205 | 27.622
20 | Old D-bubbles | 9678 | 47.217 | -19.209 | 27.604
20 | Old D-bubbles | 9457 | 45.939 | -19.187 | 27.626
20 | Old D-bubbles | 9248 | 44.821 | -19.151 | 27.648
20 | Old D-bubbles | 9047 | 43.815 | -19.184 | 27.61
20 | Old D-bubbles | 8836 | 42.745 | -19.202 | 27.637
20 | Old D-bubbles | 8652 | 41.781 | -19.204 | 27.633
20 | Old D-bubbles | 8456 | 40.79 | -19.198 | 27.62
20 | Old D-bubbles | 8259 | 39.829 | -19.198 | 27.627
20 | Old D-bubbles | 8071 | 38.838 | -19.188 | 27.648
21 | Old E | 3805 | 54.301 | -4.577 | 19.704
21 | Old E | 3804 | 54.56 | -4.57 | 19.67
21 | Old E | 3801 | 54.582 | -4.565 | 19.689
21 | Old E | 3801 | 54.58 | -4.572 | 19.703
21 | Old E | 3803 | 54.593 | -4.576 | 19.702
21 | Old E | 5565 | 14.207 | -19.415 | 28.01
21 | Old E | 21686 | 105.822 | -19.285 | 27.719
21 | Old E | 21207 | 102.348 | -19.278 | 27.703
21 | Old E | 20816 | 100.144 | -19.29 | 27.743
21 | Old E | 20428 | 98.243 | -19.29 | 27.76
21 | Old E | 20067 | 96.564 | -19.274 | 27.748
21 | Old E | 19656 | 94.752 | -19.3 | 27.746
21 | Old E | 19225 | 92.853 | -19.298 | 27.758
21 | Old E | 18756 | 90.9 | -19.293 | 27.778
21 | Old E | 18302 | 89.012 | -19.305 | 27.781
21 | Old E | 17839 | 86.927 | -19.287 | 27.782
22 | B | 3810 | 54.298 | -4.557 | 19.749
22 | B | 3807 | 54.637 | -4.57 | 19.67
22 | B | 3809 | 54.632 | -4.577 | 19.688
22 | B | 3808 | 54.622 | -4.549 | 19.747
22 | B | 3802 | 54.603 | -4.581 | 19.758
22 | B | 1390 | 3.502 | -19.925 | 30.041
22 | B | 5299 | 26.182 | -19.243 | 27.771
22 | B | 5139 | 25.101 | -19.227 | 27.769
22 | B | 5030 | 24.424 | -19.263 | 27.852
22 | B | 4913 | 23.8 | -19.282 | 27.781
22 | B | 4801 | 23.22 | -19.263 | 27.77
22 | B | 4686 | 22.646 | -19.293 | 27.77
22 | B | 4587 | 22.133 | -19.249 | 27.819
22 | B | 4486 | 21.629 | -19.279 | 27.864
22 | B | 4384 | 21.106 | -19.26 | 27.799
22 | B | 4291 | 20.62 | -19.276 | 27.886
23 | NB Blank | 3811 | 54.338 | -4.626 | 19.702
23 | NB Blank | 3803 | 54.673 | -4.57 | 19.67
23 | NB Blank | 3809 | 54.685 | -4.577 | 19.655
23 | NB Blank | 3809 | 54.685 | -4.561 | 19.702
23 | NB Blank | 3804 | 54.675 | -4.556 | 19.714
24 | NBCT1 | 3808 | 54.295 | -4.55 | 19.765
24 | NBCT1 | 3810 | 54.662 | -4.57 | 19.67
24 | NBCT1 | 3806 | 54.676 | -4.559 | 19.659
24 | NBCT1 | 3807 | 54.649 | -4.582 | 19.695
24 | NBCT1 | 3808 | 54.692 | -4.555 | 19.709
24 | NBCT1 | 7250 | 35.273 | -7.366 | 23.025
24 | NBCT1 | 6995 | 34.027 | -7.453 | 22.948
24 | NBCT1 | 6800 | 33.035 | -7.448 | 22.921
24 | NBCT1 | 6643 | 32.239 | -7.408 | 22.934
24 | NBCT1 | 6492 | 31.478 | -7.462 | 22.948
24 | NBCT1 | 6344 | 30.727 | -7.456 | 22.919
24 | NBCT1 | 6214 | 30.013 | -7.474 | 22.895
24 | NBCT1 | 6066 | 29.295 | -7.469 | 22.926
24 | NBCT1 | 5934 | 28.622 | -7.458 | 22.91
24 | NBCT1 | 5796 | 27.929 | -7.451 | 22.96
25 | NBCT2 | 3812 | 54.339 | -4.506 | 19.745
25 | NBCT2 | 3810 | 54.688 | -4.57 | 19.67
25 | NBCT2 | 3808 | 54.637 | -4.59 | 19.687
25 | NBCT2 | 3807 | 54.65 | -4.574 | 19.69
25 | NBCT2 | 3807 | 54.663 | -4.563 | 19.716
25 | NBCT2 | 1209 | 3.078 | -2.293 | 53.474
25 | NBCT2 | 6591 | 31.781 | -7.382 | 22.864
25 | NBCT2 | 6378 | 30.696 | -7.36 | 22.778
25 | NBCT2 | 6251 | 30.019 | -7.366 | 22.8
25 | NBCT2 | 6146 | 29.485 | -7.352 | 22.798
25 | NBCT2 | 6035 | 28.982 | -7.317 | 22.818
25 | NBCT2 | 5926 | 28.436 | -7.375 | 22.747
25 | NBCT2 | 5819 | 27.923 | -7.366 | 22.78
25 | NBCT2 | 5697 | 27.378 | -7.348 | 22.794
25 | NBCT2 | 5572 | 26.81 | -7.36 | 22.819
25 | NBCT2 | 5435 | 26.277 | -7.365 | 22.931
26 | NBWS1 | 3808 | 54.381 | -4.578 | 19.695
26 | NBWS1 | 3805 | 54.701 | -4.57 | 19.67
26 | NBWS1 | 3811 | 54.725 | -4.566 | 19.632
26 | NBWS1 | 3811 | 54.714 | -4.565 | 19.636
26 | NBWS1 | 3809 | 54.706 | -4.56 | 19.689
26 | NBWS1 | 3070 | 7.802 | -13.133 | 22.916
26 | NBWS1 | 12113 | 59.975 | -12.892 | 22.554
26 | NBWS1 | 11770 | 57.713 | -12.875 | 22.536
26 | NBWS1 | 11517 | 56.207 | -12.925 | 22.563
26 | NBWS1 | 11257 | 54.867 | -12.871 | 22.553
26 | NBWS1 | 10998 | 53.474 | -12.88 | 22.556
26 | NBWS1 | 10755 | 52.211 | -12.91 | 22.581
26 | NBWS1 | 10503 | 50.967 | -12.91 | 22.559
26 | NBWS1 | 10271 | 49.767 | -12.88 | 22.581
26 | NBWS1 | 10050 | 48.642 | -12.886 | 22.573
26 | NBWS1 | 9819 | 47.483 | -12.858 | 22.564
27 | NBWS2 | 3806 | 54.23 | -4.53 | 19.742
27 | NBWS2 | 3806 | 54.693 | -4.57 | 19.67
27 | NBWS2 | 3812 | 54.701 | -4.565 | 19.687
27 | NBWS2 | 3807 | 54.67 | -4.566 | 19.649
27 | NBWS2 | 3811 | 54.763 | -4.553 | 19.634
27 | NBWS2 | 3183 | 8.05 | -13.528 | 22.869
27 | NBWS2 | 12324 | 59.96 | -13.321 | 22.523
27 | NBWS2 | 11934 | 57.541 | -13.343 | 22.532
27 | NBWS2 | 11697 | 56.113 | -13.4 | 22.525
27 | NBWS2 | 11462 | 54.864 | -13.353 | 22.559
27 | NBWS2 | 11252 | 53.79 | -13.336 | 22.568
27 | NBWS2 | 11045 | 52.754 | -13.374 | 22.559
27 | NBWS2 | 10848 | 51.775 | -13.37 | 22.57
27 | NBWS2 | 10624 | 50.805 | -13.373 | 22.553
27 | NBWS2 | 10409 | 49.897 | -13.337 | 22.593
27 | NBWS2 | 10181 | 48.959 | -13.342 | 22.574
28 | NBBC1 | 3814 | 54.379 | -4.516 | 19.701
28 | NBBC1 | 3808 | 54.688 | -4.57 | 19.67
28 | NBBC1 | 3807 | 54.691 | -4.579 | 19.625
28 | NBBC1 | 3812 | 54.71 | -4.58 | 19.655
28 | NBBC1 | 3809 | 54.681 | -4.556 | 19.673
28 | NBBC1 | 3003 | 7.61 | -9.681 | 23.474
28 | NBBC1 | 11855 | 58.23 | -9.284 | 23.079
28 | NBBC1 | 11438 | 56.056 | -9.316 | 23.054
28 | NBBC1 | 11181 | 54.599 | -9.278 | 23.057
28 | NBBC1 | 10930 | 53.309 | -9.273 | 23.035
28 | NBBC1 | 10680 | 52.011 | -9.28 | 23.077
28 | NBBC1 | 10445 | 50.791 | -9.278 | 23.07
28 | NBBC1 | 10197 | 49.554 | -9.278 | 23.085
28 | NBBC1 | 9982 | 48.377 | -9.288 | 23.042
28 | NBBC1 | 9740 | 47.187 | -9.288 | 23.076
28 | NBBC1 | 9538 | 46.116 | -9.266 | 23.081
29 | NBBC2 | 3817 | 54.435 | -4.55 | 19.67
29 | NBBC2 | 3809 | 54.719 | -4.57 | 19.67
29 | NBBC2 | 3808 | 54.681 | -4.557 | 19.664
29 | NBBC2 | 3812 | 54.7 | -4.562 | 19.646
29 | NBBC2 | 3816 | 54.735 | -4.563 | 19.657
29 | NBBC2 | 3160 | 7.985 | -9.149 | 23.394
29 | NBBC2 | 12081 | 58.544 | -8.981 | 22.972
29 | NBBC2 | 11752 | 56.689 | -8.966 | 23.002
29 | NBBC2 | 11487 | 55.269 | -8.972 | 22.998
29 | NBBC2 | 11260 | 54.006 | -8.959 | 22.996
29 | NBBC2 | 11035 | 52.845 | -8.961 | 22.989
29 | NBBC2 | 10836 | 51.756 | -8.972 | 22.993
29 | NBBC2 | 10638 | 50.766 | -8.964 | 22.995
29 | NBBC2 | 10442 | 49.865 | -8.949 | 23.024
29 | NBBC2 | 10251 | 48.976 | -8.982 | 23.034
29 | NBBC2 | 10039 | 48.037 | -8.993 | 23.024
30 | B | 3812 | 54.431 | -4.553 | 19.689
30 | B | 3813 | 54.736 | -4.57 | 19.67
30 | B | 3816 | 54.775 | -4.568 | 19.648
30 | B | 3811 | 54.732 | -4.579 | 19.654
30 | B | 3812 | 54.722 | -4.563 | 19.66
30 | B | 1415 | 3.586 | -19.707 | 29.126
30 | B | 5485 | 27.125 | -19.074 | 27.825
30 | B | 5333 | 26.091 | -19.066 | 27.821
30 | B | 5207 | 25.395 | -19.114 | 27.79
30 | B | 5085 | 24.747 | -19.111 | 27.804
30 | B | 4970 | 24.167 | -19.06 | 27.832
30 | B | 4859 | 23.592 | -19.1 | 27.839
30 | B | 4747 | 23.019 | -19.124 | 27.849
30 | B | 4644 | 22.457 | -19.08 | 27.816
30 | B | 4540 | 21.942 | -19.078 | 27.757
30 | B | 4433 | 21.404 | -19.099 | 27.767
31 | C | 3816 | 54.448 | -4.533 | 19.697
31 | C | 3812 | 54.747 | -4.57 | 19.67
31 | C | 3813 | 54.75 | -4.557 | 19.642
31 | C | 3814 | 54.763 | -4.561 | 19.671
31 | C | 3813 | 54.766 | -4.545 | 19.692
31 | C | 851 | 2.139 | -19.365 | 28.422
31 | C | 10262 | 49.357 | -19.06 | 27.859
31 | C | 9809 | 47.22 | -19.164 | 27.742
31 | C | 9586 | 46.095 | -19.123 | 27.745
31 | C | 9377 | 45.029 | -19.13 | 27.765
31 | C | 9180 | 43.985 | -19.153 | 27.704
31 | C | 8983 | 43.018 | -19.111 | 27.755
31 | C | 8805 | 42.094 | -19.1 | 27.712
31 | C | 8647 | 41.289 | -19.099 | 27.765
31 | C | 8498 | 40.537 | -19.131 | 27.786
31 | C | 8333 | 39.753 | -19.177 | 27.762
32 | D | 3818 | 54.48 | -4.497 | 19.743
32 | D | 3818 | 54.794 | -4.57 | 19.67
32 | D | 3814 | 54.776 | -4.532 | 19.669
32 | D | 3816 | 54.78 | -4.549 | 19.685
32 | D | 3816 | 54.719 | -4.544 | 19.732
32 | D | 2868 | 7.317 | -19.576 | 28.133
32 | D | 11348 | 55.831 | -19.265 | 27.773
32 | D | 11003 | 53.889 | -19.247 | 27.787
32 | D | 10717 | 52.398 | -19.274 | 27.762
32 | D | 10438 | 51.057 | -19.244 | 27.808
32 | D | 10194 | 49.798 | -19.22 | 27.797
32 | D | 9949 | 48.562 | -19.24 | 27.822
32 | D | 9715 | 47.358 | -19.245 | 27.799
32 | D | 9497 | 46.212 | -19.224 | 27.767
32 | D | 9284 | 45.101 | -19.274 | 27.797
32 | D | 9068 | 43.986 | -19.264 | 27.774
33 | E | 3819 | 54.477 | -4.573 | 19.727
33 | E | 3811 | 54.621 | -4.57 | 19.67
33 | E | 3814 | 54.769 | -4.569 | 19.641
33 | E | 3817 | 54.758 | -4.599 | 19.641
33 | E | 3806 | 54.763 | -4.573 | 19.655
33 | E | 5011 | 12.697 | -18.843 | 28.722
33 | E | 18904 | 93.561 | -19.291 | 27.472
33 | E | 18391 | 89.751 | -19.27 | 27.505
33 | E | 17955 | 87.214 | -19.259 | 27.509
33 | E | 17538 | 84.971 | -19.242 | 27.515
33 | E | 17133 | 82.884 | -19.284 | 27.488
33 | E | 16771 | 81.009 | -19.29 | 27.498
33 | E | 16433 | 79.195 | -19.299 | 27.502
33 | E | 16108 | 77.465 | -19.306 | 27.522
33 | E | 15802 | 75.885 | -19.303 | 27.531
33 | E | 15553 | 74.501 | -19.304 | 27.543
34 | NOTHING | 3817 | 54.772 | 0.002 | -0.009
34 | NOTHING | 3816 | 54.794 | 0 | 0
34 | NOTHING | 3817 | 54.787 | -0.023 | 0.001
34 | NOTHING | 3815 | 54.784 | -0.003 | 0.042
34 | NOTHING | 3818 | 54.795 | -0.008 | 0.001
35 | Toti 1 | 3806 | 54.128 | -4.456 | 19.748
35 | Toti 1 | 3796 | 54.482 | -4.57 | 19.67
35 | Toti 1 | 3799 | 54.521 | -4.57 | 19.682
35 | Toti 1 | 3805 | 54.534 | -4.57 | 19.678
35 | Toti 1 | 3804 | 54.591 | -4.565 | 19.719
36 | Toti 2 | 3803 | 54.184 | -4.541 | 19.717
36 | Toti 2 | 3807 | 54.577 | -4.57 | 19.67
36 | Toti 2 | 3803 | 54.57 | -4.601 | 19.66
36 | Toti 2 | 3806 | 54.59 | -4.573 | 19.709
36 | Toti 2 | 3804 | 54.621 | -4.582 | 19.691
36 | Toti 2 | 4803 | 12.269 | -12.278 | 23.308
36 | Toti 2 | 17953 | 93.221 | -11.842 | 23.145
36 | Toti 2 | 17426 | 86.814 | -11.819 | 23.189
36 | Toti 2 | 17086 | 84.042 | -11.829 | 23.215
36 | Toti 2 | 16725 | 81.908 | -11.809 | 23.259
36 | Toti 2 | 16377 | 79.95 | -11.833 | 23.237
36 | Toti 2 | 16032 | 78.154 | -11.863 | 23.249
36 | Toti 2 | 15680 | 76.369 | -11.827 | 23.257
36 | Toti 2 | 15358 | 74.607 | -11.854 | 23.263
36 | Toti 2 | 15018 | 72.942 | -11.834 | 23.281
36 | Toti 2 | 14702 | 71.26 | -11.863 | 23.251
37 | Toti 3 | 3811 | 54.338 | -4.562 | 19.703
37 | Toti 3 | 3811 | 54.649 | -4.57 | 19.67
37 | Toti 3 | 3807 | 54.679 | -4.586 | 19.723
37 | Toti 3 | 3812 | 54.673 | -4.605 | 19.688
37 | Toti 3 | 3806 | 54.659 | -4.581 | 19.699
37 | Toti 3 | 3659 | 9.274 | -11.195 | 24.155
37 | Toti 3 | 13350 | 68.294 | -10.822 | 24.097
37 | Toti 3 | 12930 | 63.327 | -10.833 | 24.075
37 | Toti 3 | 12670 | 61.208 | -10.825 | 24.114
37 | Toti 3 | 12433 | 59.723 | -10.833 | 24.137
37 | Toti 3 | 12197 | 58.444 | -10.809 | 24.135
37 | Toti 3 | 11976 | 57.289 | -10.854 | 24.169
37 | Toti 3 | 11780 | 56.253 | -10.845 | 24.16
37 | Toti 3 | 11569 | 55.186 | -10.846 | 24.134
37 | Toti 3 | 11367 | 54.214 | -10.866 | 24.178
37 | Toti 3 | 11149 | 53.281 | -10.834 | 24.164
38 | Toti 4 | 3812 | 54.244 | -4.565 | 19.722
38 | Toti 4 | 3808 | 54.626 | -4.57 | 19.67
38 | Toti 4 | 3809 | 54.643 | -4.614 | 19.663
38 | Toti 4 | 3810 | 54.688 | -4.591 | 19.693
38 | Toti 4 | 3809 | 54.685 | -4.59 | 19.726
38 | Toti 4 | 3869 | 9.853 | -14.085 | 23.485
38 | Toti 4 | 14213 | 73.358 | -13.743 | 23.294
38 | Toti 4 | 13770 | 68.316 | -13.736 | 23.349
38 | Toti 4 | 13478 | 66.149 | -13.732 | 23.373
38 | Toti 4 | 13178 | 64.468 | -13.723 | 23.395
38 | Toti 4 | 12915 | 63.006 | -13.722 | 23.423
38 | Toti 4 | 12626 | 61.533 | -13.711 | 23.423
38 | Toti 4 | 12356 | 60.153 | -13.745 | 23.424
38 | Toti 4 | 12082 | 58.713 | -13.738 | 23.432
38 | Toti 4 | 11819 | 57.353 | -13.74 | 23.451
38 | Toti 4 | 11571 | 56.088 | -13.708 | 23.406
39 | Toti 5 | 3810 | 54.36 | -4.541 | 19.747
39 | Toti 5 | 3806 | 54.642 | -4.57 | 19.67
39 | Toti 5 | 3808 | 54.652 | -4.566 | 19.68
39 | Toti 5 | 3810 | 54.663 | -4.574 | 19.706
39 | Toti 5 | 3808 | 54.686 | -4.552 | 19.685
39 | Toti 5 | 4579 | 11.68 | -11.987 | 23.532
39 | Toti 5 | 16804 | 86.2 | -11.723 | 23.359
39 | Toti 5 | 16289 | 80.018 | -11.733 | 23.344
39 | Toti 5 | 15956 | 77.326 | -11.726 | 23.366
39 | Toti 5 | 15628 | 75.399 | -11.708 | 23.387
39 | Toti 5 | 15297 | 73.673 | -11.702 | 23.411
39 | Toti 5 | 14997 | 72.066 | -11.717 | 23.413
39 | Toti 5 | 14736 | 70.703 | -11.709 | 23.41
39 | Toti 5 | 14464 | 69.32 | -11.726 | 23.457
39 | Toti 5 | 14225 | 68.036 | -11.745 | 23.439
39 | Toti 5 | 13973 | 66.756 | -11.704 | 23.417
40 | Toti 6 | 3811 | 54.281 | -4.561 | 19.688
40 | Toti 6 | 3804 | 54.664 | -4.57 | 19.67
40 | Toti 6 | 3806 | 54.659 | -4.594 | 19.633
40 | Toti 6 | 3805 | 54.638 | -4.584 | 19.676
40 | Toti 6 | 3806 | 54.656 | -4.602 | 19.694
41 | Toti 7 | 3811 | 54.316 | -4.532 | 19.742
41 | Toti 7 | 3804 | 54.628 | -4.57 | 19.67
41 | Toti 7 | 3808 | 54.684 | -4.583 | 19.667
41 | Toti 7 | 3809 | 54.654 | -4.547 | 19.696
41 | Toti 7 | 3811 | 54.669 | -4.561 | 19.681
42 | Toti 8 | 3806 | 54.184 | -4.508 | 19.721
42 | Toti 8 | 3807 | 54.606 | -4.57 | 19.67
42 | Toti 8 | 3807 | 54.656 | -4.543 | 19.683
42 | Toti 8 | 3807 | 54.624 | -4.56 | 19.733
42 | Toti 8 | 3804 | 54.667 | -4.546 | 19.682
43 | Toti 9 | 3806 | 54.277 | -4.556 | 19.737
43 | Toti 9 | 3808 | 54.613 | -4.57 | 19.67
43 | Toti 9 | 3806 | 54.632 | -4.566 | 19.671
43 | Toti 9 | 3810 | 54.665 | -4.564 | 19.686
43 | Toti 9 | 3807 | 54.669 | -4.585 | 19.671
44 | Toti 10 | 3805 | 54.225 | -4.548 | 19.669
44 | Toti 10 | 3807 | 54.626 | -4.57 | 19.67
44 | Toti 10 | 3805 | 54.61 | -4.588 | 19.648
44 | Toti 10 | 3808 | 54.612 | -4.583 | 19.676
44 | Toti 10 | 3807 | 54.633 | -4.6 | 19.667
45 | Toti 11 | 3811 | 54.341 | -4.54 | 19.702
45 | Toti 11 | 3809 | 54.672 | -4.57 | 19.67
45 | Toti 11 | 3810 | 54.664 | -4.543 | 19.661
45 | Toti 11 | 3808 | 54.681 | -4.569 | 19.667
45 | Toti 11 | 3812 | 54.731 | -4.574 | 19.7
46 | Toti 12 | 3805 | 54.16 | -4.552 | 19.749
46 | Toti 12 | 3808 | 54.602 | -4.57 | 19.67
46 | Toti 12 | 3805 | 54.621 | -4.598 | 19.643
46 | Toti 12 | 3805 | 54.647 | -4.586 | 19.669
46 | Toti 12 | 3804 | 54.645 | -4.608 | 19.682